SCOPE 39 ЛИ

Sofia, 15.05.2024

Pirinstroyinzhenering EAD

Construction testing laboratory

Patkontrol

Management address: 2700 Blagoevgrad, 11 Ortseto Str, floor 1

Laboratory address: 2700 Blagoevgrad, Pokrovnishko Shosse Str.

To perform testing of:

| Type of the scope: flexible |  |  |  |
| --- | --- | --- | --- |
| № | Tested Products | Type of Test/Characteristic | Testing methods (standard / validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Rock materials for: - bitumen mixtures, road pavements, airplane runways and other transportation areas; -non-connected and hydraulically connected mixtures to use in construction facilities and road construction (1) Construction soils (2) | 1.1. Granulometric composition | БДС EN 933-1 (1) |
|  |  | 1.2. Density in bulk | БДС EN 1097-3 (1) |
|  |  | 1.3. Grains density: -absolute density of grains -dry grains density -grains density in water-saturated surface-dry state -specific density of preliminary dried grains | БДС EN 1097-6, (1) cl. 7,8,9; Appendix A |
|  |  | 1.4. Water absorption | БДС EN 1097-6, (1) cl. 7,8,9; Appendix B |
|  |  | 1.5. Sand equivalent | БДС EN 933-8+A1(1) |
|  |  | 1.6. Shape ratio | БДС EN 933-4 (1) |
|  |  | 1.7. Magnesium sulfate value | БДС EN 1367-2 (1) |
|  |  | 1.8. Flat grains index | БДС EN 933-3 (1) |
|  |  | 1.9. Elastic module | БДС 15130 (1) (2) |
|  |  | 1.10. Deformation module | БДС 15130 (1) (2) |
|  |  | 1.11. Ratio of deformation modules E2:E1 | БДС 15130 (1) (2) |
|  |  | 1.12. Fine fraction contents | БДС EN 933-1 (1) |
|  |  | 1.13. Water contents | БДС EN 1097-5 (1) |
|  |  | 1.14. Adhesion between rock material and bitumen (degree of preservation of bitumen film) | БДС EN 12697-11, cl. 7 (1) |
| 2. | Bitumen | 2.1. Penetration | БДС EN 1426 |
|  |  | 2.2. Softening temperature | БДС EN 1427 |
| 3. | Bituminous mixtures | 3.1. Volume density | БДС EN 12697-6, Procedure A, B, D |
|  |  | 3.2. Maximal density | БДС EN 12697-5 Appendix A |
|  |  | 3.3. Air pores content | БДС EN 12697-8 |
|  |  | 3.4. Resistance | БДС EN 12697-34 |
|  |  | 3.5. Conditional plasticity | БДС EN 12697-34 |
|  |  | 3.6. Particles size distribution. Granulometric composition | БДС EN 1297-2+A1 |
|  |  | 3.7. Soluble bonding substance contents | БДС EN 12697-1, Appendix B, cl. B.2.1. |
|  |  | 3.8. Indirect tensile strength | БДС EN 12697-23 |
|  |  | 3.9. Sensitivity of bitumen specimen to water | БДС EN 12697-12, Method A |
|  |  | 3.10. Asphalt specimen dimensions: -height; -diameter; | БДС EN 12697-29 |
| 4. | Bituminous layers | 4.1. Volume density of bituminous specimen (core) | БДС EN 12697-6, Procedure A |
|  |  | 4.2. Thickness of a bituminous pavement | БДС EN 12697-36 Destructive method |
|  |  | 4.3. Degree of compaction | БДС EN 12697-9* |

Flexible scope: Implementing a new version of standards/documents or standards/ documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by the laboratory.

* Repealed but not replaced standard with regard to the testing method.