SCOPE 40 ЛИ

Sofia, 15.05.2024

Ecoexpert 6 Ltd

Atmospheric air Testing laboratory

Management address: 9009 Varna, 1 Petko Staynov St., office 25

Laboratory address: 9009 Varna, 1 Petko Staynov St., office 27

To perform testing of:

| Type of the scope: flexible for a part of the scope |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristics | Test methods (standard/validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Stationary sourses emissions in atmospheric air / Gas streams | 1.1. Dust | БДС ISO 9096 БДС EN 13284-1 |
|  |  | 1.2. Velocity (average gas velocity | ISO 10780 БДС ISO 9096 |
|  |  | 1.3. Volume flow (quantity) of the gas |  |
|  |  | 1.4. Temperature (air temperature, stack gas temperature) |  |
|  |  | 1.5. Pressure (barometric pressure, stack gas pressure, stack gas subpressure) |  |
|  |  | 1.6. Carbon dioxide (CO2) | VVLM 1/2015 |
|  |  | 1.7. Carbon monoxide (CO) |  |
|  |  | 1.8. Nitrogen oxide (NO) |  |
|  |  | 1.9. Nitrogen dioxide (NO2) |  |
|  |  | 1.10. Nitrogen oxides (NOx) (expressed as nitrogen dioxide) |  |
|  |  | 1.11. Sulfur dioxide (SO2) |  |
|  |  | 1.12. Oxygen (O2) |  |
|  |  | 1.13. Methane (CH4) |  |
|  |  | 1.14. Hydrogen sulfide (H2S) |  |
|  |  | 1.15. Total hydrocarbons (CxHy) and volatile organic compounds (VOC); | VVLM 2/2013 |
|  |  | 1.16. Total Carbon (TOC) |  |
|  |  | 1.17. Ammonia (NH3) | VVLM 3/2016 |
|  |  | 1.18. Water vapor (moisture), relative humidity of the gas | БДС EN 14790 VVLM 1/2015 |
| 2. | Environmental noise | Equivalent noise level, total sound power level | БДС ISO 8297 БДС 15471 VVLM 4/2016 |

To perform sampling of:

| Type of the scope: Flexible |  |  |
| --- | --- | --- |
| № | Product | Sampling methods (standardized/validated) |
| 1 | 2 | 3 |
| 1. | Stationary sources emissions in atmospheric air / Gas streams | БДС ISO 9096 БДС EN 13284-1 БДС EN 14790 |

Flexible scope: Implementing a new version of standards or standards replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.

Fixed scope references:

VVLM 1/2015 - Sampling and automatic determination of concentrations of stationary sources gas emissions - carbon monoxide, carbon dioxide, nitrogen oxide, nitrogen dioxide, nitrogen oxides (expressed as nitrogen dioxide), sulfur dioxide, oxygen, methane, hydrogen sulfide.

VVLM 2/2013 - Sampling and determination of total hydrocarbons and volatile organic compounds, expressed as total carbon in stationary sources emissions.

VVLM 3/2016 - Sampling and automatic determination of ammonia in emissions from stationary sources.

VVLM 4/2016 - Measurement of equivalent noise levels. Determination до the total sound power emitted into the environment by an industrial plant and the noise levels at the point of inpact.