SCOPE 108 ЛИ

Sofia, 17.06.2024

FRAPORT TWIN STAR AIRPORT MANAGEMENT AD

CHEMICAL TESTING LABORATORY

Management and laboratory address:

9000 Varna, Airport Varna

To perform testing of:

| Type of the scope: Flexible for a part of the scope |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristic | Testing methods (standard / validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Jet fuel | 1.1. Acidity (total) | ASTM D 3242 |
|  |  | 1.2. Presence of active sulfur compounds (Doctoral test) | ASTM D 4952 |
|  |  | 1.3. Distillation characteristics (fractional composition): -Start of boiling, -10% vol., distill, temperature, -50% vol., distill, temperature, -90% vol., distill, temperature, -End of boiling, temperature, -Residue, -Loss | ASTM D 86 |
|  |  | 1.4. Flame temperature | ASTM D 56 |
|  |  | 1.5. Density at 15°C | ASTM D 1298 ASTM D 7777 |
|  |  | 1.6. Temperature at the beginning of the cristalization | ASTM D 2386 |
|  |  | 1.7. Net heat of burning | ASTM D 4529 |
|  |  | 1.8. Testing of corrosion of a copper plate, 2h at100°C | ASTM D 130 |
|  |  | 1.9. Actual resins | ASTM D 381 |
|  |  | 1.10. Interaction with water - state of the interfacial surface | ASTM D 1094 |
|  |  | 1.11. Modified index of a water separometer - fuel with antistatic additive - fuel without antistatic additive | ASTM D 3948 |
|  |  | 1.12. Presence of free water and mechanical pollutants | ПККАГРПТСЗВПСГCM, MT, 2005, Art. 92, Art. 95 |
|  |  | 1.13. Presence of mechanical pollutants through membrane test | ASTM D 2276 |
|  |  | 1.14. Biomass in jet fuel | LM-02/2021 |
| 2. | Aviation fuel | 2.1. Presence of free water and mechanical pollutants | ПККАГРПТСЗВПСГCM, MT, 2005, Art. 92, Art. 95 |
|  |  | 2.2. Net heat of burning | ASTM D 4529 |
|  |  | 2.3. Density at 15°C | ASTM D 1298 ASTM D 7777 |
|  |  | 2.4. Distillation characteristics: - Start of boiling, temperature - 10% vol. distill, temperature - 40% vol. distill, temperature - 50% vol. distill, temperature - 90% vol. distill, temperature - End of boiling, temperature - amount of 10 vol. % plus 50 vol. % distill, temperature - Residue - Loss | ASTM D 86 |
|  |  | 2.5. Temperature at the beginning of the crystallization | ASTM D 2386 |
|  |  | 2.6. Determination of corrosion of a copper plate, 2h at 100°C | ASTM D 130 |
|  |  | 2.7. Interaction with water - change in volume | ASTM D 1094 |
| 3. | Aircraft anti-icing fluid | 3.1. Refractive index at 20°C | ASTM D 1747 |
|  |  | 3.2. pH | ASTM E 70 |
|  |  | 3.3. Freezing temperature - for concentrate - for mixture with water 50%/ 50% | ASTM D 1747 |
|  |  | 3.4 Dynamic viscosity at 20°C - for concentrate - for mixture with water 50%/ 50% | ASTM D 2196 |
|  |  | 3.5. Concentration* | ASTM D 1747 |

*Computational method

To perform sampling of:

| Type of the scope: flexible |  |  |
| --- | --- | --- |
| № | Products | Sampling methods (standard/validated method) |
| 1 | 2 | 3 |
| 1. | Jet fuel | Aviation fuel quality control rules and operating procedures for transportation, storing and refueling aircrafts with fuel and lubricating materials, Ministry of Transport, 2005, Application № 3 to Art. 73, para. 2, БДС ISO 3170, |
| 2. | Aviation fuel |  |
|  | Aircraft anti-icing fluid |  |

Flexible scope: Implementing a new version of standards/documents or standards/ documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.

References:

ПККАГРПТСЗВПСГСМ, МТ, 2005: Aviation fuel quality control rules and operating procedures for transportation, storing and refueling aircrafts with fuel and lubricating materials, Ministry of Transport, 2005.

Fixed scope: ЛМ-02/2021 Laboratory method for Determination of microbiological contamination of jet engine fuel, from 20.07.2021.