SCOPE 4 ЛИ

Sofia, 26.07.2024

AVTOMAGISTRALI – TCHERNO MORE JSC,

COMPANY ROAD LABORATORY

Management address: 9700 Shumen, 8 Aleko Konstantinov Str.,

Laboratory address: 9700 Shumen, 1 Teke Dere, Asphalt Plant,

To perform testing of:

| Type of the scope: flexible |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristic | Testing methods (standard / validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Aggregates for: Concrete (1); Bituminous mixtures and surface treatments for roads and other trafficked areas (2); Unbound and hydraulically bound materials for use in civil engineering work and road construction (3). | - Particle size distribution | БДС EN 933-1 (1;2;3) |
|  |  | - Assessment of fines | БДС EN 933-1 (1;2;3) |
|  |  | - Resistance to segregation under static load | БДС EN 206:2013 +A2/NA(1) Annex NA.Q |
|  |  | - Resistance to fragmentation (Los Angeles test) | БДС EN 1097-2 (1;2;3) |
|  |  | - Flakiness index | БДС EN 933-3 (1;2;3) |
|  |  | - Shape index | БДС EN 933-4 (1;2;3) |
|  |  | - Loose bulk density | БДС EN 1097-3 (1;2;3) |
|  |  | - Thermal and weathering properties of aggregates. Magnesium sulfate test | БДС EN 1367-2 (1;2;3) |
|  |  | - Water content | БДС EN 1097-5 (1;2;3) |
|  |  | - Sand equivalent test | БДС EN 933-8+A1 (1;2;3) |
|  |  | - Methylene blue test | БДС EN 933-9 (1;2;3) |
|  |  | - Liquid Limit of Soils | AASHTO T 89 (3) |
|  |  | - Plastic Limit and Plasticity Index of Soils | AASHTO T 90 (3) |
|  |  | - Particle density: - Apparent particle density; - Oven-dried particle density; - Saturated and surface dried particle density. | БДС EN 1097-6 (1;2;3), cl. 7, cl. 8 and cl. 9 |
|  |  | - Test for Density of Soil In-Place by the Sand-Cone Method | AASHTO T 191 (3) |
|  |  | - Dry density and water content. Proctor compaction | БДС EN 13286-2 (3) cl. 7.1, cl. 7.2, cl. 7.4 and cl. 7.5, БДС 17146 (3), cl. 3.3.1 and cl. 3.3.2 |
|  |  | - Determination of the modulus of elasticity, the moduli of deformation (E1) and (E2) and the deformation ratio (E2/E1) | БДС 15130 (3) |
|  |  | - California bearing ratio (CBR) | БДС EN 13286-47 (3) |
|  |  | - Affinity between aggregate and bitumen | БДС 11685 (2), БДС EN 12697-11, cl. 7 (2) |
|  |  | - Irregularity measurement of pavement courses | БДС EN 13036-7 (3) |
|  |  | - Determination of percentage of crushed particles: - Crushed particles; - Totally crushed particles; - Totally rounded particles. | БДС EN 933-5 (2) |
|  |  | - Relative proportions of constituent materials of coarse recycled aggregate | БДС EN 933-11 (3) |
|  |  | - Uniformity coefficient (based on particle size distribution determined according to BDS EN 933-1) | БДС EN 13242+A1/NA |
| 2. | Fillers and fine aggregates for bituminous mixtures | - Particle size distribution | БДС EN 933-1 |
|  |  | - Water content | БДС EN 1097-5 |
|  |  | - Particle density of filler | БДС EN 1097-7 |
|  |  | - Bitumen number | БДС EN 13179-2 |
|  |  | - Softening point by delta ring and ball test | БДС EN 13179-1 |
|  |  | - Determination of water solubility | БДС EN 1744-1+A1 |
|  |  | - Methylene blue test | БДС EN 933-9 |
|  |  | - Determination of the voids | БДС EN 1097-4 |
| 3. | Concrete (1); Fresh concrete (2) | - Compressive strength | БДС EN 12390-3 (1) |
|  |  | - Resistance against freeze-thaw cycles: - Weight loss; - Compressive strength loss. | БДС EN 206:2013+A2/NA (1) Annex NA.O.1 |
|  |  | - Slump test | БДС EN 12350-2 (2) |
|  |  | - Density of hardened concrete | БДС EN 12390-7/AC (1) |
|  |  | - Irregularity measurement of pavement courses | БДС EN 13036-7 (1) |
| 4. | Mortars for masonry (cement/air-lime mortars and air-lime mortars) | - Flexural strength | БДС EN 1015-11 |
|  |  | - Compressive strength | БДС EN 1015-11 |
|  |  | - Consistence | БДС EN 1015-3/A1/A2 |
| 5. | Cement | - Standard consistence | БДС EN 196-3 |
|  |  | - Setting times | БДС EN 196-3 |
|  |  | - Strength | БДС EN 196-1 |
|  |  | - Soundness | БДС EN 196-3 |
| 6. | Bitumen | - Needle penetration | БДС EN 1426 |
|  |  | - Softening point - Ring and Ball method | БДС EN 1427 |
|  |  | - Elastic recovery of modified bitumen | БДС EN 13398 |
| 7. | Soils for civil engineering purposes | - Particle size distribution | БДС EN 933-1 |
|  |  | - Water content | БДС EN 1097-5 |
|  |  | - Particle density: - Apparent particle density; - Oven-dried particle density; - Saturated and surface dried particle density | БДС EN 1097-6, cl. 7, cl. 8 and cl. 9 |
|  |  | - Test for Density of Soil In-Place - by the Sand-Cone Method Determination of bulk density - by immersion in fluid method | AASHTO T 191 БДС EN ISO 17892-2, cl. 5.2 |
|  |  | - Liquid Limit of Soils | AASHTO T 89 |
|  |  | - Plastic Limit and Plasticity Index of Soils | AASHTO T 90 |
|  |  | - Dry density and water content. Proctor compaction | БДС EN 13286-2 (3) cl. 7.1, cl. 7.2, cl. 7.4 and cl. 7.5, БДС 17146 (3) cl. 3.3.1 and cl. 3.3.2 |
|  |  | - Determination of the modulus of elasticity, the moduli of deformation (E1) and (E2) and the deformation ratio (E2/E1) | БДС 15130 |
|  |  | - California bearing ratio (CBR) | БДС EN 13286-47 |
| 8. | Bituminous mixtures Hot mix asphalt (1); Placed and compacted asphalt pavements (2) | 8.1. Bulk density | БДС EN 12697-6 (1;2) Procedures: A; B; D |
|  |  | 8.2. Maximum density | БДС EN 12697-5 (1) Procedure A |
|  |  | 8.3. Void characteristics | БДС EN 12697-8 (1) |
|  |  | 8.4. Marshall test (stability) | БДС EN 12697-34 (1) |
|  |  | 8.5. Marshall test (flow) | БДС EN 12697-34 (1) |
|  |  | 8.6. Soluble binder content | БДС EN 12697-1 (1;2) Annex B, cl. B1.7 |
|  |  | 8.7. Particle size distribution | БДС EN 12697-2+A1 (1;2) |
|  |  | 8.8. Reference density | БДС EN 12697-9* (2) cl. 6.1.1 |
|  |  | 8.9. Irregularity measurement of pavement courses | БДС 17143 (2) БДС EN 13036-7 (2) |
|  |  | 8.10. Slip resistance of pavement courses | БДС 17143 (2) |
|  |  | 8.12. Dimensions of a bituminous specimen | БДС EN 12697-29 (1) |
|  |  | 8.12. Thickness of a bituminous pavement | БДС EN 12697-36 (2) Destructive Method |
|  |  | 8.13. Temperature of asphalt mixtures | БДС EN 12697-13 (1) |
| 9. | Flexible sheets for waterproofing | 9.1. Bond strength | БДС EN 13596 |

To perform sampling of:

| Type of the scope: flexible |  |  |
| --- | --- | --- |
| № | Product | Sampling methods (standard/validated method) |
| 1 | 2 | 3 |
| 1. | Aggregates | БДС EN 932-1 |
| 2. | Fillers and fine aggregates for bituminous mixtures | БДС EN 932-1 |
| 3. | Concrete and fresh concrete | БДС EN 12350-1 |
| 4. | Mortars for masonry | БДС EN 1015-2/A1 |
| 5. | Cement | БДС EN 196-7 |
| 6. | Bitumen | БДС EN 58 |
| 7. | Soils for civil engineering purposes | БДС 17146 БДС EN 13286-1 |
| 8. | Bituminous mixtures | БДС EN 12697-27 |

*Repealed but not replaced standard.

Flexible scope: Implementing a new version of standards/documents or standards/ documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by the laboratory.