SCOPE 7 ЛИ

Sofia, 26.04.2024

NJN LTD

LABORATORY COMPLEX

Management address: 6300 Haskovo, 43 Svetlina Str.

Laboratory address: 6300 Haskovo, Kamenets, 3 Planisnki Izgled Str.

To perform testing of:

| Type of the scope: flexible |  |  |  |
| --- | --- | --- | --- |
| № | Tested Products | Type of Test/Characteristic | Testing methods (standard / validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Concrete mixture | 1.1. Slump | БДС EN 12350-2 |
|  |  | 1.2. Density | БДС EN 12350-6 |
|  |  | 1.3. Air content | БДС EN 12350-7, cl. 6 |
|  |  | 1.4. Slump-flow test | БДС EN 12350-8 |
| 2. | Hardened concrete | 2.1. Compressive strength | БДС EN 12390-3 |
|  |  | 2.2. Flexural strength | БДС EN 12390-5 |
|  |  | 2.3. Density | БДС EN 12390-7 |
|  |  | 2.4. Depth of penetration of water under pressure | БДС EN 12390-8 |
|  |  | 2.5. Waterproofness | БДС EN 206/ NA, App. NA. N |
|  |  | 2.6. Frost resistance by direct freezing and thawing: • Weight loss; • Compressive strength loss | БДС EN 206/ NA, App. NA. O.1 |
|  |  | 2.7. Frost resistance. Accelerated method: • Weight loss; • Decrease in the speed of an ultrasonic pulse; | БДС EN 206/ NA, App. NA. O.2 БДС EN 12504-4 |
| 3. | Supplementary materials for (1): concrete; solutions; Rock materials for (2): - bituminous mixtures and pavements for roads, airfields and other transport areas; - unbound and hydraulically bound mixtures for use in construction equipment and in road construction. Crushed stone for railway lines; (3) Crushed stone for mosaic and plaster; (4) Fine fillers for concrete, solutions and bituminous mixtures (5) | 3.1 Particle size distribution; | БДС EN 933-1 (1, 2, 3, 4, 5) |
|  |  | 3.2. Content of fine fraction; | БДС EN 933-1 (1, 2, 3, 4, 5) |
|  |  | 3.3. Flakiness index; | БДС EN 933-3 (1, 2, 3, 4) |
|  |  | 3.4. Shape index; | БДС EN 933-4 (1, 2, 3, 4) |
|  |  | 3.5. Percentage content of: • crushed or broken particles • completely crushed or broken particles • rounded particles • completely rounded particles; | БДС EN 933-5/A1 (1, 2, 3, 4) |
|  |  | 3.6. Shell content; | БДС EN 933-7 (1, 2, 3, 4) |
|  |  | 3.7. Sand equivalent; | БДС EN 933-8+A1 (1, 2, 3, 4, 5) |
|  |  | 3.8. Grading content of fine fillers; | БДС EN 933-10(5) |
|  |  | 3.9. Constituents of coarse recycled rock materials; | БДС EN 933-11 (1, 2, 3, 4) |
|  |  | 3.10. Resistance to wear (micro-Deval); | БДС EN 1097-1 (1, 2, 4) БДС EN 1097-1 App., A(3) |
|  |  | 3.11. Resistance to fragmentation by the Los Angeles method; | БДС EN 1097-2, cl. 5 (1 2 4); БДС EN 1097-2 App., A (3) |
|  |  | 3.12. Fragmentation under static load; | БДС EN 206 /NA, App. NA.Q (1, 2, 4) |
|  |  | 3.13. Sand fineness module; | БДС EN 12620+A1, App. B (1, 2, 5) |
|  |  | 3.14. Loose bulk density; | БДС EN 1097-3 (1, 2, 3, 4, 5) |
|  |  | 3.15. Percentage of voids; | БДС EN 1097-3 (1, 2, 3, 4, 5) |
|  |  | 3.16. Water content; | БДС EN 1097-5 (1, 2, 3, 4, 5) |
|  |  | 3.17. Particle density • Specific particle density; • Volume particle density in dry state • Specific particle density (water-saturated and surface-dry) | БДС EN 1097-6 (1, 2, 3, 4, 5) |
|  |  | 3.18. Water absorption; | БДС EN 1097-6 (1, 2, 3, 4, 5) |
|  |  | 3.19. Resistance to freezing and thawing; | БДС EN 1367-1 (1, 2, 3, 4) БДС EN 13450, App. F (3) |
|  |  | 3.20. Weather resistance of rock materials: • magnesium sulphate value; | БДС EN 1367-2 (1, 2, 3, 4) БДС EN 13450, App. G (3) |

To perform sampling of:

| Type of the scope: flexible |  |  |
| --- | --- | --- |
| № | Products | Sampling method (standardized/validated) |
| 1 | 2 | 3 |
| 1. | Concrete mixture | БДС EN 12350-1 |
| 2. | Supplementary materials for: concrete; solutions. Rock materials for: - bituminous mixtures and pavements for roads, airfields and other transport areas; - unbound and hydraulically bound mixtures for use in construction equipment and in road construction; Crushed stone for railway lines; Crushed stone for mosaic and plaster; Fine fillers for: concrete, solutions and bituminous mixtures. | БДС EN 932-1 |

Flexible scope: Implementing a new version of standards/documents or standards/ documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by the laboratory.