SCOPE 107 ЛИ

Sofia, 10.07.2024

TOPLOFIKATSIA RUSE JSC

FUELS AND OILS TESTING LABORATORY

Management and laboratory address:

7009 Ruse, 1 TEC-Iztok Str.

To perform testing of:

| Type of the scope: flexible for a part of the scope |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristic | Testing methods (standard / validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Solid mineral fuels - Black and anthracite coal (1) - Brown and lignite coal (2) - Coke (3) | 1.1. Moisture content: - total - in the analysis sample | БДС ISO 589 (1), БДС ISO 5068-1 (2), БДС ISO 579 (3), БДС ISO 11722 (1), БДС ISO 5068-2 (2), БДС ISO 687 (3) |
|  |  | 1.2. Ash content: - in dry state - as received | БДС ISO 1171, БДС ISO 1170 (1), (2), (3) |
|  |  | 1.3. Extraction of volatile substances: - in dry state - as received ##### - in dry ash-free slate | БДС ISO 562 БДС ISO 1170 (1), (3); БДС ISO 5071-1, БДС ISO 1170 (2) |
|  |  | 1.4. Sulfur content: - in dry state - as received | БДС ISO 19579, БДС ISO 1170 (1), (2), (3) |
|  |  | 1.5. Carbon content: - in dry state - as received | БДС ISO 29541, БДС ISO 1170 (1), (2), (3) |
|  |  | 1.6. Calorific value - gross (in dry state and as received) - net (in dry state and as received) | БДС ISO 1928 (1), (2), (3) |
| 2. | Solid biofuels: biomass (1) pellets (2) briquettes (3) wood shavings (4) | 2.1. Moisture content: - total - in the analysis sample | БДС EN ISO 18134-2 (1), (2), (3), (4) БДС EN ISO 18134-3 (1), (2), (3), (4) |
|  |  | 2.2. Ash content: - in dry state - as received | БДС EN ISO 18122, БДС EN ISO 16993 (1), (2), (3), (4) |
|  |  | 2.3. Extraction of volatile substances: - in dry state - as received - in dry ash-free state | БДС EN ISO 18123, БДС EN ISO 16993 (1), (2), (3), (4) |
|  |  | 2.4. Sulfur content: - in dry state - as received | ВЛМ 7.2-2, БДС EN ISO 16993 (1), (2), (3), (4) |
|  |  | 2.5. Carbon content: - in dry state - as received | ВЛМ 7.2-3, БДС EN ISO 16993 (1), (2), (3), (4) |
|  |  | 1.6. Calorific value - gross (in dry state and as received) - net (in dry state and as received) | БДС EN ISO 18125 (1), (2), (3), (4) |

Flexible scope: Implementing a new version of standards/documents or standards / documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.

Fixed scope references:

1. ВЛМ 7.2-2/05.07.2023 An intralaboratory method for determining the sulfur content in solid biofuels through a device for infrared spectrometry ELTRA CS 530;

2. ВЛМ 7.2-3/05.07.2023 An intralaboratory method for determining the carbon content in solid biofuels.