SCOPE 177 ЛИ

Sofia, 12.07.2024

CUSTOMS LABORATORY,

AT TERRITORIAL DIRECTORATE PLOVDIV CUSTOMS,

NATIONAL CUSTOMS AGENCY

Management and laboratory address: 4004 Plovdiv, 32 Kuklensko shose Str.

To perform testing of:

| Type of the scope: flexible |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristic | Testing methods ### (standard / validated method) |
| 1 | 2 | 3 | ### 4 |
| 1. | Goods derived from the processing of agricultural products | 1.1. Butyric acid methyl ester (for the determination of milk fat) | БДС EN ISO 5508:2000* |
|  |  | 1.2. Nitrogen content | # БДС EN ISO 5983-2 |
|  |  | 1.3. Calculation of crude protein content |  |
|  |  | 1.4. Sucrose / Invert sugar / Isoglucose | Regulation (EC) № 900/ 2008, Article 2, item 2; Regulation (EU) № 118/ 2010, Annex I |
|  |  | 1.5. Starch / glucose | Regulation (EC) № 900/ 2008, Article 2, item 1; Regulation (EU) № 118/ 2010, Annex I |
| 2. | Spirit drinks | 2.1. Real alcoholic strength | Regulation (EC) № 2870/ 2000, Annex, item I, method B |
| 3. | Tobacco and tobacco products | 3.1. Nicotinе (from 0.1 mg/g to 38.4 mg/g) | CORESTA Recommended method № 62:2021 (Hexane method) |
|  |  | 3.2. Tobacco fibers width | БДС 12973 |
| 4. | Denatured ethyl alcohol | 4.1. Methyl ethyl ketone (MEK) | ILIADe 453:2024/ CLEN Method |
|  |  | 4.2. Isopropyl alcohol (IPA) |  |
|  |  | 4.3. Tertiary Butyl Alcohol (TBA) |  |

Flexible scope: Implementing a new version of standards/documents or standards / documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.

*Repealed standard, but not replaced as regards the scope of application (determination of butyric acid methyl ester).

Reference:

- Regulation (EC) № 900/2008 — laying down the methods of analysis and other technical provisions necessary for the application of the arrangements for imports of certain goods resulting from the processing of agricultural products

Article 2, item 2 — Calculation of sucrose/ invert sugar/ isoglucose content

Article 2, item 1 — Calculation of starch / glucose content.

- Regulation (EC) № 118/2010, Annex I — amending Regulation (EC) № 900/2008 laying down the methods of analysis and other technical provisions necessary for the application of the arrangements for imports of certain goods resulting from the processing of agricultural products. Enzymatic determination of starch and its degradation products including glucose in food products using high performance liquid chromatography (HPLC).

- Regulation (EC) № 2870/2000, Annex, item I, method B — laying down Community reference methods for the analysis of spirits drinks DETERMINATION OF REAL ALCOHOLIC STRENGTH BY VOLUME OF SPIRIT DRINKS — MEASUREMENT BY ELECTRONIC DENSIMETRY (BASED ON THE RESONANT FREQUENCY OSCILLATION OF A SAMPLE IN AN OSCILLATION CELL).

- CORESTA Recommended method № 62:2021 — Determination of nicotine in tobacco and tobacco products by Gas Chromatographic analysis (Hexane method).

5. ILIADe 453:2024/CLEN Method — Determination of Isopropyl Alcohol and Methyl Ethyl Ketone in Alcoholic Products by GC-FID.