SCOPE 126 ЛИ

Sofia, 29.03.2024

GBS INFRASTRUCTURE CONSTRUCTION AD

TESTING CONSTRUCTION LABORATORY

Management address: 1619 Sofia, 3-5, Damyanitsa Str.

Laboratory address: 1532 Sofia, Kazichene, Pancharevo District, Vidnite Quarter

To perform testing of:

| Type of the scope: flexible |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristic | Testing methods (standard / validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Bitumens and bituminous binders | Penetration | БДС EN 1426 |
|  |  | Softening point by the Ring and Ball method | БДС EN 1427 |
| 2. | Bituminous emulsions | Visible (perceptible) properties | БДС EN 1425 |
|  |  | Content of recovered binder | БДС EN 1431 |
|  |  | Viscosity/efflux time | БДС EN 12846-1 |
|  |  | Residue on sieving | БДС EN 1429 |
|  |  | Particle polarity | БДС EN 1430 |
|  |  | Mixing stability with cement | БДС EN 12848 |
|  |  | Reocovered binder - Penetration - Softening point by the Ring and Ball method | БДС EN 1426 БДС EN 1427 |
|  |  | - Storage stability by sieving | БДС EN 1429 |
| 3. | Aggregates | Particle size distribution | БДС EN 933-1 |
|  |  | Flakiness index | БДС EN 933-3 |
|  |  | Shape index | БДС EN 933-4 |
|  |  | Percentage of crushed particles | БДС EN 933-5 |
|  |  | Resistance to frost - Direct freezing - Magnesium sulfate test | БДС EN 1367-1 БДС EN 1367-2 |
|  |  | Sand equivalent | БДС EN 933-8+A1 |
|  |  | Particle density | БДС EN 1097-6, cl. 7, cl. 8, cl. 9 and Annex А and B |
|  |  | Water absorption | БДС EN 1097-6, cl. 7, cl. 8, cl. 9 and Annex В |
|  |  | Particle density -Pyknometer method | БДС EN 1097-7 |
|  |  | Water content | БДС EN 1097-5 БДС ЕN ISO 17892-1 БДС ЕN ISO 17892-1/A1 |
|  |  | Loose bulk density and voids -Loose bulk density -Voids | БДС EN 1097-3 |
|  |  | Reference density and water content. Proctor method. | БДС EN 13286-2 |
|  |  | Elastic and deformation modulus by loading with a round plate | БДС 15130 |
|  |  | Los Angeles coefficient | БДС EN 1097-2 |
|  |  | Affinity with bitumen | БДС EN 12697-11, cl. 7 |
|  |  | Density in-place by the sand replacement method | AASHTO T 191 |
|  |  | Shells content | БДС EN 933-7 |
|  |  | California bearing ratio – CBR | БДС EN 13286-47 |
|  |  | Liquid limit | AASHTO T 89 |
|  |  | Plasticity limit | AASHTO T 90 |
|  |  | Plasticity index | AASHTO T 90 |
|  |  | Methylene blue test | БДС EN 933-9 |
|  |  | Resistance to fragmentation under static load | БДС EN 206+А2/NА |
| 4. | Bituminous hot mixtures for road pavements | Determination of particle size distribution | БДС EN 12697-2+A1 |
|  |  | Soluble binder content | БДС EN 12697-1, Annex В, cl. В.2.1 |
|  |  | Bulk density of bituminous mixture | БДС EN 12697-6 |
|  |  | Maximum density of bituminous mixture | БДС EN 12697-5 |
|  |  | Air voids content | БДС EN 12697-8, cl. 4 |
|  |  | Water sensibility | БДС EN 12697-12 |
|  |  | Tensile strength | БДС EN 12697-23 |
|  |  | Reference density of bituminous mixture | БДС EN 12697-9* |
|  |  | Stability of bituminous mixture by Marshall method | БДС EN 12697-34 |
|  |  | Flow of bituminous mixture by Marshall method | БДС EN 12697-34 |
|  |  | Compaction degree | БДС EN 12697-9* |
|  |  | Determination of the dimension of a bituminous specimen | БДС EN 12697-29 |
|  |  | Thickness of a bituminous pavement | БДС EN 12697-36, cl. 6.1 |
|  |  | Irregularities of the pavement | БДС EN 13036-7 |
| 5. | Fresh concretes | Slump | БДС EN 12350-2 |
|  |  | Density | БДС EN 12350-6 |
| 6. | Concrete | Compressive strength | БДС EN 12390-3 |
|  |  | Flexural strength | БДС EN 12390-5 |
|  |  | Density | БДС EN 12390-7 |
|  |  | Water impermeability | БДС EN 206+A2/NA, Annex NA.N |
|  |  | Depth of penetration of water under pressure | БДС EN 12390-8 |
| 7. | Hydraulically bound materials | Compressive strength | БДС EN 13286-41 |

To perform sampling of:

| Type of the scope: Flexible |  |  |
| --- | --- | --- |
| № | Product | Sampling method (standard/validated) |
| 1 | 2 | 3 |
| 1. | Bitumens and bituminous binders | БДС EN 58 |
| 2. | Aggregates | БДС EN 932-1 |
| 3. | Bituminous mixtures | БДС EN 12697-27 |
| 4. | Fresh concrete | БДС EN 12350-1 |

* Repealed but not replaced standard with regard to the testing method.

Flexible scope: Implementing a new version of standards/documents or standards/ documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.