SCOPE 31 ЛИ

Sofia, 13.08.2024

PRISTA OIL HOLDING EAD

PETROLEUM PRODUCTS TESTING LABORATORY

Management address: 1407 Sofia, Lozenets, 20 Zlaten Rog Str.

Laboratory address: 7012 Ruse, 46 Treti Mart Blvd.

To perform testing of:

| Type of the scope: flexible* |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristic | Testing methods (standard / validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Base Oils | 1.1. Kinematic Viscosity | БДС EN ISO 3104, Procedure A ASTM D445 ASTM D7042 |
|  |  | 1.2. Viscosity Index | БДС ISO 2909 ASTM D2270 |
|  |  | 1.3. Density | БДС EN ISO 3675 ASTM D1298 ASTM D4052 |
|  |  | 1.4. Flash Point Open Cup | БДС EN ISO 2592 ASTM D92 |
|  |  | 1.5. Flash Point Closed Cup | БДС EN ISO 2719 ASTM D93 |
|  |  | 1.6. Pour Point | БДС EN ISO 3016 ASTM D97 |
|  |  | 1.7. Acid Number | БДС 1752, Method A БДС ISO 6618 |
|  |  | 1.8. Water Separability (Demulsifying Properties) | БДС ISO 6614 ASTM D1401 |
|  |  | 1.9. Foaming Characteristics (Tendency and Stability) | БДС ISO 6247 ASTM D892 |
|  |  | 1.10. Air Release Properties | БДС ISO 9120 ASTM D3427 |
|  |  | 1.11. Evaporation by Noack | ASTM D5800, Procedure A |
|  |  | 1.12. CCS-Viscosity at Negative Temperatures | ASTM D5293 |
|  |  | 1.13. Sulfur Content | БДС EN ISO 8754 |
|  |  |  | ASTM D4294 |
|  |  | 1.14. Color | БДС ISO 2049 ASTM D1500 |
|  |  | 1.15. Water Content | БДС ISO 3733 |
|  |  | 1.16. Ash | БДС EN ISO 6245 ASTM D482 |
|  |  | 1.17. Carbon Residue | БДС ISO 6615 |
|  |  | 1.18. Water Soluble Acids and Bases | БДС 5252 |
|  |  | 1.19. Mechanical Impurities | БДС 17411 |
|  |  | 1.20. Refractive Index | БДС ISO 5661 |
| 2. | Lubricating oils AN | 2.1. Kinematic Viscosity | БДС EN ISO 3104, Procedure A ASTM D445 |
|  |  | 2.2. Viscosity Index | БДС ISO 2909 ASTM D2270 |
|  |  | 2.3. Density | БДС EN ISO 3675 ASTM D1298 |
|  |  | 2.4. Flash Point Open Cup | БДС EN ISO 2592 ASTM D92 |
|  |  | 2.5. Pour Point | БДС EN ISO 3016 ASTM D97 |
|  |  | 2.6. Acid Number | БДС 1752, Method A БДС ISO 6618 |
|  |  | 2.7. Color | БДС ISO 2049 ASTM D1500 |
|  |  | 2.8. Water Content | БДС ISO 3733 |
|  |  | 2.9. Mechanical Impurities | БДС 17411 |
|  |  | 2.10. Water Soluble Acids and Bases | БДС 5252 |
|  |  | 2.11. Ash | БДС EN ISO 6245 ASTM D482 |
|  |  | 2.12. Carbon Residue | БДС ISO 6615 |
|  |  | 2.13. Foaming Characteristics (Tendency and Stability) | БДС ISO 6247 ASTM D892 |
| 3. | Gear oils | 3.1. Kinematic Viscosity | БДС EN ISO 3104, Procedure A ASTM D445 ASTM D7042 |
|  |  | 3.2. Viscosity Index | БДС ISO 2909 ASTM D2270 |
|  |  | 3.3. Density | БДС EN ISO 3675 ASTM D1298 ASTM D4052 |
|  |  | 3.4. Flash Point Open Cup | БДС EN ISO 2592 ASTM D92 |
|  |  | 3.5. Flash Point Closed Cup | БДС EN ISO 2719 ASTM D93 |
|  |  | 3.6. Pour Point | БДС EN ISO 3016 ASTM D97 |
|  |  | 3.7. Foaming Characteristics (Tendency and Stability) | БДС ISO 6247 ASTM D892 |
|  |  | 3.8. Water Separability (Demulsifying Properties) | БДС ISO 6614 ASTM D1401 |
|  |  | 3.9. Color | БДС ISO 2049 ASTM D1500 |
|  |  | 3.10. Water Content | БДС ISO 3733 БДС ISO 760 |
|  |  | 3.11. Mechanical Impurities | БДС 17411 |
|  |  | 3.12. Corrosion on Copper Strip | БДС EN ISO 2160 ASTM D130 |
|  |  | 3.13. Rust-Preventing Characteristics in Presence of Distilled Water and Synthetic Sea Water | БДС ISO 7120 ASTM D665A |
|  |  | 3.14. Phosphorus Content | ASTM D4951 |
|  |  | 3.15. Wear Preventive Characteristics on Four-Ball Machine - Anti-Wear Index - Scar Diameter | БДС 9786 ASTM D4172 |
|  |  | 3.16. EP Properties on Four-Ball Machine - Load-Wear Index - Weld Point | БДС 9787 ASTM D2783 |
|  |  | 3.17. Storage Stability and Compatibility | БДС 14348 |
|  |  | 3.18. Elements Content /metals and non-metals/: Silver, Aluminum, Barium, Boron, Chromium, Copper, Iron, Lead, Magnesium, Manganese, Molybdenum, Tin, Titanium, Silicon, Vanadium, Nickel, Sodium, Calcium, Zinc, Phosphorus | ASTM D5185 |
| 4. | Turbine oils | 4.1. Kinematic Viscosity | БДС EN ISO 3104 Procedure A ASTM D445 ASTM D7042 |
|  |  | 4.2. Viscosity Index | БДС ISO 2909 ASTM D2270 |
|  |  | 4.3. Density | БДС EN ISO 3675 ASTM D1298 ASTM D4052 |
|  |  | 4.4. Flash Point Open Cup | БДС EN ISO 2592 ASTM D92 |
|  |  | 4.5. Flash Point Closed Cup | БДС EN ISO 2719 ASTM D93 |
|  |  | 4.6. Pour Point | БДС EN ISO 3016 ASTM D97 |
|  |  | 4.7. Acid Number | БДС 1752, Method A БДС ISO 6618 ASTM D974 |
|  |  | 4.8. Water Separability -Demulsifying Properties -Water Separating Ability | БДС ISO 6614 ASTM D1401 БДС 17249 DIN 51589-1 |
|  |  | 4.9. Foaming Characteristics (Tendency and Stability) | БДС ISO 6247 ASTM D892 |
|  |  | 4.10. Air Release Properties | БДС ISO 9120 ASTM D3427 |
|  |  | 4.11. Color | БДС ISO 2049 ASTM D1500 |
|  |  | 4.12. Water Content | БДС ISO 3733 БДС ISO 760 |
|  |  | 4.13. Level of Contamination by Solid Particles | БДС ISO 4406 ISO 11500 |
|  |  | 4.14. Corrosion on Copper Strip | БДС EN ISO 2160 ASTM D130 |
|  |  | 4.15. Rust-Preventing Properties in Presence of Distilled Water and Synthetic Sea Water | БДС ISO 7120 ASTM D665 |
|  |  | 4.16. Oxidation Stability - RPVOT | ASTM D2272, Method A |
|  |  | 4.17. Storage Stability and Compatibility | БДС 14348 |
|  |  | 4.18. Elements Content /metals and non-metals/: Silver, Aluminum, Barium, Boron, Chromium, Copper, Iron, Lead, Magnesium, Manganese, Molybdenum, Tin, Titanium, Silicon, Vanadium, Nickel, Sodium, Calcium, Zinc, Phosphorus | ASTM D5185 |
| 5. | Hydraulic oils | 5.1. Kinematic Viscosity | БДС EN ISO 3104, Procedure A ASTM D445 ASTM D7042 |
|  |  | 5.2. Viscosity Index | БДС ISO 2909 ASTM D2270 |
|  |  | 5.3. Density | БДС EN ISO 3675 ASTM D1298 ASTM D4052 |
|  |  | 5.4. Flash Point Open Cup | БДС EN ISO 2592 ASTM D92 |
|  |  | 5.5. Flash Point Closed Cup | БДС EN ISO 2719 ASTM D93 |
|  |  | 5.6. Pour Point | БДС EN ISO 3016 ASTM D97 |
|  |  | 5.7. Acid Number | БДС 1752, Method A БДС ISO 6618 |
|  |  | 5.8. Water Separability (Demulsifying Properties) | БДС ISO 6614 ASTM D1401 |
|  |  | 5.9. Foaming Characteristics (Tendency and Stability) | БДС ISO 6247 ASTM D892 |
|  |  | 5.10. Air Release Properties | БДС ISO 9120 ASTM D3427 |
|  |  | 5.11. Color | БДС ISO 2049 ASTM D1500 |
|  |  | 5.12. Water Content | БДС ISO 3733 БДС ISO 760 |
|  |  | 5.13. Mechanical Impurities | БДС 17411 |
|  |  | 5.14. Level of Contamination by Solid Particles | БДС ISO 4406 ISO 11500 |
|  |  | 5.15. Water Soluble Acids and Bases | БДС 5252 |
|  |  | 5.16. Corrosion on Copper Strip | БДС EN ISO 2160 ASTM D130 |
|  |  | 5.17. Rust-Preventing Characteristics in Presence of Distilled Water and Synthetic Sea Water | БДС ISO 7120 ASTM D665 |
|  |  | 5.18. Wear Preventive Characteristics on Four-Ball Machine - Scar Diameter | ASTM D4172 |
|  |  | 5.19. EP Properties on Four-Ball Machine - Weld Point | ASTM D2783 |
|  |  | 5.20. Shear Stability | ASTM D6278 |
|  |  | 5.21. Storage Stability and Compatibility | БДС 14348 |
|  |  | 5.22. Elements Content /metals and non-metals/: Silver, Aluminum, Barium, Boron, Chromium, Copper, Iron, Lead, Magnesium, Manganese, Molybdenum, Tin, Titanium, Silicon, Vanadium, Nickel, Sodium, Calcium, Zinc, Phosphorus, mg/kg | ASTM D5185 |
| 6. | Compressor oils | 6.1. Kinematic Viscosity | БДС EN ISO 3104, Procedure A ASTM D445 |
|  |  | 6.2. Viscosity Index | БДС ISO 2909 ASTM D2270 |
|  |  | 6.3. Density | БДС EN ISO 3675 ASTM D1298 |
|  |  | 6.4. Flash Point Open Cup | БДС EN ISO 2592 ASTM D92 |
|  |  | 6.5. Freezing Point | БДС 1751 |
|  |  | 6.6. Acid Number | БДС 1752, Method A БДС ISO 6618 |
|  |  | 6.7. Color | БДС ISO 2049 ASTM D1500 |
|  |  | 6.8. Water Content | БДС ISO 3733 |
|  |  | 6.9. Mechanical Impurities | БДС 17411 |
|  |  | 6.10. Carbon Residue | БДС ISO 6615 |
|  |  | 6.11. Corrosion on Copper Strip | БДС EN ISO 2160 ASTM D130 |
|  |  | 6.12. Rust-Preventing Characteristics in Presence of Distilled Water and Synthetic Sea Water | БДС ISO 7120 ASTM D665 |
|  |  | 6.13. Wear Preventive Characteristics on Four-Ball Machine - Anti-Wear Index - Scar Diameter | БДС 9786 ASTM D4172 |
|  |  | 6.14. Water Separability (Demulsifying Properties) | БДС ISO 6614 ASTM D1401 |
|  |  | 6.15. Ash | БДС EN ISO 6245 ASTM D482 |
| 7. | Transmission Oils | 7.1. Kinematic Viscosity | БДС EN ISO 3104, Procedure A ASTM D445 ASTM D7042 |
|  |  | 7.2. Viscosity Index | БДС ISO 2909 ASTM D2270 |
|  |  | 7.3. Density | БДС EN ISO 3675 ASTM D1298 ASTM D4052 |
|  |  | 7.4. Flash Point Open Cup | БДС EN ISO 2592 ASTM D92 |
|  |  | 7.5. Flash Point Closed Cup | БДС EN ISO 2719 ASTM D93 |
|  |  | 7.6. Pour Point | БДС EN ISO 3016 ASTM D97 |
|  |  | 7.7. Foaming Characteristics (Tendency and Stability) | БДС ISO 6247 ASTM D892 |
|  |  | 7.8. Color | БДС ISO 2049 ASTM D1500 |
|  |  | 7.9. Water Content | БДС ISO 3733 |
|  |  | 7.10. Mechanical Impurities | БДС 17411 |
|  |  | 7.11. Phosphorus Content | ASTM D4951 |
|  |  | 7.12. Viscosity at Low Temperature (Brookfield) | ASTM D2983, Procedure A |
|  |  | 7.13. Wear Preventive Characteristics on Four-Ball Machine - Anti-Wear Index - Scar Diameter | БДС 9786 ASTM D4172 |
|  |  | 7.14 EP Properties on Four-Ball Machine - Load-Wear Index - Weld Point - Last Non-Seizure Load | БДС 9787 ASTM D2783 |
|  |  | 7.15. Corrosion on Copper Strip | БДС EN ISO 2160 ASTM D130 |
|  |  | 7.16. Rust-Preventing Characteristics in Presence of Distilled Water and Synthetic Sea Water | БДС ISO 7120 ASTM D665 |
|  |  | 7.17. Compatibility and Storage Stability | БДС 14348 |
|  |  | 7.18. Level of Contamination by Solid Particles | БДС ISO 4406 ISO 11500 |
| 8. | Transformer Oils | 8.1. Kinematic Viscosity | БДС EN ISO 3104, Procedure A ASTM D445 ASTM D7042 |
|  |  | 8.2. Density | БДС EN ISO 3675 ASTM D1298 ASTM D4052 |
|  |  | 8.3. Flash Point Closed Cup | БДС EN ISO 2719 ASTM D93 |
|  |  | 8.4. Pour Point | БДС EN ISO 3016 ASTM D97 |
|  |  | 8.5. Acid Number | БДС 1752, Method A БДС ISO 6618 БДС EN 62021-1 |
|  |  | 8.6. Color | БДС ISO 2049 ASTM D1500 |
|  |  | 8.7. Appearance | БДС EN IEC 60296 |
|  |  | 8.8. Water Soluble Acids and Bases | БДС 5252 |
|  |  | 8.9. Water Content | БДС EN 60814, cl.2 |
|  |  | 8.10. Antioxidant Content (2-6-di-tert-butyl-p-cresol) | БДС EN 60666 (FT-IR Method) |
|  |  | 8.11. Corrosion Sulfur | DIN 51353 |
|  |  | 8.12. Dielectric Dissipation Factor at 90°C | БДС EN 60247 |
|  |  | 8.13. Inter-phase Tension | ASTM D971 |
|  |  | 8.14. Breakdown Voltage (up to 70 kV) | БДС EN 60156 |
|  |  | 8.15. Oxidation Stability | БДС EN IEC 61125 |
|  |  | 8.16. Level of Contamination by Solid Particles | БДС ISO 4406 ISO 11500 |
|  |  | 8.17. Compatibility and Storage Stability | БДС 14348 |
|  |  | 8.18. Refractive Index | БДС ISO 5661 |
| 9. | Motor Oils | 9.1. Kinematic Viscosity | БДС EN ISO 3104, Procedure A ASTM D445 ASTM D7042 |
|  |  | 9.2. Viscosity Index | БДС ISO 2909 ASTM D2270 |
|  |  | 9.3. CCS-Viscosity at Negative Temperatures | ASTM D5293 |
|  |  | 9.4. Density | БДС EN ISO 3675 ASTM D1298 ASTM D4052 |
|  |  | 9.5. Flash Point Open Cup | БДС EN ISO 2592 ASTM D92 |
|  |  | 9.6. Flash Point Closed Cup | БДС EN ISO 2719 ASTM D93 |
|  |  | 9.7. Freezing Point | БДС 1751 |
|  |  | 9.8. Pour Point | БДС EN ISO 3016 ASTM D97 |
|  |  | 9.9. Base Number | ASTM D2896 |
|  |  | 9.10. Foaming Characteristics (Tendency and Stability) | БДС ISO 6247 ASTM D892 |
|  |  | 9.11. Color | БДС ISO 2049 ASTM D1500 |
|  |  | 9.12. Water Content | БДС ISO 3733 |
|  |  | 9.13. Mechanical Impurities | БДС 17411 |
|  |  | 9.14. Sulfated Ash | БДС ISO 3987 ASTM D874 |
|  |  | 9.15. Evaporation by Noack | ASTM D5800, Procedure A |
|  |  | 9.16. Phosphorus Content | ASTM D4951 |
|  |  | 9.17. Zinc Content | ASTM D4951 |
|  |  | 9.18. Calcium Content | ASTM D4951 |
|  |  | 9.19. Sulfur Content | БДС EN ISO 8754 ASTM D4294 |
|  |  | 9.20. Pumping Apparent Viscosity /MRV/ | ASTM D4684, Procedure B |
|  |  | 9.21. Shear Stability | ASTM D6278 |
|  |  | 9.22. Saponification Number | БДС ISO 6293-1 ASTM D94, Method A |
|  |  | 9.23. Compatibility and Storage Stability | БДС 14348 |
|  |  | 9.24. Elements Content /metals and non-metals/: Silver, Aluminum, Barium, Boron, Chromium, Copper, Iron, Lead, Magnesium, Manganese, Molybdenum, Tin, Titanium, Silicon, Vanadium, Nickel, Sodium, Calcium, Zinc, Phosphorus | ASTM D5185 |
|  |  | 9.25. Rust-Preventing Characteristics in Presence of Distilled Water and Synthetic Sea Water | БДС ISO 7120 ASTM D665 |
| 10. | Aviation Oils | 10.1. Kinematic Viscosity | БДС EN ISO 3104, Procedure A ASTM D445 |
|  |  | 10.2. Viscosity Index | БДС ISO 2909 ASTM D2270 |
|  |  | 10.3. Density | БДС EN ISO 3675 ASTM D1298 |
|  |  | 10.4. Flash Point Open Cup | БДС EN ISO 2592 ASTM D92 |
|  |  | 10.5. Freezing Point | БДС 1751 |
|  |  | 10.6. Pour Point | БДС EN ISO 3016 ASTM D97 |
|  |  | 10.7. Acid Number | БДС ISO 6618 |
|  |  | 10.8. Color | БДС ISO 2049 ASTM D1500 |
|  |  | 10.9. Water Content | БДС ISO 3733 |
|  |  | 10.10. Mechanical Impurities | БДС 17411 |
|  |  | 10.11. Water Soluble Acids and Bases | БДС 5252 |
|  |  | 10.12. Ash | БДС EN ISO 6245 ASTM D482 |
|  |  | 10.13. Carbon Residue | БДС ISO 6615 |
| 11. | Metalworking Fluids | 11.1. Kinematic Viscosity | БДС EN ISO 3104, Procedure A ASTM D445 |
|  |  | 11.2. Density | БДС EN ISO 3675 ASTM D1298 |
|  |  | 11.3. Flash Point Open Cup | БДС EN ISO 2592 ASTM D92 |
|  |  | 11.4. Saponification Number | БДС ISO 6293-1 ASTM D94, Method A |
|  |  | 11.5. Pour Point | БДС EN ISO 3016 ASTM D97 |
|  |  | 11.6. Base Number | ASTM D2896 |
|  |  | 11.7. pH value | БДС 16749 |
|  |  | 11.8. Color | БДС ISO 2049 ASTM D1500 |
|  |  | 11.9. Mechanical Impurities | БДС 17411 |
|  |  | 11.10. Water Content | БДС ISO 3733 |
|  |  | 11.11. Corrosion on Copper Strip | БДС EN ISO 2160 ASTM D130 |
| 12. | Brake Fluids | 12.1. Kinematic viscosity | БДС EN ISO 3104, Procedure A ASTM D445 ASTM D7042 |
|  |  | 12.2. Density | БДС EN ISO 3675 ASTM D1298 ASTM D4052 |
|  |  | 12.3. Flash Point Open Cup | БДС EN ISO 2592 ASTM D92 |
|  |  | 12.4. Boiling Point | ISO 4925 |
|  |  | 12.5. pH value | ISO 4925 |
|  |  | 12.6. High-temperature Stability | ISO 4925 |
| 13. | Coolants | 13.1. Appearance | БДС 10126 |
|  |  | 13.2. Relative Density | ASTM D1122 |
|  |  | 13.3. Boiling point | БДС 10126 ASTM D1120 |
|  |  | 13.4. Crystallization temperature | БДС 10126 ASTM D1177 |
|  |  | 13.5. pH value | БДС 10126 ASTM D1287 |
|  |  | 13.6. Alkalinity | БДС 10126 ASTM D1121 |
|  |  | 13.7. Mechanical Impurities | БДС 10126 |
|  |  | 13.8. Foaming (Volume and Break time) | БДС 10126 ASTM D1881 |
|  |  | 13.9. Loss of Mass at Corrosion Test (copper, solder, brass, steel, cast-iron, cast-aluminum) | БДС 10126 ASTM D1384 |
|  |  | 13.10. Resistance to hard water | БДС 10126 |
| 14. | Nitrogen Oxides (NOx) Reduction Agent AUS 32 | 14.1. Urea Content | ISO 22241-2, Annex C |
|  |  | 14.2. Refractive index | ISO 22241-2, Annex C |
|  |  | 14.3. Alkalinity | ISO 22241-2, Annex D |
|  |  | 14.4. Biuret | ISO 22241-2, Annex E |
|  |  | 14.5. Aldehydes | ISO 22241-2, Annex F |
|  |  | 14.6. Insoluble substances | ISO 22241-2, Annex G |
|  |  | 14.7. Phosphates | ISO 22241-2, Annex H |
|  |  | 14.8. Metals Content: Aluminum, Calcium, Chromium, Copper, Iron, Magnesium, Sodium, Nickel, Zinc | ISO 22241-2, Annex I |

To perform sampling of:

| Type of the scope: flexible* |  |  |
| --- | --- | --- |
| № | Product | Sampling methods (standardized/ validated) |
| 1 | 2 | 3 |
| 1. | Base Oil components | БДС EN ISO 3170 |
| 2. | Lubricating Oils AN | БДС EN ISO 3170 |
| 3. | Gear Oils | БДС EN ISO 3170 |
| 4. | Turbine Oils | БДС EN ISO 3170 |
| 5. | Hydraulic Oils | БДС EN ISO 3170 |
| 6. | Compressor Oils | БДС EN ISO 3170 |
| 7. | Transmission Oils | БДС EN ISO 3170 |
| 8. | Transformer Oils | БДС EN IEC 60475 |
| 9. | Motor Oils | БДС EN ISO 3170 |
| 10. | Aviation Oils | БДС EN ISO 3170 |
| 11. | Metalworking Fluids | БДС EN ISO 3170 |
| 12. | Brake Fluids | БДС EN ISO 3170 |
| 13. | Coolants | БДС EN ISO 3170 |

*Flexible scope: Implementing a new version of standards/documents or standards / documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.