SCOPE 195 ЛИ

Sofia, 22.12.2023

CERB HIGH VOLTAGE LABORATORY LTD

HIGH VOLTAGE LABORATORY

Management and laboratory address:

1220 Sofia, Voenna Rampa, 1 Lokomotiv Str.

To perform testing of:

| Type of the scope: flexible |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristic | Testing methods (standard / validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Power transformers | 1.1. DC Resistance of windings by VA method | БДС 15320 |
|  |  | 1.2. Transformation factor | БДС 15320 |
|  |  | 1.3. Coil connection group | БДС 15320 |
|  |  | 1.4. Insulation resistance | БДС 16654 БДС 16654 |
|  |  | 1.5. Absorption coefficient |  |
|  |  | 1.6. Capacity | БДС 16654 |
|  |  | 1.7. Dielectric loss angle tangent | БДС 16654 |
|  |  | 1.8. Internal insulation test with variable test voltage (Withstand AC voltage applied from an external source) | БДС EN 60076-3 БДС 16249 БДС 9089 БДС EN 60060-1 БДС EN 60060-3 |
|  |  | 1.9. Frequency response | БДС EN 6007 6-18 |
| 2. | Current instrument transformers | 2.1. Insulation resistance | БДС 16654 |
|  |  | 2.2. Internal insulation test with variable test voltage (Withstand AC voltage applied from an external source) | БДС 9089 БДС EN 60060-1 БДС EN 60060-3 |
| 3. | Voltage instrument transformers | 3.1. Insulation resistance | БДС 16654 |
|  |  | 3.2. Internal insulation test with variable test voltage (Withstand AC voltage applied from an external source) | БДС 9089 БДС EN 60060-1 БДС EN 60060-3 |
| 4. | Generators and motors | 4.1. DC Resistance of windings by VA method | БДС EN 60034-4 БДС 6949 |
|  |  | 4.2. Insulation resistance | БДС 6949 |
|  |  | 4.3. Withstand voltage | БДС EN 60034-4 БДС EN 60060-1 БДС EN 60060-3 |

Flexible scope: Implementing a new version of standards/documents or standards/ documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by the laboratory.