ORDER 

№ A 240
Sofia, 31.03.2022
       “TERMO CONTROL 1” Ltd, SOFIA

Inspection Body, Type A
Management Address: 1784 Sofia  Block 29A, entr.B, fl.9, ap.48, Mladost 1 quarter
Office Address: 1756 Sofia, 27 str."Prof. Marko Semov”, entr.B, fl.6, ap.22, Darvenitsa quarter
To perform inspection, according to the following scope:
	Type of scope: flexible*

	No
	Scope of Control
	Control Type
	Controlled parameter / characteristic
	Test / measurement methods used in control
	Legal acts, standards, specifications, schemes

	1
	2
	3
	4
	5
	6

	1.
	Electrical installations and equipment up to 1000V
	On new and / or operational  sites and equipment
	-Circuit impedance "phase-protective conductor ”
	Ordinance  No RD-02-20-1,

(SG, issue 53/2018);

Application  No 4

ПК 7.1-4
	Ordinance  No 3,

SG, issue 90, 91/2004;

Ordinance  No 16-116,

SG, issue 26/2008;
ТS.

	
	
	
	Circuit breakers (SB):

- Touch voltage

- Trigger current

- Switch-off time

- Resistance of protective earth


	Ordinance  No RD-02-20-1,

(SG, issue 53/2018);

Application  No 5
ПК 7.1-5
	Ordinance  No 3,

SG, issue 90, 91/2004;

Ordinance  No 16-116,

SG, issue 26/2008;
ТS.

	
	
	
	-Insulation resistanc
	Ordinance  No RD-02-20-1,

(SG, issue 53/2018);

Application  No 2

ПК 7.1-3


	Ordinance  No 3,

SG, issue 90, 91/ 2004;

Ordinance  No 16-116,

SG, issue 26/2008;

Ordinance  No RD-02-20-1,

(SG, issue 53/2018);

Application  No 2
Art.13, para 2

ТS


	2.
	Electrical installations and equipment up to 1000V and over 1000V
	On new and / or operational  sites and equipment
	-Resistance of protective earthing system
	Ordinance  No RD-02-20-1,

(SG, issue 53/2018);

Application  No 3
ПК 7.1-1

	Ordinance  No 3,

SG, issue 90, 91/2004;

Ordinance  No 16-116,

SG, issue 26/2008;
TS.

	
	
	
	-Resistance of lightning protection earthing system
	Ordinance  No RD-02-20-1,

(SG, issue 53/2018);

Application  No 3
ПК 7.1-2

	Ordinance  No 4, 

SG, issue 6/2011;

Ordinance  No 16-116, 

SG, issue 26/2008;
ТS.

	3.
	Ventilation installations/systems
	On new and / or operational  sites and equipment
	- Air speed flow 

- Flow of ventilation installation
	БДС 12.3.018;

ПК 7.1-6


	Ordinance  No 15, 

SG, issue 68/2005;

Ordinance  No 24, 

SG, issue 95/2003;

Ordinance No RD-02-20-3

SG, issue 5/2016;
Ordinance  No 13, 

SG, issue 103/2016;

ТS.


	4.
	Stairs, elevator shafts, fire protection vestibules, rooms with high pressure requirement
	On new and / or operational  sites and equipment
	- Pressure (increased, manometric)


	БДС 12.3.018;

ПК 7.1-11

	Ordinance No Iz-1971,
SG, issue 96/2009;
Art. 25(1), Art.50(2), p.3, Art.79, Art.97, Art.98, Art.291(1),p.4,  Art.326(1)
ТS.

	5.

	Microclimate in work and home environments
	On new and / or operational  sites and equipment 

	-Air temperature 

-Relative humidity 

-Air velocity

	Ordinance No RD-07-3, SG, issue  63/2014;

БДС 16686;

ПК 7.1-7


	Ordinance  No RD-07-3, 

SG, issue  63/2014;
Ordinance  No 9, 
SG, issue 46/1994;
Ordinance  No 24,

SG, issue 95/2003;

Ordinance  No 2, 

SG, issue 15/2007;

Ordinance  No 3, 

SG, issue 15/2007;

Ordinance  No 26, 

SG, issue 103/2008;

БДС 14776;

ТS.


	6.
	Noise in work environment
	On operational  sites and equipment
	- Daily noise exposure level 

- Average weekly noise exposure level 

- Top sound pressure level
	БДС EN ISO 9612;

(БДС ISO 1999)
ПК 7.1-10
	Ordinance  No 6, 
SG, issue 70/2005;

TS.

	
	
	
	- Noise level

- Equivalent noise level
	БДС 15471;

ПК 7.1-8
	Ordinance  No 7, 
Article 138,

SG, issue  88/1999;

Ordinance  No 9, 

SG, issue 46/1994;

Ordinance  No 26, 

SG, issue 103/2008;

TS.

	7.
	Noise in residential and public buildings 
	On new and / or operational  sites and equipment
	- Equivalent noise level
- Noise level
	БДС 15471;

ПК 7.1-8


	Ordinance  No 6, 
SG, issue 58/2006;

Exhibit No 2, table.1, 

Ordinance  No 9, 

SG, issue 46/1994;

Ordinance  No 24,

SG, issue 95/2003;

Ordinance  No 2, 

SG, issue 15/2007;

Ordinance  No 26, 

SG, issue 103/2008;

TS.

	8.
	Noise in the environment - in different territories and development zones in urban areas and outside them
	On new and / or operational  sites and equipment
	- Equivalent noise level
- Noise level
	БДС 15471;

ПК 7.1-8


	Ordinance  No  6, 
SG, issue 58/2006;
Application No 2, table.2, 
TS.

	9.
	Artificial lighting in work and home environments
	On new and / or operational  sites and equipment
	- Lighting
	Methodical instructions 40-85 "Methods for measurement and assessment of artificial lighting" from 1985, ed. Standardization
ПК 7.1-9 

	Ordinance No 9, 

SG, issue 46/1994;

Ordinance No 24, 

SG, issue 95/2003;

Ordinance No 2,

SG, issue 15/2007;

Ordinance No 49, 

SG, issue 7/1976; 

Ordinance No 3, 

SG, issue 15/2007;

Ordinance No 26,

SG, issue 103/2008;

БДС EN 12464-1; 

Ordinance No Iz-1971, Article 55 (6),

SG, issue 96/2009;

Ordinance No RD-02-20-3

SG, issue 5/2016;
Ordinance No 19,

SG, issue 79/2008
Ordinance No 28,

SG, issue 109/2008;

ТS.


* The introduction of a new version of standards / documents or standards / documents that replace them is allowed. An up-to-date list of standards / documents with their dated versions is provided by the CAB.
Ordinance No. 3 on the configuration of electrical installations and power lines (SG iss. 90/2004, issue 91/2004)

Ordinance No. 16-116 on the technical operation of energy equipment (SG iss. 26/2008)

Ordinance no. 4 on the lightning protection of buildings, outdoor facilities and open spaces (SG iss. 6/2011)

Ordinance No. RD-02-20-1 - on technical rules and regulations for control and acceptance of electrical installation works (SG No. 53 / 2018);

Ordinance No. 15 - on the technical rules and regulations for the design, construction and operation of the sites and facilities for the production, transmission and distribution of thermal energy (SG No. 68/2005);

Ordinance No. 13 – on the radiation protection and safety when working with X-ray devices for medical purposes (SG No.103/2016)

Ordinance No. RD-07-3 on the minimum requirements for the microclimate of workplaces (SG iss. 63/10.08.2014) (effective from November 2014)

Ordinance No. 2 on health requirements for computer and internet rooms for public use (SG iss. 15/2007)

Ordinance No. 9 on the health and hygiene requirements for the use of personal computers in the education and extracurricular activities of students (SG iss. 46/1994)

Ordinance No. 24 on sanitary and hygienic requirements for discotheques (SG iss. 95/2003);

Ordinance No. 3 on the health requirements for kindergartens (SG No. 15/2007)

Ordinance No. 7 on the minimum requirements for health and safety working conditions at workplaces and when using work equipment (SG iss. 88/1999);

Ordinance No. 6 on the indicators of noise in the environment, taking into account the degree of discomfort during the different parts of the day, the limit values of the indicators of noise in the environment, the methods of evaluating the values of the indicators of noise and the harmful effects on the health of the population (SG No. 58/2006);

Ordinance No. 6 on the minimum requirements for ensuring the health and safety of workers in case of risks related to noise exposure (SG No. 70/2005);

Ordinance No. 49 on artificial lighting of buildings (SG iss. 7/1976)

Ordinance No. 26 on the organization and operation of nurseries and children's communal kitchens and the health requirements for them (SG iss. 103/2008)

Ordinance No. Iz-1971 - on construction and technical rules and norms for ensuring safety in case of fire (SG. No. 96/2009 r.)

Ordinance No. 28 on the structure, order and organization of work and the nomenclature of medicinal products (SG iss. 109/2008)

Ordinance No. 19 on the organization and order of the optics shops and the health requirements for them (SG iss. 79/2008)

Ordinance No. RD-02-20-3 for the design, implementation and maintenance of public service buildings in the fields of education and science, healthcare, culture and the arts. (SG iss. 5/2016, amendment iss.13/2016)


