SCOPE 92 ЛИ

Sofia, 30.08.2024

of HYDROSTROY AD

ROAD CONSTRUCTION LABORATORY

Management address: 1000 Sofia, 6 Tsar Osvoboditel Blvd.

Laboratory address: 9024, Topoli, Varna Municipality, Klise Bair Area

To perform testing of:

| Type of the scope: flexible* |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristic | Testing methods (standard / validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Stone material - for unbound and hydraulically bound mixtures - for asphalt mixtures, for concrete | 1.1. Particle size distribution | БДС EN 933-1 |
|  |  | 1.2. Stability in MgSO4 solution | БДС EN 1367-2 |
|  |  | 1.3. Particle density pycnometer/ basket method - specific gravity of particles - particle density in dry state - particle density in water-saturated surface dry state | БДС EN 1097-6 |
|  |  | 1.4. Water absorption pycnometer/ basket method | БДС EN 1097-6 |
|  |  | 1.5. Sand equivalent | БДС EN 933-8+А1 |
|  |  | 1.6. Form ratio | БДС EN 933-4 |
|  |  | 1.7. Index of flat particles | БДС EN 933-3 |
|  |  | 1.8. Breakability resistance as per “Los Angeles” | БДС EN 1097-2 |
|  |  | 1.9. Loose bulk density | БДС EN 1097-3 |
|  |  | 1.10. Water content | БДС EN 1097-5 |
|  |  | 1.11. Resistance to fragmentation of coarse additives upon static load | БДС EN 206+А2/ NA Annex NA.Q |
| 2. | Mineral flour for asphalt mixtures | 2.1. Particle size distribution | БДС EN 933-1 |
| 3. | Bitumens | 3.1. Penetration | БДС EN 1426 |
|  |  | 3.2. Softening point | БДС EN 1427 |
|  |  | 3.3. Elastic recovery | БДС EN 13398 |
|  |  | 3.4. Fraass breaking point | БДС EN 12593 |
| 4. | Bituminous emulsion | 4.1. Binder content after distillation | БДС EN 1431 |
|  |  | 4.2. Penetration (of recovered binder) | БДС EN 1426 |
|  |  | 4.3. Softening point (of recovered binder) | БДС EN 1427 |
|  |  | 4.4. Efflux time | БДС EN 12846-1 |
| 5. | Asphalt mixtures | 5.1. Particle size distribution after bitumen extraction | БДС EN 12697-2+А1 |
|  |  | 5.2. Bulk density - laboratory specimens - drilling core | БДС EN 12697-6 |
|  |  | 5.3. Maximum density – bulk procedure | БДС EN 12697-5 |
|  |  | 5.4. Voids content - air | БДС EN 12697-8 |
|  |  | 5.5. Stability | БДС EN 12697-34 |
|  |  | 5.6. Conditional plasticity | БДС EN 12697-34 |
|  |  | 5.7. Soluble binder content - by continuous flow centrifuge | БДС EN 12697-1 |
|  |  | 5.8. Bituminous layer compaction index | БДС EN 12697-9** |
|  |  | 5.9. Bituminous layer thickness – destruction measurement | БДС EN 12697-36 |
|  |  | 5.10. Irregularity of bituminous layer | БДС EN 13036-7 |
|  |  | 5.11. Bituminous mixture temperature - with contact thermometer | БДС EN 12697-13 |
|  |  | 5.12. Dimensions of a bituminous specimen - height - diameter | БДС EN 12697-29 |
| 6. | Construction soils/ Unbound and hydraulically bound mixtures. Road constructions | 6.1. Water content | БДС EN 1097-5 БДС EN ISO 17892-1 |
|  |  | 6.2. On-site bulk/ dry density – sand displacement method – linear method with core pipe | AASHTO Т191 БДС EN ISO 17892-2 |
|  |  | 6.3. Plasticity index | AASHTO Т 90 БДС EN ISO 17892-12 |
|  |  | 6.4. Limits of: - flow - drain/ductility | AASHTO Т 89 AASHTO Т 90 БДС EN ISO 17892-12 |
|  |  | 6.5. Maximum bulk density of skeleton - shape А/100 - shape В/150 | БДС 17146 БДС EN 13286-2 |
|  |  | 6.6. Optimum water content - shape А/100 - shape В/150 | БДС 17146 БДС EN 13286-2 |
|  |  | 6.7. Compaction index | AASHTO Т 191, БДС 17146 |
|  |  | 6.8. California bearing ratio (CBR) / Immediate bearing ratio | БДС EN 13286-47 |
|  |  | 6.9. Elastic/deformation modulus by round plate loading, Ratio of deformation moduli | БДС 15130 |
| 7. | Concrete mixture | 7.1. Settling | БДС EN 12350-2 |
|  |  | 7.2. Density | БДС EN 12350-6 |
| 8. | Hardened concrete | 8.1. Compressive strength | БДС EN 12390-3 |
|  |  | 8.2. Hardened concrete density | БДС EN 12390-7 |

** Repealed but not replaced standards with regard to the testing method.

To perform sampling of:

| Type of the scope: flexible |  |  |
| --- | --- | --- |
| № | Product | Sampling method (standardized/ validated) |
| 1 | 2 | 3 |
| 1. | Rock material | БДС EN 932-1 |
| 2. | Asphalt mixtures | ## БДС EN 12697-27 |
| 3. | Asphalt layer | БДС EN 12697-27 |
| 4. | Construction soils/ Unbound and hydraulically bound mixtures | БДС 17146, БДС EN 13286-1 |
| 5. | Concrete mixtures | БДС EN 12350-1 |
| 6. | Bitumen/ bitumen emulsions | БДС EN 58 |

*Flexible scope: Implementing a new version of standards/documents or standards/documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.