	



ORDER 
№ A 323
Sofia, 26.08.2024
INSPECTION BODY TYPE C “ELTRANSCONTROL” 
at TRANSNERGO AND RP DEPARTMENT 
of STOLICHEN ELECTROTRANSPORT JSC
Registered address: 1233 Sofia, 30 Podpolkovnik Kaliltin Str.

Office address: 1202 Sofia, 16 Kozlodui Str. (7 Rila Str.)
To perform inspection of:

	Scope type: flexible*

	№


	Field of Inspection 
	Type of Inspection
	Inspected parameter / characteristic
	Testing/

measurement methods used; inspection procedure
	Regulations, standards, specifications, and inspection schemes

	1
	2
	3
	4
	5
	6

	1.
	Electrical systems and equipment for voltage up to and above 1,000 V
	Of new and/or in use/operation sites/facilities

	1.1. Resistance of protective grounding systems
	PKP 7.1.1-1


	Ordinance No 3, 
SG № 90-91/2004; Ordinance № 16-116 
SG № 26/2008;

PPTIS-SET/2018;

OTIKM-ET/1999;

PPKL-SET/2018;

TS (Technical Specification)

	
	
	
	1.2. Resistance of lightning protection grounding systems
	PKP 7.1.1-2 
	Ordinance № 3, 

SG № 90-91/2004; Ordinance № 16- 116, 

SG № 26/2008; Ordinance № 4, 

SG № 6/2011;
OTIKM-GET/1999;

TS

	
	
	
	1.3. Insulation resistance
	БДС 1986, sub-paragraph 3.3, letters a), b), e) and f)

БДС 16654 

БДС 15089 

БДС 13910

(revoked without replacement)

PKP 7.1.1-3
	Ordinance № 16- 116, 

SG № 26/2008;

Ordinance № 13,

SG № 12/2006;

NIEMS/1995;

PPTIS-SET/2018,

OTIKM-GET/1999;

PPKL-SET/2018;

TS

	
	
	
	1.4. Insulation with increased constant voltage of power cables up to 20  kV
	БДС 2406

PKP 7.1.1-4
	Ordinance № 16- 116, 

SG № 26/2008;

NIEMS/1995;

PPTIS-SET/2018;

PPKL-SET/2018;

TS

	
	
	
	1.5. Insulation with increased alternating voltage of electrical equipment and devices: power transformers, current transformers, apparatus, insulators, power lines up to 

20 kV.
	БДС 9089 

БДС 16249 

БДС 15235

PKP 7.1.1-5
	Ordinance № 16- 116, 

SG № 26/2008;

NIEMS/1995;

PPTIS-SET/2018;

PPKL-SET/2018;

TS

	
	
	
	1.6. Transient resistance in contact systems
	Ordinance № 3, SG № 90-91/
2004

PKP 7.1.1-7
	Ordinance № 3,

SG № 90-91/2004;

NIEMS/1995;

PPTIS-SET/2018;

TS

	
	
	
	1.7. Actuation and return current, and relay protection actuation time

	БДС 7862

PKP 7.1.1-8
	Ordinance № 3, 

SG № 90-91/2004

TS

	2.
	Electrical insulation

(transformer) oil
	Of new and/or 

in use/operation sites/facilities
	Breakdown

voltage
	БДС EN 60156 PKP 7.1.1-6
	Ordinance № 16- 116, 

SG № 26/2008, 

TS

	3.
	Electrical voltage systems up to 

1,000V
	Of new and/or 

in use/operation sites/facilities
	Impedance of the “phase - protective conductor” loop
	PKP 7.1.1-9
	Ordinance № 3, 

SG № 90-91/2004; Ordinance № 16- 116, 

SG № 26/2008; 

TS

	4.
	Electrical protection devices:

insulating rods

of all types:

operational, measuring,

for portable

grounders; insulating

pliers;
voltage  indicators; 
voltage indicators for phase matching verification;

electric meter

pliers; dielectric

gloves; dielectric
	in use/operation facilities/

products
	Electrical strength of the insulation through test voltage; leakage current;

Phase matching check;

Voltage threshold;

	Ordinance № 22- 2006, 

SG № 45/2006

7.1.1-10
	Ordinance № 22, SG № 45/2006

TS

	
	verification;

electric meter

pliers; 
dielectric gloves; dielectric boots, boots and

galoshes; dielectric mats, strip-carpets,

insulating 

underlays and

coatings
	
	
	
	

	5.
	Lifting mechanisms and fittings with lifting capacity of up to 4.8 tons
	Of new and in operation facilities/

products
	Visual control for the absence of visible cracks, residual deformation or damage to a hand winch (ratchets, corkscrews) and patents (clamps, grips) under static load
	Sub-paragraph 6.3.2.2 of 

БДС EN 13157 +A1;

PKP 7.1.1-11
	Sub-paragraph 6.3.2.2 of 

БДС EN 13157+A1; 

TS


* The introduction of a new version of standards/documents or standards/documents replacing them is allowed. An up-to-date list of standards/documents with their dated versions is provided by the Conformity Assessment Body (CAB).

Legend:

Ordinance № 3 (State Gazette № 90 and 91/2004) on the Structure of Electrical Systems and Power Lines;

Ordinance № 16-116 (State Gazette № 26/2008) on the Technical Operation of Energy Equipment;

Ordinance № 4 (State Gazette № 6/18.01.2011) on the Lightning Protection of Buildings, Outdoor Facilities and Open Spaces;

Ordinance № 13 (State Gazette № 12/2006) on Ensuring Health and Safety at Work in Railway Transport;

Ordinance № 22 State Gazette № 45/ 2006 on Testing Electrical Protection Equipment in Operation;

NIEMS - 1995 - Standards for Testing Electrical Machinery and Equipment, 1995 of the Energy Commission;

PPTIS-SET/2018 - Regulations on the Ongoing Maintenance and Repair of Facilities in the Rectifiers of the Urban Electric Transport;

OTIKM-GET/1999 - General Technical Requirements for Contact Networks of the Urban Electric Transport;

PPKL-SET/2018 - Regulations on Technical Operation of the Cable Lines of the Urban Electric Transport.
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