SCOPE 140 ЛИ

Sofia, 25.09.2024

REGIONAL HEALTH INSPECTORATE - STARA ZAGORA

LABORATORY TESTING COMPLEX

Management and laboratory address:

6000 Stara Zagora, Stara Zagora Municipality, 10 Stefan Karadzha Str.

To perform testing of:

| Type of the scope: flexible for a part of the scope* |  |  |  |
| --- | --- | --- | --- |
| № | Tested Products | Type of test/ Characteristic | Testing methods (standard/ validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Bottled natural, mineral (1), spring and table water (2); | Total count of aerobic mesophilic and facultative anaerobic microorganisms at 22° and 37°C | БДС EN ISO 6222 (1), (2) |
|  |  | Coliform | БДС EN ISO 9308-1/A1 (1), (2) |
|  |  | Escherichia coli | БДС EN ISO 9308-1/A1 (1), (2) |
|  |  | Enterococcus (E. faecium)/ Faecalis Streptococcus | БДС EN ISO 7899-2 (1), (2) |
|  |  | Sulfite-reducing Clostridia/ Clostridium perfringens | БДС EN 26461-2 (1), (2) БДС EN ISO 14189 (1), (2) |
|  |  | Pseudomonas aeruginosa | БДС EN ISO 16266 (1), (2) |
|  |  | pH | БДС EN ISO 10523 (2) |
|  |  | Aluminum | БДС EN ISO 17294-2 (2) |
|  |  | Ammonium ions | БДС EN ISO 14911 (2) |
|  |  | Antimony | БДС ISO 17378-2 (1), (2) БДС EN ISO 17294-2 (1), (2) |
|  |  | Arsenic | БДС ISO 17378-2 (1), (2) БДС EN ISO 17294-2 (1), (2) |
|  |  | Barium | БДС EN ISO 17294-2 (1) |
|  |  | Boron | БДС EN ISO 17294-2 (1), (2) |
|  |  | Bromates | ISO 15061 (2) |
|  |  | Electrical conductivity | БДС EN 27888 (2) |
|  |  | Iron | БДС EN ISO 17294-2 (2) |
|  |  | Mercury | ВЛМ №1/2016 (1), (2) БДС EN ISO 17294-2 (1), (2) |
|  |  | Cadmium | БДС EN ISO 15586 (1), (2) БДС EN ISO 17294-2 (1), (2) |
|  |  | Calcium | БДС ISO 6058 (2) |
|  |  | Magnesium | ВЛМ № 3/2024 (2) |
|  |  | Manganese | БДС ISO 6333 (1), (2) БДС EN ISO 17294-2 (1), (2) |
|  |  | Copper | ISO 8288, A (1), (2) БДС EN ISO 17294-2 (1), (2) |
|  |  | Turbidity | БДС EN ISO 7027-1 (2) |
|  |  | Sodium | БДС ISO 9964-3 (2) БДС EN ISO 14911 (2) |
|  |  | Nickel | БДС EN ISO 15586 (1), (2) БДС EN ISO 17294-2 (1), (2) |
|  |  | Nitrates | БДС ISO 7890-3 (1), (2) БДС EN ISO 10304-1 (1), (2) |
|  |  | Nitrites | БДС EN 26777 (1), (2) БДС EN ISO 10304-1 (1), (2) |
|  |  | Total hardness | БДС ISO 6059 (2) |
|  |  | Lead | БДС EN ISO 15586 (1), (2) БДС EN ISO 17294-2 (1), (2) |
|  |  | Permanganate oxidizability | БДС EN ISO 8467 (2) |
|  |  | Selenium | ISO/TS 17379-2 (1), (2) БДС EN ISO 17294-2 (1), (2) |
|  |  | Sulfates | БДС EN ISO 10304-1 (2) |
|  |  | Uranium natural | БДС EN ISO 17294-2 (2) |
|  |  | Fluorides | БДС EN ISO 10304-1 (1), (2) |
|  |  | Phosphates | БДС EN ISO 10304-1 (2) |
|  |  | Chlorides | ISO 9297 (2) БДС EN ISO 10304-1 (2) |
|  |  | Chromium | БДС EN ISO 17294-2 (1), (2) |
|  |  | Zinc | ISO 8288, A (2) БДС EN ISO 17294-2 (2) |
|  |  | Trihalomethanes (total)*, as amount of: chloroform, bromoform, dibromochloromethane, bromodichloromethane | БДС EN ISO 10301, cl. 3 (2) |
|  |  | 1,2-dichloroethane | БДС EN ISO 10301, cl. 3 (2) |
|  |  | Tetrachloroethylene and trichloroethylene (total) | БДС EN ISO 10301, cl. 3 (2) |
|  |  | Benzene | БДС ISO 11423-1 (2) |
|  |  | Pesticides:* | БДС EN ISO 6468 (2) БДС EN 12918 (2) Annex B |
|  |  | Pesticides (total)*, as amount of concentrations of all individual pesticides | БДС EN ISO 6468 (2) БДС EN 12918 (2) Annex B |
| 2. | Surfaces testing for determining hygiene status | Total count of microorganisms | БДС EN ISO 4833-1/A1 |
|  |  | Coliform | ISO 4832 |
|  |  | Staphylococcus aureus | БДС EN ISO 6888-1/A1 |
|  |  | Salmonella spp. | БДС EN ISO 6579-1/A1 |
|  |  | Listeria monocytogenes | БДС EN ISO 11290-1, cl. 9.5.2 |
| 3. | Water intended for drinking and household purposes | Total count of microorganisms at 22°C and 37°C | БДС EN ISO 6222 |
|  |  | Coliform | БДС EN ISO 9308-1/A1; БДС 17336, cl. 1.1 |
|  |  | Escherichia coli | БДС EN ISO 9308-1/A1; БДС 17336, cl. 1.3 |
|  |  | Enterococcus | БДС EN ISO 7899-2; БДС 17335, cl. 1.4 |
|  |  | Legionella | БДС EN ISO 11731 |
|  |  | Sulfite-reducing Clostridia / Clostridium perfringens | БДС EN 26461-2 БДС EN ISO 14189 |
|  |  | Color | БДС 8451 |
|  |  | Taste | БДС 8451, cl. 3.3 |
|  |  | Odor | БДС 8451, cl. 4.3.1 |
|  |  | Turbidity | БДС EN ISO 7027-1 |
|  |  | Active reaction (pH) | БДС EN ISO 10523 |
|  |  | Aluminum | БДС ISO 10566 БДС EN ISO 17294-2 |
|  |  | Ammonium ions | БДС ISO 7150-1 БДС EN ISO 14911 |
|  |  | Antimony | БДС ISO 17378-2 БДС EN ISO 17294-2 |
|  |  | Arsenic | БДС ISO 17378-2 БДС EN ISO 17294-2 |
|  |  | Boron | БДС ISO 9390 БДС EN ISO 17294-2 |
|  |  | Bromates | ISO 15061 |
|  |  | Electrical conductivity | БДС EN 27888 |
|  |  | Iron | БДС ISO 6332 БДС EN ISO 17294-2 |
|  |  | Mercury | ВЛМ №1/2016 БДС EN ISO 17294-2 |
|  |  | Cadmium | БДС EN ISO 15586 БДС EN ISO 17294-2 |
|  |  | Calcium | БДС ISO 6058 |
|  |  | Magnesium | ВЛМ № 3/2024 |
|  |  | Manganese | БДС ISO 6333 БДС 3559 БДС EN ISO 17294-2 |
|  |  | Copper | ISO 8288, A БДС EN ISO 17294-2 |
|  |  | Sodium | БДС ISO 9964-3 БДС EN ISO 14911 |
|  |  | Nickel | БДС EN ISO 15586 БДС EN ISO 17294-2 |
|  |  | Nitrates | БДС ISO 7890-3 БДС 3758 БДС EN ISO 10304-1 |
|  |  | Nitrites | БДС EN 26777 БДС EN ISO 10304-1 |
|  |  | Total hardness | БДС 3775 БДС ISO 6059 |
|  |  | Lead | БДС EN ISO 15586 БДС EN ISO 17294-2 |
|  |  | Permanganate oxidizability | БДС 3413 БДС EN ISO 8467 |
|  |  | Selenium | ISO/TS 17379-2 БДС EN ISO 17294-2 |
|  |  | Sulfates | БДС 3588 cl. 5 БДС EN ISO 10304-1 |
|  |  | Dry residue | БДС 3546 |
|  |  | Uranium natural | БДС EN ISO 17294-2 |
|  |  | Fluorides | БДС 16911 cl. 1 БДС EN ISO 10304-1 |
|  |  | Phosphates | БДС EN ISO 6878, cl.4 БДС EN ISO 10304-1 |
|  |  | Chlorides | БДС 3414 ISO 9297 БДС EN ISO 10304-1 |
|  |  | Chromium | БДС 7212 БДС EN ISO 17294-2 |
|  |  | Cyanides | БДС 7214; |
|  |  | Zinc | ISO 8288, БДС EN ISO 17294-2 |
|  |  | Trihalomethanes (total)*, as amount of: chloroform, bromoform, dibromochloromethane, bromodichloromethane | БДС EN ISO 10301, cl. 3 |
|  |  | 1,2-dichloroethane | БДС EN ISO 10301, cl. 3 |
|  |  | Tetrachloroethylene and trichloroethylene (total) | БДС EN ISO 10301, cl.3 |
|  |  | Benzene | БДС ISO 11423-1 |
|  |  | Pesticides:* | БДС EN ISO 6468; БДС EN 12918 Annex B |
|  |  | Pesticides (total)*, as amount of concentrations of all individual pesticides | БДС EN ISO 6468; БДС EN 12918, Annex B |
| 4. | Water from swimming pools | Total count of microorganisms at 37°C | БДС 17335 |
|  |  | Total Colli titer | БДС 17335 |
|  |  | Escherichia colli titer | БДС 17335 |
|  |  | Staphylococcus titer | БДС 17335 |
|  |  | Enterococcus titer | БДС 17335 |
|  |  | Active reaction (pH) | БДС EN ISO 10523 |
|  |  | Ammonium ions | БДС ISO 7150-1 БДС EN ISO 14911 |
|  |  | Iron | БДС ISO 6332 БДС EN ISO 17294-2 |
|  |  | Manganese | БДС ISO 6333 БДС EN ISO 17294-2 |
|  |  | Nitrites | БДС EN 26777 БДС EN ISO 10304-1 |
|  |  | Permanganate oxidizability | БДС EN ISO 8467 |
| 5. | Mineral water at water sources used for drinking and medicinal purposes | Total count of aerobic mesophilic microorganisms - at 20°C to 22°C for 72 hours - at 37°C for 24 hours | БДС EN ISO 6222 |
|  |  | Coliform at 37°C | БДС EN ISO 9308-1/А1; БДС 17336, cl. 1.1 |
|  |  | Escherichia colli | БДС EN ISO 9308-1/А1; БДС 17336, cl. 1.3 |
|  |  | Enterococcus | БДС EN ISO 7899-2; БДС 17335, cl. 1.4 |
|  |  | Pseudomonas aeruginosa | БДС EN ISO 16266; БДС 17335, cl. 1.7 |
|  |  | Sulfitc-rcducing Clostridia/ Clostridium perfringens | БДС EN 26461-2; БДС EN ISO 14189 |
| 6. | Ground water | Active reaction (pH) | БДС EN ISO 10523 |
|  |  | Aluminum | БДС ISO 10566 |
|  |  | Ammonium ions | БДС ISO 7150-1 |
|  |  | Arsenic | БДС ISO 17378-2 |
|  |  | Boron | БДС ISO 9390 |
|  |  | Electrical conductivity | БДС EN 27888 |
|  |  | Iron | БДС ISO 6332 |
|  |  | Cadmium | БДС EN ISO 15586 |
|  |  | Calcium | БДС ISO 6058 |
|  |  | Magnesium | ВЛМ № 3/2024 |
|  |  | Manganese | БДС ISO 6333 |
|  |  | Copper | ISO 8288, A |
|  |  | Nickel | БДС EN ISO 15586 |
|  |  | Nitrates | БДС ISO 7890-3 |
|  |  | Nitrites | БДС EN 26777 |
|  |  | Total hardness | БДС ISO 6059 |
|  |  | Lead | БДС EN ISO 15586 |
|  |  | Permanganate oxidizability | БДС EN ISO 8467 |
|  |  | Phosphates | БДС EN ISO 6878, cl. 4 |
|  |  | Chlorides | ISO 9297 |
|  |  | Zinc | ISO 8288, A |
| 7. | Cosmetic products | Total count of heterotrophic mesophilic micro flora, | БДС 3741, cl. 11; БДС 10751, cl. 12; БДС EN ISO 21149/A1 |
|  |  | Yeasts and moulds | БДС EN ISO 16212/A1 |
|  |  | Escherichia coli | БДС EN ISO 21150/A1 |
|  |  | Staphylococcus aureus | БДС 10751, cl.3 БДС EN ISO 22718/A1 |
|  |  | Candida albicans | БДС EN ISO 18416/A1 |
|  |  | Pseudomonas aeruginosa | БДС EN ISO 22717/A1 |
|  |  | Active reaction pH | БДС 3741, cl. 10; БДС EN 1262 |
|  |  | Determination of lead content in cosmetic products | Compendium of methods for hygiene researches of NCHMEN, 2002, vol. IV; СД ISO/TR 17276, Annex C |
|  |  | Determination of cadmium content in cosmetic products | Compendium of methods for hygiene researches of NCHMEN, 2002, vol. IV; СД ISO/TR 17276, Annex C |
|  |  | Determination of arsenic content in cosmetic products | СД ISO/TR 17276, Annex C |
|  |  | Moisture and volatile matter content | БДС ISO 672; БДС 3741, cl. 4 |
|  |  | Identification and determination of formaldehyde | Ordinance № 14, SG № 68/ 2014, Annex №2, item XI |
|  |  | Determination of ammonia | Ordinance № 14, SG № 68/ 2014, Annex № 2, item XVI; БДС 10751, cl. 4.7 |
| 8. | Products intended to come into direct and prolonged contact with the skin | Nickel content | БДС EN 1811 |

To perform sampling of:

| Type of the scope: flexible |  |  |
| --- | --- | --- |
| № | Product | Sampling method (standardized/ validated) |
| 1 | 2 | 3 |
| 1. | Water: - Water intended for drinking and household purposes (1); - Water from swimming pools (2); - Mineral waters at water sources used for drinking and medicinal purposes (3); - Bottled natural, mineral, spring and table water (4) | БДС EN ISO 19458 (1), (2), (3) БДС 17335 (2), БДС ISO 5667-5 (1), БДС EN ISO 5667-14 (3), (4) |

Flexible scope: Implementing a new version of standards/documents or standards/ documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by the CAB.

*Within the framework of its competence, the laboratory is authorised to determine the products marked with ”*" (column 2) by characteristics (column 3), according to the test methods (column 4 and an up-to- date list of standards with their dated versions), after carry ing out verification (or validation), provision of CRM/RM relevant characteristics and calibrated technical means. The laboratory maintains a detailed, dated list of products belonging to those mentioned in the scope of accreditation.

Flexible scope references:

1. Compendium of methods for hvgiene researches, Vol. IV Sofia 2002 (NCHMEN) - Compendium of methods for hygiene researches, Vol. IV, Sofia, 2002, National Center of Hygiene, Medical Ecology and Nutrition.

2. Ordinance № 14, SG № 68/2014 - To determine detailed rules for presenting the information under Art 19, para. 4 of Regulation (EC) № 1223/2009 regarding cosmetic products, requirements for the effectiveness of sunscreen cosmetic products and chemical methods for verifying the composition of cosmetic products, Annex № 2, items XI and XVI.

Fixed scope reference:

ВЛМ № 1/2016 - Determination of mercury in water. Method using hydride generation atomic absorption spectrometry (HG-AAS).

BJIM № 3/2024 - Water quality. Determination of magnesium by calculation method.