ORDER

№ A 249

Sofia, 01.07.2024

„EMU“ AD, TARGOVISHTE

EMU CONTROL, INSPECTION BODY OF TYPE C

Management address: 7700, Targovishte, Razboyna District, p.o. box 174

Office address: 7700, Targovishte, 12 Pirin Str.

To perform inspection of:

| Type of scope: Flexible* |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| № | Field of Inspection | Type of Inspection | Parameter of Inspection / Characteristic | Test and Measurement Methods Used During Inspection, Inspection Procedure | Regulations, Standards, Specifications, Schemes |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | Electrical installations up to and including 750 kV | New and/or currently operated installations and facilities | Resistance of protective earthing systems | Technical policy – Electric substations and power lines – Electric Rower System Operator ПК 1 | Ordinance № 16-116 (SG № 26/2008) Ordinance № 3 (SG № 90 and 91/2004); TS |
|  |  |  | Resistance of lightning protection earthing systems | ПК 2 | Ordinance № 16-116 (SG № 26/2008) Ordinance № 4 (SG № 6/2011); TS |
|  |  |  | Earthed equipent’s connection to the earthing facility | Technical policy – Electric substations and power lines – Electric Rower System Operator ПК3 | Technical policy – Electric substations and power lines – Electric Rower System Operator/ 12.04.2022;TS |
|  |  |  | Tangential and foot voltage | Technical policy – Electric substations and power lines – Electric Rower System Operator ПК 4 | БДС EN 50522 Technical policy – Electric substations and power lines – Electric Rower System Operator/ 12.04.2022;TS |
| 2. | Electrical installations up to and including 1000 V | New and/or currently operated installations and facilities | Impedance of the "phase-protective conductor" circuit | ПК 5 | Ordinance № 16-116 (SG № 26/2008) Ordinance № 3 (SG № 90 and 91/2004); TS |
|  |  |  | Zero sequence circuit breakers: - tangential voltage; - trigger current; - shutdown time; - resistance of protective earthing | ПК 6 | Ordinance № 16-116 (SG № 26/2008) Ordinance № 3 (SG № 90 and 91/2004); TS |
| 3. | Cables and cable lines up to 35 kV | New and/or currently operated installations and facilities | Insulation resistance | БДС 1986, items 3.3.a,b,е, f; НИЕМС; ПК 7 | Ordinance № 16-116 (SG № 26/2008) Ordinance № 3 (SG № 90 and 91/2004); НИЕМС-1995; TS |
| 4. | Cables and cable lines up to 20 kV | New and/or currently operated installations and facilities | Electrical strength with increased DC voltage | БДС 2406, ПК 8 | Ordinance № 16-116 (SG № 26/2008); НИЕМC-1995; TS |
| 5. | Overhead power lines, open and closed distribution systems up to and including 750 Kv | New and/or currently operated installations and facilities | Transient resistance in tension terminals, screw and bolt joints | НИЕМС; ПК 9 | Ordinance № 16-116 (SG № 26/2008); НИЕМС -1995; TS |
| 6. | Electrical insulating oil | New and/or currently operated installations and facilities | Breakthrough voltage | БДС EN 60156; ПК 10 | Ordinance № 16-116 (SG № 26/2008); НИЕМС -1995; TS |
| 7. | Optical cables, optical cable lines | New and/or currently operated installations and facilities | Imported attenuation from inhomogeneity; total attenuation; loss of reverse reflection | БДС EN 60793-1-22; БДС EN 60793-140; БДС EN 61280-4-2; ПК 11 | Bulgarian Telecommunication Company’s instruction for the construction of optical cable lines – 2004; ТS |
| 8. | Artificial lighting in work and living environment | New and/or currently operated installations and facilities | Illumination | Methodical guidelines on the measurement and evaluation of artificial lighting-85, publishing house "Standardization" -1985; ПК 12 | Ordinance № 49 (SG № 7/1976); БДС EN 12464-1; ТS |

*The introduction of a new version of standards/documents or standards/documents that replace them is allowed. An up-to-date list of standards/documents with their dated versions is provided by the CAB.

References:

Ordinance № 16-116 on energy equipment’s technical operation (as published in SG № 26/2008;

Ordinance № 3 on the structure of electrical installations and power lines (published in SG № 90/2004, and SG № 91/2004;

Ordinance № 4 on the lightning protection of buildings, external facilities and open spaces (SG № 45/2006);

Ordinance № 49 on buildings’ artificial lighting (SG № 7/1976, amended in SG № 64/1976);

NIEMS-1995 - Standards for electrical machinery and equipment testing – 1995 issued by the Energy Commission;

Methodological guidelines for measurement and assessment of artificial lighting in buildings 40-85, Compendium of methods NCHMEH, volume IV, ed. Standardization, 1985;

Technical policy - electrical substations and power lines - ESO/12.04.2022;

Instruction for construction of optical cable lines - БTК ЕАД „БTK - НИИС" - 2004.