SCOPE 190 ЛИ

Sofia, 25.09.2024

REGIONAL TESTING LABORATORY, STARA ZAGORA

at NATIONAL DIAGNOSTIC AND RESEARCH

VETERINARY MEDICAL INSTITUTE  PROF. DR. G. PAVLOV

Management address: 1606 Sofia, 15A Pencho Slaveykov Blvd.

Laboratory address: 6002 Stara Zagora, 58 Slavyanski Blvd.

To perform testing of:

| Type of the scope: flexible |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristics | Test methods (standard/validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Muscles of domestic pigs and wild boars, equidae | Detection of Trichinella larvae | БДС EN ISO 18743 Detection of Trichinella larvae in meat by the method of grinding |
| 2. | Brain samples at the level of the obex from cattle, buffaloes, deer (1), sheeps and goats (2) | Detection of prion proteins: | - Enzyme linked immunosorbent assay /ELISA/ (1) WOAH Terrestrial Manual |
|  |  |  | - Enzyme linked immunosorbent assay /ELISA/ (2) WOAH Terrestrial Manual |
| 3. | Blood samples from large ruminants | Detection of antibodies against the leukosis virus | - Enzyme-linked immunosorbent assay /ELISA/ WOAH Terrestrial Manual |
| 4. | Blood samples from large and small ruminants, pigs, dogs, horses | Detection of antibodies against leptospira (Leptospira spp.) | Microscopic agglutination test/MAT/ WOAH Terrestrial Manual |
| 5. | Blood samples from large and small ruminants (1) and from pigs (2) | Detection of antibodies against brucellosis (Brucella spp.): | - Enzyme-linked immunosorbent assay /ELISA/ (1) - Roz-bengal test -rapid aglutination (1), (2) -Complement fixation test (CFT) (1), (2) WOAH Terrestrial Manual |
| 6. | Blood sera from pigs | Detection of antibodies against classical swine fever virus: | - Enzyme-linked immunosorbent assay /ELISA/ WOAH Terrestrial Manual |
| 7. | Blood sera from small ruminants (rams and he-goats) | Detection of antibodies against contagious epididymitis (Brucella ovis): | -Complement fixation test (CFT) WOAH Terrestrial Manual |
| 8. | Blood samples from domestic pigs (1), and wild boars (2) | Detection of antibodies against African swine fever virus: | - Enzyme-linked immunosorbent assay/ELISA/(1), (2) - Polymerase chain reaction for detection of the African swine fever genome. (1), (2) WOAH Terrestrial Manual |
| 9. | Bees | Detection of Nosema ssp. spores in bees | Microscopic test WOAH Terrestrial Manual |
|  |  | Detection of Varroa spp. in bees | Microscopic test WOAH Terrestrial Manual |

Flexible scope: Implementing a new version of standards/documents or standards/ documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.

Reference:

WOAH – World Organisation of Animal Health – Terrestrial Manual.