SCOPE 1 ЛК

Sofia, 31.10.2024

UNISYST LTD

CALIBRATION LABORATORY FOR MEASURING INSTRUMENTS

Management address: 1113 Sofia, Slatina, Akad. G. Bonchev Str, Block 105

Laboratory address: 1582 Sofia, Druzhba-2, 144 Prof. Tsvetan Lazarov Blvd.

To perform calibration of:

| Type of scope: fixed |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| № | Measuring instrument |  | Measured quantity, Measurement unit | Range of measurement | Measurement uncertainty | Calibration method |
| 1 | 2 |  | 3 | 4 | 5 | 6 |
| 1.* | DC voltmeters |  | Direct voltage, DCU, V | from 0,0 mV to 200 mV | from 7,5.10-3 mV to 2.10-2 mV | МК 7.02 01-01:2020 |
|  |  |  |  | from 0,2 V to 200 V | from 2.10-2 mV to 4,4.10-3 V |  |
|  |  |  |  | from 200 V to 1 000 V | from 4,4.10-3 V to 6.10-2 V |  |
| 2. | AC voltmeters (45 Hz and 1 kHz) |  | Alternating voltage, ACU, V | from 10 mV to 200 mV | from 3.10-2 mV to 0,17 mV | МК 7.02 01-13:2020 |
|  |  |  |  | from 200 mV to 200 V | from 0,17 mV to 4.10-2 V |  |
|  |  |  |  | from 200 V to 1000 V | from 4.10-2 V to 0,35 V |  |
| 3.* | DC voltage calibrators |  | Direct voltage, DCU, V | from 0,0 mV to 100 mV | from 2,1.10-3 mV to 5.10-3 mV | МК 7.02 01-01:2020 |
|  |  |  |  | from 0,1 V to 10 V | from 5.10-6 V to 2,4.10-4 V |  |
|  |  |  |  | from 10 V to 1000 V | from 2,4.10-4 V to 6.10-2 V |  |
|  |  |  |  | from 1000 V to 20 000 V | from 1.101 V to 2.102 V |  |
| 4.* | AC voltage calibrators (45 Hz and 1 kHz) |  | Alternating voltage, ACU, V | from 0,01 V to 750 V | from 5.10-5 V to 0,5 V | МК 7.02 01-13:2020 |
|  | AC voltage calibrators (50 Hz) |  |  | from 1000 V to 20 000 V | from 2.101 V to 4.102 V |  |
| 5.* | DC ammeters |  | Direct current, DCI, A | from 0,0 mА to 20 mА | from 1,8.10-4mА to 1,5.10-3 mА | МК 7.02 01-02:2018 |
|  |  |  |  | from 0,02 А to 2 А | from 1,5.10-3 mА to 2,4.10-4 А |  |
|  |  |  |  | from 2 A to 20 А | from 2,4.10-4 A to 6,7.10-3 А |  |
| 6. | AC ammeters (45 Hz and 1 kHz) |  | Alternating current, ACI, A | from 0,1 mА to 200 mА | from 3,8.10-3 mА to 0,7 mА | МК 7.02 01-12:2018 |
|  |  |  |  | from 200 mA to 20 А | from 0,7.10-3 А to 6.10-3 A |  |
| 7.* | AC current calibrators (45 Hz and 1 kHz) |  | Alternating current, ACI, A | from 1 mА to 100 mА | from 6.10-3 mА to 9.10-2 mА | МК 7.02 01-12:2018 |
|  |  |  |  | from 100 mA to 10 А | from 9.10-5 A to 1,8.10-2 A |  |
| 8. | DCI/ACI (45 Hz and 1 kHz) clamp meter |  | Direct and Alternating current, DCI and ACI, A | from 0,01 A to 1 000 А | from 5,8.10-3 А to 0,2 A | МК 7.02 01-02:2018 МК 7.02 01-12:2018 |
| 9.* | DC current calibrators |  | Direct current, DCI, A | from 0,0 mA to 100 mA | from 4.10-4 mА to 3,3.10-2 mА | МК 7.02 01-02:2018 |
|  |  |  |  | from 100 mA to 10 А | from 3,3.10-2mА to 9,4.10-3 A |  |
| 10.* | DC ohmmeters |  | Direct current resistance, R, Ω | from 0,000 1 Ω to 100 кΩ | from 3,2.10-8 Ω to 2,4.10-3 kΩ | МК 7.02 01-04:2018 |
|  |  |  |  | from 1 кΩ to 1 ТΩ | from 2,8.10-4 kΩ to 7 GΩ |  |
| 11.* | Electrical resistance measure |  | Direct current resistance, R, Ω | from 0,000 1 Ω to 100 Ω | from 3.4.10-8 Ω to 1,2.10-2 Ω | МК 7.02 01-03:2018 |
|  |  |  |  | from 100 Ω to 100 МΩ | from 8,4.10-3 Ω to 0,18 МΩ |  |
| 12. | Frequency meters |  | Frequency, f, Hz | from 1 Hz to 20 МHz | oт 1,6.10-3 Hz to 0,58 kHz | МК 7.02 01-14:2018 |
| 13. | Frequency generators |  | Frequency, f, Hz | from 1 Hz to 1 GHz | oт 5,8.10-6 Hz to 8,2 .10-7 GHz | МК 7.02 01-14:2018 |
| 14.* | Inductance measuring instruments (1 kHz) |  | Inductance, L, H | from 1 μН to 50 mH | oт 3.10-4 mН to 2.10-2 mН | МК 7.02 01-15:2018 |
| 15. | Capacitance measuring instruments (300 Hz and kHz) |  | Capacity, С, F | at frequency 300 Hz from 1 nF to 50 μF | from 1 pF to 2,9.10-2 nF | МК 7.02 01-15:2018 |
|  |  |  |  | at frequency 1000 Hz from 1 nF to 100 nF | from 1 pF to 30 pF |  |
| 16. | Single-phase measuring instruments active power measurement (wattmeters) |  | Power P, W | AC power: U= 230 V f= 50 Hz and U= 115 V f= 60 Hz I: from 0,1 A to 10 A PF: from -1 to 1 | from 10 mW to 0,50 W | МК 7.02 01-16:2018 |
|  |  |  |  | DC power: U: from 1 V to 240 V I: from 0,01 A to 10 A | from 7,9 µW to 0,3 W |  |
| 17.* | Measuring instruments for measurement and simulating absolute, atmospheric, positive and negative pressure |  | Pressure, p, bar | from minus 2,5 mbar to 2,5 mbar | 2,0.10-3 mbar | МК 7.02 01-11:2018 |
|  |  |  |  | from minus 75 mbar to 75 mbar | 2,5.10-3 mbar |  |
|  |  |  |  | from minus 0,92 bar to 70 bar | from 2,5.10-4 bar to 6,5.10-3 bar |  |
|  |  |  |  | from 70 bar to 700 bar | from 4,0.10-2 bar to 0,20 bar |  |
|  |  |  |  | from 500 hPa to 1 100 hPa | from 2,2.10-2 hPa to 5,5.10-2 hPa |  |
| 18. | 18.1* Thermometers (digital, analog and liquid) |  | Temperature, t, °С | from minus 40 °С to 1 100 °С | from 0,06 °С to 2,0 °С | МК 7.02 01-07:2018 МК 7.02 01-10:2018 |
|  | 18.2 Infrared thermometers |  |  | from 150 °С to 1 100 °С | from 1,1 °С to 3,0 °С | МК 7.02 01-07:2018 |
| 19.* | 19.1 Resistance thermometers |  | Temperature, t, °С Resistance R, Ω, | from minus 40 °С to 600 °С | from 0,06 °С to 0,2 °С | МК 7.02 01-08:2018 |
|  |  |  |  | from 1 Ω to 10 000 Ω | from 7.10-3 Ω to 0,12 Ω |  |
|  | 19.2 Thermocouples |  | Temperature t, °С Thermoelectric voltage, mV | from minus 40 °С to 600 °С | from 0,30 °С to 0,90 °С | МК 7.02 01-09:2018 |
|  |  |  |  | from 600 °С to 1 100 °С | from 1,5 °С to 2,5 °С |  |
|  |  |  |  | from minus 10 mV to 200 mV | 2.10-3 mV |  |
| 20.* | 20.1 Indicators with input: unified electrical signal |  | Input: Resistance, R, Ω, Direct current, DCI, mA Direct voltage, DCU, mV (V) | from 0,001 Ω to 10 кΩ | from 7.10-5 Ω to 0,9 Ω | МК 7.02 01-06:2018 |
|  |  |  |  | from 0 mA to 20 mA | from 0,6 10-4mA to 6.10-4 mA |  |
|  |  |  |  | from minus 50 mV to 150 mV from 0 V to 5 V | from 1.10-3 mV to 2.10-3 mV |  |
|  | 20.2 Temperature indicators with input: DCU and R (simulation mode) |  | Temperature, t, °С | from minus 200 °С to 1 600 °С | from 0,06 °С to 5,0 °С | МК 7.02 01-05:2018 |
| 21. | Calipers (depth gauge and height gauge) |  | Length l, mm | up to 200 mm | 18 μm | МК 7.02 01-17:2018 |
| 22. | Micrometers (micrometer depth gauge and height gauge) |  | Length l, mm | up to 200 mm | 5,8 μm | МК 7.02 01-18:2018 |
| 23. | Measure of length with scale marks |  | Length l, m | up to 2 m | 0,12 mm | МК 7.02 01-19:2018 |
|  |  |  |  | from 2 m to 30 m | from 0,12 mm to 0,6 mm |  |
| 24.* | Stopwatches and timers | Digital | Time interval, s | from 0 s to 86400 s (24 h) | 0,01 s/24 h | МК 7.02 01-20:2018 |
|  |  | Mechanical | Time interval, s | from 0 s to 86400 s (24 h) | 1,0 s/24 h |  |
| 25. | Installation testers | Trip time | Time, ms | t: from 10 ms to 2 000 ms | from 0,59 ms to 0,90 ms | МК 7.02 01-21:2021 |
|  |  | Test current (50 Hz) | Alternating current, ACI, mА | Ia: from 10 mА to 2 500 mА | from 0,09 mА to 5,9 mА |  |
|  |  | Loop impedance | Impedance, Ω | Z: from 0,098 Ω to 1,8 kΩ | from 0,04 Ω to 11 Ω |  |
|  |  | Contact voltage (50 Hz) | Alternating voltage, ACU, V | from 0,1 V to 90 V | from 0,01 V to 0,1 V |  |
| 26. | Hygrometers |  | Relative humidity, %rh | from 20 %rh to 90 %rh | from 1,7 %rh to 2,5 %rh | МК 7.02 01-22:2022 |

Note: Calibration of the measuring instruments specified in clauses whit (*) is performed in the laboratory and on site, at the customer’s premises.

References:

|  | МК 7.02 01-01/2020 | Method for calibration of voltmeters and calibrators for direct voltage. |
| --- | --- | --- |
|  | МК 7.02 01-02/2018 | Method for calibration of ammeters and calibrators for direct current. |
|  | МК 7.02 01-03/2018 | Method for calibration of electrical resistance measure. |
|  | МК 7.02 01-04/2018 | Method for calibration of ohmmeters. |
|  | МК 7.02 01-05/2018 | Method for calibration of temperature indicators with input for thermocouples or resistance thermometers (ТС or RTD). |
|  | МК 7.02 01-06/2018 | Method for calibration of indicators on different quantities. |
|  | МК 7.02 01-07/2018 | Method for calibration of thermometers (digital, analog and infrared). |
|  | МК 7.02 01-08/2018 | Method for calibration of resistance thermometers. |
|  | МК 7.02 01-09/2018 | #### Method for calibration of thermocouples. |
|  | МК 7.02 01-10/2018 | Method for calibration of liquid thermometers. |
|  | МК 7.02 01-11/2018 | Method for calibration of measuring instruments for measuring and simulating of pressure. |
|  | МК 7.02 01-12/2018 | Method for calibration of ammeters and calibrators for alternating current. |
|  | МК 7.02 01-13/2020 | Method for calibration of voltmeters and calibrators for alternating voltage. |
|  | МК 7.02 01-14/2018 | Method for calibration of frequency meters and frequency generators |
|  | МК 7.02 01-15/2018 | Method for calibration of measuring instruments to measure R, L, C |
|  | МК 7.02 01-16/2018 | Method for calibration of measuring instruments to measure active power (wattmeters). |
|  | МК 7.02 01-17/2018 | Method for calibration of calipers (depth gauge and height gauge) |
|  | МК 7.02 01-18/2018 | Method for calibration of micrometers (micrometer depth gauge and height gauge). |
|  | МК 7.02 01-19/2018 | Method for calibration of measure of length with scale marks. |
|  | МК 7.02 01-20/2018 | Method for calibration of stopwatches and timers. |
|  | МК 7.02 01-21/2021 | Method for calibration of Installation testers. |
|  | МК 7.02 01-22/2021 | Method for calibration of hygrometers. |