SCOPE 6 МЛ

INDEPENDENT MEDICAL DIAGNOSTIC LABORATORY KANDILAROV LTD

KANDILAROV MEDICAL DIAGNOSTIC LABORATORY

Management address: 1463, Sofia, Triaditsa District, 64 Buzludzha Str, Ground Floor

Laboratory address: 1700, Sofia, Mladost 2, Building 261 D, Ground Floor

To perform testing of:

| Type of the scope: Fixed |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristic | Testing methods ### (standard / validated method) |
| 1 | 2 | 3 | ### 4 |
| Area(s) of activity of the medical laboratory: ### Hematology, Biochemistry. Immunology |  |  |  |
| ### Hematology |  |  |  |
| 1. | Blood count | 1.1 Complete Blood Count (CBC) / Differential Blood Count (DBC) - Hematocrit - Hemoglobin - Platelets - Erythrocytes - Leukocytes - Lymphocytes - Neutrophils - Monocytes - Basophils - Eosinophils - MCH - MCV - MCHC - Neutrophils % - Lymphocytes % - Monocytes % - Basophils % - Eosinophils % | ### SOP-X-036/2023 Sysmex XN1000 Analyzer |
| ### Biochemistry |  |  |  |
| 2. | Serum | 2.1 Total protein | ### SOP-BH-001/2023 Cobas 6000 Analyzer |
|  |  | 2.2 Albumin | ### SOP-BH-002/2023 Cobas 6000 Analyzer |
|  |  | 2.3 Glucose | ### SOP-BH-003/2023 Cobas 6000 Analyzer |
|  |  | 2.4 Creatinine | ### SOP-BH-004/2023 Cobas 6000 Analyzer |
|  |  | 2.5 Urea | ### SOP-BH-005/2023 Cobas 6000 Analyzer |
|  |  | 2.6 Uric acid | ### SOP-BH-006/2023 Cobas 6000 Analyzer |
|  |  | 2.7 Total bilirubin | ### SOP-BH-007/2023 Cobas 6000 Analyzer |
|  |  | 2.8 Direct bilirubin | ### SOP-BH-008/2023 Cobas 6000 Analyzer |
|  |  | 2.9 Cholesterol | ### SOP-BH-009/2023 Cobas 6000 Analyzer |
|  |  | 2.10 Triglycerides | ### SOP-BH-012/2023 Cobas 6000 Analyzer |
|  |  | 2.11 Lactate dehydrogenase LDH | ### SOP-BH-017/2023 Cobas 6000 Analyzer |
|  |  | 2.12 ASAT | ### SOP-BH-013/2023 Cobas 6000 Analyzer |
|  |  | 2.13 ALAT | ### SOP-BH-014/2023 Cobas 6000 Analyzer |
|  |  | 2.14 Alkaline phosphatase | ### SOP-BH-016/2023 Cobas 6000 Analyzer |
|  |  | 2.15 Amylase | ### SOP-BH-018/2023 Cobas 6000 Analyzer |
|  |  | 2.16 Amylase - pancreas | ### SOP-BH-019/2023 Cobas 6000 Analyzer |
|  |  | 2.17 Lipase | ### SOP-BH-020/2023 Cobas 6000 Analyzer |
|  |  | 2.18 Creatine kinase CK | ### SOP-BH-021/2023 Cobas 6000 Analyzer |
|  |  | 2.19 Calcium | ### SOP-BH-023/2023 Cobas 6000 Analyzer |
|  |  | 2.20 Phosphorus | ### SOP-BH-024/2023 Cobas 6000 Analyzer |
|  |  | 2.21 Potassium | ### SOP-BH-025/2023 Cobas 6000 Analyzer |
|  |  | 2.22 Sodium | ### SOP-BH-025/2023 Cobas 6000 Analyzer |
|  |  | 2.23 Chlorides | ### SOP-BH-025/2023 Cobas 6000 Analyzer |
|  |  | 2.24 Iron | ### SOP-BH-026/2023 Cobas 6000 Analyzer |
|  |  | 2.25 Iron-binding capacity | ### SOP-BH-027/2023 Cobas 6000 Analyzer |
|  |  | 2.26 Magnesium | ### SOP-BH-029/2023 Cobas 6000 Analyzer |
| ### Immunology |  |  |  |
| 2. | Serum | 2.27 Immunoglobulin A (IgA) | ### SOP-I-076/2023 Cobas 6000 Analyzer |
|  |  | 2.28 Immunoglobulin G (IgG) | ### SOP-I-077/2023 Cobas 6000 Analyzer |
|  |  | 2.29 Immunoglobulin M (IgM) | ### SOP-I-075/2023 Cobas 6000 Analyzer |

To perform sampling of:

| Type of the scope: Fixed |  |  |
| --- | --- | --- |
| № | Product | Sampling methods (standard/validated method) |
| 1 | 2 | 3 |
| 1. | Venous blood | SOP-PP-01/2023 |
| 2. | Capillary blood | SOP-PP-02/2023 |

References:

| Code/Validation Date | Procedure Name | Procedure Type |
| --- | --- | --- |
| Biochemistry - Analytical procedures |  |  |
| Quantitative determination of total protein in human serum and plasma | SOP-BH-001/ 10.01.2023 | Operational internal documented procedures developed in accordance with manufacturer's instructions and kit packaging inserts. |
| Quantitative determination of albumin in human serum and plasma | SOP-BH-002/ 10.01.2023 |  |
| Quantitative determination of glucose in human serum and plasma | SOP-BH-003/ 10.01.2023 |  |
| Quantitative determination of creatinine in human serum and plasma | SOP-BH-004/ 10.01.2023 |  |
| Quantitative determination of urea in human serum and plasma | SOP-BH-005/ 10.01.2023 |  |
| Quantitative determination of urinary acid in human serum and plasma | SOP-BH-006/ 10.01.2023 |  |
| Quantitative determination of total bilirubin in human serum and plasma | SOP-BH-007/ 10.01.2023 |  |
| Quantitative determination of direct bilirubin in human serum and plasma | SOP-BH-008/ 10.01.2023 |  |
| Quantitative determination of cholesterol in human serum and plasma | SOP-BH-009/ 10.01.2023 |  |
| Quantitative determination of triglycerides in human serum and plasma | SOP-BH-012/ 10.01.2023 |  |
| Quantitative determination of aspartate aminotransferase in human serum and plasma | SOP-BH-013/ 12.01.2023 |  |
| Quantitative determination of alanine aminotransferase in human serum and plasma | SOP-BH-014/ (ALAT)12.01.2023 |  |
| Quantitative determination of alkaline phosphatase in human serum and plasma | SOP-BH-016/ 12.01.2023 |  |
| Quantitative determination of lactate dehydrogenase in human serum and plasma | SOP-BH-017/ 12.01.2023 |  |
| Quantitative determination of alpha-amylase in human serum and plasma | SOP-BH-018/ 12.01.2023 |  |
| Quantitative determination of pancreatic alpha amylase in human serum and plasma | SOP-BH-019/ 12.01.2023 |  |
| Quantitative determination of lipase in human serum and plasma | SOP-BH-020/ 12.01.2023 |  |
| Quantitative determination of creatine kinase in human serum and plasma | SOP-BH-021/ 12.01.2023 |  |
| Quantitative determination of calcium in human serum and plasma | SOP-BH-023/ 11.01.2023 |  |
| Quantitative determination of phosphorus in human serum and plasma | SOP-BH-024/ 11.01.2023 |  |
| Quantitative determination of sodium, potassium and chlorine in serum and plasma | SOP-BH-025/ 11.01.2023 |  |
| Quantitative determination of iron in human serum and plasma | SOP-BH-026/ 11.01.2023 |  |
| Quantitative determination of unsaturated iron-binding capacity in human serum and plasma | SOP-BH-027/ 11.01.2023 |  |
| Quantitative determination of magnesium in human serum and plasma | SOP-BH-029/ 11.01.2023 |  |
| Hematology - Analytical procedures |  |  |
| Complete Blood Count (CBC)/ Differential Blood Count (DBC) in whole blood | SOP-X-036/ 19.01.2023 | Operational internal documented procedure developed in accordance with manufacturer's instructions and kit packaging inserts. |
| Immunology - Analytical procedures |  |  |
| Quantitative determination of IgM in human serum and plasma | SOP-I-075/ 06.02.2023 | Operational internal documented procedures developed in accordance with manufacturer's instructions and kit packaging inserts. |
| Quantitative determination of IgA in human serum and plasma | SOP-I-076/ 06.02.2023 |  |
| Quantitative determination of IgG in human serum and plasma | SOP-I-077/ 06.02.2023 |  |
| Sampling - Pre-analytical procedures |  |  |
| For venous blood sampling | SOP-PP-01/ 21.07.2023 | Operational internal documented procedures developed in accordance with manufacturer's instructions and kit packaging inserts. |
| For capillary blood sampling | SOP-PP-02/ 21.07.2023 |  |