ORDER

№ A 501

Sofia, 27.12.2024

I RE-ACCREDIT

INSPECTION BODY TYPE A

AT REGIONAL HEALTH INSPECTORATE OF THE TOWN OF BLAGOEVGRAD

Management and office address: 2700 Blagoevgrad, 2 Bratya Miladinovi Street

To perform inspection of:

| Type of scope: flexible* |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| # | Area of control | Type of control | Parameter/ Characteristics controlled | Test / Measurement Methods used at Control | Regulatory acts, Standards, Specifications, Schedules |
| 1 | 2 | 3 | 4 | 5 | б |
| I. | PHYSICAL FACTORS OF ENVIRON-MENT | New and/or in operation sites and facilities |  |  |  |
| 1. | Microclimate | New and/or in operation sites and facilities |  | Procedure ОКА-7.1-PR-10-13 |  |
|  |  |  | 1.Air temperature,°С 2.Relative air humidity, % 3.Airflow velocity, m/s | БДС 16686 Ordinance No. RD-07-3/ SG No. 63/2014 | Ordinance No. 9 SG No.46/1994; Addendum No. 1, Section III, p.1; Ordinance No. 2 SG No. 15/2007; Section IV, article 11, p. 1,2 and 3; Ordinance No. 24 SG No. 95/2003; Section II, article 5, p. 1, 2 and 3; Ordinance No. 3 SG No. 15/2007; Section IV, article 21, p.1,2 and 3; article 22 and article 23 Ordinance No. 26 SG No.103/2008; Section IV, article 24 (1), p. 1,2 and 3 Instruction No. 34 SG No. 82/1975; Section I, article 7, p.1, 2,3 and 4; БДС 14776 Ordinance No. RD - 07 - 3 /SG No. 63/2014 |
| 2. | Noise | New and/or in operation sites and facilities |  | Procedure ОКА-7.1 -PR-11-13 |  |
| 2.1 | Occupational noise (in working environment) |  | 1.Daily noise exposure level, dB(A); 2.Weekly average noise exposure level, dB(A); 3.Peak sound pressure level dB(C); | БДС EN ISO 9612 (БДС ISO 1999) | Ordinance No. 6 SG No. 70/2005; Technical Specification |
| 2.2 | Noise in various territories and development areas in urban areas and outside them | New and/or in operation sites and facilities | Equivalent noise level, dB(A) | БДС 15471 | Ordinance No. 6 (SG No. 58/2006); Addendum No. 2, Schedule 2; Ordinance No. 54 SG No. 3/2011; |
| 2.3 | Noise within the premises of residential and public buildings |  | - Noise level, dB(A); - Equivalent noise level, dB(A); | БДС 15471 | Ordinance No. 6 SG No. 58/2006; Addendum No. 2, Schedule 1; Ordinance No. 9 SG No. 46/1994.; Ordinance No. 24 SG No. 95/2003, Ordinance No. 2 SG No. 15/2007; Ordinance No. 26 SG No. 103/2008; Ordinance No. 6 SG No. 16/1977, article 2 Customer’s Technical Specification; |
| 3. | Lighting in occupational and household environment | New and/or in operation sites and facilities |  | Procedure ОКА-7.1-PR-12-13 |  |
|  |  |  | Illumination, lх | Methodological guidance for measuring and assessing artificial lighting in buildings 40-85, Standartizatsiya, 1985 | Ordinance No. 49 SG No. 7/1976; Addendum No.14 to article 43; Ordinance No. 24 SG No.95/2003, Section II, article 7; Ordinance No. 9 SG No. 4б/1994; Addendum No.1, Section III, p.4; Ordinance No. 2 SG No. 15/2007; Section IV, article 13; Ordinance No. 3 SG No. 15/2007; Section IV, article 24 (3); Ordinance No. 26 SG No.103/2008; Section IV, article 24 (3), p. 2; Instruction No. 34 SG No. 82/1975; Section I, article 8, p. 3; БДС EN 12464-1 Technical Specification |
| 4. | Ventilation systems | New and/or in operation sites and facilities |  | Procedure OKA-7.1-PR-14-13 |  |
|  |  |  | 1.Airflow velocity, m/s 2. Airflow rate, m3/h | БДС 12.3.018 | Ordinance No. 15 SG No. 68/2005 Chapter X, Sections II, III and V, article 305, Addenda No.18 and 12; and article ЗЗЗ, article 338 Ordinance No. 24 SG No. 95/2003. Section II, article 6; Instruction No. 34 SG No. 25/2002; Section I, article 9 Technical Specification |

* The introduction of a new version of or standard replacing them is allowed. Un updated list of the standards/documents with their dated versions is provided by the Compliance Assessment Body.

Ordinance No. 9 (SG No. 46/1994) on the health and hygienic requirements at the use of personal computers in students’ teaching and extracurricular activities;

Ordinance No. 2 (SG No. 15/2007) on the computer and internet halls for public use;

Ordinance No. 24 (SG No. 95/2003) on the sanitary-hygienic requirements for disco clubs; Ordinance No. 3 (SG No. 15/2007) on the health requirements for kindergartens;

Ordinance No. 26 (SG No. 103/2008) on the structure and activities of nursery schools and nursery kitchens and health requirements thereto;

Instruction No. 34 (SG No. 82/1975) on the hygiene of sport sites and equipment;

Ordinance No. RD-07-3 (SG No. 63/2014) on the minimum requirements to occupational microclimate;

Ordinance No. 6  from the 15th August 2005 on the minimum requirements for ensuring the health and safety of workers exposed to risks related to exposure to noise (SG No. 70/2005);

Ordinance No. 6  (SG  No 58/2006) on ambient noise indicators taking into account the degree of discomfort during different parts of the day and night, the limit values of ambient noise indicators in the premises of residential and public buildings, in areas and territories intended for residential construction, recreational areas and territories and mixed-use areas, the methods for assessing the values of noise indicators and the harmful effects of noise on the health of the population;

Ordinance No. 54 (SG No. 3/2011) on the operation of the national ambient noise monitoring system and on the requirements for carrying out own monitoring and providing information by the part of the industrial sources of ambient noise;

Ordinance No. 6 (SG No. 16/1977) on the provision of normal acoustic environment in residential and public buildings and places;

Ordinance No. 49 (SG No. 7/1976) on artificial lighting of buildings;

Ordinance No. 15 (SG No. 68/2005) on technical rules and norms for designing, building and operating sites and facilities for the production, conveyance and distribution of heat energy;

TS – Customer’s technical specification