
ORDER

№ A 299
Sofia, 20.07.2023
INSPECTION BODY OF TYPE C

SD „ELECTROSTATIC – TUMBALEV CО", PLOVDIV

Management address: 4210, Stamboliyski, 38 Nayden Gerov str. 
Office address: 4000, Plovdiv, 28 Patriarch Evtimiy str. 
	Type of scope: flexible*

	№
	Field of Inspection
	Type of Inspection
	Parameter of inspection/

Characteristic
	Test and Measurement Methods Used During Inspection
	Regulations, Standards, Specifications, Schemes

	1
	2
	3
	4
	5
	6

	1.
	Electrical

systems and

equipment up

to 1000 V
	new or/and

in operation

sites/

facilities
	earth fault loop

impedance
	РПК No 7.1.1
	Ordinance No 3 State

Gazette (SG) No 90

and 91/2004);

OrdinanceNo 16-116

(SG No 26/2008);

ТS

	
	
	new or/and

in operation

sites/

facilities
	residual-current

circuit breaker:

-trip current;

-earthing

protection

resistance;

-contact/touch

voltage
	РПК No 7.1.2
	Ordinance No 3 (SG

No 90 and 91/2004);

Ordinance No 16-116

(SG No 26/2008);

ТS

	
	
	new or/and

in operation

sites/

facilities

	insulation

resistance
	 БДС 1986,

item. 3.3 a),

b), d), e);

РПК No 7.1.3
	Ordinance No 3 (SG

No 90 and 91/2004);

Ordinance No 16-116

(SG No 26/2008);

ТS

	2.
	Electrical

systems and

equipment up

to and above

1000 V 


	new or/and

in operation

sites/

facilities
	- earthing

protection

systems

resistance;

-neutral to

earth resistance
	РПК №7.1.4 


	Ordinance No 3 (SG

No 90 and 91/2004);

Ordinance No 16-116

(SG No 26/2008);

ТS


	
	
	
	Lightning

protection

systems

resistance
	
	Ordinance No 4

(SG No 6/2011);

Ordinance No 16-116

(SG No 26/2008);

ТS

	3
	ELECTRICAL SAFETY EQUIPMENT

	3.1
	Operating

rods;

Insulated

matting. 
	products in

operation

	electrical

insulation

strength by

high voltage

testing
	Ordinance No

22 (SG No

45/200б);

РПК №7.1.5

	Ordinance No 22

(SG No 45/200б);

ТS



	3.2
	Voltage

indicators 
	products in

operation 
	electrical

insulation

strength by

high voltage

testing,

threshold

voltage

	
	

	3.3
	Dielectric

gloves, shoes

and boots
	products in

operation

	electrical

insulation

strength by

high voltage

testing, leakage

current

	
	

	4.
	 Microclimate in

work and

residential

environment

	new or/and

in operation

sites/

facilities
	-air

temperature;

-relative air

humidity;

-airflow speed
	БДС 16686;
Ordinance No

RD-07-3 (SG № бЗ/2014);

РПК № 7.1.7
	Ordinance No 9

(SG No 46/94);

Ordinance No 24

(SG No 95/2003);

Ordinance No 2

(SG No 15/2007);

Ordinance No 3

SG No15/2007);

Ordinance No RD-

07-3 (SG No

бЗ/2014);

БДС 14776;

ТS


	5.
	Artificial

lighting in work

places and

residential

environment 


	new or/and

in operation

sites/

facilities
	lighting
	Methodical

instructions for

measurement

and evaluation

of artificial

lighting in

buildings 40-

85, is.

"Standartizatio

n"/85;

РПК №7.1.6

	Ordinance No 49

(SG No 7/1976);

Ordinance No 9

(SG No 46/1994);

Ordinance No 24

(SG No 95/2003);

Ordinance No 2

(SG No 15/2007);

Ordinance No 3

(SG No 15/2007);

БДС EN 12464-1;

ТS

	6.
	NOISE

	6.1
	Noise in work

places 
	new or/and

in operation

sites/

facilities
	
	
	

	
	
	
	-daily noise

exposure level;

-average

weekly noise

exposure level;

-peak sound

pressure level
	БДС EN ISO 9612 

(БДС ISO 1999)

РПК 7.1.8.1
	Ordinance No 6

(SG No 70/2005) 

ТS

	
	
	
	equivalent

continuous

sound pressure

level 
	БДС 15471

РПК 7.1.8.1
	Ordinance No 7, art.

138 (SG No

88/1999);

Ordinance No 9

(SG No 46/1994)

ТS


	6.2
	Noise in

territories and

development

zones in urban

areas and

outside them
	new or/and

in operation

sites/

facilities

	equivalent

continuous

sound pressure

level
	БДС 15471

РПК 7.1.8.2

	Ordinance No 6,

Appendix No 2,

Table No 2

(SG No 58/2006);

TS

	6.3
	Noise in

residential and

public buildings 
	new or/and

in operation

sites/

facilities
	-sound pressure

level;

-equivalent

continuous

sound pressure

level
	БДС 15471

РПК 7.1.8.2

	Ordinance No 6,

Appendix No 2,

Table No 1

(SG No 58/2006);

Ordinance No 24

(SG No 95/2003);

Ordinance No 2

(SG No 15/2007);

Ordinance No 9

(SG No 46/1994);

Ordinance No 6

(SG No 1б/1977);

ТS


	7.
	Ventilation

systems
	new or/and

in operation

sites/

facilities

	-air flow speed;

-air flow rate 
	БДС 12.3.018

РПК 7.1.9


	Ordinance No 24

(SG No 95/2003);

Ordinance No 15

(SG No б8/2005);

ТS

	8.
	Electrochemical

(cathodic)

corrosion

protection
	new or/and

in operation

sites/

facilities
	- stationary

potential;

- galvanic

anode potential;

- polarization

potential;

-earthing anode

resistance
	БДС 15705

РПК 7.1.10
	БДС 15704

БДС 15705

ТS


* The introduction of a new version of standards/documents or standards/documents that replace them is allowed. An up-to-date list of standards/documents with their dated versions is provided by the CAB.
Ordinance № 3 on the installation of electrical equipment and power lines - (Updated, SG nr. 90 of 13.10.2004 and nr. 91 of 14.10.2004);

Ordinance  № 16-116  on technical operation of energy equipment - (promulgated SG nr. 26 2008 of 07.03.2008); 

Ordinance  № 4 on the lighting protection of buildings, outdoor facilities and open spaces - (SG nr. 6/2011);
Ordinance№ 22 on the testing of electrical safety equipment in exploitation (SG № 45/2006); 

Ordinance № 9, SG nr.. 46/1994 on the health and hygiene requirements for the use of personal computers in the education and extracurricular activities of students;

Ordinance № 24, SG nr.. 95/2003  on sanitary and hygienic requirements for discotheques;
Ordinance № 2, SG nr. 15/2007 on the health requirements for computer and Internet rooms for public use;
Ordinance № 3, SG, nr. 15/2007 on the health requirements for kindergartens;
Ordinance № RD-07-3, SG nr. 63/2014  on the minimum requirements for the microclimate of workplaces;
Methodological guidelines for the measurement and evaluation of artificial lighting in buildings 40-85; Proceedings of the National Centre for Hygiene, Medical Ecology and Nutrition Methods, Volume IV, Edition Standardization, 1985;
Ordinance № 49, SG nr. 7/1976  on the made lighting of buildings;
Ordinance № 7, SG, nr. 88/1999 on the minimum requirements for healthy and safe working conditions at workplaces and when using work equipment;

Ordinance № 6, SG nr. 70/2005 on the minimum requirements for ensuring the health and safety of workers at risks related to noise exposure;
Ordinance № 6 SG, nr, 58/2006 on the indicators of noise in the environment taking into degree of discomfort during the different parts of the day, the limit values of the indicators of noise in the environment in the premises of residential and public buildings in zones and territories intended for residential construction, reaction zones and territories and zones mixed use the methods for assessing the value of noise indicators and the harmful effects of noise on the heath of the population;
Ordinance№ 15 on technical rules and regulations for the design, construction and operation of objects and facilities for the production, transmission, and distribution of thermal energy (SG 68/2005);
Ordinance № 6 on ensuring a normal acoustic environment in residential and public buildings and places (SG № 16/1977);
TS - Technical Specification.

             
Page 4/4

