ORDER

№ A 336

Sofia, 30.08.2024

Inspection Body of type A

at Regional Health Inspectorate, Sofia Region,

Sofia

Management and office address:

1612 Sofia, 15 Acad. Ivan Geshov Blvd., level 3

To perform inspection of:

| Type of the scope: flexible for part of the scope* |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| № | Field of Inspection | Type of Inspection | Parameter of Inspection / Characteristic | Test and Measurement Methods Used During Inspection, | Regulations, Standards, Specifications, Schemes |
| 1 | 2 | 3 | 4 | 5 | 6 |
| I. Physical factors of the work and natural environment |  |  |  |  |  |
| 1.1.1 | Noise in work environment | New sites and/or sites in operation | Daily level of noise exposure, Average weekly noise exposure level, Peak sound pressure, | ПР-СУК-01-1 БДС ISO 1999 БДС EN ISO 9612 | Ordinance № 6 /SG № 70/2005; TС |
| 1.1.2 | Noise in the environmental in different territories and development zones in the urbanized territories and outside them | New sites and/or sites in operation | Noise level, Equivalent noise level, | ПР-СУК-01-2 БДС 15471 | Ordinance № 6 /SG № 58/2006 Annex № 2, Table 2; TС |
| 1.1.3 | Noise in premises in residential and public buildings | New sites and/or sites in operation | Noise level, Equivalent noise level, | ПР-СУК-01-3 БДС 15471 | Ordinance № 7 /SG № 88/1999; Ordinance № 2 /SG № 15/2007; Ordinance № 24 / SG № 95/2003; Ordinance № 9 /SG № 46/1994; Ordinance № 6 /SG № 58/2006 Annex № 2, Table 1 Ordinance № 26 / SG № 103/2008; TC |
| 1.2 | Microclimate in a work and domestic environment | New sites and/or sites in operation | Air temperature Relative air humidity Air ovement speed | ПР-СУК-02 БДС 16686 Ordinance № RD- 07-3 (SG № 63 / 2014) | Ordinance № 2 /SG № 15/2007; Ordinance № 3 /SG № 15/2007; Ordinance № 9 /SG № 46/1994; Ordinance № 24 / SG № 95/2003; БДС 14776 Ordinance № RD- 07-3 /SG № 63 / 2014; Ordinance № 26 /SG № 103/2008; TC |
| 1.3 | Artificial lighting in a work and domestic environment | New sites and/or sites in operation | Illumination | ПР-СУК-3 Methods for measurement of artificial lighting in buildings, volume IV. National Center of Hygiene, Medical Ecology and Nutrition | Ordinance № 2 /SG № 15/2007; Ordinance № 3 /SG № 15/2007; Ordinance № 9 /SG № 46/1994; Ordinance № 24 / SG № 95/2003; Ordinance №49 / SG № 7/1976; БДС EN 12464-1 Ordinance №26 /SG № 103/2008; TC |
| II. | Cosmetics | New products and/or products in use |  | ПР-СУК-04 | Ordinance № 14 SG № 68/2014 Regulation (EC) № 1223/2009; |
|  |  |  | Appearance, color, and smell | БДС 3741 БДС 10751 |  |
|  |  |  | Emulsion type | БДС 3741 БДС 10751 |  |
|  |  |  | Emulsion stability | БДС 3741 БДС 10751 |  |
|  |  |  | Thermal stability | БДС 3741 БДС 10751 |  |
|  |  |  | pH | БДС ISO 4316 |  |
|  |  |  | Total content of surfaceactive substance % | Rulebook of the Ministry of ealth/97 |  |
|  |  |  | Determining anionic surface-active substance % | Rulebook of the Ministry of Health/97 |  |
|  |  |  | Hydrogen Peroxide | Ordinance N 14/ SG № 68/2014, Annex 2, VIII.B; |  |
|  |  |  | Thioglycolic Acid | Ordinance N 14/ SG № 68/2014, Annex 2, XVIII.it.5.1 |  |
|  |  |  |  | MR-QMS-04 |  |
|  |  |  | Total number of aerobic mesophilic bacteria | БДС EN ISO 21149 | БДС EN ISO 17516 |
|  |  |  | Yeasts and molds | БДС EN ISO 16212 | БДС EN ISO 17516 |
|  |  |  | Escherichia coli | БДС EN ISO 21150 | БДС EN ISO 17516 |
|  |  |  | Candida albicans | БДС EN ISO 18416 | БДС EN ISO 17516 |
|  |  |  | Pseudomonas aeruginosa | БДС EN ISO 22717 | БДС EN ISO 17516 |
|  |  |  | Staphylococcus aureus | БДС EN ISO 22718 | БДС EN ISO 17516 |
| III. Water |  |  |  |  |  |
| III.1 | Water designated for potable water purposes / including spring and table water, prior to and after bottling/ for the purposes of official control | New products and/or products in use |  | ПР-СУК-05 | Ordinance № 9 SG № 30/2001; |
|  |  |  | Turbidity NTU | БДС EN ISO 7027-1 |  |
|  |  |  | Active Reaction pH | БДС 3424 |  |
|  |  |  | Permanganate oxidizability | БДС 3413 |  |
|  |  |  | Ammonia ion | ВЛМ 04/10.04.2024 |  |
|  |  |  | Nitrites | ВЛМ 08/10.04.2024 |  |
|  |  |  | Nitrates | ВЛМ 09/10.04.2024 |  |
|  |  |  | Chlorides | БДС 3414 |  |
|  |  |  | Total hardness | БДС ISO 6059 |  |
|  |  |  | Phosphates | ВЛМ 10/10.04.2024 |  |
|  |  |  | Sulphates | ВЛМ 11/10.04.2024 |  |
|  |  |  | Magnesium | ВЛМ 01/10.04.2024 |  |
|  |  |  | Calcium | БДС ISO 6058 |  |
|  |  |  | Iron | ВЛМ 05/10.04.2024 |  |
|  |  |  | Manganese | ВЛМ 6/10.04.2024 |  |
|  |  |  | Chrome | ВЛМ 12/10.04.2024 |  |
|  |  |  | Specific electrical conductivity ат 20 ºС | БДС EN 27888 |  |
|  |  |  | Residual free chlorine | ВЛМ 03/10.04.2024 |  |
|  |  |  | Fluorides | ВЛМ 13/10.04.2024 |  |
|  |  |  | Cadmium | ВЛМ 14/10.04.2024 |  |
|  |  |  |  |  | Ordinance № 9 SG № 30/2001; |
|  |  |  |  | ПР-СУК-06 |  |
|  |  |  | Microbial count KOE | БДС EN ISO 6222 |  |
|  |  |  | Coliforms KOE Escherchia coli KOE | БДС EN ISO 9308-1/A1 |  |
|  |  |  | Enterococci KOE | БДС EN ISO 7899-2 |  |
|  |  |  | Spores from sulfitereducing anaerobes KOE | БДС EN 26461-2 |  |
|  |  |  | Pseudomonas aeruginosa KOE | БДС EN ISO 16266 |  |
| III.2 | Water from swimming pools | New products and/or products in use |  | ПР-СУК-05 | Instructions 34 SG № 82/1975; |
|  |  |  | Active Reaction pH | ВЛМ 02/10.04.2024 |  |
|  |  |  | Ammonia ion | ВЛМ 04/10.04.2024 |  |
|  |  |  | Nitrites | ВЛМ 08/10.04.2024 |  |
|  |  |  | Residual free chlorine | ВЛМ 03/10.04.2024 |  |
|  |  |  | Iron | ВЛМ 05/10.04.2024 |  |
|  |  |  | Manganese | ВЛМ 06/10.04.2024 |  |
|  |  |  | Permanganate oxidizability | ВЛМ 07/10.04.2024 |  |
|  |  |  | Turbidity | БДС EN ISO 7027- 1 |  |
|  |  |  |  | ПР-СУК-06 |  |
|  |  |  | Microbial count | БДС 17335, item 6 |  |
|  |  |  | Total coli titer | БДС 17335, item 7 |  |
|  |  |  | Escherichia coli titer | БДС 17335, item 7 |  |
|  |  |  | Enterococcal titer | БДС 17335, item 8 |  |
|  |  |  | Staphylococcal titer | БДС 17335, item 9 |  |
| III.3 | Running surface waters, designated for potable water supply for domestic purposes | New products and/or products in use |  | MR-QMS-06 | Ordinance № 12 SG № 63/2002; |
|  |  |  | Coliforms KOE/100 | БДС EN ISO 9308-1/A1 |  |
|  |  |  | Escherichia coli | БДС EN ISO 9308- 1 |  |
|  |  |  | Coliforms MPN | БДС 17336 |  |
|  |  |  | Escherichia coli | БДС 17336 |  |
|  |  |  | Fecal streptococci | БДС EN ISO 7899- 2 |  |
|  |  |  | Salmonella | БДС EN ISO 19250 |  |
| III.4 | Mineral waters prior to and after bottling (1) and swimming pools (2) | New products and/or products in use |  | MR-QMS-06 | Ordinance № 14 SG № 12/1995; Ordinance adopted with an Ordinance of the Council of Ministers № 178 (SG № 68/2004); |
|  |  |  | Microbial count KOE | БДС EN ISO 6222 (1) |  |
|  |  |  | Coliforms MRN | БДС 17335, item 7 (2) |  |
|  |  |  | Escherichia coli | БДС 17335 item 7 (2) |  |
|  |  |  | Coliforms KOE/250 | БДС EN ISO 9308- 1/A1 (1) |  |
|  |  |  | Escherichia coli KOE/250 | БДС EN ISO 9308-1/A1 (1) |  |
|  |  |  | Enterococci KOE/250 | БДС EN ISO 7899-2(1) |  |
|  |  |  | Enterococci MPN | БДС 17335 item 8 (2) |  |
|  |  |  | Pseudomonas aeruginosa KOE/250 | БДС EN ISO 16266 (1) |  |
|  |  |  | Spores from sulfite reducing anaerobes KOE/250 (clostridia) | БДС EN 26461-2 (1) |  |
| III.5 | Bathing water | New products and/or products in use |  | MR-QMS-06 |  |
|  |  |  | Coliforms | БДС 17335 item 7 |  |
|  |  |  | Fecal coliforms | БДС 17335 item 7 |  |
|  |  |  | Coliforms | БДС EN ISO 9308- 1 |  |
|  |  |  | Fecal coliforms KOE/100 | БДС EN ISO 9308-1 |  |
|  |  |  | Fecal streptococci KOE/100 | БДС EN ISO 7899- 2 |  |
|  |  |  | Salmonella species | БДС EN ISO 19250 |  |

*Flexible scope: Implementing a new version of standards/documents or standards/documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by CAB.

Ordinance № 2 / 05.02.2007 regarding the health requirements to the Computer and Internet clubs for public use (SG, № 15 / 2007);

Ordinance № 3 / 05.02.2007 regarding the health requirements to kindergartens (SG, № 15 / 2007. amended SG, № 90 / 2020);

Ordinance № 9 regarding the health and hygiene requirements in using personal computers in training and extracurricular activities of students (SG, № 46 / 1994);

Ordinance № 24 / 20.10.2003 regarding the sanitary and hygiene requirements to disco clubs (SG, № 95 / 2003, amended in SG, № 100 / 2003);

Ordinance № RD-07-3 / 18.07.2014 regarding the minimum requirements for the micro-climate of workplaces (SG, № 63 / 01.08.2014)

Ordinance № 26 / 18.11.2008 regarding the structure and activity of nurseries and child kitchens and health requirements to them (SG, № 103 / 02.12.2008, amended SG, № 90 / 2020)

Ordinance № 49 regarding the artificial lighting of buildings (SG, № 7 / 1976, amended SG, № 64 / 1976);

Ordinance № 7 / 23.09.1999 regarding the minimum requirements for occupational health and safety and the use of work equipment (SG, № 88 / 1999, amended SG, № 95 / 29.11.2016);

Ordinance № 6 / 15.08.2005 regarding the minimum requirements for ensuring the health and safety of workers in case of risks related to noise exposure (SG, № 70 / 2005);

Ordinance № 6 / 26.06.2006 regarding the environmental noise indicators, reporting the degree of discomfort during different times during the day, the limit value of the environmental noise indicators, in the premises of residential and public buildings, in areas and territories designation for residential construction, recreation areas, mixed designation territories and areas, methods for evaluation of the values of the noise indicators and the harmful effects of noise over the population health (SG, № 58 / 2006, amended SG, № 100 / March 29, 2021);

Ordinance № 9 / 16.03.2001 regarding the quality of water, designated for potable and household purposes (SG, № 30 / 2001. amended SG, № 6 / January 16, 2018);

Instruction № 34 regarding hygiene of sports establishments and equipment (SG, № 82 / 1975, amended SG, № 25 / 08.03.2002)

Ordinance № 12 / 18.06.2002 regarding the quality requirements to surface waters, designated for potable and household water supply (SG, № 63 / 2002, amended SG, № 15 / 21.02.2012);

Ordinance № 14 regarding the resort resources, resort areas and resorts (SG, № 12 / 1995, amended SG, № 70 / 2004);

Ordinance for the requirements to bottled mineral, spring, and table water, designated for potable purposes, adopted with Ordinance of the Council of Ministers № 178 / 23.07.2004 (SG, № 68 / 2004. amended SG, № 66 / 2008);

Ordinance of the Council of Ministers № 173 for amendment and supplement of the Ordinance for the requirements to bottled mineral, spring, and table water, designated for potable purposes, adopted with an Ordinance of the Council of Ministers № 178 / 2004 (SG, № 66 / 2008);

Ordinance № 5 / 30.05.2008 regarding bathing water quality management (SG, № 35 / 10.06.2008, amended in SG, № 5 / 18.01.2013);

Ordinance № 14 / 28.07.2014 for determining detailed rules for providing information under article 19, paragraph 4 of Regulation (EC) № 1223/2009 regarding cosmetic products, efficacy requirements of sunscreen cosmetic products and chemical methods for inspection of the composition of cosmetic products (SG, № 68 / 15.08 2014)

Regulation (EC) № 1223/2009 of the European Parliament and of the Council / 30.11.2009, regarding cosmetic products

MoH/97 - Indicators and methods for studying cosmetic, washing agents and detergents, textile, and hygiene materials.

Ordinance of the Council of Ministers № 173 for amendment and supplement of the Ordinance for the requirements to bottled mineral, spring, and table water, designated for potable purposes, adopted with an Ordinance of the Council of Ministers № 178 / 2004 (SG, № 66 / 2008);

TS - technical specification of the client

TD - Technical documents of the client

Fixed scope:

ВЛМ 01/10.04.2024- Internal laboratory metod for determining the magnesium content in water intended for drinking domestic purposes/incl. spring and table water before and after/bottling

ВЛМ 02/10.04.2024- Internal laboratory metod for determining active reaction/pH in water from swimming pools

ВЛМ 03/10.04.2024- Photometric determination of residual free chlorine in water

ВЛМ 04/10.04.2024- Photometric determination of the content of ammonium ions in water

ВЛМ 05/10.04.2024- Photometric determination on iron content in water

ВЛМ 06/10.04.2024- Photometric determination of manganese content in water

ВЛМ 07/10.04.2024- Internal laboratory metod for determining oxidizability in water from swimming pools.

ВЛМ 08/10.04.2024- Photometric determination of nitrite content in water

ВЛМ 09/10.04.2024- Photometric determination of nitrate content in water

ВЛМ 10/10.04.2024- Photometric determination of phosphate content in water

ВЛМ 11/10.04.2024- Photometric determination of sulfate content in water

ВЛМ 12/10.04.2024- Photometric determination of chromium content in water

ВЛМ 13/10.04.2024- Photometric determination of fluoride content in water

ВЛМ 14/10.04.2024- Photometric determination of cadmium content in water.