SCOPE 286 ЛИ
Sofia, 28.09.2026
EUROFINS AGRO TESTING BULGARIA EOOD 
TESTING LABORATORY
Management and laboratory address: 
1784 Sofia, Mladost 1, 6 Aleksandar Malinov Blvd,
To perform testing of:
1. 
2. 
	Type of the scope: flexible for part of the scope*

	№
	Tested products
	Type of test/characteristic
	Test methods (standardized/ validated) 

	1
	2
	3
	4

	1.
	Soils – natural, near natural and cultivated
	1.1 Soil reaction, pH
	БДС ISO 10390

	
	
	1.2 Ammonium nitrogen (N-NH4)
Sum of nitrite and nitrate nitrogen (N-(NО3 + NО2))
	БДС ISO 14255;
ВЛМ-П-02:2015 
(SFA)

	
	
	1.3 Potassium (K),
Calcium (Ca),
Magnesium (Mg),
Phosphorus (P),
Sofium (Na),
Sulphur (S)
	ВЛМ-П-03:2025
(ICP-OES)

	
	
	1.4 Iron (Fe),
Copper (Cu),
Zink (Zn),
Manganese (Mn),
Boron (B)
	ВЛМ-П-04:2025
(ICP-OES)

	
	
	1.5 Total and organic carbon (C)
	ISO 10694

	
	
	1.6 Total nitrogen (N)
	ISO 13878

	
	
	1.7 Determination of chemical elements**
	БДС EN ISO 22036

	
	
	1.8 Cation exchange capacity (CEC) and exchangeable cations 
	БДС EN ISO 11260

	
	
	1.9 Electroconductivity
	БДС ISO 11265

	
	
	1.10 Mechanicasl composition – size of particles
	ASTM D422***

	
	
	1.11 Losses after calcination
	БДС EN 15935

	
	
	1.12 Dry substance/ dry residue/ moisture
	БДС EN 15934

	
	
	1.13 Volumetric density
	БДС EN ISO 11272

	2.
	Fertilizers 
	2.1 Potassium (K),
Calcium (Ca),
Magnesium (Mg),
Phosphorus (P)
Sofium (Na),
Sulphur (S),
Iron (Fe),
Copper (Cu),
Zink (Zn),
Manganese (Mn),
Boron (B)
	ВЛМ-П-05:2022
(ICP-OES)

	
	
	2.2 Nitrite nitrogen (N-NO2),
Nitrate nitrogen (N-NO3), 
Ammonium nitrogen (N-NH4)
	ВЛМ-П-06:2022
(SFA)

	
	
	2.3 Total carbon (C),
Total nitrogen (N) 
	ВЛМ-П-07:2022
(C/N Analyser)

	3.
	Plant mass
	3.1 Potassium (K),
Calcium (Ca),
Magnesium (Mg),
Phosphorus (P),
Sofium (Na),
Sulphur (S),
Iron (Fe),
Copper (Cu),
Zink (Zn),
Manganese (Mn),
Boron (B)
	ВЛМ-П-08:2022
(ICP-OES)

	
	
	3.2 Total nitrogen (N) 
	ВЛМ-П-09:2022
(C/N Analyser)


3. 
***Repealed but not replaced standard with regard to the testing method.

To perform sampling of: 
	Type of the scope: flexible*

	№
	Product
	Sampling methods/ (standardized/ validated)

	1
	2
	3

	1.
	Soils – natural, near natural and cultivated
	БДС ISO 18400-205


*Flexible scope: Introduction of a new version of the standards/documents or standards/documents replacing them is permited. The laboratory is maintaining updated list of the standards/documents with their dated versions.

**Flexible scope: Within the framework of its competency, the laboratory is authorized to determine all characteristics (column 3) under the mentioned test methods (column 4) pertaining to the group of products (column 2) after performed verification/validation, availability of СРМ/СМ and calibrated technical means. The laboratory is maintaining a detailed dated list of products and characteristics pertaining to the products and characteristics mentioned in the scope of accreditation.

Fixed scope reference:
	ВЛМ-П-02:2015
	Spectrophotometric determination of the sum of nitrate and nitrite nitrogen and ammonium nitrogen in air dry soils soluble in Calcium dichloride solution (SFA – segment flow analyaser)

	ВЛМ-П-03:2025
	Spectrophotometric determination of macroelements in air dry soils soluble in MEHLICH - 3 solution, calcium dichloride and ammonium acetate (ICP-OES)

	ВЛМ-П-04:2025
	Spectrophotometric determination of macroelements in air dry soils soluble in ДТПА-ТЕА solution, MEHLICH - 3 solution, calcium dichloride (ICP-OES)

	ВЛМ-П-05:2022
	Spectrophotometric determination of macroelements and macroelements in fertilizers (ICP-OES)

	ВЛМ-П-06:2022
	Spectrophotometric determination of nitrate, nitrite and ammonium nitrogen in water soluble fertilizers (SFA – segment flow analyaser)

	ВЛМ-П-07:2022
	Method of determination of total carbon and total nitrogen in fertilizers (C/N Analyaser)

	ВЛМ-П-08:2022
	Spectrophotometric determination of macroelements and macroelements in plant mass (ICP-OES)

	ВЛМ-П-09:2022
	Method of determination of total nitrogen in plant mass (C/N Analyaser)
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