ORDER

No. A 27

Sofia, 29.01.2025

To perform inspection of:

| Scope type: flexible* |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| № | Scope of inspection | Inspection type | Inspected parameter characteristic | Test/measurement methods used in inspection; procedure of inspection | Normative acts, standards, specifications, inspectionschemes |
| 1. | 2. | 3. | 4. | 5. | 6. |
| 1. | Electrical installations and equipment up to over 1000V | Of new and/or in use/ operation sites/ facilities | Resistance of protective earthing systems | ПК 01.1 Ordinance № RD-02-20-1 (SG issue 53 of 2018) | БДС 414 Ordinance № 3 (SG, issues 90 and 91/2004) Ordinance № 16-116 (SG, issue 26/2008),TC |
|  |  |  | Insulation resistance | ПК 01.2 Ordinance № RD-02-20-1 (SG issue 53 of 2018) | Ordinance № 3 (SG, issues 90 and 91/2004) Ordinance № 16-116 (SG, issue 26/2008) Ordinance № 9 (SG, issue 72/2004) НИЕМС, Ordinance № RD-02-20-1 (SG issue 53 of 2018), TС |
|  |  |  | Resistance of lightning protection earthing systems | ПК 01.3 | Ordinance № 3 (SG, issues 90 and 91/2004) Ordinance № 16-116 (SG, issue 26/2008) Ordinance № 4 (SG, issue 6/2011), TС |
|  |  |  | Electrical insulation strength by increased constant or alternating test voltage up to 100 kV DC and up to 80 kV AC of machines and equipment | ПК 01.4 БДС 9089 НИЕМС БДС 16249 БДС 6949 | Ordinance № 16-116 (SG, issue 26/2008) Ordinance № 3 (SG, issue 90 and 91/2004) НИЕМС ТС |
|  |  |  | Transition resistance in contact systems | ПК 01.5 | Ordinance № 3 (SG, issues 90 and 91/2004) Ordinance № 16-116 (SG, issue 26/2008) НИЕМС, TС |
| 2. | Electrical installations and equipment up to 1000V | Of new and/or in use/ operation sites/ facilities | Impedance of the "phase-protective conductor" circuit | ПК 02.1 Ordinance № RD- 02-20-1 (SG, issue 53 of 2018) | Ordinance № 3 (SG, issues 90 and 91/2004) Ordinance № 16-116 (SG, issue 26/2008), TС |
|  |  |  | Protective breakers for zero sequence currents – switch-off time, contact voltage, triggering current | ПК 02.2 | Ordinance № 3 (SG, issues 90 and 91/2004) Ordinance № 16-116 (SG, issue 26/2008) TС |
| 3.1. | Insulating rods (manipulationmeasuring for portable earthing); insulating pliers; current measuring pliers | Products in use/ operation | Electrical insulation strength by increased AC test voltage | Ordinance № 22 (SG issue 45/2006) ПК 03.1 | Ordinance № 22 (SG issue 45/2006 TС |
| 3.2. | Voltage indicators | Products in use/ operation | Electrical insulation strength by increased AC test voltage and voltage indication threshold | Ordinance № 22 (SG issue 45/2006) ПК 03.1 | Ordinance № 22 (SG issue 45/2006) TС; |
| 3.3. | Dielectric gloves, calf boots, boots, galoshes | Products in use/ operation | Electrical insulation strength by increased AC test voltage and leakage current | Ordinance №22 (SG, issue 45/2006) ПК 03.1 | Ordinance №22 (SG, issue 45/2006) TС |
| 4. | Cable power lines up to 20kV | On new and/or in use/ operation sites/ facilities | Insulation resistance | НИЕМС БДС 1986, items 3.3 a), b), d) and e) -, ПК 04.1 | Ordinance № 3 (SG, issues 90 and 91/2004) Ordinance № 16-116 (SG, issue 26/2008) ,НИЕМС, TС |
|  |  |  | Electrical strength of the insulation by increased DC or AC voltage | НИЕМС БДС 2406 ПК 04.2 | Ordinance № 3 (SG, issues 90 and 91/2004) Ordinance № 16-116 (SG, issue 26/2008) НИЕМС, TС |
| 5. | Capacitor systems up to and over 1000V | On new and/or in use/ operation sites/ facilities | Current value and uniformity of load of the individual phases | ПК 05.1 | Ordinance № 3 (SG, issues 90 and 91/2004) Ordinance № 16-116 (SG, issue 26/2008) Ordinance № 9 (SG, issue 72/2004) TС |
|  |  |  | No housing connection | ПК 05.2 | Ordinance № 3 (SG, issues 90 and 91/2004) Ordinance № 16-116 (SG, issue 26/2008) Ordinance № 9 (SG, issue 72/2004) TС |
| 6. | Transformers up to and including 400 kV | On new and/or in use/ operation sites/ facilities | Insulation resistance | БДС 16654 ПК 06.1 | Ordinance № 16-116 (SG, issue 26/2008) Ordinance № 9 (SG, issue 72/2004) НИЕМС, TС |
|  |  |  | Active resistance of the windings | НИЕМС БДС 15320 ПК 06.3 | Ordinance № 3 (SG, issues 90 and 91/2004) Ordinance № 16-116 (SG, issue 26/2008) Ordinance № 9 (SG, issue 72/2004), НИЕМС, TС |
|  |  |  | Breakdown voltage of transformer oil | БДС EN 60156 ПК 06.4 | Ordinance № 16-116 (SG, issue 26/2008) НИЕМС TС |
|  |  |  | Transformation ratio | БДС 15320 ПК 06.5 | Ordinance № 3 (SG, issues 90 and 91/2004), Ordinance № 16-116 (SG, issue 26/2008) НИЕМС, TС |
|  |  |  | Connection groups of three-phase transformers | БДС 15320 ПК 06.6 | Ordinance № 16-116 (SG, issue 26/2008), Ordinance № 9 (SG, issue 72/2004) БДС 15320 STEME Ordinance № 3 (SG, issues 90 and 91/2004), TС |
|  |  |  | Polarity of single-phase transformers terminals | БДС 15320 ПК 06.6 | Ordinance № 16-116 (SG, issue 26/2008) Ordinance № 9 (SG, issue 72/2004),TС |
| 7. | Relay protection devices, electrical automation, telemechanics and secondary circuits | On new and/or in use/ operation sites/ facilities | Check of the relay protections settings (alternating current of operating and return, alternating voltage of operating and return, operating time, operating impedance) | ПК 07.2 | Ordinance № 3 (SG, issues 90 and 91/2004) Ordinance № 16-116 (SG, issue 26/2008) Ordinance № 9 (SG, issue 72/2004), TС |
|  |  |  | Test the devices operation (correct, incorrect operation or failure of the devices) | ПК 07.3 | Ordinance № 3 (SG, issues 90 and 91/2004) Ordinance № 16-116 (SG, issue 26/2008) Ordinance № 9 (SG, issue 72/2004), TС |
| 8. | Electric motors / generators for direct and alternating current up to and over 1000V | On new and/or in use/ operation sites/ facilities | Insulation resistance | НИЕМС БДС 6949 ПК 08.1 | Ordinance № 16-116 (SG, issue 26/2008) НИЕМС TС |
|  |  |  | Active winding resistance (stator and rotor) | БДС 6949 ПК 08.3 | Ordinance № 16-116 (SG, issue 26/2008), НИЕМС TС |
|  |  |  | Power and idle losses of electric motors | БДС 6949 ПК 08.4 | Ordinance № 16-116 (SG, issue 26/2008), НИЕМС TС |
| 9. | Power and measuring transformers up to 400kV | On new and/or in use/ operation sites/ facilities | Dielectric loss capacity and coefficient (tgδ) | БДС 16654 НИЕМС ПК09.1 | Ordinance № 3, Art. 2125, item 2 (SG, issues 90, 91/2004) Ordinance № 16-116 Art. 97, para. 1 and Art. 107, para. 2, (SG issue 26/2008) НИЕМС - item 3.4.3 and item 3.5.2; TС |

* Introduction of new versions of standards/documents or standards/documents, replacing them is permitted. An up-to-date list of standards/documents with their dated versions is provided to the CAB.

Ordinance № 3 on the construction of electrical appliances and power lines (SG, issue 90 and SG, issue 91/2004)

Ordinance № 4 on the lightning protection of buildings, external facilities and open spaces (SG, issue 6/2011)

Ordinance № 16-116 on technical operation of energy equipment (SG, issue 26/2008)

Ordinance № 22 for testing of electrical protective equipment in operation (SG, issue 45/2006)

Ordinance № 9 on the technical operation of power plants and networks (SG, issue 72/2004)

STEME – 1995 – Standards for testing of electrical machinery and equipment

Ordinance № RD-02-20-1 on technical rules and regulations for control and acceptance of electrical works (SG, issue 53 of 2018)

TС – Technical specification