


                                                                    ORDER 
No. A 359
Sofia, 30.09.2024
To perform inspection of:
	Scope Type: flexible*

	No.
	Area of control
	Type of control
	Controlled parameter / feature
	Testing methods / measurement, used in the control
	Legislative acts, standards, specifications, schemes

	1
	2
	3
	4
	5
	6

	


1
	

Noise in working environment 
	
Of new sites / facilities and/or sites / facilities in operation 
	Peak sound pressure level, Daily noise exposure level, Average weekly noise exposure level
	

БДС  EN ISO 9612
(БДС ISO 1999) 
 
	

Ordinance No. 6, 
SG No. 70/2005; ТС

	


2
	

Noise on the premises of residential and public buildings
	

Of new sites / facilities and/or sites / facilities in operation
	

Equivalent noise level, 
Noise level

	

БДС 15471
WP 7.1-02
	Ordinance No. 24, SG No. 95/2003; 
Ordinance No. 2, SG No. 15/2007; 
Ordinance No. 26 SG No. 103/2008; 
Ordinance No. 6, SG No. 58/2006 (Appendix No. 2, Table 1); Ordinance No. 9, SG No. 46/1994;
Ordinance No. 7, SG No. 88/1999;  ТС

	
3

	Environmental noise - various territories and spatial development zones in and outside urban areas; 
	
Of new sites / facilities and/or sites / facilities in operation
	


Equivalent noise level
	


БДС 15471
WP 7.1-02
	

Ordinance No. 6, SG No. 58/2006 
(Appendix No. 2, Table 2); ТС

	

4

	

Artificial light in working and living environment
	

Of new sites / facilities and/or sites / facilities in operation
	


Illumination 
	
Methodological instructions for measurement and assessment of artificial light in buildings 40-85 / 1985 
WP 7.1-03 
	Ordinance No. 2, SG No. 15/2007; 
Ordinance No. 49, SG No. 7/1976; Ordinance No. 26, SG No. 103/2008;
БДС EN 12464-1, Ordinance No. 3, SG No. 15/2007; Ordinance No. 9, SG No. 46/1994; Ordinance No. 24, SG No. 95/2003; ТС

	


5
	

Microclimate in working and living environment


	

Of new sites / facilities and/or sites / facilities in operation
	

Air temperature, Relative air humidity, 
Air velocity 
	

БДС 16686 Ordinance No. 
RD-07-3 SG 
No. 63/2014
WP 7.1-04
	Ordinance No. 24, SG No. 95/2003; 
Ordinance No. 2, SG No. 15/2007; 
Ordinance No. 3, SG No. 15/2007; 
Ordinance No. 9, SG No. 46/1994; 
Ordinance No. 26, SG No. 103/2008; 
БДС 14776; 
Ordinance No. RD-07-3 SG No. 63/2014; ТС

	
6

	

Electrical installations and equipment below and above 1000 V
	

Of new sites / facilities and/or sites / facilities in operation
	Earthing resistance of lightning protection systems, 
	

WP 7.1-09
	Ordinance No. 16-116, SG No. 26/2008; 
Ordinance No. 4, SG No. 6/2011; ТС

	
7

	
	
	Earthing resistance of ground protection systems, 
	
WP 7.1-08
	Ordinance No. 3, SG Nos. 90 & 91/2004; 
Ordinance No. 16-116, SG No. 26/2008; ТС

	
8

	



Electrical installations and equipment below 1000 V


	



Of new sites / facilities and/or sites / facilities in operation
	Impedance of the “phase-protective conductor” contour
	
WP 7.1-06 
	Ordinance No. 3, SG No. 90 & 91/2004; 
Ordinance No. 16-116, SG No. 26/2008; ТС

	
9

	
	
	
Insulation resistance
	БДС 1986 – item 3.3 a), b), e) & f) 
WP 7.1-07
	Ordinance No. 3, SG No. 90 & 91/2004; 
Ordinance No. 16-116, SG No. 26/2008; ТС

	

10
	
	
	Protective circuit breakers: 
-Tripping time 
-Trigger current
-Contact voltage
	


WP 7.1-10
	
Ordinance No. 3, SG No. 90 & 91/2004; 
Ordinance No. 16-116, SG No. 26/2008; ТС



* It is allowed to introduce a new version of standards/documents or standards/documents replacing them. The updated list of standards/documents with their dated versions shall be provided by the Conformity Assessment Body. 

Ordinance No. 2 concerning the health requirements for the public access computer and internet centers (SG No. 15/2007); 
Ordinance No. 3 concerning the health requirements for kindergartens (SG No. 15/2007);
Ordinance No. 24 concerning the sanitary and hygienic requirements for discotheques (SG No. 95/2003); 
Ordinance No. 9 concerning the hygienic requirements for using personal computers in teaching pupils (SG No. 46/1994); 
Ordinance RD 07-3 concerning the minimum requirements for the microclimate at the workplaces dated 18.07.2014, published in SG No. 63/01.08.2014);
Ordinance No. 49 concerning artificial light of the buildings (SG No. 7/1976); 
Ordinance No. 6 concerning the minimum requirements for ensuring the health and safety of the people working in risky conditions related to exposition to noise (SG No. 70/2005); 
Ordinance No. 6 concerning the environmental noise indicators taking into account the degree of discomfort during different parts of the day, the limit values of the environmental noise indicators, in the premises of residential and public buildings, in areas and territories intended for residential construction, recreational areas and territories, and mixed-use areas, the methods for assessing the values of the noise indicators and the harmful effects of noise on the health of the population (SG No. 58/ 2006), Amended Title, SG 100/2021);
Ordinance No. 7 concerning the minimum requirements for healthy and safe conditions at work when using the working equipment (SG No. 88/1999);
Ordinance No. 26 concerning the structure and activity of nurseries and children’s catering services and the health requirements for them (SG No. 103/2008); 
Ordinance No. 3, SG Nos. 90 and 91/2004 concerning the structure of the electricity installations and electricity lines;
Ordinance No. 16-116, SG No. 26/2008 concerning the technical operation of power equipment;
Ordinance No. 4, SG No. 6/2011 concerning the lightning protection of buildings, outdoor facilities and open spaces. 


ORDER 

To issue the Certificate of Accreditation Registration No. 110 ОКС dated 30.09.2024, valid until 30.09.2028 and this Order enclosed as an integral part thereof.

The Certificate of Accreditation with the enclosure should be obtained from Manager of “LOZETECH” OOD, Sofia, a representative of “LOZETECH” OOD, Sofia, the head of Inspection Body Type “C” or another authorized person in the building of EA BAS. 

Upon receipt of the certificate issued and enclosure, the accredited CAB  is obliged to return to EA BAS the originals of Certificate of Accreditation reg. № 110 ОКС dated 30.09.2020 and Appendix-Order No. A 588/30.09.2020 issued by EA BAS. 


This Order shall be notified to “LOZETECH” OOD, Sofia not later than 3 (three) days from its issuance. 
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