ORDER 
№ A 306
Sofia, 26.07.2024
Pursuant of Art. 10, para. 1, item 4 аnd Art. 28, para 1, of the Law on National Accreditation of Conformity Assessment Bodies and the relevant item 4.3.7 of the BAS QR 2 Accreditation Procedure, in connection with an open procedure of accreditation reg. № 468/ 116 OKC/ПА/09.02.2024, assessment report reg. № 468/116 OKC/4/В/12.04.2024, annex G-2 Section reg. № 468/116 OКС/ПА/7/В/ 05.07.2024, statement of the Accreditation Commission № 468/116 ОКС/ПА/8/В/26.07.2024, I hereby
To perform inspection of the following scope:
Type of scope – flexible*     
  
	№
	Field of Inspection
	Type of Inspection
	Parameter of Inspection / Characteristic
	Test and Measurement Methods Used During Inspection, Inspection Procedure
	Regulations, Standards, Specifications, Schemes

	1
	2
	3
	4
	5
	6

	1
	Electrical appliances and equipment up to and above 1000 V
	New facilities and equipment; facilities and equipment in operation 
	Resistance of lightning protection earthing systems
	PK 7.2-1
	Ordinance № 4 (SG 6/20011), Ordinance № 16-116 (SG 26/2008, Ordinance № 21 (SG 41/2007),

Technical Specification

	2
	Electrical appliances and equipment up to and above 1000 V
	New facilities and equipment; facilities and equipment in operation
	Resistance of protective earthing systems
	PK 7.2-21
	Ordinance № 3 (SG 90/2004), Ordinance № 16-116 (SG 26/2008), Ordinance № 21 (SG 41/2007),

Technical Specification

	3
	Electrical appliances and equipment up to and above 1000 V
	New facilities and equipment; facilities and equipment in operation
	Insulation resistance
	BDS 1986 item 3.3 a), b), c), e)

PK 7.2-3
	Ordinance № 3 (SG 90/2004), Ordinance № 1 (SG 46/2010), Ordinance № 16-116 (SG 26/2008, Technical Specification

	4
	Electrical appliances and equipment up to 1000 V
	New facilities and equipment; facilities and equipment in operation
	Phase protection conductor circuit impedance
	PK 7.2-4
	Ordinance № 3 (SG 90/2004), Ordinance № 16-116 (SG 26/2008),

Technical specification


Regulations:
Ordinance № 3 on the design of electrical installations and power lines (SG 90, 91/2004);
Ordinance № 16-116 on the technical operation of electrical equipment (SG 26/2008);
Ordinance № 4 on lightning protection of buildings, outdoor facilities and open spaces (SG 6/2011);
Ordinance № 1 on the design, construction and maintenance of low voltage electrical installations in buildings (SG 46/2010);
Ordinance № 21 on the rules for construction of mobile telecommunication networks and facilities (SG 41/2007);
Clients’ Technical specification.
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