SCOPE 153 ЛИ
TOBACCO AND TOBACCO PRODUCTS INSTITUTE
[bookmark: bookmark8]TESTING LABORATORY COMPLEX

Management and Laboratory address: 4108, Markovo, Plovdiv Region

To perform testing of:
	Scope type: flexible for part of scope

	№ 
	Tested products
	Type of test / characteristic
	Testing methods
(standard / validated method)

	1
	2
	3
	4

	1.
	Tobacco
-tobacco leaves 
-tobacco strips 
-tobacco veins 
-tobacco foil 
-cut tobacco from and for tobacco products 
-tobacco powder
	1.1. Moisture
	БДС 8025

	
	
	1.2. Nicotine
	БДС ISO 2881, 
ISO 15152

	
	
	1.3. Total sugars
	Validated method according to Coresta Recommended 
Method № 89

	
	
	1.4. Chlorides
	Validated method according to 
SEAL Analytical Method 
№ G-267-01, Rev.4

	
	
	 1.5. Glycerin (glycerol)
	Validated method according to Standard Operating Procedure № 06

	2.
	Tobacco products 
-cigarettes
	2.1 Mass.  
	БДС 12975

	
	
	2.2. Tar
	БДС ISO 4387

	
	
	2.3. Nicotine
	ISO 10315

	
	
	2.4. Carbon monoxide
	ISO 8454

	3.
	Liquids for electronic cigarettes
	3.1. Nicotine

	Validated method according to Standard Operating Procedure 11


	4.
	Hemp
	4.1. Δ9-etrahydrocannabinol

	Validated method according to Commission Delegated Regulation (EU) 2017/1155, Annex III



Flexible Scope: Implementing a new version of standards/documents or standards/ documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.

Fixed scope references:
1. Validated method according to Coresta Recommended Method № 89 - Coresta Recommended Method № 89:2019 - Tobacco - Determination of total sugars content - In-stream analysis method using hydrochloric acid/p-hydroxybenzoic acid hydrazide (RANVAN).
2. Validated method according to SEAL Analytical Method № G-267-01 Rev.4- SEAL Analytical Method № G-267-01 Rev.4 - Chloride in tobacco extracts.
3. Validated method according to Standard Operating Procedure 06 ־ Standard operating procedure 06:2016 Standard operating procedure - Method for the determination of softeners in tobacco filler of cigarettes.
4. Validated method according to Standard Operating Procedure 11 - Standard operating procedure SOP 11:2021 - Standard Operating Procedure ־ Method for the determination of nicotine, glycerol and propylene glycol in liquids for electronic cigarettes.
5. Validated method according to Commission Delegated Regulation (EU) 2017/1155, Annex III - Union method for the quantitative determination of Δ9-tetrahydrocannabinol content in hemp varieties. Delegated Regulation (EU) № 2017/1155, Annex III.
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