ORDER

№ A 145

Sofia, 17.04.2024

INSPECTION BODY OF TYPE C

AT „TERA CONTROL” EOOD, SOFIA

Management and office address: 1220 Sofia, r.e. Nadejda, bl. 102, entr. J, fl. 5, apt. 151

To perform inspection of:

| Scope type: Flexible |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| № | Field of Inspection | Type of Inspection | Parameter of Inspection / Characteristic | Test and Measurement Methods Used During Inspection | Regulations, Standards, Specifications, Schemes |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | Electrical facilities and equipment up to and above 1000 V | New and operational sites and facilities | Resistance of protective earthing systems | Ordinance N РД-02-20-1 (SG No. 53/2018); PK 7.1-1 | Ordinance No. 3, (SG iss. 90, 91/2004); Ordinance No. 16-116, (SG iss. 26/2008); TS |
| 2. | Electrical facilities and equipment up to and above 1000 V | New and operational sites and facilities | Resistance of lightning protection grounding systems | Ordinance N РД-02-20-1 (SG No. 53/2018); PK 7.1-2 | Ordinance No. 16-116, (SG iss. 26/2008); Ordinance No. 4, (SG iss. 6/2011); TS |
| 3. | Electrical facilities and equipment up to 1000 V | New and operational sites and facilities | Insulation resistance | Ordinance N РД-02-20-1 (SG No. 53/2018); PK 7.1-3 | Ordinance No. 3, (SG iss. 90, 91/2004); Ordinance No. 16-116, (SG iss. 26/2008); Ordinance No. 1, (SG iss. 46/2010); TS |
| 4. | Electrical facilities and equipment up to 1000 V | New and operational sites and facilities | Impedance of the "phase - protective conductor" loop | Ordinance N РД-02-20-1 (SG No. 53/2018); PK 7.1-4 | Ordinance No. 3, (SG iss. 90, 91/2004); Ordinance No. 16-116, (SG iss. 26/2008); Ordinance No. 1, (SG iss. 46/2010); TS |
| 5. | Electrical facilities and equipment up to 1000 V; Protective circuit breakers for zero-sequence currents | New and operational sites and facilities | Touch voltage. Trigger current trip time. Resistance of protective earth | Ordinance N РД-02- 20-1, (SG iss. 53/2018); PK 7.1-5 | Ordinance No. 3, (SG iss. 90, 91/2004); Ordinance No. 16-116, (SG iss. 26/2008); Ordinance No. 1, (SG iss. 46/2010); TS |
| 6. | Microclimate in the working environment and in the premises of residential and public buildings | New and operational sites and facilities | Air temperature. Relative air humidity. Air speed. | Ordinance No. РД-07-3, (SG iss. 63/2014) БДС 16686 PK 7.1-6 | Ordinance No. РД-07-3, (SG iss. 63/2014); БДС 14776; Ordinance No. 9, (SG iss. 46/1994); Ordinance No. 24, (SG iss. 95/2003); Ordinance No. 2, (SG iss. 15/2007); Ordinance No. 3, (SG iss. 15/2007); Ordinance No. 26, (SG iss. 103/2008); Instruction No. 34, (SG iss. 82/1975); TS |
| 7. | Artificial lighting in the work environment and in the premises of residential and public buildings | New and operational sites and facilities | Illumination | Methodological guidelines for measuring and evaluating artificial lighting in buildings 40-85, Ed. Standardization, 85 PK 7.1-7 | Ordinance No. 49, (SG iss. 64/1976); Ordinance No. 9, (SG iss. 46/1994); Ordinance No. 3, (SG iss. 15/2007); Ordinance No. 26, (SG iss. 103/2008); Ordinance No. РД-02-20-3, (SG iss. 5/2016); Ordinance No. 19, (SG iss. 79/2008); Ordinance No. 28, (SG iss. 109/2008), Annex No. 8 to Art. 12, para. 3; Ordinance No. 2, (SG iss. 15/2007); Ordinance No. 24, (SG iss. 95/2003); Instruction No. 34, SG iss. 82/1975) БДС EN 12464-1; Ordinance No. lz-1971, (SG no. 96/2009), Art. 55 (b); TS |
| 8. | Air conditioning systems | New and operational sites and facilities | Air temperature. Relative air humidity | Ordinance No. РД-07- 3, (SG iss. 63/2014) БДС 16686 PK 7.1-8 | Ordinance No. РД-07- 3, (SG no. 63/2014); Ordinance No. 15, (SG no. 68/2005); БДС 14776; TS |
| 9. | Noise in the work environment | New and operational sites and facilities | Daily noise exposure level; Average weekly noise exposure level; Peak sound pressure level Equivalent noise level; Noise level. | БДС EN ISO 9612 (BDS 150 1999) PK 7.1-9 БДС 15471; PK 7.1-9 | Ordinance No. 6, SG iss. 70/2005; TS Ordinance No. 7, SG iss. 88/1999, Art. 138; Ordinance No. 9, SG iss. 46/1994; Ordinance No. 26, SG iss. 103/2008 TS |
| 10. | Noise in the premises of residential and public buildings | New and operational sites and facilities | Equivalent noise level; Noise level | БДС 15471; PK 7.1-10 | Ordinance No. 6, SG iss. 58/2006 - (annex 2, table 1); Ordinance No. 9, SG iss. 46/1994; Ordinance No. 26, SG iss. 10З/2008; Ordinance No. 24, SG iss. 95/2003; Ordinance No. 2, SG iss. 15/2007; Ordinance No. 26, SG iss. 103/2008 TS· |
| 11. | Noise in the environment - in the different territories and development zones in the urbanized territories and outside them. | New and operational sites and facilities | Equivalent noise level; Noise level | БДС 15471; PK 7.1-11 | Ordinance No. 6, SG iss. 58/2006 - annex 2, table 2); TS |

*The introduction of a new version of standards/documents or standards/documents that replace them is permitted. An up-to-date list of standards/documents with their dated versions is provided by the CAB.

Ordinance No. 16-116 on the technical operation of energy equipment (SG iss. 26/2008)

Ordinance No. 3 on the configuration of electrical installations and power lines (SG iss. 90/2004, issue 91/2004)

Ordinance no. 4 on the lightning protection of buildings, outdoor facilities and open spaces (SG iss. 6/2011)

Ordinance No. 1 on the design, construction and maintenance of low voltage electrical systems in buildings (SG No. 46/2010);

Ordinance No. RD-07-3 on the minimum requirements for the microclimate of workplaces (SG iss. 63/10.08.2014)

Ordinance No. 9 on the health and hygiene requirements for the use of personal computers in the education and extracurricular activities of students (SG iss. 46/1994)

Ordinance No. 24 on sanitary and hygienic requirements for discotheques (SG No. 95/2003);

Ordinance No. 2 on health requirements for computer and internet rooms for public use (SG iss. 15/2007)

Ordinance No. 3 on the health requirements for kindergartens (SG No. 15/2007)

Ordinance No. 26 on the organization and operation of nurseries and children's communal kitchens and the health requirements for them (SG iss. 103/2008)

Instruction No. 34 on the hygiene of sports facilities and equipment (SG iss. 82/1975.)

Ordinance No. 49 on artificial lighting of buildings (SG iss. 7/1976)

Ordinance No. RD-02-20-3, SG iss. 5/2016 for the design, implementation and maintenance of public service buildings in the fields of education and science, healthcare, culture and the arts.

Ordinance No. 19 on the organization and order of the optics shops and the health requirements for them (SG iss. 79/2008)

Ordinance No. 28 on the structure, order and organization of work and the nomenclature of medicinal products (SG iss. 109/2008, Annex No. 8 to Art. 12, para. 3)

Ordinance No. 15 - on the technical rules and regulations for the design, construction and operation of the sites and facilities for the production, transmission and distribution of thermal energy (SG No. 68/2005);

Ordinance No. RD-02-20-1 - on technical rules and regulations for control and acceptance of electrical installation works (SG No. 53 / 2018);

Ordinance No. 6 on the minimum requirements for ensuring the health and safety of workers in case of risks related to noise exposure (SG No. 70/2005);

Ordinance No. Iz-1971 - on construction and technical rules and norms for ensuring safety in case of fire (SG. No. 96/2009 r.)

Ordinance No. 9 on the health and hygiene requirements for the use of personal computers in the education and extracurricular activities of students (SG No. 46/1994);

Ordinance No. 26 - on the organization and operation of nurseries and children's kitchens and the health requirements for them (SG iss. 103/2008)

Ordinance No. 6 on the indicators of noise in the environment, taking into account the degree of discomfort during the different parts of the day, the limit values of the indicators of noise in the environment, the methods of evaluating the values of the indicators of noise and the harmful effects on the health of the population (SG No. 58/2006);

Ordinance No. 7 on the minimum requirements for health and safety working conditions at workplaces and when using work equipment (SG iss. 88/1999);

Ordinance No. 24 on sanitary and hygienic requirements for discotheques (SG iss. 95/2003);

Ordinance No. 2 on the health requirements for computers and Internet rooms for public use (SG No. 15/2007);

TS-Technical Specification.