SCOPE 6 ЛИК

BUSINESS INNOVATION CENTER – IZOT AD

CENTER FOR TESTING OF ELECTRONIC AND OFFICE EQUIPMENT

Management address: 1784 Sofia, 133 Tsarigradsko Shosse Blvd

Laboratory address: 1784 Sofia, 133 Tsarigradsko Shosse Blvd, Floor 4

To perform testing of:

| Type of the scope: flexible |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test/ characteristic | Testing methods (standard/ validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Audio/video, information and communication technology equipment | Protection from hazards (protection from electric shock and energy hazards) | БДС ЕN IEC 62368-1, cl. 5.3.2.1, cl. 5.3.2.2 |
|  |  | Voltage to accessible parts SELV circuits | БДС ЕN IEC 62368-1, cl. 5.2.2.2, cl. 5.2.2.4, cl. 5.2.2.5 |
|  |  | Protective eathing, transient resistance | БДС ЕN IEC 62368-1, cl. 5.6 |
|  |  | Thermal requirements | БДС ЕN IEC 62368-1, cl. 5.4.1.4 (5.4.1.4.2) |
|  |  | Touch current and protective conductor current | БДС ЕN IEC 62368-1, cl. 5.2.2.2, cl. 5.7.3, cl. 5.7.4, cl. 5.7.5 |
|  |  | Electric strength | БДС ЕN IEC 62368-1, cl. 5.4.1.3, cl. 5.4.5, cl. 5.4.5.2, cl. 5.4.8, cl. 5.4.9.2 |
|  |  | Protection from electric shock hazard under normal operating condition | БДС ЕN IEC 62368-1, cl. 5.3.2.2 |
|  |  | Heating under normal operating conditions (temperature rise ΔT) | БДС ЕN IEC 62368-1, cl. 5.4.1.4, cl. 5.4.1.10 |
|  |  | Leakage current | БДС ЕN IEC 62368-1, cl. 5.3.2.2, cl. 5.7.2.1 |
|  |  | Moisture resistance of the insulation | БДС ЕN IEC 62368-1, cl. 5.4.1.3, cl. 5.4.5, cl. 5.4.5.2, cl. 5.4.8 |
|  |  | Insulation resistance | БДС ЕN IEC 62368-1, cl. 5.4.1.3, cl. 5.4.5, cl. 5.4.5.2, cl. 5.4.8 |
| 2. | Household and similar electrical appliances | Protection against access to live parts | БДС EN 60335-1 and the relevant part 2, cl. 8 (cl. 8.1.1, 8.1.2 and 8.1.3) * |
|  |  | Voltage of accessible parts - ELV | БДС EN 60335-1 and the relevant part 2, cl. 8.1.4* |
|  |  | Rated current | БДС EN 60335-1 and the relevant part 2, cl. 10.2* |
|  |  | Leakage current when using a protective impedance (accessible parts) Leakage current | БДС EN 60335-1 and the relevant part 2, cl. 8.1.4 (БДС EN 60990) cl. 13* |
|  |  | Electric strength | БДС EN 60335-1 and the relevant part 2, cl. 16.3 (БДС EN 61180)* |
|  |  | Protective eathing, transient resistance | БДС EN 60335-1 and the relevant part 2, cl. 27* |
| 3. | Luminaries | Protection against indirect contact (earthing means) | БДС EN IEC 60598-1, cl. 7.2.3 |
|  |  | Insulation resistance | БДС EN IEC 60598-1, cl. 10.2.1 |
|  |  | Thermal test (normal operation) | БДС EN IEC 60598-1, cl. 12.4; 12.5; 12.6 |
| 4. | Medical electrical equipment | Protective earthing, transient resistance | БДС EN 60601-1, cl. 8.6 |
|  |  | Leakage current | БДС EN 60601-1, cl. 8.7 |
|  |  | Electric strength | БДС EN 60601-1, cl. 8.8 |
| 5. | Electrical equipment for measurement, control and laboratory use | Determination of accessible parts (Protection against electric shock) | БДС ЕN 61010-1, cl. 6.2.1, 6.2.2, 6.2.3 |
|  |  | Limit values for accessible parts - voltage | БДС ЕN 61010-1, cl. 6.3.1 a) |
|  |  | - current levels (current per accessible part) | БДС ЕN 61010-1, cl. 6.3.1 b) (IEC 60990) |
|  |  | Protective bonding (earting), impedance of protective bonding | БДС ЕN 61010-1, cl. 6.5.3.1 |
|  |  | Electric strength | БДС ЕN 61010-1, cl. 6.8 (6.8.2 to 6.8.4) |
| 6. | Transformers, adaptors, power supply units and combinations thereof | Protection against electric shock - touch voltage | БДС EN IEC 61558-1, cl. 9.1 a) |
|  |  | - touch current | БДС EN IEC 61558-1, cl. 9.1 b) |
|  |  | Insulation resistance | БДС EN IEC 61558-1, cl. 18.2 |
|  |  | Electric strength | БДС EN IEC 61558-1, cl. 18.3 |
|  |  | Protective eathing, transient resistance | БДС EN IEC 61558-1, cl. 24.4 |
| 7. | Circuit-breakers for overcurrent protection for household and similar installations | Electric shock hazard | БДС EN 60898, cl. 8.6 |
|  |  | Insulation resistance | БДС EN 60898, cl. 8.7 |
|  |  | Electric strength | БДС EN 60898, cl. 8.7 |
| 8. | Electrical equipment of machines | Insulation resistance | БДС EN 60204-1, cl. 18.3 |
|  |  | Electric strength | БДС EN 60204-1, cl. 18.4 |
| 9. | Toys | Determination of emission sound pressure levels | БДС EN 71-1, cl. 8.28 |
| 10. | Electric toys | Moisture resistance | БДС EN IEC 62115, cl. 11 |
|  |  | Electric strength | БДС EN IEC 62115, cl. 12 |
| 11. | Electrical equipments | Degrees of protections provided by enclosures (IP code) - To hazardous parts - against solid foreign objects - against ingress of water | БДС EN 60529, cl. 12.2, Table І cl. 13.2, Table ІІ cl. 14.2.1 to cl. 14.2.6, Table ІІІ |
| 11. | Electrical products, components and equipment (including taxis) | Testing Cab: Damp heat, steady state | БДС ЕN 60068-2-78 |
|  |  | Testing Db: Damp heat, cyclic | БДС ЕN 60068-2-30 |
|  |  | Testing B: Dry heat | БДС ЕN 60068-2-2 |
|  |  | Testing A: Cold type | БДС ЕN 60068-2-1 |

Notes: * the relevant part 2 of the standards from БДС EN 60335-2-2 to БДС EN 60335-2-109.

**Flexible scope: Implementing a new version of standards/documents or standards/documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.

To perform calibration of:

| Type of the scope: fixed |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| № | Type of measuring instrument | Measured quantuty, measurement unit | Measurement range | Measurement uncertainty | Calibration method |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | Thermometers (liquid, digital) | Temperature °C | From -40°С to 0°С | 0,07°С to 0,08°С | МК 504-01-01 (2012) |
|  |  |  | From 0°С to 100°С | 0,08°С to 0,10°С |  |
|  |  |  | From 100°С to 150°С | 0,10°С to 0,25°С |  |
|  |  |  | From 150°С to 200°С | 0,25°С to 0,40°С |  |
| 2. | Higrometers for relative humidity | Relative humidity, %RH | From 20% to 90% RH | From 1,9% to 2,6% RH | МК 504-03-01 (2020) МК 504-04-01 (2020) |

Calibration of the specified measuring instruments is performed in the laboratory.

References:

МК 504-1-01:2012 Calibration procedure to measurement instruments for measuring temperature.

МК 504-3-01:2020 Calibration procedure to measurement instruments for measuring Relative humidity in the salt hygrostat.

МК 504-4-01:2020 Calibration procedure to measurement instruments for measuring Relative humidity in the climatic chamber.