SCOPE 10 ЛИК

SAYBOLT-BULGARIA LTD

TEST CENTRE SAYBOLT-BULGARIA

Management and Laboratory address:

8104, Burgas, Industrial Zone № 3, Lukoil Neftohim Burgas AD

I.To perform testing of:

| Type of the scope: flexible for a part of the scope |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristic | Testing methods (standard/ validated method) |
| 1 | 2 | 3 | 4 |
| 1. | CRUDE OIL | 1.1 Density | БДС EN ISO 3675 ASTM D 1298 ASTM D 5002 |
|  |  | 1.2 Sulfur content | БДС EN ISO 8754 ASTM D 4294 |
|  |  | 1.3 Water content | БДС EN ISO 9029 ASTM D 4006 |
|  |  | 1.4Salts content | ASTM D 3230 |
|  |  | 1.5 Sediments (by extraction) | БДС EN ISO 3735 ASTM D 473 |
|  |  | 1.6 Maximum pour point | ASTM D 5853 (A) |
| 2. | AUTOMOTIVE FUELS, UNLEADED GASOLINES, GASOLINES, BIOGASOLINE, | 2.1 Appearance | БДС ISO 1998-2 БДС EN 228 cl.5.4 ASTM D 4176 |
|  |  | 2.2 Density | БДС EN ISO 3675 ASTM D 1298 БДС EN ISO 12185 ASTM D 4052 |
|  |  | 2.3 Distillation characteristics | БДС EN ISO 3405 ASTM D 86 |
|  |  | 2.4 Vapour pressure (Reid method) | ASTM D 323 |
|  |  | 2.5 Volatility index | БДС EN 228 cl.5.5.2 |
|  |  | 2.6 Sulfur content | БДС EN ISO 8754 ASTM D 4294 БДС EN ISO 20846 ASTM D 5453 БДС EN ISO 20884 |
|  |  | 2.7 Copper strip corrosion | БДС EN ISO 2160 ASTM D 130 ASTM D 4814 cl.7.1.4 |
|  |  | 2.8 Gum content (unwashed or solvent washed) | БДС EN ISO 6246 ASTM D 381 |
|  |  | 2.9 Vapour pressure | БДС EN 13016-1 ASTM D 5191 |
|  |  | 2.10 Lead content | БДС EN 237 ASTM D 3237 |
|  |  | 2.11 Water-soluble acids and bases | БДС 5252 ASTM D 1093 |
|  |  | - ydrocarbon type: - Arenes (aromatic) - Alkenes (olefins) - Saturated (paraffins) | БДС ISO 3837 ASTM D 1319 ASTM D 5134 БДС EN 15553 ASTM D 6839 ASTM D 5443 БДС EN ISO 22854 |
|  |  | 2.13 Motor Octane number, MON | БДС EN ISO 5163 ASTM D 2700 ГОСТ 511 ГОСТ Р 52946 |
|  |  | 2.14 Research Octane number, RON | БДС EN ISO 5164 ASTM D 2699 ГОСТ 8226 ГОСТ Р 52947 |
|  |  | 2.15 Mercaptan sulfur | БДС ISO 3012 ASTM D 3227 UOP 163 |
|  |  | 2.16 Hydrogen sulfide | ASTM D 4952 БДС 5579 UOP 163 |
|  |  | 2.17 Oxygen content | БДС EN 13132 БДС EN ISO 22854 ASTM D 6839 |
|  |  | 2.18 Oxygen-containing compounds | БДС EN 13132 БДС EN ISO 22854 ASTM D 6839 |
|  |  | 2.19 Methyl tert-butyl ether (MTBE) content | # IP PM BG/91 (modified) |
|  |  | 2.20 Benzene content | БДС EN 12177 ASTM D 5134 БДС EN ISO 22854 ASTM D 6839 |
|  |  | 2.21 Oxidation stability (Induction period) | БДС EN ISO 7536 ASTM D 525 |
|  |  | 2.22 Manganese content | БДС EN 16135 БДС EN 16136 |
|  |  | 2.23 Saybolt colour | ASTM D 156 |
|  |  | 2.24 Metals content - Lead - Arsenic | ВЛМИ-СБ/001/2019 |
|  |  | 2.25 Iron content | БДС EN 16136 |
| 3. | FUELS FOR DIESEL ENGINES, GASOILS FOR INDUSTRIAL AND COMMUNAL PURPOSES, MARINE DISTILLATE FUELS | 3.1 Density | БДС EN ISO 3675 ASTM D 1298 БДС EN ISO 12185 ASTM D 4052 |
|  |  | 3.2 Appearance | ASTM D 4176 |
|  |  | 3.3 Distillation characteristics | БДС EN ISO 3405 ASTM D 86 |
|  |  | 3.4 Sulfur content | БДС EN ISO 8754 ASTM D 4294 БДС EN ISO 20846 ASTM D 5453 БДС EN ISO 20884 |
|  |  | 3.5 Copper strip corrosion | БДС EN ISO 2160 ASTM D 130 |
|  |  | 3.6 Water-soluble acids and bases | БДС 5252 |
|  |  | 3.7 Hydrogen sulfide | БДС 5579 |
|  |  | 3.8 Cetane number, CN | БДС EN ISO 5165 ASTM D 613 |
|  |  | 3.9 Cetane index | БДС EN ISO 4264 ASTM D 4737 ASTM D 976 |
|  |  | 3.10 Kinematic viscosity | БДС EN ISO 3104 ASTM D 445 |
|  |  | 3.11 Flash point (closed-cup), Pensky- Martens | БДС EN ISO 2719 ASTM D 93 |
|  |  | 3.12 Ash content | БДС EN ISO 6245 ASTM D 482 |
|  |  | 3.13 Carbon Residue | БДС ISO 6615 ASTM D 189 БДС EN ISO 10370 ASTM D 4530 |
|  |  | 3.14 Water content | БДС EN ISO 12937 БДС ISO 3733 ASTM D 6304 ASTM D 95 |
|  |  | 3.15 Water and sediments | ASTM D 2709 |
|  |  | 3.16 Cloud point | БДС EN ISO 3015 ASTM D 2500 |
|  |  | 3.17 ASTM scale colour | БДС ISO 2049 ASTM D 1500 |
|  |  | 3.18 Lubrication ability at 60°C | БДС EN ISO 12156-1 ASTM D 6079 |
|  |  | 3.19 Fatty acids methyl esters (FAME) content | БДС EN 14078 |
|  |  | 3.20 Acid number | ASTM D 974 ASTM D 664 |
|  |  | 3.21 Freezing point | БДС 1751 |
|  |  | 3.22 Pour point | БДС EN ISO 3016 ASTM D 97 |
|  |  | 3.23 Cold filter plugging point (CFPP) | БДС EN 116 ASTM D 6371 |
|  |  | 3.24 Oxidation stability | БДС EN ISO 12205 ASTM D 2274 |
|  |  | 3.25 Total contamination | БДС EN 12662-1 IP 440 |
|  |  | 3.26 Total sediment by hot filtration | БДС ISO 10307-1 ASTM D 4870 IP 375 |
|  |  | 3.27 Aromatic hydrocarbons type - Monoaromatic - Diaromatic - Triaromatic (arenes) - Polycyclic aromatic (arenes) | БДС EN 12916 IP 391 |
|  |  | 3.28 Manganese content | БДС EN 16576 |
|  |  | 3.29 Specific heat of combustion | БДС ISO 8217 Annex J ASTM D 4868 |
|  |  | 3.30 Oxidation stability by accelerated oxidation method, 110°C | БДС EN 15751 |
|  |  | 3.31 Iron content | БДС EN 16576 |
|  |  | 3.32 Electrical conductivity | ASTM D 2624 |
|  |  | 3.33 Solvent Blue 79 Similar content | ВЛМИ-СБ/002/2024 |
|  |  | 3.34 Content: - n-Butyl phenyl ether (Butoxybenzene) - ACCUTRACETM PLUS | ВЛМИ-СБ/003/2024 |
| 4. | BIODIESEL | 4.1 Density | БДС EN ISO 3675 ASTM D 1298 БДС EN ISO 12185 ASTM D 4052 |
|  |  | 4.2 Sulfur content | БДС EN ISO 20846 ASTM D 5453 |
|  |  | 4.3 Copper strip corrosion | БДС EN ISO 2160 ASTM D 130 |
|  |  | 4.4 Cetane number, CN | БДС EN ISO 5165 ASTM D 613 |
|  |  | 4.5 Kinematic viscosity | БДС EN ISO 3104 ASTM D 445 |
|  |  | 4.6 Flash point (closed-cup), Pensky - Martens | БДС EN ISO 2719 ASTM D 93 |
|  |  | 4.7 Carbon Residue | БДС EN ISO 10370 ASTM D 4530 |
|  |  | 4.8 Water content | БДС EN ISO 12937 ASTM D 6304 |
|  |  | 4.9 Pour point | БДС EN ISO 3016 ASTM D 97 |
|  |  | 4.10 Cold filter plugging point (CFPP) | БДС EN 116 ASTM D 6371 |
|  |  | 4.11 Total contamination | БДС EN 12662-2 IP 440 |
|  |  | 4.12 Oxidation stability by accelerated oxidation method, 110°C | БДС EN 15751 БДС EN 14112 |
| 5. | FUEL OILS, MARINE RESIDUAL FUELS | 5.1 Density | БДС EN ISO 3675 ASTM D 1298 БДС EN ISO 12185 ASTM D 4052 |
|  |  | 5.2 Sulfur content | БДС EN ISO 8754 ASTM D 4294 |
|  |  | 5.3 Water-soluble acids and bases | БДС 5252 |
|  |  | 5.4 Kinematic viscosity | БДС EN ISO 3104 ASTM D 445 |
|  |  | 5.5 Flash point (closed-cup), Pensky- Martens | БДС EN ISO 2719 ASTM D 93 |
|  |  | 5.6 Ash content | БДС EN ISO 6245 ASTM D 482 |
|  |  | 5.7 Carbon Residue | БДС ISO 6615 ASTM D 189 БДС EN ISO 10370 ASTM D 4530 |
|  |  | 5.8 Water content | БДС ISO 3733 ASTM D 95 |
|  |  | 5.9 Water and sediments | БДС ISO 3734 ASTM D 1796 |
|  |  | 5.10 Sediments (by extraction) | БДС EN ISO 3735 ASTM D 473 |
|  |  | 5.11 Specific heat of combustion | БДС ISO 8217 Annex J ASTM D 4868 |
|  |  | 5.12 Freezing point | БДС 1751 |
|  |  | 5.13 Pour point | БДС EN ISO 3016 ASTM D 97 |
|  |  | 5.14 Flash point open - cup | БДС EN ISO 2592 ASTM D 92 |
|  |  | 5.15 ASTM scale colour | БДС ISO 2049 ASTM D 1500 |
|  |  | 5.16 Acid number | ASTM D 664 |
|  |  | 5.17 Total sediment by hot filtering | БДС ISO 10307-1/2 ASTM D 4870 IP 375 IP 390 |
|  |  | 5.18 Asphaltene content | ASTM D 6560 IP 143 |
|  |  | 5.19 Element content - Sodium - Nickel - Calcium - Vanadium - Aluminum - Silicon - Zinc - Iron | IP 470 |
|  |  | 5.20 Element content - Phosphorus - Sodium - Nickel - Calcium - Vanadium - Aluminum - Silicon - Zinc - Iron | IP 501 |
|  |  | 5.21 Element content - Aluminum - Silicon | ASTM D 5184 |
|  |  | 5.22 Metal content - Sodium - Nickel - Vanadium - Iron | ASTM D 5863 |
| 6. | JET FUELS | 6.1 Density | БДС EN ISO 3675 ASTM D 1298 БДС EN ISO 12185 ASTM D 4052 |
|  |  | 6.2 Distillation characteristics | БДС EN ISO 3405 ASTM D 86 |
|  |  | 6.3 Sulfur content | БДС EN ISO 8754 ASTM D 4294 БДС EN ISO 20846 ASTM D 5453 БДС EN ISO 20884 |
|  |  | 6.4 Specific heat of combustion | ASTM D 3338 |
|  |  | 6.5 Copper strip corrosion | БДС EN ISO 2160 ASTM D 130 |
|  |  | - Hydrocarbon type: - Arenes (aromatic) - Alkenes (olefins) - Saturated (paraffins) | ASTM D 1319 БДС EN 15553 |
|  |  | 6.7 Content of resins -ubwashed, washed with solvent | БДС EN ISO 6246 ASTM D 381 |
|  |  | 6.8 Mercaptan sulfur | БДС ISO 3012 ASTM D 3227 UOP 163 |
|  |  | 6.9 Hydrogen sulfide | ASTM D 4952 UOP 163 |
|  |  | 6.10 Saybolt colour | ASTM D 156 |
|  |  | 6.11 electrical conductivity | ASTM D 2624 |
| 7. | METHYL TERT- BUTYL ETHER (MTBE) | 7.1 Appearance | БДС ISO 1998-2 ASTM D 4176 |
|  |  | 7.2 Density | ASTM D 4052 БДС EN ISO 12185 |
|  |  | 7.3 Methyl tert-butyl ether (MTBE) | ASTM D 5441 |
|  |  | 7.4 Methanol | ASTM D 5441 |
|  |  | 7.5 Tert-butyl alcohol (TBA) | ASTM D 5441 |
|  |  | 7.6 Water content | ASTM E 1064 |
|  |  | 7.7 Sulfur content | БДС EN ISO 20846 ASTM D 5453 |
| 8. | TECHNICAL SULFUR | 8.1 Sulfur content | БДС 1678 cl. 4.1 |
|  |  | 8.2 Ash content | БДС 1678 cl. 4.5 |
|  |  | 8.3 Acids content recalculated as H2SO4 | БДС 1678 cl. 4.4 |
|  |  | 8.4 Organic substances content | БДС 1678 cl. 4.5 |
|  |  | 8.5 Moisture content | БДС 1678 cl. 4.9 |

*Flexible Scope: Implementing a new version of standards/documents or standards/ documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by CAB.

References:

1. ВЛМИ-СБ/001/2019-Determination of the content of lead and arsenic in motor fuels and components for fuels, by ICP-OEC, from 2019.

2. IP PM BG/91 (modified)-Determination of the content of methyl tert-Butyl ether (MTBE) and tert- Amyl methyl ether (TAME) in light distillate raw materials - gas chromatography method.

3. ВЛМИ-СБ/002/2024-Determination of the content of the Solvent Blue 79 Similar marker using a spectrophotometer with ultraviolet measurement capabilities - Cary Win UV 50 BIO, from 2024.

4. ВЛМИ-СБ/003/2024- Determination of the content of n-Butyl phenyl ether (Butoxybenzene) in diesel fuels by two-dimensional gas chromatography with mass selective detector (GCMS) and calculation of the total content of the fuel marker ACCUTRACE ™ Plus, from 2024.

II. To perform sampling of:

| Type of the scope: flexible* |  |  |
| --- | --- | --- |
| № | Tested products | Sampling methods (standard/validated method) |
| 1 | 2 | 3 |
| 1. | Crude oil | БДС EN ISO 3170, ASTM D 4057, ASTM D 5842 |
| 2. | Automotive fuels, unleaded gasolines, gasolines, biogasoline | БДС EN ISO 3170, ASTM D 4057, ASTM D 5842 |
| 3. | Fuels for diesel engines, gasoils for industrial and communal purposes, marine distillate fuels | БДС EN ISO 3170, ASTM D 4057, ASTM D 5842 |
| 4. | Biodiesel | БДС EN ISO 3170, ASTM D 4057, ASTM D 5842 |
| 5. | Fuel oils, marine residual fuels | БДС EN ISO 3170, ASTM D 4057, ASTM D 5842 |
| 6. | Jet fuels | БДС EN ISO 3170, ASTM D 4057, ASTM D 5842 |
| 7. | Methyl tert-butyl ether (mtbe) | БДС EN ISO 3170, ASTM D 4057 |
| 8. | Solid chemical products (technical sulfur) | БДС ISO 8213 |

*Flexible Scope: Implementing a new version of standards/documents or standards/ documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by CAB.

III. To perform calibration of:

| Type of the scope: fixed |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| № | Type of measuring instrument | Measured quantuty, measurement unit | Measurement range | Measurement uncertainty | Calibration method |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | Hydrometers for liquids with low surface tension | g/cm3 | from 0.6000 g/cm3 to 1.1000 g/cm3 | 0.00008 g/cm3 | МК-05/2019 |
| 2. | Automatic apparatus for density measurement | g/cm3 | From 0.7200 g/cm3 To 1.0000 g/cm3 | 0.00008 g/cm3 | МК-09/2019 |

References:

1. МК-05/2019 – Method of calibration of technical means for density measuring - Hydrometers for liquids with low surface tension from 2019.

2. МК-09/2019 - Method of calibration of automatic apparatus for density measurement from 2019.