SCO 209 ЛИ

Sofia, 29.04.2025

MILITARY FORMATION 24510 - SOFIA, MINISTRY OF DEFENSE

LABORATORY FOR TESTING, ANALYSIS AND QUALITY CONTROL

OF FUEL-LUBRICANTS AND SPECIAL FLUIDS

Management address: 1271, Sofia, Iliyantsi, Rozhen Blvd.

Laboratory address: 1271, Sofia, Iliyantsi, Rozhen Blvd.

To perform testing of:

| Type of the scope: fixed |  |  |  |
| --- | --- | --- | --- |
| № | Tested Products | Type of Test/Characteristic | Testing methods (standardized / validated methods) |
| 1 | 2 | 3 | 4 |
| 1. | Aviation and automotive gasolines | 1.1. Density | БДС EN ISO 3675 БДС EN ISO 12185 |
|  |  | 1.2. Distillation haracteristics | БДС EN ISO 3405 |
|  |  | 1.3. Acidity | БДС 1752 |
|  |  | 1.4. Gum content | БДС EN ISO 6246 |
|  |  | 1.5. Corrosiveness of copper strip | БДС EN ISO 2160 |
| 2. | Jet fuels | 2.1. Density | БДС ЕN ISO 3675 БДС EN ISO 12185 |
|  |  | 2.2. Distillation characteristics | БДС EN ISO 3405 |
|  |  | 2.3. Acidity | БДС 1752 |
|  |  | 2.4. Gum content | БДС EN ISO 6246 |
|  |  | 2.5. Flash point in closed cup | БДС EN ISO 2719 |
|  |  | 2.6. Flash point in closed cup | А5ТМ D56 |
|  |  | 2.7. Ash | БДС EN ISO 6245 |
|  |  | 2.8. Kinematic viscosity | БДС EN ISO 3104, Procedure A |
|  |  | 2.9 Freezing Point | АSТМ D2386 |
|  |  | 2.10. Corrosiveness of copper strip, Class | БДС EN ISO 2160 |
| 3. | Fuels for diesel engines, Gas oils for industrial and communal purposes | 3.1. Density | БДС EN ISO 3675 БДС EN ISO 12185 |
|  |  | 3.2. Distillation characteristics | БДС EN ISO 3405 |
|  |  | 3.3. Acidity | БДС 1752 |
|  |  | 3.4. Ash | БДС EN ISO 6245 |
|  |  | 3.5. Flash point in closed cup | БДС EN ISO 2719 |
|  |  | 3.6. Carbon residue | БДС ISO 6615 |
|  |  | 3.7. Pour point | БДС EN ISO 3016 |
|  |  | 3.8. Cloud point | БДС EN ISO 3015 |
|  |  | 3.9. Cold Filter Plugging Point | БДС EN 116 БДС EN 116/Amendment 1 |
|  |  | 3.10. Cetane index | БДС EN ISO 4264 |
|  |  | 3.11. Kinematic viscosity | БДС EN ISO 3104, Procedure А |
|  |  | 3.12. Corrosiveness of copper strip | БДС EN ISO 2160 |
|  |  | 3.13. Water | БДС EN ISO 12937 |
| 4. | Lubricating and hydraulic oils | 4.1. Density | БДС EN ISO 3675 БДС EN ISO 12185 |
|  |  | 4.2. Acid number | БДС 1752 |
|  |  | 4.3. Kinematic viscosity | БДС EN ISO 3104, Procedure A |
|  |  | 4.4. Viscosity index | БДС ISO 2909 |
|  |  | 4.5. Flash point in closed cup | БДС EN ISO 2719 |
|  |  | 4.6. Flash point in opencup | БДС EN ISO 2592 |
|  |  | 4.7. Pour point | БДС EN ISO 3016 |
|  |  | 4.8. Ash | БДС EN ISO 6245 |
|  |  | 4.9. Sulfated ash | БДС ISO 3987 |
|  |  | 4.10. Carbon residue | БДС ISO 6615 |
|  |  | 4.11. Neutralizing value | БДС 9776 |
|  |  | 4.12. Water | БДС EN ISO 12937 |
|  |  | 4.13. Corrosiveness of copper strip | БДС EN ISO 2160 |
| 5. | Lubricants | 5.1. Penetration | БДС ISO 2137 |
|  |  | 5.2. Dropping point | БДС ISO 2176 |
|  |  | 5.3. Colloidal stability | БДС 6733 |
| 6. | Brake fluids for automobiles | 6.1. Density | БДС EN ISO 3675 |
|  |  | 6.2. Kinematic viscosity | БДС EN ISO 3104, Procedure А |
|  |  | 6.3. Flash point in open cup | БДС EN ISO 2592 |
|  |  | 6.4. Boiling point | БДС 8563 |

Flexible Scope: Implementing a new version of standards/documents or standards / documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.