


                                                                     ORDER 
                                                                  No. A 34
     Sofia, 29.01.2025

To perform insection of:
	Number
	Control range
	Control type
	Controlled parameter/characteristics
	Test and measurement methods, used for control
	Regulation acts, standards, specifications, schemes

	Range type: flexible (*)

	1.
	Electric devices and equipment for voltage to 1000V
	Primary 
and/or periodical for new objects and facilities 
and/or 
in operation objects and facilities
	loop impedance
“phase protective conductor”
	ПК 01
	Regulation number 3 (published in State Gazette issues 90 and 91 of 2004)
Regulation number 16-116 (published in State Gazette issue 26 of 2008)
Technical specifications

	
	
	
	Insulation resistance
	ПК 02
	Regulation number 3 (published in State Gazette issues 90 and 91 of 2004)
Regulation number 16-116 (published in State Gazette issue 26 of 2008)
Technical specifications

	
	
	
	Protective circuit breakers:
- contact voltage;
- shutdown time;
- trigger current;
	ПК 06
	Regulation number 3 (published in State Gazette issues 90 and 91 of 2004)
Regulation number 16-116 (published in State Gazette issue 26 of 2008)
Technical specifications

	2.
	Electric devices and equipment for voltage to and over 1000V
	Primary 
and/or periodical for new objects and facilities 
and/or 
in operation objects and facilities
	Resistance of protective grounding facilities
	ПК 03
	Regulation number 3 (published in State Gazette issues 90 and 91 of 2004)
Regulation number 16-116 (published in State Gazette issue 26 of 2008)
Technical specifications

	
	
	
	Resistance of 
lightning protection grounding facilities
	ПК 04
	Regulation number 4 (published in State Gazette issue 6 of 2011)
Regulation number 3 (published in State Gazette issues 90 and 91 of 2004)
Regulation number 16-116 (published in State Gazette issue 26 of 2008)
Technical specifications

	3.
	Electric devices and equipment for 
voltage 
to 24 kV
	Primary  and/or periodical for new objects and facilities 
and/or  in operation objects and facilities

	Insulation control with increased DC voltage
	БДС 2406

ПК 05
	Regulation number 3 (published in State Gazette issues 90 and 91 of 2004)
Regulation number 16-116 (published in State Gazette issue 26 of 2008)
Technical specifications

	4.
	Electric devices and equipment for  voltage 
to 35 kV
	Objects and facilities in operation
	Insulation control with increased DC voltage
	БДС 2406

ПК 05
	Regulation number 3 (published in State Gazette issues 90 and 91 of 2004)
Regulation number 16-116 (published in State Gazette issue 26 of 2008)
Technical specifications

	5.
	Ventilation installations
	Primary  and/or periodical for new objects and facilities 
and/or  in operation objects and facilities

	- airflow debit;

- speed of movement of the airflow.
	БДС 12.3.018

ПК 07
	Regulation number 15 (published in State Gazette issue 68 of 2005)

Regulation number 24 (published in State Gazette issue 95 of 2003)

Technical specifications

	6.
	Artificial lightning in production premises 
	Primary  and/or periodical for new objects and facilities 
and/or  in operation objects and facilities
	Illumination
	Methodology instructions for measurement and  assessment of artificial lightning in buildings 4085 issued Standardization 1985

ПК 08
	Regulation number 49 (published in State Gazette issue 7 of 1976)
Regulation number 24 (published in State Gazette issue 95 of 2003)
Regulation number 9 (published in State Gazette issue 46 of 1994)
Regulation number 2 (published in State Gazette issue 15 of 2007)
Regulation number 3  (published in State Gazette issue 15 of 2007)
Regulation number 26 (published in State Gazette issue 103 of 2008)
БДС EN 12464-1:2011
Technical specifications

	7.
	Microclimate in production premises and house environment
	Primary  and/or periodical for new objects and facilities 
and/or  in operation objects and facilities
	- air temperature;
- air relative humidity;
- air movement speed.
	БДС 16686
Regulation RD-07-03 (published in State Gazette issue 63 of 2014)

ПК 09
	Regulation number 3  (published in State Gazette issue 15 of 2007)
Regulation number 24 (published in State Gazette issue 95 of 2003)
Regulation number 26 (published in State Gazette issue 103 of 2008)
Regulation number 9 (published in State Gazette issue 46 of 1994)
Regulation number 2 (published in State Gazette issue 15 of 2007)
Regulation number rd-07-03 (published in State Gazette issue 63 of 2014)
BDS 14776
Technical specifications

	8.
	Noise in production environment
	Primary  and/or periodical for new objects and facilities 
and/or  in operation objects and facilities

	- daily level of exposition of noise, dBA;
- average weekly level of exposition of noise, dBA;
- peak level of the noise pressure, dBC;
	БДС
EN ISO 9612
(БДС ISO 1999)


ПК 10
	Regulation number 6  (published in State Gazette issue 70 of 2005)
Technical specifications

	9.
	Noise in household premises and public buildings
	Primary  and/or periodical for new objects and facilities 
and/or  in operation objects and facilities
	- noise level, dBA;
- equal noise level, dBA.
	БДС 15471

ПК 11
	Regulation number 6, appendix 2, table 2  (published in State Gazette issue 58 of 2006)
Regulation number 9 (published in State Gazette issue 46 of 1994)
Regulation number 24 (published in State Gazette issue 95 of 2003)
Regulation number 26 (published in State Gazette issue 103 of 2008)
Regulation number 2 (published in State Gazette issue 15 of 2007)
Technical specifications

	10.
	Environment noise
	Primary  and/or periodical for new objects and facilities 
and/or  in operation objects and facilities
	- noise level, dBA;
- equal noise level, dBA.
	БДС 15471

ПК 12
	Regulation number 6, appendix 2, table 2  (published in State Gazette issue 58 of 2006)
Technical specifications



* The introduction of a new version of standards/documents or amendments thereof is allowed. An updated list of standards/documents with the dated versions is provided by the Conformity Assessment Bodies (CAB).

Regulation number 9 – for the health and hygiene requirements in operation of personal computers in the training and external school activities of the students (published in State Gazette issue 46 of 1994);
Regulation number 24 – for the health and hygiene requirements in the disco clubs (published in State Gazette issue 95 of 2003);
Regulation number 2 – for the health requirements to computers and internet rooms for public services (published in State Gazette issue 15 of 2007);
Regulation number 3  - for the health requirements for kindergartens (published in State Gazette issue 15 of 2007);
Regulation number 26 – for the kitchens in kindergartens, and the health requirements for those kitchens (published in State Gazette issue 103 of 2008);
Regulation number RD 07-3 – for minimum requirements for the microclimate at the work places (published in State Gazette issue 63 of 2014);
Regulation number 6 – for minimum requirements for the health and safety of workers in noise hazard environment (published in State Gazette issue 70 of 2005);
Regulation number 6 – for the noise levels in the environment, showing the discomfort levels during the different times of the day, the border levels of the noise stages, the noise assessment methods and noise hazard for the population  (published in State Gazette issue 58 of 2006);
Regulation number 49 – for the artificial lightning in the public buildings (published in State Gazette issue 7 of 1976);
Methodology instructions for measurement and assessment of the artificial lightning in the buildings 40-85, collected methods vol. IV, issued by “Standardization” 1985;
Regulation number 16-116 – for the technical operation of electric equipment (published in State Gazette issue 26 of 2008);
Regulation number 3 – for the structure of the electric facilities and electric lines (published in State Gazette issue 90 and 91 of 2004);
Regulation number 4 – for the lightning protection of buildings, external facilities and open space (published in State Gazette issue 6 of 2011);
Regulation number 15 – for technical regulations and rules for projecting, construction and operation of facilities and equipment for production, transfer and distribution of heat energy (published in State Gazette issue 68 of 2005);
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