SCOPE 269 ЛИ

Sofia, 29.04.2025

of SOFIA ASPHALT LTD.

ROAD TESTING LABORATORY

Management and laboratory address:

4441 Hadzhievo, Pazardzhik Municipality, Pazardzhik Region, Asphalt Base

To perform testing of:

| Type of the scope: flexible* |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test/characteristic | Testing methods (standard / validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Concrete and mortar additives - coarse, sand and fine fillers | 1.1 Grain size composition | БДС EN 933-1 |
|  |  | 1.2 Bulk density | БДС EN 1097-3 |
|  |  | 1.3 Grain density and water absorption: - absolute grain density (ρа); - dry grain density (ρrd); - grain density in a water-saturated-surface-dry-state (ρssd); - water absorption (WA24); | БДС EN 1097-6 |
|  |  | 1.4 Water content | БДС EN 1097-5 |
|  |  | 1.5 Form factor | БДС EN 933-4 |
|  |  | 1.6 Flat grains index | БДС EN 933-3 |
|  |  | 1.7 Sand equivalent | БДС EN 933-8+A1 |
|  |  | 1.8 Methylene blue value | БДС EN 933-9 |
|  |  | 1.9 Frost resistance - resistance to freezing and thawing | БДС EN – 1367-1 |
|  |  | 1.10 Frost resistance - Magnesium sulfate test (Mg2SO4) | БДС EN 1367-2 |
|  |  | 1.11 Fragility resistance - Los Angeles Ratio | БДС EN 1097-2 |
|  |  | 1.12 Fragility resistance of large additive material under static load | БДС EN 206+A2/NA, Annex NA.Q |
|  |  | 1.13. Content of particles with a size below 0.063 mm (Fine fraction content) | БДС EN 933-1 |
|  |  | 1.14. Wear resistance - micro-Deval coefficient | БДС EN 1097-1 |
|  |  | 1.15. Accelerated polishing coefficient (polishing resistance) | БДС EN 1097-8 |
| 2. | Rock materials for bituminous mixtures, construction equipment and road construction – coarse-grained, fine-grained (natural and crushed sand), fine aggregates | 2.1 Grain size composition | БДС 2880 БДС EN 933-1 |
|  |  | 2.2 Bulk density | БДС EN 1097-3 |
|  |  | 2.3 Grain density and water absorption: - absolute grain density (ρa); - dry grain density (ρrd); - grain density in a water-saturated-surface-dry-state (ρssd); - water absorption (WA24); | БДС EN 1097-6 |
|  |  | 2.4 Water content | БДС EN 1097-5 |
|  |  | 2.5 Content of particle of a size below 0,063 mm (Fine fraction content) | БДС EN 933-1 |
|  |  | 2.6 Form factor | БДС EN 933-4 |
|  |  | 2.7 Flat grains index | БДС EN 933-3 |
|  |  | 2.8 Sand equivalent | БДС EN 933-8+А1 |
|  |  | 2.9 Percentage of grains with broken and crushed surfaces | БДС EN 933-5 |
|  |  | 2.10 Methylene blue value | БДС EN 933-9 |
|  |  | 2.11 Frost resistance - resistance to freezing and thawing | БДС EN 1367-1 |
|  |  | 2.12 Frost resistance - Magnesium sulfate test (Mg2SO4) | БДС EN 1367-2 |
|  |  | 2.13 Fragility resistance - Los Angeles Ratio | БДС EN 1097-2 |
|  |  | 2.14 Humidity | БДС 2880 |
|  |  | 2.15 Fine filler particles density | БДС EN 1097-7 |
|  |  | 2.16 Flow limit | AASHTOТ 89 Annex 15 to Ordinance № РД-02-20-2 on road design |
|  |  | 2.17 Plasticity limit. Plasticity index. | AASHTO Т 90 Annex 16 to Ordinance № РД-02-20-2 on road design |
|  |  | 2.18 Adhesion with bitumen | БДС 11685 |
|  |  | 2.19. Adhesion between aggregate and bitumen | БДС EN 12697-11, Boiling Stripping Method |
|  |  | 2.20 Standard density and optimum water content. Proctor method / Maximum skeletal bulk density and optimum water content. Proctor method | БДС EN 13286-2 БДС 17146 |
|  |  | 2.21 California bearing ratio (CBR). Linear swelling | БДС EN 13286-47 |
|  |  | 2.22 Elastic and deformation module: - Elastic module; - Deformation modules; - E2 / E1 deformation modules ratio; | БДС 15130 |
|  |  | 2.23 In situ density of soil by sand replacement method | AASHTO Т 191 |
|  |  | 2.24. Wear resistance - micro-Deval coefficient | БДС EN 1097-1 |
|  |  | 2.25. Accelerated polishing coefficient (polishing resistance) | БДС EN 1097-8 |
|  |  | 2.26. Inequigranularity coefficient | БДС EN 13242+A1/NA |
| 3. | Soils for construction | 3.1 Water content | БДС 644** |
|  |  | 3.2 Specific density | БДС 646** |
|  |  | 3.3 In-situ density of soil by sand replacement method | AASHTO Т 191 |
|  |  | 3.4 Flow limit | AASHTOТ 89 Annex 15 to Ordinance № РД-02-20-2 on road design |
|  |  | 3.5 Plasticity limit. Plasticity index. | AASHTO Т 90 Annex 16 to Ordinance № РД-02-20-2 on road design |
|  |  | 3.6 Standard density and optimum water content. Proctor method / Maximum skeletal bulk density and optimum water content. Proctor method | БДС EN 13286-2 БДС 17146 |
|  |  | 3.7 California bearing ratio (CBR). Linear swelling | БДС EN 13286-47 |
|  |  | 3.8 Elastic and deformation module: - Elastic module; - Deformation modules; - E2 / E1 deformation modules ratio; | БДС 15130 |
| 4. | Asphalt mixtures | 4.1 Air pores content. | БДС EN 12697-8 |
|  |  | 4.2 Water sensitivity of asphalt test body | БДС EN 12697-12 Indirect loading method |
|  |  | 4.3 Marshall stability; Marshall flow | БДС EN 12697-34 |
|  |  | 4.4 Binder drainage, Schellenberg method | БДС EN 1269-18 |
|  |  | 4.5 Bulk density | БДС EN 12697-6 |
|  |  | 4.6 Maximum density | БДС EN 12697-5 |
|  |  | 4.7 Particle size distribution | БДС EN 12697-2 |
|  |  | 4.8 Soluble binder content | БДС EN 12697-1 Centrifugal Extraction Method |
|  |  | 4.9 Indirect tensile strength of asphalt test samples | БДС EN 12697-23 |
| 5. | Asphalt layers | 5.1 Bulk density | БДС EN 12697-6 |
|  |  | 5.2 Compaction degree | БДС EN 12697-9** |
|  |  | 5.3 Measurement of macrotexture depth using a sand spot (roughness) | БДС EN 13036 - 1 БДС 17143 |
|  |  | 5.4 Dimensions of asphalt test body. Layer thickness | БДС EN 12697-29 БДС EN 12697-36 Destruction method |
|  |  | 5.5 Unevenness | БДС EN 13036-7 |
| 6. | Concrete mixtures | 6.1 Compaction /consistency/ | БДС EN 12350-2 |
| 7. | Concrete | 7.1 Compression strength | БДС EN 12390-3 |
|  |  | 7.2 Density | БДС EN 12390-7 |
| 8. | Bitumen and bituminous binders | 8.1 Penetration (needle penetration) | БДС EN 1426 |
|  |  | 8.2 Softening point | БДС EN 1427 |
|  |  | 8.3 Elastic restoration of modified bitumen | БДС EN 13398 |
| 9. | Asphalt paste for pouring joints on road surfaces | 9.1 Appearance | БДС 4551 |
|  |  | 9.2 Frost resistance | БДС 4551 |
|  |  | 9.3 Bitumen content | БДС 4551 |
| 10. | Bitumen emulsions | 10.1 Particle polarity | БДС EN 1430 |
|  |  | 10.2 Sieve residue on a sieve of 0.500 mm | БДС EN 1429 |
|  |  | 10.3 Storage stability (sieve residue on a sieve of 0.500 mm after 7 days) | БДС EN 1429 |
| 11. | Track ballast | 11.1. Grain size distribution | БДС EN 933-1 |
|  |  | 11.2. Content of particles with a size below 0.063 mm (Fine fraction content) | БДС EN 933-1 |
|  |  | 11.3. Content of particles with a size below 0.5 mm (Fine fraction content) | БДС EN 933-1 |
|  |  | 11.4. Frost resistance - Magnesium sulfate test (Mg2SO4) | БДС EN 1367-2 |
|  |  | 11.5. Grain density and water absorption: - absolute grain density (ρa); - dry grain density (ρrd); - grain density in a water-saturated-surface-dry-state (ρssd); - water absorption (WA24); | БДС EN 1097-6 |
|  |  | 11.6. Flat grains index | БДС EN 933-3 |
|  |  | 11.7. Form factor | БДС EN 933-4 |
|  |  | 11.8. Fragility resistance - Los Angeles Ratio | БДС EN 1097-2 |
|  |  | 11.9. Wear resistance - micro-Deval coefficient | БДС EN 1097-1 |
|  |  | 11.10. Grain length | БДС EN 13450/AC |

To perform sampling of:

| Type of the scope: flexible* |  |  |
| --- | --- | --- |
| № | Product | Sampling method (standard/validated) |
| 1 | 2 | 3 |
| 1. | Concrete and mortar additives - coarse, sand and fine fillers | БДС EN 932-1 |
| 2. | Rock materials for bituminous mixtures, construction equipment and road construction – coarse-grained, fine-grained (natural and crushed sand), fine fillers | БДС EN 932-1 |
| 3. | Soils for construction; | БДС EN 13286-1 |
| 4. | Asphalt mixtures | БДС EN 12697-27 |
| 5. | Asphalt layers | БДС EN 12697-27 |
| 6. | Concrete mixtures | БДС EN 12350-1 |
| 7. | Bitumen and bituminous binders | БДС EN 58 |
| 8. | Track ballast | БДС EN 932-1 |

**Repealed but not replaced standard with regard to the testing method.

*Flexible scope: Implementing a new version of standards/documents or standards/ documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.

Reference:

1. Annex № 15 to Art. 160, cl. 3 of Regulation № РД-02-20-2/28.08.2018 on road design of the Ministry of Regional Development and Public Works: Method for determining the flow limit of soils;

2. Annex № 16 to Art. 160, cl. 3 of Regulation № РД-02-20-2/28.08.2018 on road design of the Ministry of Regional Development and Public Works: Method for determining the drainage limit and the plasticity index of soils;