ORDER

№ А 134

Sofia, 29.04.2025

REGIONAL HEALTH INSPECTORATE BODY, STARA ZAGORA

INSPECTION BODY OF TYPE A

Managment and office address: 6000 Stara Zagora ,10 Stefan Karadzha Str.

To perform inspection according to the following scope:

| Scope type: flexible* |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No. | Field of control | Control type | Controlled parameter/ characteristics | Testing/ Measuring methods used for control; control procedure | Enactments, standards, specifications, control schemes |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | Control Physical factors |  |  |  |  |
| 1.1. | Microclimate in working environment, residential and public buildings | Of new and/or sites /facilities in operation | - air temperature; - relative humidity of the air; -air velocity | Regulation No. РД-07-3, (SG issue 63/2014) БДС 16686 РПР 7.1 – 1/ОКА | Regulation No. 24 (SG issue 95/2003); Regulation No. 9 (SG issue 46/1994); Regulation No. 2 (SG issue 15/2007); Regulation No. 3 (SG issue 15/2007); Regulation No. 26 (SG issue 103/2008); Regulation No. 07-3 (SG issue 63/2014); БДС 14776 Customer`s TS |
| 1.2. | Environmental noise - various territories, development areas in the urbanized territories and outside them; | Of new and/or sites /facilities in operation | - equivalent noise level; | БДС 15471; РПР 7.1 – 3/ОКА | Regulation No. 6 (SG issue 58/2006) – Annex No. 2, table 2; Regulation No. 54 (SG issue 3/2011) Customer`s TS |
| 1.3. | Noise in premises of residential and public buildings | Of new and/or sites /facilities in operation | - noise level; - equivalent noise level; | БДС 15471; РПР 7.1 – 3/ОКА | Regulation No. 6 (SG issue 16/1977); Regulation No. 6 (SG issue 58/2006) – Annex No. 2, table 1; Regulation No. 24 (SG issue 95/2003); Regulation No. 9 (SG issue 46/1994); Regulation No. 2 (SG issue 15/2007); Regulation No. 26 (SG issue 103/2008); Customer`s TS |
| 1.4. | Artificial lighting in working environment, residential and public buildings | Of new and/or sites /facilities in operation | Illuminance | Methodological guidance of measuring and evaluating artificial lighting; РПР 7.1 – 2/ОКА | Regulation No. 24 (SG issue 95/2003); Regulation No. 9 (SG issue 46/1994); Regulation No. 2 (SG issue 15/2007); Regulation No. 3 (SG issue 15/2007); Regulation No. 49 (SG issue 7/1976); Regulation No. 26 (SG issue 103/2008); Regulation No. 28 (SG issue 109/2008); БДС EN 12464-1; Customer`s TS |

*The implementation of a new version of standarts/documents or of standarts/documents, which replace themq is permitted. An up-to-date list of the standarts/documents  with their dated versions is provided by the CAB.

Regulation No. РД-07-3 on minimum requirements for microclimate of workplaces (SG issue 63/2014)

Regulation No. 49 on artificial lighting of buildings (SG issue 7/1976).

Regulation No. 6 on environmental noise indicators reporting the degree of discomfort during different parts of the day, the limit values of environmental noise indicators, the methods for assessing the values ​​of noise indicators and of the harmful effects of noise on public health (SG issue 58/2006)

Regulation No. 2 on health requirements for computer (Internet) halls for public use (SG issue 15/2007)

Regulation No. 3 on health requirements for kindergartens (SG issue 15/2007)

Regulation No. 6 on the provision of a normal acoustic environment in residential and public buildings and sites (SG issue 16/1977)

Regulation No. 24 on the hygiene-related requirements for discos (SG issue 95/2003)

Regulation No. 9 on health and hygiene-related requirements when using personal computers in education and in extracurricular activities of students (SG issue 46/1994)

Regulation No. 26, on the structure and activity of nurseries and premises for preparation of food for children and health requirements for them (SG issue 103/2008)

Regulation No. 54 on the activities of the National Environmental Noise Monitoring System and on the requirements for conducting own monitoring and provision of information from industrial sources of environmental noise (SG issue 3/2011)

Regulation No. 28 on the structure, order and organization of the work of pharmacies and the nomenclature of medicinal products (SG issue 109/23.12.2008)