SCOPE 317 ЛИ

Sofia, 13.06.2025

AGVISER AD

AGROCHEMICAL LABORATORY TESTING COMPLEX

Management and laboratory address:

4006, Plovdiv, Iztochen Quarter, 53 Tsarigradsko Shosse Blvd.

To perform testing of:

| Type of the scope: flexible for a part of the scope |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristic | Testing methods (standard/ validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Soils | 1.1. рН (H2O) | БДС EN ISO 10390 |
|  |  | 1.2. Specific electrical conductivity | СД CEN/TS 15937 |
|  |  | 1.3. Dry substance | БДС EN 15934 |
|  |  | 1.4. Moisture content |  |
|  |  | 1.5. Organic carbon | ВЛМ 003/2023 ISO 10694 |
|  |  | 1.6. Organic matter / | ВЛМ 003/2023 ISO 10694 |
|  |  | 1.7. Humus | ВЛМ 003/2023 |
|  |  | 1.8. Phosphorus - mobile/ | БДС ISO 11263 |
|  |  | 1.9. Exchangeable Phosphorus |  |
|  |  | 1.10. Potassium - mobile | ВЛМ 001/2023 |
|  |  | 1.11. Water-soluble sulfates | ВЛМ 002/2023 |
|  |  | 1.12. Sulfur - Exchangeable |  |
|  |  | 1.13. Total Kjeldahl Nitrogen | БДС EN 16169 |
|  |  | 1.14. Bulk density / | БДС EN ISO 11272, cl. 4.1 |
|  |  | 1.15. Soluble/ extractable/ digestible/ available/ exchangeable Mobile forms of chemical elements: | БДС EN ISO 22036 |
|  |  | Calcium |  |
|  |  | Magnesium |  |
|  |  | Sodium |  |
|  |  | Copper |  |
|  |  | Iron |  |
|  |  | Zinc |  |
|  |  | Manganese |  |
|  |  | Boron |  |
|  |  | Molybdenum |  |

To perform sampling of:

| Type of the scope: flexible |  |  |
| --- | --- | --- |
| № | Product | Sampling methods (standard/validated method) |
| 1 | 2 | 3 |
| 1. | Soils | БДС ISO 18400-205 БДС EN ISO 11272, cl. 4.1.3 |

Flexible Scope: Implementing a new version of standards/documents or standards/ documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by CAB.

Fixed scope references:

ВЛМ 001/2023-Soil quality - Determination of mobile Potassium;

ВЛМ 002/2023-Soil quality - Determination of water-soluble sulfates and exchangeable Sulfur;

ВЛМ 003/2023-Soil quality - Determination of organic Carbon and humus.