INSPECTION BODY OF TYPE C „ELINS ENGINEERING“ ЕOOD, VARNA

Management address: 9000 Varna, Odesos district, 32 Nikola Kanev Str., 5th floor, apt. 21

Office address: 9000 Varna, district „Odessos", str. „Rali Mavridov" № 36, fl. 2, apt. 9

To perform inspection of the following scope:

| Scope type: flexible* |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| № | Field of Inspection | Type of Inspection | Parameter of Inspection / Characteristic | Test and Measurement Methods Used During Inspection, Inspection Procedure | Ordinances, Standards, Specifications, Schemes |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | Electrical systems and facilities of up to 1000 V | #### On new and/or in use/ #### operation sites/ #### facilities | #### Impedance of the „phase - protective conductor” loop | PИK 07.03 | Ordinance № 16-116 SG 26/2008; Ordinance №3 (SG 90/2004 and SG 91/2004) |
| 2. | Electrical systems and facilities of up to 1000 V | #### On new and/or in use/ #### operation sites/ #### facilities | #### Protective disconnect switches : #### - tripping current; #### - tripping time; #### - contact voltage; #### - protective earthing resistance. | PИK 07.04 | Ordinance № 16-116 SG 26/2008; Ordinance №3 (SG 90/2004 and SG 91/2004) |
| 3. | Electrical systems and facilities of up to 1000 V | #### On new and/or in use/ #### operation sites/ #### facilities | #### Insulation resistance | БДС 2406 PИK 07.01 | Ordinance № 16-116 SG 26/2008; Ordinance №3 (SG 90/2004 and SG 91/2004) |
| 4. | Electrical installations and facilities up to and over 1000V | #### On new and/or in use/ #### operation sites/ #### facilities | Resistance of protective grounding devices | PИK 07.02 | Ordinance № 16-116 SG 26/2008; Ordinance №3 (SG 90/2004 and SG 91/2004) БДС 38 20 |
| 5. | Electrical installations and facilities up to and over 1000V | #### On new and/or in use/ #### operation sites/ #### facilities | Resistance of lightning protection grounding devices | PИK 07.02 | Ordinance № 16-116 SG 26/2008; Ordinance № 4 (State Gazette, issue 6/2011) |
| 6. | Microclima te in work and living environment | #### On new and/or in use/ #### operation sites/ #### facilities | Air temperature, Relative atmospheric humidity, Air velocity. | БДС 16686; Ordinance № РД-07-3, SG issue 63/2014; PИK 07.05 | БДС 14776, Ordinance № 2, SG issue 15/2007; Ordinance № 3, SG issue 15/2007; Ordinance № 9, SG issue 46/1994; Ordinance № 24, SG issue 95/2003; Ordinance № 26 SG issue 103/2008; Ordinance № РД-07-3 SG issue 63/2014 ТС |
| 7. | Artificial lighting in working and living environment | #### On new and/or in use/ #### operation sites/ #### facilities | Illuminance | Methodological Guidelines for Measurement and assessment of Artificial Lighting in Buildings year 1985; PИK 07.06 | БДС EN 12464-1; Ordinance № 49, SG issue 7/1976; Ordinance № 24, SG issue 95/2003; Ordinance № 9, SG issue 46/1994; Ordinance № 2 SG issue 15/2007; Ordinance № 26, SG issue 103/2008; Ordinance № 3, SG issue 15/2007; |
| 8. | Ventilation systems | #### On new and/or in use/ #### operation sites/ #### facilities | Airflow velocity; Airflow rate; | БДС 12.3.018 PИK 07.08 | Ordinance № 15, (SG № 68/2005); Ordinance № 24, SG № 95/2003; ТС |
| 9. | Noise at the working environment | #### On new and/or in use/ #### operation sites/ #### facilities | - Daily noise exposure level, - Peak sound pressure level | БДС EN ISO 9612 (БДС ISO 1999) PИK 07.07 | Ordinance Nr. 6 (SG No. 70/2005) TS |
| 10. | #### Environmental noise | #### On new and/or in use/ #### operation sites/ #### facilities | #### Environment noise level | БДС 15471 PИK 07.07 | Ordinance Nr. 6, Annex Nr. 2, Table Nr. 2 (SG No. 58/2006) TS |
| 11. | Noise in residential and public buildings | #### On new and/or in use/ #### operation sites/ #### facilities | - Noise level, - Equivalent noise level | БДС 15471 PИK 07.07 | Ordinance Nr. 6, #### Annex Nr. 2, #### Table Nr. 1 #### (SG No. 58/2006) #### Ordinance № 2 #### SG № 15/2007; #### Ordinance № 24 SG № 95/2003; Ordinance № 9 #### SG № 46/1994; Ordinance № 24 SG № 95/2003; #### Ordinance № 26 (SG № 103/2008); #### TS |

* Implementing a new version of standards/documents or standards/documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by CAB.

Ordinance № 16-116, SG issue 26/2008, for the technical operation of the energy equipment;

Ordinance № 3 (SG, issue 90 and 91/2004, on the layout of electrical systems and power lines;

Ordinance № 4, SG issue 6/2011, on lightning protection of buildings, outdoor facilities and open spaces;

Ordinance № 49, SG issue 7/1976 on artificial lighting of buildings;

Ordinance № 2, SG issue 15/2007 on the health requirements for computers and Internet halls for public use;

Ordinance № 3, SG issue 15/2007 on the health requirements for kindergartens;

Ordinance № 24, SG issue 95/2003 on sanitary and hygienic requirements for discos;

Ordinance № 26, SG issue 103/2008 on the design and activity of crèches and kitchens and the health requirements for them;\

Ordinance № 9, SG issue 46/1994 on the health and hygiene requirements for the use of personal computers in the training and extracurricular activities of school-aged children;

Ordinance № РД-07-3, SG issue 63/2014 on the minimum requirements for the microclimate of workplaces;

Methodological guidelines for Measurement and assessment of artificial lighting in buildings year 1985;

Ordinance № 15, SG issue 68/2005 on the technical rules and standards for the design, construction and use of sites and facilities for heat generation, transmission and distribution;

Ordinance № 6 on the minimum requirements to ensure the health and safety of workers at risks related to exposure to noise (SG № 70/2005);

Ordinance № 6 on the indicators of noise in the environment taking into degree of discomfort during the different parts of the day, the limit values of the indicators of noise in the environment in the premises of residential and public buildings in zones and territories intended for residential construction, reaction zones and territories and zones mixed use the methods for assessing the value of noise indicators and the harmful effects of noise on the heath of the population (SG  No 58/2006);

ТС - Technical specification of the client.