     


 
                                                         

ORDER
                                                          N A 122
Sofia, 09.04.2025

THE INSPECTION BODY of C-TYPE 
at EL KONTROL EOOD, Stara Zagora
[bookmark: _GoBack]
                                              Management and office address: 

                                     6000, Stara Zagora, 17A, Patriarh Evtimiy Str.


To perform inspection of:
	Type of scope: flexible*

	Item
No
	Scope of inspection
	Type of inspection
	Inspected parameter/ characteristics
	Testing/
measuring methods used during inspection
	Regulatory Acts, Standards, Specifications, Inspection schemes

	1
	2
	3
	4
	5
	6

	1
1. 
	Electrical switchgears and equipment up to and over 1000 V 


	New and existing operational sites and facilities 


	Resistance of protective earthing systems
	ПКОН 02

	Ordinance No. 16-116 (SG issue No. 26/2008); 
Ordinance No. 3 (SG issues No. 90 and 91/2004); 
ТС


	
	
	
	Resistance of lightning arresting earthing systems
	
	Ordinance No. 4 (SG issue No. 6/2011); 
Ordinance No. 16-116 (SG issue No. 26/2008); 
TС

	2
	Electrical switchgears and equipment for voltage up to 30 kV
	New and existing operational sites and facilities 
	Insulation resistance
	ПКОН 04

БДС  13910 (revoked without replacement)
	Ordinance No. 16-116 (SG issue No. 26/2008); 
Ordinance No. 3 (SG issues No. 90 and 91/2004); 
Standards for Testing of Electrical Machinery and Equipment
НИЕМС – 1995; 
ТС

	3
	Electrical machines and equipment up to 35 kV
	New and existing operational sites and facilities 
	Insulation at increased voltage and industrial frequency
	ПКОН 05
БДС 9089
БДС 13910 (revoked without replacement)
	НИЕМС -1995; 
Ordinance No. 3 (SG issues No. 90 and 91/2004); 
ТС

	4
	Electrical switchgears and equipment for voltage up to 1000 V
	New and existing operational sites and facilities 
	Impedance of the “phase-protective conductor“ circuit
	ПКОН 01

	Ordinance No. 16-116 (SG issue No. 26 /2008)
Ordinance No. 3 (SG issues No. 90 and 91/2004); 
ТС

	
	
	
	Protective circuit breakers (PCB): 
- actuating current,
- switch-off time, 
- contact (touch) voltage, 
- resistance of earthing rod 
	ПКОН 14

	Ordinance No. 16-116 (SG issue No. 26/2008); 
Ordinance No. 3 (SG issues No. 90 and 91/2004; 
ТС

	5
	Electrical protective equipment:             isolating rods – for handling (operating), for measuring;              for portable earthing rods, isolating pliers, electric measuring pliers, dielectric carpets, strips
	Products under operational use
	Electric strength of insulation tested via increased voltage at industrial frequency 
	ПКОН 03
Ordinance No. 22 
(SG issue No. 45/2006)
	Ordinance No. 22
 (SG issue No. 45/2006); 
ТС

	6
	Electrical protective equipment: Voltage indicators             
	Products under operational use
	Electric strength of insulation tested via increased voltage at industrial frequency, and voltage threshold
	ПКОН 03
Ordinance No. 22 
(SG issue No. 45/2006)
	Ordinance No. 22 
(SG issue No. 45/2006); 
ТС

	7
	Electrical protective equipment:
Insulating (dielectric) gloves, ankle-boots, boots and overshoes
	Products under operational use
	Electric strength of insulation tested via increased voltage at industrial frequency, and leakage current 
	ПКОН 03
Ordinance No. 22 
(SG issue No. 45/2006)
	Ordinance No. 22
(SG issue No. 45/2006); 
ТС

	8
	Cables and cable lines up to 35 kV
	New and existing operational sites 
	Insulation resistance
	ПКОН 04
БДС 1986,
item 3.3 a), b), d), and e)
	Ordinance No. 16-116 (SG issue No. 26/2008); 
Ordinance No.3 (SG issues No. 90 and 91/2004); 
НИЕМС -1995; 
ТС

	1. 
	
	
	Electric strength of insulation tested at increased DC voltage 
	ПКОН 11
БДС 2406
	Ordinance No. 16-116 (SG issue No. 26/2008); 
Ordinance No.3 (SG issues No. 90 and 91/2004); 
НИЕМС -1995; 
ТС

	9
	Power transformers up to 400 kV
	New and existing operational sites and facilities 
	Active resistance of coils
	ПКОН 09
БДС 15320
	Ordinance No. 16-116 (SG issue No. 26/2008);
Ordinance No.3 (SG issues No. 90 and 91/2004); 
НИЕМС -1995; 
ТС

	
	
	
	Insulation resistance
	ПКОН 09
БДС 16654

	Ordinance No. 16-116 (SG issue No. 26/2008);
НИЕМС -1995; 
ТС

	
	
	
	Transformation factor
	ПКОН 09
БДС 15320

	Ordinance No. 16-116 (SG issue No. 26/2008);
Ordinance No.3 (SG issues No. 90 and 91/2004); 
НИЕМС -1995; 
ТС

	
	
	
	Connection group
	ПКОН 09
БДС 15320

	Ordinance No. 16-116 (SG issue No. 26/2008);
Ordinance No.3 (SG issues No. 90 and 91/2004); 
НИЕМС -1995; 
ТС

	10
	Electrical insulating oil for up to 220 kV
	New and existing operational products 
	Breakdown voltage
	ПКОН 10
БДС EN 60156

	Ordinance No. 16-116 (SG issue No. 26/2008); 
ТС

	11
	Direct and alternating current electric motors up to 6 kV
	New and existing operational sites and facilities 
	Active resistance of coils
	ПКОН 08
НИЕМС -1995
	Ordinance No. 16-116 (SG issue No. 26/2008);
Ordinance No.3 (SG issues No. 90 and 91/2004); 
НИЕМС -1995; 
ТС

	12
	Power circuit-breakers and disconnectors for up to 400 kV
	New and existing operational sites and facilities 
	Transitional resistance in the contact system
	ПКОН 12
НИКЕМС -1995
	Ordinance No.3 (SG issues No. 90 and 91/2004); 
НИЕМС -1995; 
ТС

	13
	Relay protection, electric automation controls, telemechanics and secondary circuits in electrical switchgears for up to and over 1000 V
	

New and existing operational facilities
	Thresholds for activation and/or reset based on current, voltage, impedance, frequency, power, operating time, harmonic components, and the phase angle between two quantities (voltage/current)
	ПКОН 13
БДС 7862
	Ordinance No. 16-116 (SG issue No. 26/2008); 
Ordinance No.3 (SG issues No. 90 and 91/2004); 
ТС

	14
	Current measuring transformers for up to 400 kV
	New and existing operational facilities 
	Active resistance of coils
	ПКОН 06
БДС 15320

	НИЕМС -1995;
ТС

	
	
	
	Insulation resistance
	ПКОН 06
БДС 16654
	НИЕМС -1995; 
ТС

	
	
	
	Transformation factor
	ПКОН 06
БДС 15320

	НИЕМС -1995; 
ТС

	
	
	
	Current–voltage characteristics
	ПКОН 06
БДС 15320
	Ordinance No.3 (SG issues No. 90 and 91/ 2004); 
НИЕМС -1995; 
ТС

	
	
	
	Coil polarity
	ПКОН 06
БДС 15320
	Ordinance No.3 (SG issues No. 90 and 91/ 2004); 
НИЕМС -1995; 
ТС

	15
	Voltage measuring transformers for up to 400 kV
	New and existing operational facilities 
	Active resistance of coils
	ПКОН 07
БДС 15320


	Ordinance No.3 (SG issues No. 90 and 91/ 2004); 
НИЕМС -1995; 
ТС

	
	
	
	Insulation resistance
	ПКОН 07
БДС 16654
	НИЕМС -1995; 
ТС

	
	
	
	Transformation factor
	ПКОН 07
БДС 15320
	НИЕМС-1995; 
TС

	
	
	
	Coil polarity
	ПКОН 07
БДС 15320
	Ordinance No.3 (SG issues No. 90 and 91/ 2004); 
НИЕМС -1995; 
ТС

	16
	Fiber optic cable lines
	New and existing operational facilities 
	Total attenuation, losses from inverse reverberation in fiber optic cable lines, inserted attenuation resulted from non-uniformities and connections
	ПКОН 18
БДС EN 61280-4-1
БДС EN 61280-4-2

	
Instruction for Construction of Optical Cable Lines (ICOCL) at Bulgarian Telecommunication Company - 
Scientific Institute for Research in Communications - 2004;
ТС



*Flexible scope: Introduction of a new version of standards/documents, or replacing standards/documents, is permitted. An up-to-date list of standards/documents with their dated versions shall be provided by the Conformity Assessment Body. 

Ordinance No. 16-116 on the Technical Operation of Energy Equipment (SG issue 26/2008);
Ordinance No. 3 on the Design of Electrical Installations and Power Transmission Lines (SG issue 90/2004, issue 91/2004);
Ordinance No. 4 on the Lightning Protection of Buildings, Outdoor Facilities and Open Spaces (SG issue 6/2011);
Ordinance No. 22 on the Testing of Electrical Protective Equipment in Operation (SG issue 45/2006); 
НИЕМС -1995 - Standards for Testing of Electrical Machinery and Equipment;
ICOCL at BTC – SIRC-2004 – Instruction for Construction of Optical Cable Lines at the Bulgarian Telecommunication Company - Scientific Institute for Research in Communications -2004;
TС – Technical Specification.
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