SCOPE 8 ЛК

Sofia, 30.07.2025

CONTROL ENGINEERING LTD.

LABORATORY FOR CALIBRATION OF MASS MEASURING INSTRUMENTS

Management and laboratory address:

4015 Plovdiv, Residential Area Zapaden, 53A Elin Pelin Str.

To perform calibration of:

| Type of the scope: fixed |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| № | Measuring instrument | Measured quantity, Measurement unit | Range of measurement | Measurement Uncertainty | Calibration method |
| 1 | 2 | З | 4 | 5 | 6 |
| 1. | Weights class М | kg | 5 kg | 87 mg | Comparative method МК 702-01/ 2020 |
|  |  |  | 10 kg | 100 mg |  |
|  |  |  | 20 kg | 110 mg |  |
|  |  |  | 1 000 kg | 16 g |  |
| 2. | Balances class I | kg | to 500 g | 0,075 mg | Comparative method МК 702-02/ 2020 |
| 3. | Balances class II | kg | from 0,002 g to 500 g | from 0,8 mg to 11 mg | Comparative method МК 702-02/ 2020 |
|  |  |  | from 500 g to 6 000 g | from 11 mg to 19 mg |  |
|  |  |  | from 6 000 g to 41 000 g | from 19 mg to 200 mg |  |
| 4. | Balances class III and IIII | kg | from 0,002 kg to 100 kg | from 0,6 g to 8 g | Comparative method МК 702-02/ 2020 |
|  |  |  | from 100 kg to 500 kg | from 8 g to 50 g |  |
|  |  |  | from 500 kg to 2 000 kg | from 50 g to 210 g |  |
|  |  |  | from 2 000 kg to 10 000 kg | from 210 g to 1 kg |  |
|  |  |  | from 10 000 kg to 80 000 kg | from 1 kg to 12,9 kg |  |
| 5. | High-speed automatic weighing scales for measuring the mass of vehicles in motion and the axle load, accuracy class 10 – for vehicles mass, and accuracy class F – for axle load | Total mass kg | from 1 000 kg to 20 000 kg | from 6,1% to 9,3% | Comparative method МК 702-03/ 2025 |
|  |  | Axle load kg | from 1 000 kg to 50 000 kg | from 24 kg to 49 kg |  |

Notes:

1. The calibration of the measuring instruments under item 1 is carried out at the laboratory.

2. The calibration of the measuring instruments under item 2, item 3 and item 4 is carried out on-site at the customer.

3. The calibration of the measuring instruments under item 5 is carried out only on-site at their place of operation.

References:

1. MK 702-01/2020 Method for Calibrating Weights.

2. MK 702-02/2020 Method for Calibrating Electronic and Dial Balances.

3. MK 702-03/2025 Method for Calibrating of High-speed Automatic Weighing Scales for Measuring the Mass of Vehicles in Motion and the Axle Load.