ORDER

№ А 503

Sofia, 27.12.2024

STM-VITA LTD, RAZGRAD

TYPE C INSPECTION BODY

Managеment and office address: 7200 Razgrad, RC Osvobozhdenie, bl. 68

To perform control, according to the following range:

| № | Field of inspection | Type of inspection | Parameter / feature inspected | Test / measurement methods used in inspection; inspection procedure | Regulations, standards, specifications, control schemes |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |
| Scope type: flexible* |  |  |  |  |  |
| 1. | Noise in the working environment | At new and/or operational sites / facilities | Noise level, Equivalent noise level Daily noise exposure level, Average weekly noise exposure level – Peak sound pressure level | БДС ISO 1999 (БДС EN ISO 9612) РП ОК 10-2 | Ordinance 6/2005, (SG 70/2005) TS |
| 2. | Noise in the surrounding environmet, in different territories and development zones in urbanized territories and outside of them areas | At new and/or operational sites / facilities | Equivalent noise level | БДС 15471 РП ОК 10-2 | Ordinance 6/2006, (SG 58/06), Appendix 2 to Table 2 TS |

| 3. | Noise in premises within residential and public buildings | At new and/or operational sites / facilities | Noise level, Equivalent noise level | БДС 15471 РП ОК 10-2 | Ordinance № 6 (SG 16/1977) Ordinance № 6 (SG 58/2006) - Appendix 2 to Table 1 Ordinance № 9 (SG 46/1994) Ordinance № 24 (SG 95/2003) Ordinance № 2 (SG 15/2007) Ordinance № 26 (SG 103/2008) TS |
| --- | --- | --- | --- | --- | --- |
| 4. | Artificial lighting in work and home environments | At new and/or operational sites / facilities | Luminosity | Methodological guidance on measuring artificial lighting - 1985, Standartizacia publisher РП ОК 10-6 | Ordinance № 49 (SG 7/1976) Ordinance № 24 (SG 95/2003) Ordinance № 9 (SG 46/1994) Ordinance № 2 (SG 15/2007) Ordinance № 3 (SG 15/2007) Ordinance № 26, (SG 103/2008) Ordinance РД-02-20- 3/ (SG 5/ 2016] БДС EN 12 464-1 TS |
| 5. | Microclimate in work and living environment | At new and/or operational sites / facilities | Air temperature Relative humidity of air Airflow velocity | БДС 16 686 Ordinance № РД-07- 3, SG 63/2014 РП ОК 10-1 | Ordinance РД-02-20- 3/ (SG 5/ 2016) Ordinance № 3 (SG 15/2007) Ordinance № 9 (SG 46/1994) Ordinance № 2 (SG 15/2007) Ordinance № 24 (SG 95/2003) Ordinance № 26, (SG 103/2008) Ordinance № РД-07-3 (SG 63/2014) БДС 14776 TS |
| 6 | Ventilation systems | At new and/or operational sites / facilities | Airflow velocity Air flow | БДС 12.3.018 РП ОК 10-8 | Ordinance № 24 (SG 95/2003) Ordinance № 15, (SG 68/2005) TS |
| 7 | Electrical installations and equipment up to 1000 V | At new and/or operational sites / facilities | Resistance of protective earthing systems | РП ОК 10-3 | Ordinance № 3 (SG 90 & 91/2004) Ordinance № 16- 116 (SG 26/2008) TS |
|  |  | At new and/or operational sites / facilities | Resistance of lightning protection earthing systems | РП ОК 10-4 | Ordinance № 4 (SG 6/2011) TS |
|  |  | At new and/or operational sites / facilities | Impedance of the phase-protective wire circuit | РП ОК 10-5 | Ordinance № 3 (SG 90 & 91/2004) Ordinance № 16- 116 (SG 26/2008) TS |
|  |  | At new and/or operational sites / facilities | Circuit breakers - Trigger current, - Impedance voltage -triggering time -resistance of protective earthing | РП ОК 10-7 | Ordinance № 3 (SG 90 & 91/2004) Ordinance № 16- 116 (SG 26/2008) TS |
|  |  | At new and/or operational sites / facilities | Insulation resistance | РП ОК 10-9 БДС 1986 - p.3.3 a), b), d), e) | Ordinance № 3 (SG 90 & 91/2004) Ordinance № 16- 116 (SG 26/2008) TS |

* The introduction of a new version of standards/documents or standards/documents, which replace them, is allowed. An actual list of the standards/documents with their dated versions are given by the conformity assessment body.

Ordinance № 6 - on the minimum requirements for ensuring the health and safety of workers in case of risks related to noise exposure (SG № 70/2005);

Ordinance № 6 - on environmental noise indicators taking into account the degree of discomfort during different parts of the day, the threshold values of environmental noise indicators in the premises of residential and public buildings, zones and territories intended for residential construction, recreational zones and territories and zones with mixed purpose, methods for estimating the values of noise indicators and the harmful effects of noise on public health (SG 58/200б amendment SG 100/2021);

Ordinance № 9 - on the health and hygiene requirements for the use of personal computers in the education and extracurricular activities of students (SG 46/1994);

Ordinance № 24 - on cleaning and sanitary requirements for disco clubs (SG 95/2003);

Ordinance № 2 - on the health requirements for computer and Internet rooms for public use (SG 15/2007);

Ordinance № 26 - on the structure and operation of nurseries and children's kitchens and health requirements for them (SG 103/2008);

Ordinance № 3 - on the health requirements for kindergartens (SG № 15/2007);

Ordinance № RD-07-3 on the minimum requirements for the microclimate of workplaces (SG 63/2014);

Ordinance № 15 - on technical rules and regulations for design, construction and operation of sites and facilities for production, transmission and distribution of heat (SG 68/2005);

Ordinance № 3 - on the design of electrical installations and power lines (SG 90 and 91/2004);

Ordinance № 16-116 on technical maintenance of power equipment (SG 26/2008);

Ordinance № 4 on lightning protection of buildings, outdoor facilities and open-air spaces (SG 6/2011);

Ordinance № 49 - on artificial lighting of buildings (SG № 7/1976);

Ordinance № RD-02-20-3 for design, construction, maintenance of public maintenance buildings in the field of education and science, healthcare, culture and arts (SG 5/2016)

Ordinance № 6 - on ensuring a normal acoustic environment in residential and public buildings and places (SG № 16/1977);

TS - Technical specification.