SCOPE 229 ЛИ

Sofia, 15.07.2025

AURUBIS BULGARIA AD

ANALYTICAL LABORATORIES

Management and laboratory address:

2070 Pirdop, Sofia-Region, Industrial Zone

To perform testing of:

| Type of the scope: flexible for a part of the scope* |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristic | Testing methods (standard / validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Water - surface, groundwater, industrial waste and domestic sewage. | 1.1. Active reaction, pH | БДС EN ISO 10523 |
|  |  | 1.2. Arsenic, Molybdenum, Calcium, Sulfur, Iron, Copper, Selenium, Zinc, Cadmium, Lead, Nickel, Bismuth, Antimony, Chromium, Manganese, Tin | БДС EN ISO 11885 |
|  |  | 1.3. Arsenic, Molybdenum, Copper, Selenium, Zinc, Cadmium, Lead, Nickel, Bismuth, Antimony, Chromium, Manganese, Cobalt, Vanadium, Thallium, Iron | БДС EN ISO 17294-2 |
|  |  | 1.4. Dissolved substances | БДС 17.1.4.04 |
|  |  | 1.5. Insoluble substances (Suspended solids) | БДС 17.1.4.04 БДС EN 872 |
|  |  | 1.6. Dry residue | БДС 17.1.4.04 |
|  |  | 1.7. Sulfates | БДС 17.1.4.03 БДС EN ISO 10304-1 |
|  |  | 1.8. COD | ISO 15705, cl. 4.2 |
|  |  | 1.9. BOD5 | IVLM 2/2006 |
|  |  | 1.10. Hydrocarbon oil index | БДС EN ISO 9377-2 |
|  |  | 1.11. Mercury | ЕРА 7473 |
| 2. | Emissions from stationary sources | 2.1. Total dust | БДС EN 13284-1 БДС ISO 9096 |
|  |  | 2.2. Arsenic, Cadmium, Chromium, Copper, Manganese, Nickel, Lead, Antimony, Cobalt, Thallium, Vanadium | БДС EN 14385 |
|  |  | 2.3. Gas flow parameters - velocity, flow rate, pressure, temperature | БДС EN ISO 16911-1 |
|  |  | 2.4. Water vapor (moisture) | IVLM 4/2024 |
| 3. | Ambient air | 3.1. Particulate matter (PM10) | БДС EN 12341 |
|  |  | 3.2. Arsenic, Cadmium, Nickel, Lead, Copper - PM 10 | IVLM 3/2013 |
|  |  | 3.3. Arsenic, Cadmium, Nickel, Lead - PM 10 | БДС EN 14902 |
| 4. | Ores, minerals, concentrates, mixtures | 4.1. Carbon | IVLM 5/2023 |
| 5. | Soils | 5.1. Active reaction, pH / pH (H2O) | БДС EN ISO 10390 |
|  |  | 5.2. Arsenic, Cadmium, Copper, Iron, Lead, Zinc, Selenium | ISO 22036 |

To perform sampling of:

| Type of scope: flexible* |  |  |
| --- | --- | --- |
| № | Product | Sampling methods (standard/validated method) |
| 1 | 2 | 3 |
| 1. | Emissions from stationary sources | БДС EN 13284-1 БДС ISO 9096 |
| 2. | Ambient air | БДС EN 12341 |

*Flexible scope: Implementing a new version of standards/documents or standards/ documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by CAB.

Fixed scope references:

IVLM 2/2006 Photometric method with Spectroquant test for determining the BOD5 content in water.

IVLM 3/2013 Method for measuring Pb, Cd, As, Si and Ni in PM 10 of solid particles in the air.

IVLM 4/2024 Method for determining water vapor in pipelines using automatic measuring devices.

IVLM 5/2023 Method for determining total carbon in dust samples using an ELTRA ELEMENTRAC HTFR infrared analyzer.