SCOPE 101 ЛИ

Sofia, 08.07.2025

CENTER FOR TESTING AND EUROPEAN CERTIFICATION EOOD

LABORATORY FOR TESTING MACHINES, EQUIPMENT AND DEVICES

Management address: 6000 Stara Zagora, Industrialen Quarter, 2, Industrialna Str.

Laboratory address: 6000 Stara Zagora, Industrialen Quarter, 2, Industrialna Str.

To perform testing of:

| Type of the scope: flexible |  |  |  |
| --- | --- | --- | --- |
| № | Tested Products | Type of Test/Characteristic | Testing methods (standard / validated method) |
| 1 | 2 | 3 | 5 |
| 1. | Machinery, equipment and devices Hand and portable instruments (tools) | 1.1 Sound pressure level | БДС EN ISO 11201 БДС EN ISO 11202+A1 БДС EN ISO 11203+A1 БДС EN ISO 11204 БДС EN IS0 22868, cl. 5, Annex A БДС 16056 БДС EN IS0 9902-1+A1+A2, cl. 6 БДС EN 12545+A1 БДС EN 12053+A1, cl.6.3.1 БДС EN ISO 20361+A11, cl. 6, cl.7, cl. 8 БДС EN IS0 1680 БДС EN 60745-1, cl.6.1 БДС EN 62841-1+AC+A11, Annex I БДС EN 60745-2-13+A1, cl. 6 БДС EN 61029-1+A11+A12, cl. 13.2 БДС EN ISO 2151 БДС EN 60076-10 БДС EN ISO 15744 БДС ISO 7960 БДС EN 1870-5+A2 cl.5.3.2 БДС 15471 БДС ISO 8297 |
|  |  | 1.2 Sound power levels | БДС EN ISO 3744 БДС EN ISO 3746 БДС EN ISO 22868, cl.5, Annex А, В БДС EN 12545+А1 БДС ЕN 12053+А, cl.6.3.2 БДС EN ISO 20361+A11, cl.5, 7, 8 БДС EN IS0 1680 БДС EN 60745-1, cl.6.1 БДС EN 62841-1+AC+A11, Annex I БДС EN 60745-2-13+A1, cl.6, Annex А БДС ЕN 61029-1+ А11+A12, cl.13.2 БДС EN ISO 2151 БДС EN 60076-10 БДС ISO 7960 БДС EN ISO 15744 БДС EN 1870-5+A2, cl.5.3.2 БДС ISO 8297 |
|  |  | 1.3 Vibrations | БДС EN ISO 5349-1 БДС EN ISO 5349-2+A1 БДС EN 1032+A1 БДС EN ISO 20643+A1 БДС 11663, cl. 2.2 БДС ISO 20816-1 БДС EN 10326-1 БДС EN ISO 7096 БДС EN ISO 2631-1 БДС EN ISO 28927-10 БДС EN 13059+А1 БДС EN 60745-1, cl.6.2 БДС EN 62841-1+AC+A11, Annex I БДС EN 60745-2-13+A1, cl. 6.2, Z 101 БДС EN ISO 22867 |
|  |  | 1.4 Temperature (Heating) | БДС EN IEC 60974-1, cl. 7 БДС EN 60745-1, cl. 12 БДС EN 62841-1+AC+A11, cl. 12 БДС EN 61029-1+А11+A12 and part 2, cl. 11 |
|  |  | 1.5 Resistance to abnormal heat. Ball pressure test method (Resistance to heat) | БДС EN 60695-10-2 БДС EN 60745-1, cl.29.1 БДС EN 62841-1+AC, cl. 13.1 БДС ЕN 61029-1+А11+A12, cl.28.1, 28.2 |
|  |  | 1.6 Resistance to flammability and fire. Glow-wire flammability test method | БДС EN 60695-2-10 БДС EN 60695-2-11 БДС EN 60695-2-12+A1 БДС EN 60695-2-13+A1 БДС EN 60745-1, cl. 29.2 БДС EN 62841-1+AC+A11, cl.13.2 |
|  |  | 1.7 Resistance to flammability and fire. Needle-flame test method | БДС EN 60695-11-5 |
|  |  | 1.8 Illuminance | БДС EN 1837 |
|  |  | 1.9 Protection against ingress of foreign bodies and moisture resistance. (IP-code) | БДС EN 60529+А1 БДС EN IEC 60034-5 БДС EN 60745-1, cl. 14 БДС EN 62841-1+AC+A11, cl. 14.2 |
|  |  | 1.10 Continuity of the protective bonding circuit (Provision for earthing) (Resistance between the earthing terminal and accessible parts) | БДС EN 60204-1, cl. 18.2.2(1) БДС ЕN 60204-32, cl. 18.2.2(1) БДС EN IEC 60974-1, cl. 10.5 БДС EN 60745-1, cl. 26 БДС EN 62841-1+AC+A11, cl. 26 БДС ЕN 61029-1+А11+A12 and Part 2, cl. 25 |
|  |  | 1.11 Fault loop impedance | БДС EN 60204-1, cl. 18.2.2(2) БДС EN 60204-32, cl. 18.2.2(2) |
|  |  | 1.12 Insulation resistance | БДС EN 60204-1, cl. 18.3 БДС ЕN 60204-31, cl. 18.3 БДС ЕN 60204-32, cl. 18.3 БДС ЕN 61029-1+А11+A12 and Part 2, cl. 15.2 БДС EN IEC 60974-1, cl. 6.1.4 |
|  |  | 1.13 Electric strength /Voltage tests (Dielectric strength of the insulation) | БДС EN 60204-1, cl. 18.4 БДС ЕN 60204-31, cl. 18.4 БДС ЕN 60204-32, cl. 18.4 БДС EN IEC 60974-1, cl. 6.1.5 БДС EN 61439-1, cl. 10.9.2 БДС EN 61180 БДС EN 60745-1, cl. 15 БДС EN 62841-1+AC+A11, Annex D БДС ЕN 61029-1+А11+A12 and Part 2, cl. 15.3 |
|  |  | 1.14 Protection against residual voltages | БДС EN 60204-1, cl. 18.5 БДС ЕN 60204-32, cl. 18.5 БДС EN IEC 60974-1, cl. 6.2.3 БДС EN 60745-1, cl. 21.21 БДС EN 62841-1+AC+A11, cl. 21.21 БДС ЕN 61029-1+А11+A12 and Part 2, cl. 8.6 |
|  |  | 1.15 Creepage distances, clearances and distances through insulation | БДС EN IEC 60664-1+AC БДС ЕN 60335-1+А11+АС+A12+ A13+A1+A2+A14 +A15, cl. 29 БДС EN IEC 60974-1, cl. 6.1.2, 6.1.3 БДС EN 60745-1, cl. 28 БДС EN 62841-1+AC+A11, cl. 28 БДС ЕN 61029-1+А11+A12 and Part 2, cl. 27 |
|  |  | 1.16 Voltage | БДС EN 60204-1+А1, cl. 9.4.3 БДС ЕN 60204-31, cl. 7.5 БДС ЕN 60204-32, cl. 9.4.3 БДС EN IEC 60974-1, cl. 10.1, 11.1 БДС ЕN 60335-1+А11+АС+A12 +A13+A1+A2+A14 +A15, cl. 10 БДС EN 60745-1, cl. 5.7.2 БДС EN 62841-1+AC+A11, cl. 11 БДС ЕN 61029-1+А11 +A12 and Part 2, cl. 10 |
|  |  | 1.17 Power input | БДС ЕN 60335-1+А11+АС+A12 +A13+A1+A2 +A14+A15, cl. 10 БДС EN 60745-1, cl. 11 БДС EN 62841-1+AC+A11, cl. 11 БДС ЕN 61029-1+А11+A12 and Part 2, cl. 10 |
|  |  | 1.18 Current | БДС ЕN 60335-1+А11+АС+A12+A13+А1+А2+А14 +A15, cl. 10 БДС EN IEC 60974-1, cl. 7 БДС EN 60745-1, cl. 11 БДС EN 62841-1+AC+A11, cl. 11 БДС ЕN 61029-1+А11+A12, cl. 10 |
|  |  | 1.19 Leakage current | БДС ЕN 60335-1+А11+АС+A12+A13+A1+A2+A14 +A15, cl. 13.2, 16.2 БДС EN IEC 60974-1, cl. 6.3.6 БДС EN 60745-1, cl. 13 БДС EN 62841-1+AC+A11, Annex С БДС ЕN 61029-1+А11+A12 and Part 2, cl. 12 |
|  |  | 1.20 Touch current, protective conductor current | БДС EN 60990 |
|  |  | 1.21 Environmental testing - Test A: Cold | БДС EN 60068-2-1 |
|  |  | 1.22 Environmental testing - Test B: Dry heat | БДС EN 60068-2-2 |
|  |  | 1.23 Environmental testing - Test N: Change of temperature | БДС EN 60068-2-14 |
|  |  | 1.24 Environmental testing - Test Cab: Damp heat, steady state | БДС EN 60068-2-78 |
|  |  | 1.25 Environmental testing - Test Db: Damp heat, cyclic | БДС EN 60068-2-30 |
|  |  | 1.26 Environmental testing - Test Eh: Hammer tests Degrees of protection against external mechanical impacts (IK code) | БДС EN 60068-2-75 БДС EN 62262+A1 БДС EN 50102 |
|  |  | 1.27 Mechanical strength | БДС EN 60745-1, cl. 20 БДС EN 62841-1+AC+A11, cl. 20 |
|  |  | 1.28 Resistance to bending, tensile and torsional for power cords | БДС EN 60745-1 cl. 24.12, cl. 24.13, cl. 24.14 БДС EN 62841-1+AC+A11, cl. 24 БДС ЕN 61029-1+А11+A12 and Part 2, cl. 23.5, cl. 23.6 |
| 2. | Electric and electronic equipment, appliances, devices, apparatus, equipment and systems | 2.1 Protection against ingress of foreign bodies and moisture resistance. (IP-code) | БДС EN 60529+A1 БДС EN IEC 60034-5 |
|  |  | 2.2 Environmental testing - Test Eh: Hammer tests Degrees of protection against external mechanical impacts (IK code) | БДС EN 60068-2-75 БДС EN 62262+A1 БДС EN 50102 |
|  |  | 2.3 Resistance to heat (Resistance to abnormal heat - Ball pressure test method) | БДС EN 60695-10-2 |
|  |  | 2.4 Resistance to flammability and fire. (Glow-wire flammability test method) | БДС EN 60695-2-10 БДС EN 60695-2-11 БДС EN 60695-2-12 +A1 БДС EN 60695-2-13 +A1 |
|  |  | 2.5 Resistance to flammability and fire. (Needle-flame test method) | БДС EN 60695-11-5 |
|  |  | 2.6 Resistance to tracking | БДС EN IEC 60112 БДС 7230 |
|  |  | 2.7 Electric strength of the insulation | БДС EN 61180 |
|  |  | 2.8 Creepage distances, clearances and distances through insulation | БДС EN IEC 60664-1+AC |
|  |  | 2.9 Touch current, protective conductor current | БДС EN 60990 |
|  |  | 2.10 Environmental testing - Test A: Cold | БДС EN 60068-2-1 |
|  |  | 2.11 Environmental testing - Test B: Dry heat | БДС EN 60068-2-2 |
|  |  | 2.12 Environmental testing - Test N: Change of temperature | БДС EN 60068-2-14 |
|  |  | 2.13 Environmental testing - Test Cab: Damp heat, steady state | БДС EN 60068-2-78 |
|  |  | 2.14 Environmental testing - Test Db: Damp heat, cyclic | БДС EN 60068-2-30 |
|  |  | 2.15 Electromagnetic compatibility | БДС EN 12015 БДС EN 12016 БДС EN 60974-10+А1 |
|  |  | 2.16 Disturbance voltages | БДС EN 55016-2-1+А1+АС БДС EN 55011+А1+A11+A2, cl. 7, 8.2 БДС EN 55032+AC+A11+A1, cl. 6.3 БДС EN IEC 55014-1, cl. 5 БДС EN IEC 55015+A11, cl. 8 |
|  |  | 2.17 Disturbance power | БДС EN 55016-2-2 БДС EN IEC 55014-1, cl. 6 |
|  |  | 2.18 Radiated electromagnetic disturbances | БДС EN IEC 55015+A11, Annex B |
|  |  | 2.19 Harmonic current emissions | БДС EN IEC 61000-3-2+A1 |
|  |  | 2.20 Voltage fluctuations and flicker | БДС EN 61000-3-3+A1+A2 |
|  |  | 2.21 Electrostatic discharge immunity | БДС EN 61000-4-2 |
|  |  | 2.22 Pulse magnetic field immunity | БДС EN 61000-4-8 |
|  |  | 2.23 Voltage dips, short interruptions and voltage variations immunity | БДС EN IEC 61000-4-11+AC |
| 3. | Household and similar electrical appliances and automatic electrical controls for them | 3.1 Protection against access to live parts | БДС ЕN 60335-1+А11+АС+A12 +A13+A1+A2+A14+A15 and Part 2, cl. 8 БДС EN 60730-1+A1+A2 and Part 2, cl. 8 |
|  |  | 3.2 Power input | БДС ЕN 60335-1+А11+АС+A12 +A13+A1+A2+A14+A15 and Part 2, cl. 10 |
|  |  | 3.3 Current | БДС ЕN 60335-1+А11+АС+A12 +A13+A1+A2 +A14+A15 and Part 2, cl. 10 |
|  |  | 3.4 Heating / Temperature under normal and abnormal operation | БДС ЕN 60335-1+А11+АС+A12 +A13+A1+A2+A14+A15 and Part 2, cl. 11,17,19 БДС EN 60730-1+A1+A2 and Part 2, cl. 14, 27 |
|  |  | 3.5 Leakage current | БДС ЕN 60335-1+А11+АС +A12 +A13+А1+А2+А14+A15, and Part 2, cl. 13.1, 13.2, 16.1, 16.2 БДС EN 60730-1+A1+A2 and Part 2, cl. 13.3 |
|  |  | 3.6 Touch current | БДС EN 60990 |
|  |  | 3.7 Protection against ingress of foreign bodies and moisture resistance. (IP-code) | БДС ЕN 60335-1+А11+АС+A12 +A13+A1+A2+A14+A15, and relevant Part 2, cl. 15 БДС EN 60730-1+A1+A2 and Part 2, cl. 12 БДС EN 60529+А1 |
|  |  | 3.8 Insulation resistance | БДС EN 60730-1+A1+A2 and Part 2, cl. 13.1 |
|  |  | 3.9 Electric strength of the insulation | БДС ЕN 60335-1+А11+АС+A12 +A13+A1+A2 +A14+A15 and Part 2, cl. cl. 13.3, 16.3 БДС EN 60730-1+A1+A2 and Part 2, cl. 13.2 |
|  |  | 3.10 Protection against residual voltages | БДС ЕN 60335-1+А11+АС+A12 +A13+A1+A2+A14+A15 and Part 2 cl. 22.5 |
|  |  | 3.11 Mechanical strength and stability | БДС ЕN 60335-1+А11+АС+A12+ A13+A1+A2 +A14+A15, and Part 2, cl. 21 БДС EN 60730-1+A1+A2 and relevant Part 2, cl. 18 |
|  |  | 3.12 Resistance to force and torque | БДС ЕN 60335-1+А11+АС+A12 +A13+A1+A2+A14+A15 and Part 2, cl. 22.3, 22.11, 28.1 БДС EN 60730-1+A1+A2 and relevant Part 2, cl. 19.1 |
|  |  | 3.13 Resistance to bending, tensile and torsional for power cords | БДС ЕN 60335-1+А11+АС+A12 +A13+A1+A2+A14+A15 and Part 2, cl. 22.15 БДС EN 60730-1+A1+A2 and Part 2, cl. 11.7 |
|  |  | 3.14 Provision for earthing (Resistance between the earthing terminal and accessible parts) | БДС ЕN 60335-1+А11+АС+A12 +A13+A1+A2+A14+A15 and Part 2, cl. 27 БДС EN 60730-1+A1+A2 and Part 2, cl. 9 |
|  |  | 3.15 Creepage distances, clearances and distances through insulation | БДС ЕN 60335-1+А11+АС+A12 +A13+A1+A2+A14+A15 and Part 2, cl. 29 БДС EN 60730-1+A1+A2 and Part 2, cl. 20 |
|  |  | 3.16 Electromagnetic compatibility | БДС EN IEC 55014-1 БДС EN IEC 55014-2 БДС EN IEC 61000-3-2+A1 БДС EN 61000-3-3+A1+A2 БДС EN 60730-1+A1+A2, cl. 23, Н26 БДС EN 55032 +AC+A11+A1, cl. 6.3 |
|  |  | 3.17 Resistance to heat (Resistance to abnormal heat - Ball pressure test method) | БДС ЕN 60335-1+А11+АС+A12 +A13+A1+A2 +A14+A15 and Part 2, cl. 30.1 БДС EN 60730-1+A1+A2 and Part 2, cl. G.5 БДС EN 60695-10-2 |
|  |  | 3.18 Resistance to flammability and fire. (Glow-wire flammability test method) | БДС ЕN 60335-1+А11+АС+A12 +A13+A1+A2 +A14+A15 and relevant Part 2, cl. 30.2 БДС EN 60730-1+A1+A2 and relevant Part 2, cl. 21.2 БДС EN 60695-2-10 БДС EN 60695-2-11 БДС EN 60695-2-12+A1 БДС EN 60695-2-13+A1 |
|  |  | 3.19 Resistance to flammability and fire. (Needle-flame test method) | БДС ЕN 60335-1+А11+АС+A12 +A13+A1+A2+A14+A15, and relevant Part 2, cl. 30.2.4, Annex Е БДС EN 60695-11-5 |
|  |  | 3.20 Resistance to tracking | БДС ЕN 60335-1+А11+АС+A12+A13 +A1+A2+A14+A15, and Part 2, Annex N БДС EN 60730-1+A1+A2 and Part 2, cl. 21.2.7 БДС EN IEC 60112 БДС 7230 |
| 4. | Luminaires | 4.1 Protection against electric shock | БДС EN 60598-1+АС+АС+A1, cl. 8 |
|  |  | 4.2 Protection against residual voltages | БДС ЕN 60598-1+АС+АС+A1, cl. 8.2.7 |
|  |  | 4.3 Humidity resistance | БДС ЕN 60598-1+АС+АС+A1, cl. 9.3 |
|  |  | 4.4 Protection degree (IP-code) | БДС EN 60598-1+АС+АС+A1, cl. 9.2 |
|  |  | 4.5 Insulation resistance | БДС EN 60598-1+АС+АС+A1, cl. 10.2.1 |
|  |  | 4.6 Electric strength of the insulation | БДС ЕN 60598-1+АС+АС+A1, cl. 10.2.2 |
|  |  | 4.7 Protective conductor current | БДС ЕN 60598-1+АС+АС+A1, cl. 10.3 |
|  |  | 4.8 Touch current | БДС ЕN 60598-1+АС+АС+A1, cl. 10.3 |
|  |  | 4.9 Provision for earthing (Resistance between the earthing terminal and accessible parts) | БДС ЕN 60598-1+АС+АС+A1, cl. 7 |
|  |  | 4.10 Creepage distances, clearances and distances through insulation | БДС EN 60598-1+АС+АС+A1, cl. 11 |
|  |  | 4.11 Check the pulse ignition | БДС EN 60598-1+АС+АС+A1, cl. 4.4.5 |
|  |  | 4.12 Electromagnetic compatibility | БДС EN IEC 55015+A11 БДС EN 61547 БДС EN IEC 61000-3-2+A1 БДС EN 61000-3-3+A1+A2 |
|  |  | 4.13 Heating (Temperature) under normal and abnormal operation | БДС EN 60598-1+АС+АС+A1, cl. cl. 12.4, 12.5, 12.6,12.7 |
|  |  | 4.14 Endurance | БДС EN 60598-1+АС+АС+A1, cl. 12.3 |
|  |  | 4.15 Resistance to overturned | БДС EN 60598-2-4, cl. 4.6.3 |
|  |  | 4.16 Mechanical strength Impact energy: - from spring hammer - from pendulum - from falling sphere - from rotating carousel - from falls from height | БДС EN 60598-1+АС+АС+A1, cl. 4.13 |
|  |  | 4.17 Resistance to force and torque: - suspensions and means of adjustment (load mass, wind, consoles, brackets, etc.) - lamp holders - screws, mechanical connections and glands | БДС EN 60598-1+АС+АС+A1, cl. cl. 4.12, 4.14 БДС EN 60598-2-3 +А1, cl. 3.6.3 БДС EN 60598-2-5, cl. 5.6.5 |
|  |  | 4.18 Resistance to tensile and torsional for power cords | БДС EN 60598-1+АС+АС+A1, cl. 5.2.10 |
|  |  | 4.19 Resistance to vibrations | БДС EN 60598-1+АС+АС+A1, cl. 4.20 |
|  |  | 4.20 Resistance to heat (Resistance to abnormal heat. Ball pressure test method) | БДС EN 60598-1+АС+АС+A1, cl. 13.2 |
|  |  | 4.21 Resistance to flame and ignition (Resistance to flammability and fire. Glow-wire flammability test method) | БДС EN 60598-1+АС+АС+A1, cl. 13.3.2 |
|  |  | 4.22 Resistance to flame and ignition (Resistance to flammability and fire. Needle-flame test method) | БДС EN 60598-1+АС+АС+A1, cl. 13.3.1 |
|  |  | 4.23 Resistance to tracking | БДС EN 60598-1+АС+АС+A1, cl. 13.4 |
| 5. | Wiring devices, lamp holders, lamps and Lamps control gear | 5.1 Protection against electric shock Protection against access to live parts | БДС EN 61347-1+A1 and the relevant Part 2, cl. 10.1 БДС EN IEC 60238+A1+A11+A2, cl. 9 БДС EN 60998-1, cl. 9 БДС EN IEC 61058-1, cl. 9 БДС EN 60669-1+AC+AC, cl. 10, cl. 6 БДС 17183, cl. 9.1 IEC 60884-1, cl. 10.2 БДС EN 61316, cl. 9 БДС EN 61242+А1+А2+A13, cl. 8 БДС EN 60670-1+А1, cl. 10 |
|  |  | 5.2 Protection against residual voltages | БДС EN 61347-1+A1 and the relevant Part 2 cl. 10.2 |
|  |  | 5.3 Humidity resistance | БДС EN 61347-1+A1 and the relevant Part 2 cl. 11 БДС EN IEC 60238+A1+A11+A2, cl. 9, cl. 14.3 БДС EN 60998-1, cl. 12.2 БДС EN 61058-1, cl. 14.4 БДС EN 60669-1+AC+AC, cl. 15.3 БДС EN 60968+AC, cl. 7.1 БДС EN 62560+A1+AC+A11, cl. 8 БДС 17183, cl. 15.3 IEC 60884-1, cl. 16.3 БДС EN 61316, cl. 18.5 БДС EN 61242+А1+А2+A13, cl. 16 БДС EN 60670-1+А1, cl. 14.1 |
|  |  | 5.4 Insulation resistance | БДС EN 61347-1+A1 and the relevant Part 2 cl. 11 БДС EN IEC 60238+A1+A11+A2, cl. 9, cl. 14.4 БДС EN 60998-1, cl. 13.3 БДС EN 61058-1, cl.15.2 БДС EN 60669-1+AC+AC, cl. 16.1 БДС EN 61195+А1+А2, cl. 2.4 БДС EN 61199+А1+А2, cl. 2.4 БДС EN 60968+AC, cl. 7.1 БДС EN 62560+A1+AC+A11, cl. 8.2 БДС 17183, cl. 16.1 IEC 60884-1, cl. 17.2 БДС EN 61316, cl. 19.2 БДС EN 61242+А1+А2+A13, cl. 17.1 БДС EN 60670-1+А1, cl. 14.2 |
|  |  | 5.5 Electric strength (Dielectric strength of the insulation) | БДС EN 61347-1+A1 and the relevant Part 2 cl. 12 БДС EN IEC 60238+A1+A11+A2, cl. 9, cl. 14.4 БДС EN 60998-1, cl. 13.4 БДС EN 61058-1+A2, cl. 15.3 БДС EN 60669-1+AC+AC, cl. 16.2 БДС EN 61195 +А1+А2, cl. 2.5 БДС EN 61199 +А1+А2, cl. 2.5 БДС EN 60968 +AC, cl. 7.2 БДС ЕN 60598-1+АС+АС+A1, cl. 10.2.2 БДС 17183, cl. 16.2 IEC 60884-1, cl. 17.3 БДС EN 61316, cl. 19.3 БДС EN 61242+А1+А2+A13, cl. 17.2 БДС EN 60670-1+А1, cl. 14.3 |
|  |  | 5.6 Provision for earthing (Resistance between the earthing terminal and accessible parts) | БДС EN 61347-1+A1 and the relevant Part 2 cl. 9 БДС EN IEC 61058-1, cl. 10.4 БДС EN 60669-1+AC+AC, cl. 11.4 БДС 17183, cl. 10.5 IEC 60884-1, cl. 11.5 БДС EN 61316, cl. 10.4 БДС EN 61242+А1+А2+A13, cl. 9.7 БДС EN 60670-1+А1, cl. 11.1 |
|  |  | 5.7 Creepage distances, clearances and distances through insulation | БДС EN 61347-1+A1, and the relevant Part 2 cl. 16 БДС EN IEC 60238+A1+A11+A2, cl. 9, cl. 17 БДС EN 60998-1, cl. 17 БДС EN IEC 61058-1, cl. 20 БДС EN 60669-1+AC+AC, cl. 23 БДС EN 60669-2-1+A1+A12, cl. 23 БДС EN 61195+А1+А2, cl. 2.8 БДС EN 61199 +А1+А2, cl. 2.8 БДС 17183, cl. 2.6 IEC 60884-1, cl. 27 БДС EN 61242+А1+А2+a13, cl. 2.4 |
|  |  | 5.8 Check the pulse ignition | БДС EN 61347-2-1 +A1 +A2, cl. 16 |
|  |  | 5.9 Electromagnetic compatibility | БДС EN IEC 55015+A11 БДС EN 61547 БДС EN IEC 61000-3-2+A1 БДС EN 61000-3-3+A1+A2 БДС EN 60669-2-1+A1+A12 |
|  |  | 5.10 Dimensions (Interchangeability) | БДС EN IEC 60238+A1+A11+A2, cl. 9, cl. 8 БДС EN 60669-1+AC+AC, cl. 9 БДС EN 61195+А1+А2, cl. 2.3.2 БДС EN 60968+AC, cl. 5.1 БДС EN 62560+A1+AC+A11, cl. 6.1 БДС 17183, cl. 8 IEC 60884-1, cl. 9 |
|  |  | 5.11 Voltage | БДС EN 61347-1 +A1 and the relevant Part 2 cl. 20, Н.2 |
|  |  | 5.12 Breaking capacity | БДС EN 60669-1+AC+AC, cl. 18, cl. 19 БДС EN 60669-2-1+A1+A12, cl.18, 19 БДС EN 60669-2-3, cl. 18, 19 БДС 17183, cl. 19, 20 IEC 60884-1, cl. 20, cl. 21 |
|  |  | 5.13 Temperature (Heating) (under normal and abnormal operation) | БДС EN 60998-1, cl. 15 БДС EN IEC 61058-1, cl. 16 БДС EN 60669-1+AC+AC, cl. 17 БДС EN 60669-2-1+A1+A12, cl. 17 БДС EN 61195+А1+А2, cl. 2.9 Annex В БДС EN 61199+А1+А2, cl. 2.9 БДС EN 60968+AC, cl. 9 БДС EN 62560+A1+AC+A11, cl. 10 БДС 17183, cl. 18 IEC 60884-1, cl. 19 БДС EN 61316, cl. 22 БДС EN 61242+А1+А2+A13, cl. 19, 20 |
|  |  | 5.14 Thermal endurance (Resistance to heat) | БДС EN 61347-1+A1 and the relevant Part 2 cl. 13 БДС EN 60998-1, cl. 16.2 БДС EN IEC 60238+A1+A11+A2, cl. 9, cl. 19 |
|  |  | 5.15 Mechanical strength Impact energy: - from spring hammer - from pendulum - from falling sphere - from rotating carousel - from falls from height | БДС EN IEC 60238+A1+A11+A2, cl. 9, cl. 15 БДС EN 60998-1, cl. 14 БДС EN IEC 61058-1, cl. 18.2 БДС EN 60669-1+AC+AC, cl. 20.1 БДС 17183, cl. 23 IEC 60884-1, cl. 24 БДС EN 61316, cl. 24 БДС EN 61242+A1+A2+A13, cl. 21 БДС EN 60670-1+А1, cl. 15 |
|  |  | 5.16 Resistance to tensile and torsional for power cords and wires | БДС 17183, cl. 22 IEC 60884, cl. 23 БДС EN 61316, cl. 23 БДС EN 61242+A1+A13, cl. 11 |
|  |  | 5.17 Resistance to force and torque for screws, mechanical connections and cables | БДС EN 61347-1 +A1 and the relevant Part 2 cl. 17 БДС EN IEC 60238+A1+A11+A2, cl. 9, cl. 15.2 БДС EN 61058-1, cl. 18.2, 18.4, 19.2.4, 19.2.5 БДС EN 60669-1+AC+AC, cl.12.2.5, 12.2.6, 20.3, 20.9 БДС EN 61195+А1+А2, cl. 2.3 БДС EN 61199+А1+А2, cl. 2.3 БДС EN 60968+AC, cl. 8 БДС EN 62560+A1+AC+A11, cl. 9 БДС 17183, cl. 11.2.6 IEC 60884-1, cl. 12.2.6 |
|  |  | 5.18 Resistance to heat (Resistance to abnormal heat - Ball pressure test method) | БДС EN 61347-1+A1 and the relevant Part 2 cl. 18.1 БДС EN IEC 60238+A1+A11+A2, cl. 9, cl. 20.1 БДС EN 60998-1, cl. 16.3 БДС EN 60669-1+AC+AC, cl. 15.1, cl. 21 БДС EN 61195+А1+А2, cl. 2.7.2 БДС EN 61199+А1+А2, cl. 2.7.2 БДС EN 60968+АC, cl. 10 БДС EN 62560+A+AC+A11, cl. 11 БДС 17183, cl. 24 IEC 60884-1, cl. 25 БДС EN 61242+A1+A2+A13 cl. 22 БДС EN 60670-1+А1, cl. 16 |
|  |  | 5.19 Resistance to flame and ignition (Resistance to flammability and fire. Glow-wire flammability test method) | БДС EN 61347-1+A1, and the relevant Part 2 cl. 18.3 БДС EN IEC 60238+A1+A11+A2, cl. 9, cl. 20.3 БДС EN 60998-1, cl. 18 БДС EN IEC 61058-1, cl. 21, Annex С БДС EN 60669-1+AC+AC, cl. 24.1.1 БДС EN 61195+А1+А2, cl. 2.7.4 БДС EN 61199+А1+А2, cl. 2.7.4 БДС EN 60968+AC, cl. 11 БДС EN 62560+A1+AC+A11, cl. 12 БДС 17183, cl. 27.1 IEC 60884-1, cl. 28.1 БДС EN 61242+А1+А2+A13, cl. 25.1 БДС EN 60670-1+А1, cl. 18 |
|  |  | 5.20 Resistance to flame and ignition (Resistance to flammability and fire. Needle-flame test method) | БДС EN 61347-1+A1 and the relevant Part 2 cl. 18.4 БДС EN IEC 60238+A1+A11+A2, cl. 9, cl. 20.4 |
|  |  | 5.21 Resistance to tracking | БДС EN 61347-1+A1 and the relevant Part 2 cl. 18.5 БДС EN IEC 60238+A1+A11+A2, cl. 9, cl. 20.5 БДС EN 60998-1, cl. 19 БДС EN 61058-1+A2, Annex D БДС 17183, cl. 27.2 IEC 60884-1, cl. 28.2 БДС EN 61242+A11+A12+A1, cl. 25.2 БДС EN 60670-1+A1, cl. 19 |
| 6. | Еlectrical equipment for measurement, control, laboratory use and Information technology equipment. Audio, video and similar electronic apparatus | 6.1 Protection from electric shock and energy hazards (Protection against access to live parts) | БДС EN 61010-1+A1 and the relevant Part 2, cl. 6.2 БДС EN IEC 62368-1+AC+A11, cl. 5.3.2, Annex V |
|  |  | 6.2 Protection against residual voltages | БДС EN 61010-1+A1 and the relevant Part 2 cl. 6.3, cl. 6.6.2 |
|  |  | 6.3 Humidity resistance | БДС EN 61010-1+A1 and the relevant Part 2, cl. 6.8.2 БДС EN IEC 62368-1+AC+A11, cl. 5.4.8 |
|  |  | 6.4 Electric strength of the insulation | БДС EN 61010-1+A1 and the relevant Part 2, cl. 6.8.3 БДС EN IEC 62368-1+AC+A11, cl. 5.4.9 |
|  |  | 6.5 Protective earthing Protective impedance (Protective earthing conductors and protective bonding conductors) | БДС EN 61010-1+A1 and the relevant Part 2, cl. 6.5.4 БДС EN IEC 62368-1+AC+A11, cl. 5.6 |
|  |  | 6.6 Creepage distances, clearances and distances through insulation | БДС EN 61010-1+A1 and the relevant Part 2, cl. 6.7 БДС EN IEC 62368-1+AC+A11, cl.5.4.2, cl. 5.4.3, cl. 5.4.4 |
|  |  | 6.7 Voltage | БДС EN 61010-1+A1 and the relevant Part 2, cl. 6.3.1 a) БДС EN IEC 62368-1+AC+A11, cl. 5.2.2, cl. 5.4.1.8 |
|  |  | 6.8 Current | БДС EN 61010-1+A1 and the relevant Part 2, cl. 6.3.1 b) БДС EN IEC 62368-1+AC+A11, cl. 5.2.2 |
|  |  | 6.9 Electromagnetic compatibility | БДС EN 61326-1+A1 БДС EN 50270+AC БДС EN 55011+A1+A11+A2, cl. 7, cl. 8.2 БДС EN 55032+AC+A11+A1 БДС EN 55035+A11 БДС EN IEC 61000-3-2+A1 БДС EN 61000-3-3+A1+A2 |
|  |  | 6.10 Temperature | БДС EN 61010-1+A1 and the relevant Part 2, cl. 10.1, cl. 10.2, cl. 10.3, cl. 10.4 БДС EN IEC 62368-1+AC+A11, cl. 5.4.1.4 |
|  |  | 6.11 Mechanical strength: Static test Impact test: - from pendulum - from falling sphere - from falls from height | БДС EN 61010-1+A1 and the relevant Part 2 cl. 7, cl. 8 БДС EN IEC 62368-1+AC+A11, Annex T |
|  |  | 6.12 Resistance to force and torque for screws, mechanical connections and cables | БДС EN 61010-1+A1 and the relevant Part 2, cl. 6.5.1.2 |
|  |  | 6.13 Resistance to tensile and torsional for power cords and wires | БДС EN 61010-1+A1 and the relevant Part 2, cl. 6.10.2 БДС EN IEC 62368-1+AC+A11, Annex G.7.3 |
|  |  | 6.14 Resistance to heat (Resistance to abnormal heat - Ball pressure test method) | БДС EN 61010-1+A1 and the relevant Part 2, cl. 10.5 БДС EN IEC 62368-1+AC+A11, cl. 5.4.1.10.3 |
|  |  | 6.15 Resistance to flame and ignition (Resistance to flammability and fire. Needle-flame test method) | БДС EN IEC 62368-1+AC+A11, cl. 6.4 |
| 7. | Power transformers, power supply units and similar devices | 7.1 Protection against electric shock (Protection against contact with hazardous live parts) | БДС EN IEC 61558-1 and the relevant Part 2, cl. 9.1 |
|  |  | 7.2 Protection against hazardous electrical discharge | БДС EN IEC 61558-1 and the relevant Part 2, cl. 9.2 |
|  |  | 7.3 Output voltage and output current under load No-load output voltage Short-circuit voltage | БДС EN IEC 61558-1 and the relevant Part 2, cl. 11, cl. 12, cl. 13 |
|  |  | 7.4 Electromagnetic compatibility | БДС EN 61204-3 БДС EN 62040-2 |
|  |  | 7.5 Mechanical strength: Static test Impact test: - from spring hammer - from rotating carousel - from falls from height | БДС EN IEC 61558-1 and the relevant Part 2, cl. 16 |
|  |  | 7.6 Resistance to force and torque for screws, mechanical connections and cables | БДС EN IEC 61558-1 and the relevant Part 2, cl. 25 |
|  |  | 7.7 Current under load and short circuit | БДС EN IEC 61558-1 and the relevant Part 2, cl. 15 |
|  |  | 7.8 Heating (Temperature) Short circuit and overload protection | БДС EN IEC 61558-1 and the relevant Part 2, cl. 14, cl. 15 |
|  |  | 7.9 Protection against harmful ingress of dust, solid objects and moisture (Degrees of protection (IP code)) | БДС EN IEC 61558-1 and the relevant Part 2, cl. 17.1 |
|  |  | 7.10 Humidity resistance | БДС EN IEC 61558-1 and the relevant Part 2, cl. 17.2 |
|  |  | 7.11 Insulation resistance | БДС EN IEC 61558-1 and the relevant Part 2, cl. 18.2 |
|  |  | 7.12 Electric strength (Dielectric strength of the insulation) | БДС EN IEC 61558-1 and the relevant 2, cl. 18.3 |
|  |  | 7.13 Touch current | БДС EN IEC 61558-1 and the relevant Part 2, cl. 18.5.1 |
|  |  | 7.14 Protective conductor current | БДС EN IEC 61558-1 and the relevant Part 2, cl. 18.5.2 |
|  |  | 7.15 Provision for earthing (Resistance between the earthing terminal and accessible parts) | БДС EN IEC 61558-1 and the relevant Part 2, cl. 24 |
|  |  | 7.16 Creepage distances, clearances and distances through insulation | БДС EN IEC 61558-1 and the relevant Part 2 cl. 26 |
|  |  | 7.17 Resistance to heat (Resistance to abnormal heat - Ball pressure test method) (Resistance to abnormal heat under fault conditions) | БДС EN IEC 61558-1 and the relevant Part 2 cl. 27.1, cl. 27.2 |
|  |  | 7.18 Resistance to fire. (Resistance to flammability and fire. Glow-wire flammability test method) | БДС EN IEC 61558-1 and the relevant Part 2, cl. 27.3 |
|  |  | 7.19 Resistance to tracking | БДС EN IEC 61558-1 and the relevant Part 2, cl. 27.4 |
| 8. | LOW-VOLTAGE SWITCHGEAR AND CONTROLGEAR ASSEMBLIES Circuit breakers for overcurrent protection for household and similar installations. Residual current operated circuit-breakers. Low-voltage switchgear and controlgear. Miniature fuses for Low-voltage | 8.1 Protection against electric shock and effectiveness of the protective circuit (Resistance between the earthing terminal and accessible parts) | БДС EN 61439-1, cl. 10.5.2 БДС EN 62208, cl. 9.10 |
|  |  | 8.2 Insulation resistance | БДС EN 61439-1, cl. 11.9 БДС EN 60898-1, cl. 9.7.2 БДС EN 61008-1+А1+А2+ А11+A12, cl. 9.7.2, cl. 9.7.4 БДС EN 61009-1+А1+А2+А11 +А12+A13, cl. 9.7.2, cl. 9.7.4 |
|  |  | 8.3 Electric strength (Dielectric strength of the insulation) | БДС EN 61439-1, cl. 10.9.2 БДС EN 62208, cl. 9.9 БДС EN 60898-1, cl. 9.7.3 БДС EN 60947-1 А1+А2, cl. 8.3.3.4 БДС EN 61008-1+А1+А2+ А11+A12, cl. 9.7.3, cl. 9.7.4 БДС EN 61009-1+А1+А2+А11+ А12+A13, cl. 9.7.3, cl. 9.7.4 |
|  |  | 8.4 Protection against harmful ingress of dust, solid objects and moisture (Degrees of protection (IP code)) | БДС EN 61439-1, cl. 10.3 БДС EN 62208, cl. 9.7 |
|  |  | 8.5 Creepage distances, clearances and distances through insulation | БДС EN 61439-1, cl.8.3 БДС EN 60898-1, cl. 8.1.3 БДС EN 60947-1+А1+А2, cl. 8.3.3.4, Annex G БДС EN 61008-1+А1+ А2+А11+A12, cl. 8.1.3 БДС EN 61009-1+А1+А2+А11+ А12+A13, cl. 8.1.3 |
|  |  | 8.6 Temperature (Heating) | БДС EN 61439-1, cl. 10.10 БДС EN 60898-1, cl. 9.8 БДС EN 60947-1+A1+A2, cl. 8.3.3.3 БДС EN 60269-1+A1+A2, cl. 8.3 БДС EN 61008-1+ A1+A2+A11 +A12, cl. 9.8 БДС EN 61009-1+A1+A2+A11 +A12+A13, cl. 9.8 |
|  |  | 8.7 Mechanical and electrical endurance | БДС EN 60947-2+A1, cl. 8.3.3.3 БДС EN 60947-3+A1+A2, cl. 8.3.3.3 БДС EN 60947-4-1+AC+AC, cl. 8.2.4.1 БДС EN 60947-5-1+AC, cl.8.3.3.5.2 БДС EN 60947-5-2+А1, cl. 8.5 БДС EN 60898-1, cl. 9.11 БДС EN 61009-1+А1+А2+А11 +А12+A13, cl. 8.6 |
|  |  | 8.8 Time-current characteristic | БДС EN 60898-1, cl. 9.10 БДС EN 61009-1+A1+A2+A11 +A12+A13, cl. 9.9 БДС EN 60269-1+A1+A2, cl. 8.4.3.3 |
|  |  | 8.9 Resistance to mechanical loads Mechanical strength: Static test - force Impact test: - from pendulum - from falls from height | БДС EN 61439-5+AC, cl. 10.2.101 БДС EN 62208, cl. 9.3, cl. 9.5, cl. 9.6 БДС EN 60898-1, cl. 9.13 БДС EN 60947-1+ А1+А2, cl. 8.2.7 БДС EN 61008-1+А1+А2+ А11+A12, cl. 9.12 БДС EN 61009-1+А1+А2+А11 +А12+A13, cl. 9.12 |
|  |  | 8.10 Resistance to force and torque for screws, mechanical connections and cables | БДС EN 60898-1, cl. 9.4, cl. 9.5 БДС EN 60947-1+А1+А2, cl. 8.2.4 БДС EN 61008-1+A1+A2 +A11+A12, cl. 9.4, cl. 9.5 БДС EN 61009-1+A1+A2+А11+ А12+А13, cl.9.4, 9.5 |
|  |  | 8.11 Resistance to heat (Resistance to abnormal heat - Ball pressure test method) (Resistance to abnormal heat under fault conditions) | БДС EN 62208, cl. 9.8.2 БДС EN 60898-1, cl. 9.14 БДС EN 61008-1+А1+А2+А11 +A12, cl. 9.13 БДС EN 61009-1+А1+А2+А11 +А12+A13, cl. 9.14 |
|  |  | 8.12 Resistance to abnormal heat and fire. (Resistance to flammability and fire. Glow-wire flammability test method) | БДС EN 61439-1, cl. 10.2.3.2 БДС EN 62208, cl. 9.8.3 БДС EN 60898-1, cl. 9.15 БДС EN 60947-1+А1+А2, cl. 8.2.1.1 БДС EN 61008-1+А1+А2 +А11+A12, cl. 9.14 БДС EN 61009-1+А1+А2+А11 +А12+A13, cl. 9.15 |
|  |  | 8.13 Electromagnetic compatibility | БДС EN 61439-1, Annex J БДС EN 60947-1+A1+A2, cl. 10.12 |
| 9. | Playground equipment and impact absorbing surfaces for playgrounds and sport | 9.1 Impact attenuation of swing seats - peak values of acceleration - surface compression | БДС EN 1176-2+AC, cl. 4.6, Annex B |
|  |  | 9.2 Critical fall height | БДС EN 1177+AC |
|  |  | 9.3 Loads | БДС EN 1176-1, Annex A, Annex В, Annex С |
|  |  | 9.4 Dimensions - linear - angular - incline | БДС EN 1176-1, cl. 4.2.3, cl. 4.2.4, cl. 4.2.5, cl. 4.2.6, cl. 4.2.7.5, cl. 4.2.7.6, cl. 4.2.8.2.3, cl. 4.2.8.5, cl. 4.9; cl. 4.2.12, cl. 4.2.13, cl. 4.2.14, cl. 4.2.15 БДС EN 1176-2+AC, cl. cl. 4.2, 4.3, 4.4.1, 4.6.2, 4.6.3, 4.10.2.2, 4.11, Annex В БДС EN 1176-3, cl. cl. 4.2, cl. 4.3, cl. 4.4, cl. 4.5, cl. 4.7, cl. 4.8, cl. 4.9.1 БДС EN 1176-4+AC, cl. 4.4, cl. 4.7, cl. 4.11, cl. 4.12, cl. 4.13, cl. 4.14, БДС EN 1176-5, cl. 4.2, 4.3, 4.5, 5 БДС EN 1176-6+AC, cl. 4.6, cl. 4.7, cl. 4.8, cl. 4.9, cl. 4.10, cl. 5 БДС EN 1176-10, cl. cl. 4.2.2.3, cl. 4.2.2.4, cl. 4.3.5.2, cl. 4.3.5.3, cl. 4.3.5.4, cl. 4.4.1.3, cl. 4.4.1.4, cl. 4.4.1.5, cl. 4.4.1.8, cl. 4.4.2.5, cl. 4.4.2.7, cl. 4.4.2.8, cl. 4.4.2.12, cl. 4.4.2.13, cl. 4.4.3.5, cl. 4.4.3.6, cl. 4.4.3.7, cl. 4.4.3.8 БДС EN 1176-11, cl. 4.1, cl. 4.2, cl. 4.3 БДС EN 1177, cl. 4.4.1.3, cl. 4.4.1.4, cl. 4.4.1.5 |
|  |  | 9.5 Entrapment | БДС EN 1176-1, cl. cl. 4.2.7, 4.2.12.2, Annex D БДС EN 1176-3, cl. 4.4.3 БДС EN 1176-6+AC, Annex E |
| 10. | Noise in the environment | 10.1 Sound pressure levels Equivalent noise level Average noise level on the measurement loop Noise level at the impact site | БДС 15471 БДС ISO 8297 MOZMOSPP |
|  |  | 10.2 Sound power levels | БДС ISO 8297 MOZMOSPP |

*Flexible scope: Implementing a new version of standards/documents or standards/ documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by the laboratory.

References:

MOZMOSPP - Methodology for determining the total sound power emitted by an industrial plant in the environment and determining the noise level at the site of impact (Order of the Minister of Environment and Water (RD-613/08.08.2012)