SCOPE 222 ЛИ

Sofia, 31.07.2025

EVROPAT 2005 LTD

CONSTRUCTION TESTING LABORATORY

Management address: 6300 Haskovo, 14 Kozloduy Str, Floor 5

Laboratory address: 6300 Haskovo, Suchukmaz Area, Asphalt Base

To perform testing of:

| Type of the scope: Flexible* |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test / characteristic | Testing methods (standard / validated method) |
| 1 | 2 | 3 | 4 |
| 1. | Rock/additive materials | 1.1. Grain size composition | БДС EN 933-1 |
|  |  | 1.2. Fine fraction content | БДС EN 933-1 |
|  |  | 1.3. Sand equivalent | БДС EN 933-8+А1 |
|  |  | 1.4. Form coefficient | БДС EN 933-4 |
|  |  | - Percentage of: - crushed grains; - completely crushed grains; - entirely rounded grains | БДС EN 933-5 |
|  |  | - Grain density - specific grain density; - volume grain density in dry condition; -grain density in a water-saturated surface dry condition; | БДС EN 1097-6, cl. 7, cl. 8, cl. 9, |
|  |  | 1.7. Water absorption | БДС EN 1097-6, cl. 7, cl. 8; cl. 9, |
|  |  | 1.8. Shell contents | БДС EN 933-7 |
|  |  | 1.9. Magnesium sulfate amount (mass loss when tested with magnesium sulfate – frost resistence) | БДС EN 1367-2 |
|  |  | 1.10. Water content | БДС EN 1097-5 |
| 2. | Asphalt mixtures | 2.1 Soluble binder content | БДС EN 12697-1 Appendix В, cl. В 1.5 |
|  |  | 2.2 Grain size content | БДС EN 12697-2 +А1 |
|  |  | 2.3 Bulk density | БДС EN 12697-6, Procedure B |
|  |  | 2.4 Maximum density | БДС EN 12697-5, Procedure A |
|  |  | 2.5 Air pore content | БДС EN 12697-8, cl. 4 |
|  |  | 2.6 Marshall resistence | БДС EN 12697-34 |
|  |  | 2.7 Marshall conditional ductility | БДС EN 12697-34 |
|  |  | 2.8 Dimensions of the tested body: - diameter; - height | БДС EN 12697-29 |
|  |  | 2.9 Compaction degree | БДС EN 12697-9** |
|  |  | 2.10 Temperature | БДС EN 12697-13 |
|  |  | 2.11 Water content | БДС EN 12697-14 |
|  |  | 2.12 Asphalt layer thickness | БДС EN 12697-36, cl. 4.2 |
| 3. | Bitumen | 3.1. Penetration | БДС EN 1426 |
|  |  | 3.2. Softening temperature | БДС EN 1427 |
| 4. | Construction soils | 4.1 Leak point | Ordinance № РД-02-20-2 on road design, by the MRDPW Appendix, № 15* |
|  |  | 4.2 Drain point; Flexibility index | Ordinance № РД-02-20-2 on road design, by the MRDPW Appendix, № 16* |
| 5. | Fine filler | 5.1 Grain size content | БДС EN 933-1 |
|  |  | 5.2 Water content | БДС EN 1097-5 |

To perform sampling of:

| Scope Type: Flexible |  |  |
| --- | --- | --- |
| № | Name of the tested products | Test methods (standardized/validated) |
| 1 | 2 | 3 |
| 1. | Rock/additive materials | БДС EN 932-1, cl. 8.8 |
| 2. | Asphalt mixtures | БДС EN 12697-27, cl. 4.1; cl. 4.7 |
| 3. | Bitumen | БДС EN 58, cl. 8.1.4 |
| 4. | Construction soils | БДС 17146, cl. 5 |
| 5. | Fine filler | БДС EN 932-1, cl. 8.3; cl. 8.4; cl. 8.5; cl. 8.7 |

*Flexible scope: Implementing a new version of standards/documents or standards/ documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.

Flexible scope references:

Ordinance № РД-02-20-2, on road design, issued by the Ministry of Regional Developmant and Public Works (MRDPW), Appendix № 15, Appendix № 16.

** Repealed but not replaced standard with regard to the testing method.