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SCOPE 216 ЛИ
Sofia, 14.07.2025
REGIONAL HEALTH INSPECTORATE, KARDZHALI
[bookmark: bookmark2]CROSS-BORDER RESEARCH CENTER 
[bookmark: bookmark3]ENVIRONMENT AND HEALTH 

Management and laboratory address: 
6600 Kardzhali, 2, Gen. Vladimir Stoychev Str. 

To perform testing of:
	Type of the scope: flexible for a part of the scope

	№
	Tested Products
	Type of Test/Characteristic
	Testing methods
(standard / validated method)

	1
	2
	3
	4

	I. WATER

	 
	Water: potable water (1), surface water, intended for drinking and domestic water supply (2), mineral water (natural and carbonated), spring, table (3), running surface water (4), bathing water (5), swimming-pool water (6), waste water (7), groundwater (8), water for fish farming (9)
	1. Iron 
	БДС EN ISO 11885 (1,3,6,7,8)

	
	
	2. Manganese
	БДС EN ISO 11885 (1,2,3,4,6,8)

	
	
	3. Aluminum
	БДС EN ISO 11885(1,3,8)

	
	
	4. Selenium
	БДС EN ISO 11885 (1,3,4,7,8)

	
	
	5. Cobalt
	БДС EN ISO 11885 (7)

	
	
	6. Bromides
	БДС EN ISO 10304-1 (1)

	
	
	7. Fluorides
	БДС EN ISO 10304-1 (1,3,8)

	
	
	8. Sodium
	БДС EN ISO 11885 (1,3,7,8) 
БДС EN ISO 14911 (1,3,7)

	
	
	9. Total dry residue
	БДС 17.1.4.04 (7)

	
	
	10. Antimony
	БДС EN ISO 11885 (1,3,7,8)

	
	
	11. Nitrates / Nitrate nitrogen
	БДС EN ISO 10304-1 (1,2,3,4,5,7,8)

	
	
	12. Nitrites / Nitrite nitrogen
	БДС EN ISO 10304-1 (1,2,3,6,8,9)

	
	
	13. Residual chlorine
	БДС 3560 (1,6)

	
	
	14. Active reaction / pH
	БДС EN ISO 10523 (1,2,3,4,5,6,7,8,9)

	
	
	15. Ammonia / Ammonium / Ammonium nitrogen
	БДС EN ISO 14911 (1,2,3,4,5,6,7,8,9)

	
	
	16. Color
	БДС EN ISO 7887 Method D, cl. 7 (1,2,3,4,5,6, 8)

	
	
	17. Odor
	БДС 8451 (1,2,3,4,6,8)

	
	
	18. Taste
	БДС 8451 (1)

	
	
	19. Temperature
	БДС 17.1.4.01 (7)

	
	
	20. Electrical conductivity
	БДС EN 27888 (1,2,3,4,7,8)

	
	
	21. Calcium
	БДС ISO 6058 (1,3,7)
БДС EN ISO 14911 (1,3,7)

	
	
	22. Magnesium
	БДС EN ISO 14911 (1,3,7)

	
	
	23. Total hardness (sum of calcium and magnesium)
	БДС ISO 6059 (1,3,7,8)

	
	
	24. Permanganate index /permanganate oxidizability
	БДС EN ISO 8467 (1,3,6,7, 8)

	
	
	25 Phosphates / Phosphates such as phosphorus
	БДС EN ISO 10304-1 (1,2,3,4,5,7,8)

	
	
	26. Sulfates
	БДС EN ISO 10304-1 
(1,2,3,4,8)

	
	
	27. Chlorides
	БДС EN ISO 10304-1 
(1,2, 3,4,8)

	
	
	28. Cyanides
	БДС 17.1.4.14 (2,7,8)

	
	
	29. Kjeldahl Nitrogen
	БДС EN 25663 (2,4,5,7)

	
	
	30. Dissolved oxygen
	БДС EN ISO 5814 (4,5,8,9)

	
	
	31. Undissolved substances
	БДС 17.1.4.04 (4,7,8,9)

	
	
	32. Copper
	БДС EN ISO 11885 (1,2,3,4,8,9)

	
	
	33. Zinc
	БДС EN ISO 11885 (1,2,3,4,7,8,9)

	
	
	34. Lead
	БДС EN ISO 11885 (1,2,3,4,7,8,9)

	
	
	35. Cadmium
	БДС EN ISO 11885 (1,2,3,4,7,8,9)

	
	
	36. Mercury
	БДС EN ISO 12846 cl. 7 (1,2,4,5)

	
	
	37. Arsenic
	БДС ISO 17378-2 (1,2,4,5)
БДС EN ISO 11885 
(1,2,3, 7,8,9)

	
	
	38. Nickel
	БДС EN ISO 11885 (1,2,3,4,7,8)

	
	
	39. Potassium
	БДС EN ISO 14911 (3)

	
	
	40. Chromium
	БДС EN ISO 11885 (1,2,3,4,5,7, 8)
БДС 17.1.4.17 (2,4,5,7,8)

	
	
	41. Hexavalent chromium
	БДС 7212 (1)
БДС 17.1.4.17 (2,4,5,7,8)

	
	
	42. Trivalent chromium
	БДС 17.1.4.17 (2,4,5,7,8)

	
	
	43. Escherichia coli
	БДС EN ISO 9308-1 / A1 (1,2,3)
БДС EN ISO 9308-3 / АС (2,4,5,9)

	
	
	44. Coliforms
	БДС EN ISO 9308-1 / A1 (1,2,3)

	
	
	45. Enterococci
	БДС EN ISO 7899-2 (1,2,3)
БДС EN ISO 7899-1/AC: 2001 (2,4,5,9)

	
	
	46. Sulfite-reducing clostridia / Clostridium perfringens
	БДС EN 26461-2 (1,3)
БДС EN ISO 14189 (1,3)

	
	
	47. Number of colonies/ Microbial count at 22 °C / at 37 °C
	БДС EN ISO 6222 (1,3)

	
	
	48 Number of colonies / Microbial count at 22 °C / at 37 °C
	БДС EN ISO 6222 (1,3)

	
	
	49. Salmonella species
	БДС EN ISO 19250 (2,4,5,9)

	
	
	50. Fecal coliforms
	БДС EN ISO 9308-1 / A1 (2)

	
	
	51. Pseudomonas aeruginosa
	БДС EN ISO 16266 (3)

	
	
	52. Intestinal enterococci
	БДС EN ISO 7899-1 / AC (2,4,5,9)
БДС EN ISO 7899-2 (2)

	
	
	53. Total coli titer
	БДС 17335 cl. 7 (6)

	
	
	54. Escherichia coli titer
	БДС 17335 cl. 7 (6)

	
	
	55. Staphylococcal titer
	БДС 17335 cl. 9 (6)

	
	
	56. Enterococcal titer
	БДС 17335 cl. 8 (6)

	
	
	57. Microbial number
	БДС 17335 cl. 6 (6)

	
	
	58. Legionella
	БДС EN ISO 11731 (1)

	
	
	59. Bromates
	БДС EN ISO 15061 (1, 3)

	
	
	60. Boron
	БДС EN ISO 11885 (1,3, 8)

	
	
	61. Turbidity	
	БДС EN ISO 7027-1 (1, 3)

	II.
	Cosmetic products
	1. Lead
	VLM 01/2017

	
	
	2. Cadmium
	VLM 01/2017

	
	
	3. Aerobic mesophilic bacteria / 
Yeast and molds
	БДС EN ISO 21149 
БДС EN ISO 16212

	
	
	4. Escherichia coli
	БДС EN ISO 21150

	
	
	5. Staphylococcus aureus
	БДС EN ISO 22718

	
	
	6. Pseudomonas aeruginosa
	БДС EN ISO 22717

	
	
	7. Candida albicans
	БДС EN ISO 18416

	
	
	8. Hydrogen peroxide
	Ordinance № 14 of the Ministry of Health, SG № 68/2014, Аnnex 2, item VIII, B

	
	
	9. Thioglycolic acid/
 mercaptoacetic acid
	Ordinance № 14 of the Ministry of Health, SG № 68/2014, Аnnex 2, item XVIII, 5.1

	III.
	Products in direct contact with the human body
	Nickel
	БДС EN 1811




2. Microbiological testing of food:
	Type of the scope: flexible for a part of the scope

	№
	Tested Products
	Type of Test/Characteristic
	Testing methods
(standard / validated method)

	1
	2
	3
	4

	Milk and dairy products (1)
Meat and meat products (2)
Fish and other seafood and fish products (3)
Eggs (4.1) and egg products
(4.2)
Vegetable (5.1) and animal oils and fats (5.2)
Grain and cereal products (flour, starch, bakery products and pasta) (6)
Baker’s yeast (7)
Fruit (8.1) and vegetables, products resulting from their processing (8.3)
Soups: dry soup mixes and broth powder (9.1), vegetable and meat-and-vegetable soups (9.2)
Canned meat (10)
Nuts (11.1) and oil seeds (11.2)
Spices (12)
Sugar (13.1), sugar products, confectionery and chocolate products (13.2)
Soft drinks (soft drinks, carbonated drinking water) (14)
Coffee (15.1), cocoa (15.2), tea (15.3)
Purees for babies (16)
Ready-to-eat foods (17)
	1.1. Total number of micro-organisms
	БДС EN ISO 4833-1/A1 (1)

	
	1.2. Coliforms
	ISO 4832 (1), (5.1), (5.2), (13.2), (14)

	
	1.3. Salmonella species
	БДС EN ISO 6579-1/A1 (1), (2), (3), (4.1), (4.2), (5.1), (5.2), (6), (7), (8.1), (8.2), (8.3), (9.1), (9.2), (11.1) (11.2), (12), (13.1), (13.2), (14), (15.1), (15.2), (15.3), (16), (17) 
БДС 12334 / Amd. 2 / (13.1), (13.2)

	
	1.4. Coagulase-positive staphylococci
	БДС EN ISO 6888-2/A1 (1), (2), (4), (5.1), (5.2), (6), (7), (8.1), (8. 2), (8.3), (9.1), (9.2), (13.1), (13.2), (14), (15.1), (15.2), (15.3) (16), (17)

	
	1.5. Listeria monocytogenes
	БДС EN ISO 11290-1 (1), (2), (3), (6), (8.1), (8.2), (8.3), (9.1), (9.2), (10), (11.1), (11.2), (16), (17)
БДС EN ISO 11290-2: (1), (2), (3), (6), (8.1), (8.2), (8.3), (9.1), (9.2), (10), (11.1), (11.2), (16), (17)

	
	1.6. Molds and
yeast
	БДС ISO 21527-1 (1), (2), (5.1), (5.2), (8.1), (8.2), (8.3), (9.2), (10), (14), (17) 
БДС ISO 21527-2 (1), (2), (6), (8.3), (9.1), (9.2), (10), (11.1), (11.2), (13.2), (17)

	
	1.7. Escherichia coli
	БДС ISO 16649-2 (2), (12)

	
	1.8. Mesophilic
anaerobic
microorganisms
	БДС 6916 cl. 2.3 (8.3), (16) БДС 1035 cl. 5.9.2 (16)

	
	1.9. Mesophilic aerobic and facultative anaerobic microorganisms
	БДС 6916 cl. 2.1 (8.3) 
БДС 1035 cl. 5.9.1 (10)

	
	1.10. Sulfite - reducing clostridia
	ISO 15213-1 (12)



3. Pesticide content **
	Type of the scope:  flexible for a part of the scope

	№
	Tested Products
	Type of Test/ Characteristic
	Testing methods
(standard / validated method)

	1
	2
	3
	4

	I. Water

	Water: potable water (1), surface water, intended for drinking and domestic water supply (2), mineral water (natural and carbonated), spring, table (3), running surface water (4), bathing water (5), swimming-pool water (6), waste water (7), groundwater (8), water for fish farming (9)
	1.1. Organochlorine 
pesticides 
- Aldrin;
- Dieldrin;
- Endrin;
- Heptachlor;
- аlpha-BHC;
- beta-BHC;
- gamma-BHC;
- delta-BHC;
- p,p’-DDD;
- p,p’-DDT;
- p,p’-DDE;
- Endosulfan -I;
- Endosulfan – II;
- Endosulfan sulfate;
- Endrin aldehyde;
- Heptachlor  epoxide;
- Methoxychlor.
	БДС EN ISO 6468 (1,4,5,7,8,9)

	
	1.2. Organophosphorus 
pesticides 
- Dimethoate;
- Disulfoton;
- Methyl parathion;
- Parathion;
- Sulfotepp;
- Thionazin;
- Famphur;
- Diazinon;
- Chlorpyrifos ethyl.
	БДС EN 12918 
(1,4,5,7,8,9)



To perform sampling of:
	Type of the scope: flexible for a part of the scope

	№
	Product
	Sampling methods
(standardized / validated method)

	1
	2
	3

	1.
	Ready-to-eat foods
	Ordinance №2 /2024, Annex 2, 
to Art. 7, para 5, item 1

	2.
	Water: drinking water – water for domestic use from the public water supply network (1), mineral water (natural and carbonated), spring, table (2), swimming-pool water (3), waste water (4), groundwater (5)
	БДС ISO 5667-5 (1)
БДС ISO 5667-10 (4)
БДС ISO 5667-11 (5)
БДС 17335 (3)
БДС EN ISO 19458 (1,2,5)


 
Flexible scope: Implementing a new version of standards/documents or standards/ documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by the laboratory.

** Within its competence the laboratory is authorized to evaluate all characteristics (column 3) of the respective group of products (column 2) in accordance with the identified test methods (column 4) after the performance of an inspection/verification and the procurement of CRM/RM and calibrated equipment. The laboratory maintains a detailed, date-indexed list of the products and characteristics of products listed within the scope of accreditation.

* Repealed but not replaced with regard to the test method.

Flexible scope references:
Ordinance № 2/2024 on the terms and conditions for sampling and laboratory testing of food, valid since 24.04.2024, issued by the Minister of Agriculture and Food, SG № 31/ 09.04.2024, Annex 2 to Art. 7, para. 5, item 1

[bookmark: _Hlk205385833]Fixed scope references:
VLM 01/2017 (Validated Laboratory Method 01/2017): Determination of lead and cadmium content in cosmetic products by atomic absorption spectrometry
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