SCOPE 118 ЛИ

Sofia, 30.07.2025

LEMNA ECOINVEST-BULGARIA JSC,

TESTING LABORATORY

Management and laboratory address: 8000 Burgas, Lazur, Bl.146, Floor 1

To perform testing of:

| Type of the scope: Flexible for a part of the scope |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test/ characteristic | Testing methods (standard/ validated method) |
| 1 | 2 | 3 | 4 |
| I. | WATER: -Sea water (1) -Drinking water (2) -Surface water (3) - Waste water (4) -Groundwater (5) - Mineral water from a water sousce to be used for both hygienic and prophylactic purposes (6) -Swimming pool water (7) | 1.Temperature | БДС 17.1.4.01, cl. 4 (1, 3, 4, 5, 6, 7) БДС 8451, cl. 5 (2) |
|  |  | 2.pH | БДС EN ISO 10523 (1, 2, 3, 4, 5, 6, 7) |
|  |  | 3.Colour | БДС 17.1.4.01, cl. 3 (4) БДС EN ISO 7887, cl. 4, cl. 7 (1, 2, 3, 5, 6, 7) |
|  |  | 4.Odour/ Taste | БДС 17.1.4.01, cl. 2 (4, 7) БДС 8451, cl. 3, cl. 4 (2) |
|  |  | 5.Turbidity | БДС EN ISO 7027-1 (1, 2, 3, 4, 5, 6, 7) VLM № 32:2017 (1, 3) |
|  |  | 6.Electrical conductivity | БДС EN 27888 (1, 2, 3, 4, 5, 6, 7) |
|  |  | 7. Salinity | VLM № 37:2019 (1, 3) |
|  |  | 8.Undissolved substances | БДС 17.1.4.04, cl. 2 (3, 4, 5) БДС EN 872 (1, 2, 3, 4, 5, 6, 7) |
|  |  | 9.Dry residue | БДС 3546 (2) БДС 17.1.4.04, cl. 1 (3, 4, 5) |
|  |  | 10.Dissolved substances | БДС 17.1.4.04, cl. 3 (2, 3, 4, 5, 6) |
|  |  | 11.Biochemical oxygen consumption after n days /BOCn/ | БДС EN ISO 5815-1 (1, 3, 4) БДС EN 1899-2 (1, 3, 4) |
|  |  | 12.Dissolved oxygen-volumetric method | БДС EN 25813 (1, 2, 3, 4, 5, 6) |
|  |  | 13.Dissolved oxygen- Electrochemical method | БДС EN ISO 5814 (1, 2, 3, 4, 5, 6) |
|  |  | 14.1 Nitrites | БДС EN 26777 (1, 2, 3, 4, 5, 6, 7) |
|  |  | 14.2 Nitrite nitrogen |  |
|  |  | 15. Chlorides | БДС 3414 (2) БДС 17.1.4.24, cl. 1 (3, 4, 5, 6) |
|  |  | 16.1 Nitrates | БДС ISO 7890-3 (2, 3, 4) VLM № 1:2020 (1, 3, 4, 5, 6) |
|  |  | 16.2 Nitrate nitrogen |  |
|  |  | 17. Determination of Kjeldahl nitrogen | БДС EN 25663 (2, 3, 4) |
|  |  | 18.1 Ammonium ion | БДС ISO 7150-1 (1, 2, 3, 4, 5, 6, 7) |
|  |  | 18.2 Ammonium nitrogen |  |
|  |  | 18.3 Ammonia |  |
|  |  | 19.Total nitrogen | БДС EN ISO 11905-1 (1, 2, 3, 4, 5, 6) VLM № 2:2020 (2, 3, 4, 5, 6) |
|  |  | 20.1 Phosphates | БДС EN ISO 6878, Chapter 4 (1, 2, 3, 4, 5, 6) VLM № 3:2015 (1, 3, 4) |
|  |  | 20.2 Orthophosphates |  |
|  |  | 20.3 Phosphates (like phosphorus) |  |
|  |  | 21.Total phosphorus | БДС EN ISO 6878, Chapter 7 (1, 2, 3, 4, 5, 6) VLM № 3:2015 (1, 3, 4) |
|  |  | 22.Oxidisability (Dichromatic) | БДС 17.1.4.02 (3, 4, 5) БДС ISO 15705 (3, 4, 5) |
|  |  | 23.1 Permanganate Oxidisability | БДС EN ISO 8467 (2, 3, 5, 6, 7) |
|  |  | 23.2 Permanganate Index |  |
|  |  | 24.General hardness | БДС ISO 6059 (2, 3, 5, 6) |
|  |  | 25.Calcium | БДС ISO 6058 (2, 3, 5, 6) |
|  |  | 26.Magnesium | VLM № 40:2021 (2, 3, 5, 6) |
|  |  | 27.Sulphates | VLM № 33:2017 (2, 3, 4, 5, 6) |
|  |  | 28.1 Total (Residual) chlorine | БДС EN ISO 7393-2 (2, 3, 4, 5, 6, 7) |
|  |  | 28.2 Free chlorine |  |
|  |  | 29.Surface-active agents (anionic detergents) | VLM № 39:2019 (2, 3, 4, 5, 6) |
|  |  | 30.Extractable substances | VLM № 10:2019 (3, 4) |
|  |  | 31. Vegetable oils and fats | VLM № 10:2019 (3, 4) |
|  |  | 32. Petroleum products | VLM № 10:2019 (3, 4) БДС EN ISO 9377-2 (1, 3, 4, 5) |
|  |  | 33. Iron | БДС ISO 6332 (4, 7) |
|  |  | 34. Manganese | БДС ISO 6333 (3, 7) |
|  |  | 35.1 Total Chromium/Cr3+, Cr6+ | VLM № 7:2020 (2, 3, 4, 5, 6) |
|  |  | 35.2 Cr(III) |  |
|  |  | 35.3 Cr(VI) |  |
|  |  | 36.1 General alkalinity, | БДС EN ISO 9963-1 (2, 3, 4, 5, 6) БДС EN ISO 9963-2 (2, 3, 4, 5, 6) |
|  |  | 36.2 Composite alkalinity |  |
|  |  | 36.3 Carbonates (like CaCO3) |  |
|  |  | 36.4 Hydrocarbons |  |
|  |  | 37.1 Phenols | БДС 17.1.4.13 (3, 4, 5) БДС ISO 6439, Method A and B (2, 3, 4) |
|  |  | 37.2 Phenol index |  |
|  |  | 38.Cyanides | БДС ISO 6703-1 (4) VLM № 29:2015 (4, 2, 3, 5, 6) |
|  |  | 39.1 Fluorine | БДС 16911 (2) VLM № 30:2020 (4, 5, 6) |
|  |  | 39.2 Fluorides |  |
|  |  | 40.1 Sulphides | БДС 17.1.4.09, cl. 1 (3, 4, 5, 6) |
|  |  | 40.2 Hydrogen sulphide |  |
|  |  | 41. Bromates | VLM № 38:2019 (2, 3, 5, 6) |
|  |  | 42. Total organic carbon (TOC) | VLM № 31:2016 (2, 3, 4) |
|  |  | 43. Elemental composition (using ICP-OES). | БДС EN ISO 11885 (2, 3, 4, 5, 6) VLM № 17:2013 * (1) |
|  |  | 44.Mercury | VLM № 17:2013 (1) VLM № 18:2016 (2, 3, 4, 5, 6) |
|  |  | 45.Coliforms (total) | БДС EN ISO 9308-1/A1 (2, 5, 6) |
|  |  | 46. Escherichia coli | БДС EN ISO 9308-1/A1 (2, 5, 6) БДС EN ISO 9308-3 (1) |
|  |  | 47.Intestinal enterococci | БДС EN ISO 7899-2 (1, 2, 3, 5, 6) |
|  |  | 48.Total colony count (microbial count) at 22oC, at 37oC | БДС EN ISO 6222 (1, 2, 3, 4, 5, 6, 7) |
|  |  | 49. Sulphite-reducing clostridia | БДС EN 26461-2 (2, 5, 6) |
|  |  | 50. Clostridium perfringens (incl. spores) | БДС EN ISO 14189:2016 (2, 5, 6) |
|  |  | 51.Total colititre | БДС 17335, cl. 7 (7) |
|  |  | 52. Escherichia colititre | БДС 17335, cl. 7 (7) |
|  |  | 53. Enterococcal titre | БДС 17335, cl. 8 (7) |
|  |  | 54. Staphylococcal titre | БДС 17335, cl. 9 (7) |
|  |  | 55.Legionella | БДС EN ISO 11731 (2, 5, 6) |
|  |  | 56. Pseudomonas aeruginosa | БДС EN ISO 16266:2008 (2, 6) |
|  |  | 57. Salmonella | БДС EN ISO 19250:2013 (2) |
|  |  | 58. Polycyclic aromatic hydrocarbons (PAH) | ISO 28540 (2, 3, 5, 6) |
|  |  | 59. Volatile organic compounds (VOC) | БДС EN ISO 10301, Chapter 3 (2, 3, 5, 6) БДС ISO 11423-1 (2, 3, 4, 5, 6) |
|  |  | 60. Polychlorinated biphenyls (PCB) | VLM № 34:2017 * (1, 2, 3, 5, 6) |
|  |  | 61. Organochlorine pesticides and chlorobenzenes | VLM № 35:2017 * (1, 2, 3, 5, 6) |
|  |  | 62. Organophosphorus pesticides | БДС EN 12918 (2, 3, 5, 6) |
|  |  | 63. Nitrogen-containing pesticides | VLM № 36:2017 * (1, 2, 3, 5, 6) |
| II. | ALUMINIUM-BASED COAGULANTS/ SOLUTIONS | 1.Content of aluminium trioxide (Al2O3) | БДС EN 1302/A, cl. A.1 |
|  |  | 2.Undissolved substances | БДС EN 1302, cl. B.6 |
|  |  | 3.Content of metals: 3.1 Chromium; | БДС EN 1302, cl. B.7 |
|  |  | 3.2 Nickel; |  |
|  |  | 3.3 Cadmium; |  |
|  |  | 3.4 Lead |  |
|  |  | 3.5 Arsenium; |  |
|  |  | 3.6 Selenium; |  |
|  |  | 3.7 Antimony; |  |
|  |  | 4. Manganese | VLM № 20:2017 |
| III. | WASTES - testing of digest of water upon leaching (1) -testing of digest of acid upon microwave decomposition (2) | 1.Active pH reaction | БДС EN ISO 10523(1) БДС EN 10390 |
|  |  | 2.1 Determination of dry residue | БДС EN 15934, Method A |
|  |  | 2.2 Water content |  |
|  |  | 3. Loss on ignition | БДС EN 15935, cl. 7.1 |
|  |  | 4. Total dissoluble solids/ TDS | БДС EN 15216 |
|  |  | 5. Electrical conductivity | БДС EN 27888 (1) |
|  |  | 6. Content of metals and non-metals | БДС EN ISO 22036 (2) |
|  |  | 7.1 Total chromium | БДС EN ISO 11885(1) БДС EN ISO 22036 (2) VLM № 7:2020 (1) |
|  |  | 7.2 Cr (III) | VLM № 7:2020 (1) |
|  |  | 7.3 Cr (VI) |  |
|  |  | 8. Mercury | VLM № 18:2016 (1) |
|  |  | 9. Chlorides | ISO 9297 (1) |
|  |  | 10. Cyanides (total) | VLM № 29:2015 (1) |
|  |  | 11. Total organic carbon | VLM № 31:2022 (1) |
|  |  | 12. Fluorides | VLM № 30:2020 (1) |
|  |  | 13. Phenol index | БДС ISO 6439, Method A and B (1) |
|  |  | 14. Nitrites | БДС EN 26777 (1) |
|  |  | 15.Nitrates | БДС ISO 7890-3 (1) |
|  |  | 16.1 Ammonium ion | БДС ISO 7150-1 (1) |
|  |  | 16.2 Ammonium nitrogen |  |
|  |  | 16.3 Ammonia |  |
|  |  | 17.1 Phosphates | БДС EN ISO 6878, Chapter 4, 7 (1) VLM № 3:2015 (1) |
|  |  | 17.2 Orthophosphates |  |
|  |  | 17.3 Phosphates (like phosphorus) |  |
|  |  | 18.Sulphates | VLM № 25:2020 (1) |
|  |  | 19.Total nitrogen | VLM № 2:2020 (1) |
| IV. | SLUDGE/ SEDIMENTS Sludge (1) Sediments (2) | 1.1. pH (H2O) | БДС EN ISO 10390 (1) |
|  |  | 1.2. pH (CaCl2) |  |
|  |  | 2.1. Determination of dry residue | БДС EN 12880 (1) |
|  |  | 2.2. Water content |  |
|  |  | 3. Content of metals snd non-metals (determination using ICP-OES) | БДС EN ISO 22036 (1,2) |
|  |  | 3.1. Cobalt; |  |
|  |  | 3.2. Chromium; |  |
|  |  | 3.3. Iron; |  |
|  |  | 3.4. Manganese; |  |
|  |  | 3.5. Nickel; |  |
|  |  | 3.6. Lead; |  |
|  |  | 3.7. Zinc; |  |
|  |  | 3.8. Arsenium; |  |
|  |  | 3.9. Calcium; |  |
|  |  | 3.10. Potassium; |  |
|  |  | 3.11. Magnesium; |  |
|  |  | 3.12. Copper; |  |
|  |  | 3.13. Molibdenum; |  |
|  |  | 3.14. Cadmium; |  |
|  |  | 3.15. Barium; |  |
|  |  | 3.16. Aluminium; |  |
|  |  | 3.17. Selenium; |  |
|  |  | 3.18. Phosphorus; |  |
|  |  | 3.19. Boron; |  |

To perform sampling of:

| Type of the scope: Flexible |  |  |
| --- | --- | --- |
| № | Product | Sampling methods (standard / validated method) |
| 1 | 2 | 3 |
| I. | WATER |  |
|  | Water from lakes and dams | БДС ISO 5667-4 |
|  | Drinking water from treatment works and piped distribution systems | ISO 5667-5 |
|  | Water from rivers and streams | БДС ISO 5667-6 |
|  | Sea water | БДС ISO 5667-9 |
|  | Waste water | БДС ISO 5667-10 |
|  | Groundwater | БДС ISO 5667-11 |
|  | Water intended for microbiological analysis | БДС EN ISO 19458 |
| II. | Soils | БДС ISO 18400-102 |
| III. | Sludge from water treatment. Sludge/ Sediments from rivers, lakes and estuary areas. Sea sediments. | БДС EN ISO 5667-13 БДС ISO 5667-12 БДС EN ISO 5667-19 |

Flexible scope:

Implementing a new version of standards/documents or standards/documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by laboratory.

* Within the scope of its competence the laboratory shall be authorized to determine all the characteristics (column 3) according to the indicated testing methods (column 4) related to the group of products (column 2) upon completion of verification/ validation, provision of CPM/PM and calibrated technical equipment. The laboratory shall maintain a detailed and duly dated list of the products and the characteristics related to the products and characteristics mentioned in the accreditation scope.

References:

VLM № 17/2013* Sea water. Determination of content using inductively coupled plasma atomic emission spectroscopy (ICP-OES).

VLM № 34/2017* Water. Determination of content of polychlorinated biphenyls- Gas chromatography method.

VLM № 35/2017* Water. Determination of content of organochlorine pesticides and chlorobenzenes - Gas chromatography method.

VLM № 36/2017* Water. Determination of content of nitrogen-containing pesticides - Gas chromatography method and mass selective detection.

Fixed scope - References:

VLM № 01/2020 Determination of content of nitrates in water.

VLM № 02/2020 Determination of content of total nitrogen in waters and digest of water from wastes/eluates

VLM № 03/2015 Photometric method for determination of content of orthophosphates and total phosphorus in water and digest of water from wastes/eluates.

VLM № 07/2020 Determination of content of chromium (total, III, VI) in waters and digest of water from wastes/eluates.

VLM № 10/2019 Determination of content of extractable substances, petroleum products, fats and vegetable oils in water.

VLM № 18/2016 Water. Determination of content of mercury in drinking water, surface water, groundwater and waste water, digests of water wastes/ eluates using inductively coupled plasma atomic emission spectroscopy (ICP-OES).

VLM № 20/2013 Determination of content of manganese in aluminium-based coagulants using inductively coupled plasma atomic emission spectroscopy (ICP-OES).

VLM № 25/2020 Determination of content of sulphates/ sulphur from sulphates in sludge/ sediments, soil and wastes.

VLM № 29/2015 Photometric method for determination of content of cyanides in water and digest of water from wastes/eluates.

VLM № 30/2020	Determination of content of fluorides in waters and digest of water from wastes/eluates.

VLM № 31/2016 Photometric method for determination of content of total organic carbon in waters and digest of water from wastes/eluates.

VLM № 32/2017 Water quality. Determination of turbidity

VLM № 33/2017 Water. Photometric method for determination of content of sulphates.

VLM № 37/2019 Determination of water salinity.

VLM № 38/2019 Determination of content of bromates in water.

VLM № 39/2019 Determination of content of anionic detergents in water.

VLM № 40/2021 Determination of content of magnesium in waters-calculation method.