SCOPE 94 ЛИ

Sofia, 26.08.2025

AMEES OOD

WATER TESTING LABORATORY

Management and laboratory address:

6260 Radnevo, Stara Zagora Region, 3 Valentina Tereshkova Str.

To perform testing of:

| Type of the scope: Flexible for part of the scope* |  |  |  |
| --- | --- | --- | --- |
| № | Tested Products | Type of Test/Characteristic | Testing Methods (standard/ validated Method) |
| 1 | 2 | 3 | 4 |
| 1. | Surface water (1) Groundwater (2) Wastewater (3) | 1.1. Active reaction - pH | БДС EN ISO 10523 (1,2,3) |
|  |  | 1.2. Electrical conductivity | БДС EN 27888 (1,2,3) |
|  |  | 1.3. Colour | БДС EN ISO 7887 (1,2,3) |
|  |  | 1.4. Temperature | БДС 17.1.4.01, cl. 4 (1,2,3) |
|  |  | 1.5. Chemical Oxygen Demand (COD) | БДС ISO 15705 (1,2,3) |
|  |  | 1.6. Biochemical Oxygen Demand (BOD)5 | БДС EN ISO 5815-1 (1,2,3) |
|  |  | 1.7. Dissolved oxygen, Oxygen saturation | БДС EN ISO 5814 (1,2,3) |
|  |  | 1.8. Permanganate oxidisability | БДС 17.1.4.16 (1,2,3) |
|  |  | 1.9. Total dry matter, Insoluble substances, Soluble substances | БДС 17.1.4.04 (1,2,3) |
|  |  | 1.10. Insoluble (suspended) substances | БДС EN 872 (3) |
|  |  | 1.11. Dissolved sulphides and free hydrogen sulphide | БДС 17.1.4.09 (1,2,3) |
|  |  | 1.12. Sulphides | VLM 10/2012 (1,2,3) |
|  |  | 1.13. Alkalinity (total and constituent), Carbonates, Hydrogen carbonates | БДС EN ISO 9963-1 (1,2,3) |
|  |  | 1.14. General hardness | БДС ISO 6059 (1,2) |
|  |  | 1.15. Calcium | БДС ISO 6058 (1,2) |
|  |  | 1.16. Magnesium | VLM 19/2020 (1,2) |
|  |  | 1.17. Sulphate ions, Sulphates | БДС 17.1.4.03 (1,2,3) VLM 20/2024 (1,2,3) |
|  |  | 1.18. Free Chlorine, Total Chlorine | БДС EN ISO 7393-2 (1,2,3) VLM 15/2015 (1,2,3) |
|  |  | 1.19. Chlorides | БДС 17.1.4.24 (1,2,3) |
|  |  | 1.20. Phosphorus (total), Phosphates, Orthophosphates,Phosphates (as P) Phosphates (as P2O5) | БДС EN ISO 6878 (1,2,3) VLM 16/2015 (1,2,3) |
|  |  | 1.21. Ammonium nitrogen Ammonium ions, Ammonium | БДС ISO 7150-1 (1,2,3) БДС 17.1.4.10 (1,2,3) |
|  |  | 1.22. Nitrite nitrogen, Nitrites | БДС EN 26777 (1,2,3) |
|  |  | 1.23. Nitrate nitrogen, Nitrates | БДС ISO 7890-3 (1,2,3) БДС 17.1.4.12 (1,2,3) |
|  |  | 1.24. Nitrogen (total) | VLM 01/2010 (1,2,3) |
|  |  | 1.25. Adsorbable Organic Halides (AOH) | VLM 11/2015 (1,2,3) |
|  |  | 1.26. Anionic detergents (a-PAHs) | БДС EN 903 (1,2,3) |
|  |  | 1.27. Extractable lipids, Petroleum products, Total extractable substances. | VLM 02/2010(1,2,3) |
|  |  | 1.28. Iron (total), (dissolved) | БДС ISO 6332 (1,2,3) |
|  |  | 1.29. Chromium (total), (trivalent), (hexavalent) | БДС 17.1.4.17 (1,2,3) |
|  |  | 1.30. Copper | БДС 17.1.4.19 (1,2,3) |
|  |  | 1.31. Nickel | VLM 12/2015 (1,2,3) |
|  |  | 1.32. Manganese | VLM 13/2015 (1,2,3) |
|  |  | 1.33. Arsenic | VLM 14/2015 (1,2,3) |
|  |  | 1.34. Aluminium | БДС ISO 10566 (1,2) |
|  |  | 1.35. Zinc | VLM 03/2011 (1,2,3) |
|  |  | 1.36. Lead | VLM 04/2011 (1,2,3) |
|  |  | 1.37. Cadmium | VLM 05/2011 (1,2,3) |
|  |  | 1.38. Cobalt | VLM 06/2011 (1,2,3) |
|  |  | 1.39. Fluorides | VLM 07/2012 (1,2,3) |
|  |  | 1.40. Cyanides (total), (free) | VLM 08/2012 (1,2,3) |
|  |  | 1.41. Phenols | VLM 09/2012 (1,2,3) |
| 2. | Calcium carbonate (limestone), Dolomite | 2.1. Calcium Carbonate content | БДС EN ISO 3262-1, cl. 5.3 |
|  |  | 2.2. Magnesium carbonate content | БДС EN ISO 3262-1, cl. 5.3 |

To perform sampling of:

| Type of the scope: Flexible* |  |  |
| --- | --- | --- |
| № | Product | Sampling Method (standardized / internal validated) |
| 1 | 2 | 3 |
| 1. | Surface water | БДС ISO 5667-4 БДС EN ISO 5667-6/A11 |
| 2. | Groundwater | БДС ISO 5667-11 |
| 3. | Wastewater | БДС ISO 5667-10 |

Flexible scope: Implementing a new version of standards/documents or standards / documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by the laboratory.

Fixed scope reference:

VLM 01/2010 Water quality. Determination of total nitrogen. Method employing oxidative decomposition with peroxydisulphate and photometric determination using 2,6-dimethylphenol.

VLM 02/2010 Water quality. Determination of total extractable substances, extractable lipids, vegetable oils, and petroleum products.

VLM 03/2011 Water quality. Determination of zinc.

VLM 04/2011 Water quality. Determination of lead.

VLM 05/2011 Water quality. Determination of cadmium.

VLM 06/2011 Water quality. Determination of cobalt.

VLM 07/2012 Water quality. Determination of fluorides.

VLM 08/2012 Water quality. Determination of cyanides.

VLM 09/2012 Water quality. Determination of phenols.

VLM 10/2012 Water quality. Determination of sulphides.

VLM 11/2015 Water quality. Photometric determination of Absorbable Organic Halides (AOH).

VLM 12/2015 Water quality. Photometric determination of nickel in water.

VLM 13/2015 Water quality. Photometric determination of manganese in water.

VLM 14/2015 Water quality. Photometric Determination of Total Arsenic in Water.

VLM 15/2015 Water quality. Determination of free chlorine and total chlorine in water.

VLM 16/2015 Water quality. Determination of total phosphorus and orthophosphates.

VLM 19/2020 Water quality. Determination of magnesium.

VLM 20/2024 Water quality. Spectrophotometric determination of sulphates.