


    



ORDER

№ A 25

Sofia, 29.01.2025
[bookmark: bookmark0]
[bookmark: _Hlk63245839]
Inspection Body of type С at LOMBARD 2009 LTD, city of Varna

Management and office address:
9000 City of Varna, 24, Chinar Street, apt. 16



To perform inspection according to the following scope:

Scope type: flexible*
	№
	Field of inspection
	Type of inspection
	Parameter of Inspection/ Characteristic
	Test and Measurement Methods Used During Inspection, Inspection Procedure
	Regulations, Standards, Specifications, Schemes

	1
	2
	3
	4
	5
	6

	1.
	Artificial lighting in working and living environment 
	New and/or in operation sites/facilities
	Illuminance
	Methodological instructions for measurement and assessment of artificial lighting in buildings 40-85, Publishing House Standardization 1985
ПК 7-4
	Ordinance № 49 (SG. Issue 7/1976) 
Ordinance № 24 (SG, issue 95/2003) 
Ordinance № 9 (SG, issue 46/1994)
Ordinance № 3 (SG,issue15/2007)
Ordinance № 2 (SG,issue15/2007)
БДС EN 12464-1
TC

	2.
	Microclimate in working and living environment
	New and/or in operation sites/facilities
	- Temperature of the air;
- Relative humidity of the air;
- Speed of movement of the air.
	БДС 16686 
Ordinance № РД 07-3 (SG, issue 63/2014) ПК 7-3

	Ordinance № 9 (SG. issue 46/1994) 
Ordinance № 3 (SG. issue 15/2007) 
Ordinance № 24 (SG. issue 95/2003) 
Ordinance № 2 (SG, issue 15/2007)
БДС 14776 Ordinance № РД 07-3 (SG, issue 63/2014)
TC

	3.
	Noise in working environment 
	New and/or in operation sites/facilities
	- Daily level of noise exposition;
-Average weekly level of noise exposition;
-Peak level of sound pressure.
	БДС EN ISO 9612 
(БДС ISO 1999)
ПК 7-7
	Ordinance 6 
(SG. issue70/2005)
TC

	4.
	Noise in rooms of residential and public buildings
	New and/or in operation sites/facilities
	- Level of noise;
- Equivalent noise of level.
	БДС 15471 
ПК 7-7
	Ordinance № 6 (SG. issue 58/2006, Annex № 2, Table № 1)
Ordinance № 9 (SG, issue 46/1994) 
Ordinance № 24 (SG, issue 95/2003) 
Ordinance № 2 (SG, issue 15/2007)
TC

	5.
	Electrical installation and facilities up to 1000 V
	New and/or in operation sites/facilities
	Resistance of isolation
	БДС 1986 - 3.3 а), b), e), f)
ПК 7-9
	Ordinance № 3 (SG. issue 90 and 91/2004)
Ordinance № 16-116 (SG, issue 26/2008) 
TC

	6.
	Electrical installation and facilities up to 1000 V
	New and/or in operation sites/facilities
	Impedance of the contour "phase – protective conductor"
	ПК 7-2
Version 01/01 31.05.2013
	Ordinance № 3 (SG. issue 90 and 91/2004)
Ordinance № 16-116 (SG, issue 26/2008) 
TC

	7.
	Electrical installation and facilities up to 1000 V
	New and/or in operation sites/facilities
	Resistance of protective earthing systems
	ПК 7-6
Version 01/01 31.05.2013
	Ordinance № 3 (SG. issue 90 and 91/2004)
Ordinance № 16-116 (SG. issue 26/2008)
TC

	8.
	Electrical installation and facilities up to 1000 V
	New and/or in operation sites/facilities
	Resistance of lightning protection earthing systems
	ПК 7-8
Version 01/01 31.05.2013
	Ordinance № 4 (SG, issue 6/2011)
TC

	9.
	Electrical installation and facilities up to 1000 V
	New and/or in operation sites/facilities
	Circuit breakers: 
- Trigger current;
- Shutdown time;
  - Tangential voltage.
	ПК 7.1
Version 01/01 31.05.2013
	Ordinance № 3 (SG, issue 90 and 91/2004)
Ordinance № 16-116 (SG, issue 26/2008)
TC

	10.
	Ventilation installations
	New and/or in operation sites/facilities
	- Air flow rate;
- Air flow.
	БДС 12.3.018
ПК 7-5
	Ordinance № 15 (SG, issue 68/2005)
TC



*The introduction of a new version of standards/documents or standards/documents that replace them is allowed. An up-to-date list of standards/documents with their dated versions is provided by the Conformity Assessment Body.

Ordinance № 16-116 on technical operation of energy equipment (SG, issue 26/2008)
Ordinance № 3 for the design of electrical installations and power lines (SG, issue 90/2004 and issue 91/2004)
Ordinance № 4 on lightning protection of buildings, outdoor facilities and open spaces (SG, issue 6/2011)
Ordinance № 2 on health and hygiene requirements for computer and internet rooms for public use (SG, issue 15/2007)
Ordinance № 3 on the health requirements for kindergartens (SG, issue 15/2007)
Ordinance № 6 on the minimum requirements for ensuring the health and safety of workers from the risks related to noise exposure (SG, issue 70/2005)
Ordinance № 6 on environmental noise indicators, taking into account the degree of discomfort during the different parts of the day, the limit values ​​of environmental noise indicators, the methods for assessing the values ​​of noise indicators and the harmful effects of noise on public health (SG, issue 58/2006)
Ordinance № 9 on the health and hygiene requirements for the use of personal computers in the teaching and extracurricular activities of students (SG, issue 46/1994)
Ordinance № 24 on the sanitary and hygienic requirements for discos (SG, issue 95/2003)
Ordinance № 49 on artificial lighting of buildings (SG, issue 7/1976)
Ordinance № РД-07-3 on the minimum requirements for the workplace microclimate (SG, issue 63/2014)
Ordinance 15 on the technical rules and regulations for the design, construction and operation of sites and facilities for the production, transmission and distribution of heat (SG, issue 68/2005)
Methodical instructions for measurement and evaluation of artificial lighting in buildings 40-85, Publishing House Standardization 1985
TC Technical Specification of the customer.
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