ORDER

№ A 25

Sofia, 29.01.2025

Inspection Body of type С at LOMBARD 2009 LTD, city of Varna

Management and office address:

9000 City of Varna, 24, Chinar Street, apt. 16

To perform inspection according to the following scope:

Scope type: flexible*

| № | Field of inspection | Type of inspection | Parameter of Inspection/ Characteristic | Test and Measurement Methods Used During Inspection, Inspection Procedure | Regulations, Standards, Specifications, Schemes |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1. | Artificial lighting in working and living environment | New and/or in operation sites/facilities | Illuminance | Methodological instructions for measurement and assessment of artificial lighting in buildings 40-85, Publishing House Standardization 1985 ПК 7-4 | Ordinance № 49 (SG. Issue 7/1976) Ordinance № 24 (SG, issue 95/2003) Ordinance № 9 (SG, issue 46/1994) Ordinance № 3 (SG,issue15/2007) Ordinance № 2 (SG,issue15/2007) БДС EN 12464-1 TC |
| 2. | Microclimate in working and living environment | New and/or in operation sites/facilities | - Temperature of the air; - Relative humidity of the air; - Speed of movement of the air. | БДС 16686 Ordinance № РД 07-3 (SG, issue 63/2014) ПК 7-3 | Ordinance № 9 (SG. issue 46/1994) Ordinance № 3 (SG. issue 15/2007) Ordinance № 24 (SG. issue 95/2003) Ordinance № 2 (SG, issue 15/2007) БДС 14776 Ordinance № РД 07-3 (SG, issue 63/2014) TC |
| 3. | Noise in working environment | New and/or in operation sites/facilities | - Daily level of noise exposition; -Average weekly level of noise exposition; -Peak level of sound pressure. | БДС EN ISO 9612 (БДС ISO 1999) ПК 7-7 | Ordinance 6 (SG. issue70/2005) TC |
| 4. | Noise in rooms of residential and public buildings | New and/or in operation sites/facilities | - Level of noise; - Equivalent noise of level. | БДС 15471 ПК 7-7 | Ordinance № 6 (SG. issue 58/2006, Annex № 2, Table № 1) Ordinance № 9 (SG, issue 46/1994) Ordinance № 24 (SG, issue 95/2003) Ordinance № 2 (SG, issue 15/2007) TC |
| 5. | Electrical installation and facilities up to 1000 V | New and/or in operation sites/facilities | Resistance of isolation | БДС 1986 - 3.3 а), b), e), f) ПК 7-9 | Ordinance № 3 (SG. issue 90 and 91/2004) Ordinance № 16-116 (SG, issue 26/2008) TC |
| 6. | Electrical installation and facilities up to 1000 V | New and/or in operation sites/facilities | Impedance of the contour "phase – protective conductor" | ПК 7-2 Version 01/01 31.05.2013 | Ordinance № 3 (SG. issue 90 and 91/2004) Ordinance № 16-116 (SG, issue 26/2008) TC |
| 7. | Electrical installation and facilities up to 1000 V | New and/or in operation sites/facilities | Resistance of protective earthing systems | ПК 7-6 Version 01/01 31.05.2013 | Ordinance № 3 (SG. issue 90 and 91/2004) Ordinance № 16-116 (SG. issue 26/2008) TC |
| 8. | Electrical installation and facilities up to 1000 V | New and/or in operation sites/facilities | Resistance of lightning protection earthing systems | ПК 7-8 Version 01/01 31.05.2013 | Ordinance № 4 (SG, issue 6/2011) TC |
| 9. | Electrical installation and facilities up to 1000 V | New and/or in operation sites/facilities | Circuit breakers: - Trigger current; - Shutdown time; - Tangential voltage. | ПК 7.1 Version 01/01 31.05.2013 | Ordinance № 3 (SG, issue 90 and 91/2004) Ordinance № 16-116 (SG, issue 26/2008) TC |
| 10. | Ventilation installations | New and/or in operation sites/facilities | - Air flow rate; - Air flow. | БДС 12.3.018 ПК 7-5 | Ordinance № 15 (SG, issue 68/2005) TC |

*The introduction of a new version of standards/documents or standards/documents that replace them is allowed. An up-to-date list of standards/documents with their dated versions is provided by the Conformity Assessment Body.

Ordinance № 16-116 on technical operation of energy equipment (SG, issue 26/2008)

Ordinance № 3 for the design of electrical installations and power lines (SG, issue 90/2004 and issue 91/2004)

Ordinance № 4 on lightning protection of buildings, outdoor facilities and open spaces (SG, issue 6/2011)

Ordinance № 2 on health and hygiene requirements for computer and internet rooms for public use (SG, issue 15/2007)

Ordinance № 3 on the health requirements for kindergartens (SG, issue 15/2007)

Ordinance № 6 on the minimum requirements for ensuring the health and safety of workers from the risks related to noise exposure (SG, issue 70/2005)

Ordinance № 6 on environmental noise indicators, taking into account the degree of discomfort during the different parts of the day, the limit values ​​of environmental noise indicators, the methods for assessing the values ​​of noise indicators and the harmful effects of noise on public health (SG, issue 58/2006)

Ordinance № 9 on the health and hygiene requirements for the use of personal computers in the teaching and extracurricular activities of students (SG, issue 46/1994)

Ordinance № 24 on the sanitary and hygienic requirements for discos (SG, issue 95/2003)

Ordinance № 49 on artificial lighting of buildings (SG, issue 7/1976)

Ordinance № РД-07-3 on the minimum requirements for the workplace microclimate (SG, issue 63/2014)

Ordinance 15 on the technical rules and regulations for the design, construction and operation of sites and facilities for the production, transmission and distribution of heat (SG, issue 68/2005)

Methodical instructions for measurement and evaluation of artificial lighting in buildings 40-85, Publishing House Standardization 1985

TC Technical Specification of the customer.