




INSPECTION BODY OF TYPE C 
AT OKTAVA EOOD, PLOVDIV

Registered office: 4101 Kuklen, Plovdiv Region, 8 Yavor Str.
Office address: 4023 Plovdiv, Trakiya District, 17 Maestro G. Atanasov Str.
  To perform inspection according to the following scope:
	Scope type: flexible*

	№
	Field of inspection
	Type of inspection
	Parameter of Inspection/ Characteristic
	Test and Measurement Methods Used During Inspection, Inspection Procedure
	Regulations, Standards, Specifications, Schemes

	1
	2
	3
	4
	5
	6

	
1
	Microclimate in work and living environment
	of new and / or in operating facilities and sites
	Air temperature;
Relative humidity;
Air velocity
	БДС 16686
OKC/ 12-ПР/04 - РПК
Ordinance №. RD-07-3,
(SG № 63/2014)
	БДС  14776
Ordinance № 9, (SG № 46/
1994)
Ordinance № 3,
(SG № 15/2007) Ordinance
№ RD-07-3,
(SG № 63/2014)
Technical specification

	
2
	Artificial lighting	in work and living environment 
	of new and/ or in operating facilities and sites
	Lighting 
	Methodical instructions for measurement of artificial lighting in buildings 40-85, Standardization, 1985,
OKC/12-ПР/06-РПК
	БДС EN 12464-1
Ordinance № 49,
(SG № 7/1976)
Ordinance № 9,
(SG №46/1994) 
Ordinance № 2,
(SG № 15/2007)
Ordinance № 3,
Ordinance № Iз-1971
(SG № 96/2009)
Technical specification)

	
3
	Ventilation installations 
	of new and / or in operating facilities and sites
	Air flow rate Air flow
	БДС 12.3.018
OKC/12-ПР/14- РПК
	Ordinance № 15,
(SG № 68/2005)
Technical specification

	4
	Noise in working environment 
	of new and / or	in operating facilities and sites
	Daily noise exposure level; Average weekly noise exposure level.
Noise	level, Equivalent noise level;
Peak sound pressure level
	БДС EN ISO 9612
(БДС ISO 1999)
БДС 15471
OKC/12-ПР/05-РПК
	Ordinance № 6,
(SG № 70/2005)
Ordinance № 9,
(SG № 46/1994)
Ordinance № 7
(SG № 88/1999)
Technical specification

	
5
	Noise	in residential and public buildings 
	of new and /
or	in operating facilities and sites
	Noise level;
Equivalent noise level
	БДС 15471
0KС/12-ПР/05-РПК
	Ordinance № 6,
(SG № 58/2006),
Table № 1 of Annex
№.2 ,
Ordinance № 9.
(SG № 46/1994)
Ordinance № 4, (SG
№ 6/2007)
Ordinance № 6,
(SG № 16/1977)
Technical specification

	
6
	Environmental noise — various territories, and planning zones within and outside urbanized territories t

	of new and /
or in operating facilities and sites
	Equivalent noise level
	БДС 15471
OKC/12-ПР/05- РПК 
	Ordinance № 6,
(SG № 58/2006),
Table №2 of Annex № 2
Technical specification 


	
7
	





Electrical installations equipment voltage up to 1000V 


	of new and /
or	in operating facilities and sites
	Impedance of the
Circuit "Phaseprotective conductor"
	Ordinance №
RD-0220-1,
(SG № 53/2018)
OKC/12-ПР/09- РПК
	Ordinance № 16-116
(SG Nr 26/2008)
Ordinance № 3, (SG № 90, and №
91 /2004)
Ordinance № 1
SG № 46/2010)
Technical specificatio

	
8
	
	of new and /
or	in operating facilities and sites
	Circuit breakers: trigger current, contact voltage, shutdown time, resistance to earth of the protective earthing switch
	Ordinance № RD-02-20-1,
(SG № 53/2018)
OKC/12-ПР/10- РПК 
	Ordinance № 3,
(SG № 90/2004)
Ordinance № 16-116 (SG № 26/2008)
Ordinance № 1
46/2010) Ordinance № RD 02-201,
(SG № 53/2018) Technical specification

	
9
	









Electrical installations equipment voltage up to 1000V 


	of new and/ or	in operating facilities and sites
	Resistance of lightning protection earthing systems;
	Ordinance Nr RD- 02-20-1,
(SG № 53/2018)
0Kc/12-np/12- priH
	Ordinance № 16-116
(SG № 26/2008)
Ordinance Nr 4
SG № 6/2011)
Ordinance № PD-02-20-1
SG № 53/2018) Technical specification

	
10
	
	of new and / or	in operating belittles and sites
	Resistance of protective ear-thing systems;
	Ordinance № RD-02-20-1,
(SG №.53/2018)
OKC/12-ПР/12- РПК
	Ordinance № 3,
(SG Nr 90/2004)
Ordinance №16-116 (SG №26/2008)
Ordinance №1 
(SG №46/2010
Ordinance - PD-02-20-1
SG № 53/2018) Technical specification

	
11
	
	of new and / or	in operating facilities and sites
	Insulation resistance;
	Ordinance № RD -02-20-1,
(SG №53/2018)
 БДС 1986,
i. 3.3, a, b, d and e.
 OKC/12-ПР/11-РПК
	Ordinance № 3, 
(SG № 90/2004)
Ordinance № 16-116
26/2008) 
Ordinance № RD-0220-1,
(SG 53/2018)
Technical specification


* The introduction of a new version of standards/documents or standards/documents that replace them is allowed. An up-to-date list of standards/documents with their dated versions is provided by the Conformity assessment bodies.
Ordinance № 9 on the health and hygiene requirements for the use of personal computers in the education and extracurricular activities of students (SG № 46/1994);
Ordinance № 3 on the health requirements for kindergartens (SG № 15/2007);
Ordinance № RD-07-03 on the minimum requirements for the microclimate of workplaces (SG № 63/2014); Ordinance № 2 on the health requirements for the computer and the internet clubs for public use (SG № 15/2007);
Ordinance № 49 on artificial lighting of buildings (SG № 7/1976);
Ordinance № 6 on the minimum requirements for ensuring the health and safety of workers in case of risks related to noise exposure (SG № 70/2005)
Ordinance № 7 on the minimum requirements for healthy and safe working conditions at the workplaces and when using work equipment (SG № 88/1999);
Ordinance № 6 on environmental noise indicators, taking into account the degree of discomfort during different parts of the day, the limit values of environmental noise indicators and those in the residential and public buildings, in the zones and territories, purposed for residential buildings, the recreation zones and mixed-used areas, the methods for assessing the values of noise indicators and the harmful effects of noise on the health of the population (SG № 58 /2006);
Ordinance № 15 on technical rules and norms for design, construction and operation of the sites and facilities for production, transmission and distribution of heat energy (SG № 68/2005);
Ordinance № 16-116 for technical operation of the energy equipment (SG № 26/2008);
Ordinance № 3 on the construction of electrical appliances and power lines (SG № 90 and SG № 91/2004); 
Ordinance № 4 on the lightning protection of buildings, external facilities and open spaces (SG № 45/2006);
Ordinance № 1 for design, construction and maintenance of low voltage electrical installations in buildings (SG № 46/2010);
Ordinance № RD-02-20-1 on technical rules and norms for control and acceptance of electrical installation works (SG № 53/2018);
Ordinance № 6 on ensuring a normal acoustic environment in residential and public buildings and places (SG [image: ]№ 16/1977)
Ordinance № 4 on limitation of harmful noise by sound insulation of buildings during their design and on the rules and norms for the execution of constructions with regard to the noise emitted during construction (SG № 6/2007);
Ordinance № Iз -1971 on construction-technical rules and norms for ensuring fire safety (SG № 96/2009);
TC -- Technical Specification
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