SCOPE 5 МЛ

Sofia, 20.01.2025

OF INDEPENDENT MEDICAL DIAGNOSTIC LABORATORY RAMUS OOD

MEDICAL LABORATORY

Management address: 1527, Sofia, 2-4 Angista Str.

Laboratory address: 1592, Sofia, Iskar District, 26 Kapitan Dimitar Spisarevski Str.

To perform testing of:

| Type of the scope: Fixed |  |  |  |
| --- | --- | --- | --- |
| Tested products |  | Type of test / characteristic | Testing methods ### (standard / validated method) |
|  | 1 | 2 | ### 3 |
| Area(s) of activity of the medical laboratory: Virology |  |  |  |
| Blood |  | Quantification of hepatitis B (determination of HBV DNA viral load). | OI-02-SOP-019-ML Alinity m HBV AMP Kit Alinity m, сер. № M00973, Abbott Molecular |
| Blood |  | Quantification of hepatitis C (HCV RNA viral load determination). | OI-03-SOP-019-ML Alinity m HCV AMP Kit Alinity m, сер. № M00973, Abbott Molecular |
| Blood |  | Determination of hepatitis C (HCV) genotype and/or subtype | OI-04-SOP-019-ML, HCV Genotyping Kit, Montania 4896 Real- Time PCR Instruments & Automatic Extractor UNIO B24 Extraction System |

References:

| Code/Validation Date | Procedure Name | Procedure Type |
| --- | --- | --- |
| OI-02-SOP-019-ML / 20.06.2022 | Quantification of HBV DNA in clinical materials | Operating internal documented procedure developed in accordance with manufacturer’s instruction and inserts to kit packaging |
| OI-03-SOP-019-ML / 28.09.2022 | Quantification of HCV RNA in clinical materials |  |
| OI-04-SOP-019-ML / 03.11.2023 | Determination of HCV genotype and/or subtype |  |