SCOPE 5 МЛ

Sofia, 03.04.2026

INDEPENDENT MEDICAL-DIAGNOSTIC LABORATORY - RAMUS LTD.

MEDICAL LABORATORY

AT THE INDEPENDENT MEDICAL-DIAGNOSTIC LABORATORY - RAMUS LTD.

Management address: 1527, Sofia, Oborishte District, 2-4 Angista Str.

Laboratory address: 1592, Sofia, Iskar District, 26 Kapitan Dimitar Spisarevski Str.

To perform testing of:

| Type of the scope: Fixed |  |  |  |
| --- | --- | --- | --- |
| № | Tested products | Type of test/Characteristic | Test methods/analytical procedures and principle/equipment2 |
| 1 | 2 | 3 | 4 |
| Area(s) of activity of the medical laboratory: Hematology, Coagulation, Biochemistry, Metabolites, Immunology, Hormones, Tumor markers, Infectious disease markers, Virology, DNA isolation, Protein electrophoresis, Urinе analysis, Other tests |  |  |  |
| Hematology |  |  |  |
| 1. | Blood | 1.1 CBC | OI-08-SOP-017-ML, Alinity H |
|  |  | 1.1.1 HGB |  |
|  |  | 1.1.2 RBC abs count |  |
|  |  | 1.1.3 HCT |  |
|  |  | 1.1.4 MCV |  |
|  |  | 1.1.5 MCH |  |
|  |  | 1.1.6 MCHC |  |
|  |  | 1.1.7 RDW-CV |  |
|  |  | 1.1.8 PLT abs count |  |
|  |  | 1.1.9 MPV |  |
|  |  | 1.1.10 PDW |  |
|  |  | 1.1.11 WBC abs count |  |
|  |  | 1.2 Automated differential WBC |  |
|  |  | 1.2.1 NEU abs count |  |
|  |  | 1.2.2 NEU % |  |
|  |  | 1.2.3 BASO abs count |  |
|  |  | 1.2.4 BASO % |  |
|  |  | 1.2.5 EO abs count |  |
|  |  | 1.2.6 EO % |  |
|  |  | 1.2.7 MO abs count |  |
|  |  | 1.2.8 MO % |  |
|  |  | 1.2.9 LYM abs count |  |
|  |  | 1.2.10 LYM % |  |
| Coagulation |  |  |  |
| 2. | Plasma | 2.1 PT sec | OI-04-SOP-017-ML, ACL TOP 350 cts |
|  |  | 2.1.1 PT % |  |
|  |  | 2.1.2 PT INR |  |
|  |  | 2.2 aPTT | OI-01-SOP-017-ML, ACL TOP 350 cts |
|  |  | 2.3 Fibrinogen (Clauss method) | OI-02-SOP-017-ML, ACL TOP 350 cts |
|  |  | 2.4 D-dimer | OI-05-SOP-017-ML, ACL TOP 350 cts |
| Biochemistry |  |  |  |
| 3. | Blood | 3.1 HbA1c | OI-35-SOP-028-ML, Varian II Turbo |
|  | Serum | 3.2 Glucose | OI-13-SOP-028-ML, Alinity c |
|  |  | 3.3 Total protein | OI-12-SOP-028-ML, Alinity c |
|  |  | 3.4 Albumin (electrophoresis %) | OI-04-SOP-028-ML, Alinity c |
|  |  | 3.5 Creatinine (Jaffe method) | OI-09-SOP-028-ML, Alinity c |
|  |  | 3.6 Urea | OI-11-SOP-028-ML, Alinity c |
|  |  | 3.7 Uric acid | OI-20-SOP-028-ML, Alinity c |
|  |  | 3.8 Total cholesterol | OI-24-SOP-028-ML, Alinity c |
|  |  | 3.9 HDL-cholesterol | OI-27-SOP-028-ML, Alinity c |
|  |  | 3.10 Direct LDL-cholesterol | OI-02-SOP-028-ML, Alinity c |
|  |  | 3.11 Triglycerides | OI-15-SOP-028-ML, Alinity c |
|  |  | 3.12 Total bilirubin | OI-17-SOP-028-ML, Alinity c |
|  |  | 3.13 Direct=conjugated bilirubin | OI-18-SOP-028-ML, Alinity c |
|  |  | 3.14 ASAT | OI-08-SOP-028-ML, Alinity c |
|  |  | 3.15 ALAT | OI-03-SOP-028-ML, Alinity c |
|  |  | 3.16 GGT | OI-01-SOP-028-ML, Alinity c |
|  |  | 3.17 Alkaline phosphatase=ALP | OI-05-SOP-028-ML, Alinity c |
|  |  | 3.18 Creatinkinase=CK | OI-19-SOP-028-ML, Alinity c |
|  |  | 3.19 Lactate dehydrogenase=LDH | OI-22-SOP-028-ML, Alinity c |
|  |  | 3.20 Potassium=K | OI-29-SOP-028-ML, Alinity c |
|  |  | 3.21 Sodium=Na | OI-29-SOP-028-ML, Alinity c |
|  |  | 3.22 Chloride=Cl | OI-29-SOP-028-ML, Alinity c |
|  |  | 3.23 Calcium=Ca | OI-23-SOP-028-ML, Alinity c |
|  |  | 3.24 Inorganic phosphorus=P | OI-06-SOP-028-ML, Alinity c |
|  |  | 3.25 Magnesium=Mg | OI-30-SOP-028-ML, Alinity c |
|  |  | 3.26 Iron=Fe | OI-28-SOP-028-ML, Alinity c |
|  |  | 3.27 ТIBC | OI-21-SOP-028-ML, Alinity c |
|  |  | 3.28 Cholinesterase | OI-25-SOP-028-ML, Alinity c |
|  |  | 3.29 Lipoprotein (a) | OI-26-SOP-028-ML, Alinity c |
|  |  | 3.30 Apolipotrotein B | OI-14-SOP-028-ML, Alinity c |
|  |  | 3.31 Apolipoprotein A1 | OI-14-SOP-028-ML, Alinity c |
|  |  | 3.32 Lithium=Li | OI-33-SOP-028-ML, EASY LYTE- ion selective analyzer |
|  |  | 3.33 Amylase | OI-07-SOP-028-ML, Alinity c |
| Hormones |  |  |  |
| 4. | Serum | 4.1 Thyroid hormones |  |
|  |  | 4.1.1 TSH | OI-33-SOP-026-ML, Alinity i |
|  |  | 4.1.2 fT3 | OI-12-SOP-026-ML, Alinity i |
|  |  | 4.1.3 fT4 | OI-13-SOP-026-ML, Alinity i |
|  |  | 4.1.4 Anti-Tg Ab | OI-05-SOP-026-ML, Alinity i |
|  |  | 4.1.5 Anti-TPO Ab | OI-06-SOP-026-ML, Alinity i |
|  |  | 4.1.6 Thyreoglobulin | OI-28-SOP-026-ML, Alinity i |
|  |  | 4.1.7 Anti-TSHR Ab | OI-30-SOP-026-ML, Alinity i |
|  |  | 4.2 Sex hormones |  |
|  |  | 4.2.1 Progesterone | OI-24-SOP-026-ML, Alinity i |
|  |  | 4.2.2. LH | OI-20-SOP-026-ML, Alinity i |
|  |  | 4.2.3 FSH | OI-11-SOP-026-ML, Alinity i |
|  |  | 4.2.4 Estradiol=E2 | OI-10-SOP-026-ML, Alinity i |
|  |  | 4.2.5 Total testosterone | OI-27-SOP-026-ML, Alinity i |
|  |  | 4.2.6 AMH | OI-31-SOP-026-ML, MAGLUMI X3 |
|  |  | 4.2.7 Total beta-hCG | OI-29-SOP-026-ML, Alinity i |
|  |  | 4.3 Adrenal hormones |  |
|  |  | 4.3.1 Cortisol | OI-08-SOP-026-ML, Alinity i |
| Tumor markers |  |  |  |
| 5. | Serum | 5.1 Total PSA | OI-17-SOP-027-ML, Alinity i |
|  |  | 5.2 Free PSA | OI-03-SOP-027-ML, Alinity i |
|  |  | 5.3 CEA | OI-16-SOP-027-ML, Alinity i |
|  |  | 5.4 CA 125 | OI-15-SOP-027-ML, Alinity i |
|  |  | 5.5 CA 15-3 | OI-12-SOP-027-ML, Alinity i |
|  |  | 5.6 CA 19-9 | OI-13-SOP-027-ML, Alinity i |
|  |  | 5.7 AFP | OI-09-SOP-027-ML, Alinity i |
|  |  | 5.8 SCC Ag | OI-07-SOP-027-ML, Alinity i |
|  |  | 5.9 Beta2-microglobulin | OI-08-SOP-027-ML, Alinity c |
|  |  | 5.10 NSE | OI-04-SOP-027-ML, Alinity i |
|  |  | 5.11 Cyfra 21-1 | OI-02-SOP-027-ML, Alinity i |
|  |  | 5.12 CA 72-4 | OI-14-SOP-027-ML, MAGLUMI X3 |
|  |  | 5.13 S100 | OI-06-SOP-027-ML, Liaison XL |
|  |  | 5.14 Human epididymis protein=HE4 | OI-11-SOP-027-ML, Alinity i |
| Metabolites |  |  |  |
| 6. | Serum | 6.1 Folic acid=Vitamin B9 | OI-32-SOP-028-ML, Alinity i |
|  |  | 6.2 Vitamin B12=Cobalamin | OI-31-SOP-028-ML, Alinity i |
|  |  | 6.3 25(OH)-Vitamin D | OI-34-SOP-026-ML, Alinity i |
|  |  | 6.4 Total L-homocysteine | OI-35-SOP-026-ML, Alinity i |
|  |  | 6.5 Transferrin | OI-34-SOP-028-ML, Alinity c |
| Immunology |  |  |  |
| 7. | Serum | 7.1. Total IgA | OI-06-SOP-021-ML, Alinity c |
|  |  | 7.2 Total IgM | OI-06-SOP-021-ML, Alinity c |
|  |  | 7.3 Total IgG | OI-06-SOP-021-ML, Alinity c |
|  |  | 7.4 Anti-nuclear Ab=Ana-Hep-2 screen | OI-14-SOP-021-ML, iPro |
| Infectious disease markers |  |  |  |
| 8. | Serum | 8.1 Borrelia IgM | OI-22-SOP-019-ML, Liaison XL |
|  |  | 8.2 Borrelia IgG | OI-23-SOP-019-ML, Liaison XL |
|  |  | 8.3 Treponema pallidum IgM | OI-24-SOP-019-ML, StatFax 4700 |
|  |  | 8.4 Treponema pallidum RPR (rapid test) | OI-25-SOP-019-ML |
|  |  | 8.5 Treponema pallidum IgM (Euroline-WB) | OI-26-SOP-019-ML, EuroBLOTOne |
|  |  | 8.6 Treponema pallidum IgG (Euroline-WB) | OI-27-SOP-019-ML, EuroBLOTOne |
|  |  | 8.7 Treponema pallidum TPHA | OI-28-SOP-019-ML |
|  |  | 8.8 Treponema pallidum Ab (CMIA) | OI-29-SOP-019-ML, Alinity i |
|  |  | 8.9 Borrelia IgM (Eurolineblot) | OI-30-SOP-019-ML, EuroBLOTOne |
|  |  | 8.10 Borrelia IgG (Eurolineblot) | OI-31-SOP-019-ML, EuroBLOTOne |
| Virology |  |  |  |
| 9. | Serum | 9.1 Hepatitis B virus surface Ag=HBs Ag (qualitative) | OI-12-SOP-019-ML, Alinity i |
|  |  | 9.2 Hepatitis B virus surface Ab=HBs Ab | OI-13-SOP-019-ML, Alinity i |
|  | Plasma | 9.3 Hepatitis B Quantitative (HBV DNA Viral Load Determination) | OI-02-SOP-019-ML, Alinity m |
|  | Serum | 9.4 Hepatitis C virus Ab | OI-14-SOP-019-ML, Alinity i |
|  |  | 9.5 Hepatitis B virus core Ab=HBc Ab | OI-15-SOP-019-ML, Alinity i |
|  | Plasma | 9.6 Hepatitis C Quantitative (HCV RNA viral load determination) | OI-03-SOP-019-ML, Alinity m |
|  | Plasma | 9.7 Hepatitis C (HCV) genotype and/or subtype determination | OI-04-SOP-019-ML, Montania 4896 Real-Time PCR Instrument& UNIO B24 Extraction System |
|  | Serum | 9.8 HIV Type 1 and 2 (p24Ag+Ab) | OI-16-SOP-019-ML, Alinity i |
|  |  | 9.9 Epstein-Barr virus VCA-IgM) | OI-17-SOP-019-ML, Alinity i |
|  |  | 9.10 Epstein-Barr virus VCA-IgG | OI-18-SOP-019-ML, Alinity i |
|  |  | 9.11 Epstein-Barr virus EBNA-1-IgG | OI-19-SOP-019-ML, Alegria |
|  |  | 9.12 Epstein-Barr virus IgM | OI-20-SOP-019-ML, EuroBLOTOne |
|  |  | 9.13 Epstein-Barr virus IgG | OI-21-SOP-019-ML, EuroBLOTOne |
| RT-PCR |  |  |  |
| 10. | Сervical secretion, fluid cytology, ejaculate, urethral secretion, wound secretion | 10.1 High risk human papillomavirus/HPV DNA | OI-32-SOP-019-ML, Alinity m |
|  |  | HPV 16 DNA |  |
|  |  | HPV 18 DNA |  |
|  |  | HPV 45 DNA |  |
|  |  | HPV 31, 33, 52, 58 DNA |  |
|  |  | HPV 35, 39, 51, 56, 59, 66, 68 DNA |  |
|  | Сervical secretion, fluid cytology, ejaculate, urethral secretion, wound secretion | 10.2 Low risk Human papillomavirus/HPV DNA | OI-33-SOP-019-ML, DT-Prime & UNIO B24 Extraction System |
|  |  | HPV 6 DNA |  |
|  |  | HPV 11 DNA |  |
|  | Blood | 10.3 Thrombophilia PCR genotyping/Factor V: 1691 G>A (Arg506Gln) | SOP-029-ML, DT-Prime & UNIO B24 Extraction System |
|  | Biopsy material, tissue | 10.4 K-Ras | SOP-030-ML, DT-Prime & UNIO B24 Extraction System |
|  |  | 10.5 PIK3CA | SOP-031-ML, DT-Prime & UNIO B24 Extraction System |
| Capillary proteine electrophoresis |  |  |  |
| 11. | Serum | Albumin | SOP-018-ML, Capillarys Sebia 2 flex piercing |
|  |  | Alpha-1 globulins |  |
|  |  | Alpha-2 globulins |  |
|  |  | Beta globulins |  |
|  |  | Beta-1 globulins |  |
|  |  | Beta-2 globulins |  |
| Urine analysis |  |  |  |
| 12. | Urine | pH (spot urine) | SOP-020-ML, Al-Libre Urinalysis Systems/ URIT-500 B |
|  |  | Specific gravity (spot urine) |  |
|  |  | Billirubin (spot urine) |  |
|  |  | Protein (spot urine) |  |
|  |  | Glucose (spot urine) |  |
|  |  | Urobillinogen (spot urine) |  |
|  |  | Ketones (spot urine) |  |
|  |  | Nitrites (spot urine) |  |
|  |  | Hemoglobin (spot urine) |  |
|  |  | Leucocytes (spot urine) |  |
| Other tests |  |  |  |
| 13. | Faeces | 13.1 Calprotectin (quantitative, faeces) | SOP-022-ML, Liaison XL |
|  |  | 13.2 Pancreatic elastase 1 (faeces) | SOP-023-ML, Liaison XL |

To perform sampling (samples) from:

| Type of the scope: Fixed |  |  |
| --- | --- | --- |
| № | Product Name | Sampling Method (Sampling)/ Preanalytical Procedures and Principle/Equipment 2 |
| 1 | 2 | 3 |
| 1. | Capillary blood | SOP-004-ML |
| 2. | Venous blood |  |

References:

Hematology

- OI-08-SOP-017-ML Determination of PKC in biological fluids with the ALINITY h analyzer

Coagulation

- OI-04-SOP-017-ML Determination of Prothrombin Time with ACL TOP 350 cts analyzer

- OI-01-SOP-017-ML aPTT determination with ACL TOP 350 cts analyzer

- OI-02-SOP-017-ML Determination of Fibrinogen with ACL TOP 350 cts analyzer

- OI-05-SOP-017-ML D-dimer determination with ACL TOP 350 cts analyzer

Biochemistry

- OI-35-SOP-028-ML Determination of Glycated Hemoglobin/HbA1c with Varian II Turbo Analyzer

- OI-13-SOP-028-ML Quantitative measurement of GLUCOSE with the Alinity c analyzer

- OI-12-SOP-028-ML Quantitative measurement of Total Protein with the Alinity c analyzer

- OI-04-SOP-028-ML Determination of ALBUMIN with the Alinity c analyzer

- OI-09-SOP-028-ML Determination of CREATININE with Alinity c analyzer

- OI-11-SOP-028-ML Quantitative measurement of UREA with Alinity c analyzer

- OI-20-SOP-028-ML Determination of Uric Acid 2 with Alinity c analyzer

- OI-24-SOP-028-ML Determination of Cholesterol with Alinity c analyzer

- OI-27-SOP-028-ML Determination of Ultra HDL with Alinity c analyzer

- OI-02-SOP-028-ML Determination of LDL-cholesterol with the Alinity c analyzer

- OI-15-SOP-028-ML Quantitative measurement of TRIGLYCERIDES with the Alinity c analyzer

- OI-17-SOP-028-ML Determination of Total Bilirubin with Alinity c analyzer

- OI-18-SOP-028-ML Determination of Direct Bilirubin with Alinity c analyzer

- OI-08-SOP-028-ML Determination of ASAT with the Alinity c analyzer

- OI-03-SOP-028-ML Determination of ALAT with the Alinity c analyzer

- OI-01-SOP-028-ML Determination of GGT the Alinity c analyzer

- OI-05-SOP-028-ML Determination of ALKALINE PHOSPHATASE with Alinity c analyzer

- OI-19-SOP-028-ML Determination of Creatine kinase  with Alinity c  analyzer.

- OI-22-SOP-028-ML Determination of Lactate Dehydrogenase  with Alinity c  analyzer

- OI-07-SOP-028-ML Determination of AMYLASE with Alinity c analyzer

- OI-29-SOP-028-ML Determination of Na, К и CL in biological fluids with Alinity c  analyzer-ICT Sample Diluent (indirect method)

- OI-23-SOP-028-ML Determination of Calcium  with Alinity c  analyzer

- OI-06-SOP-028-ML Determination of phosphorus   with Alinity c  analyzer

- OI-30-SOP-028-ML Determination of magnesium  with Alinity c  analyzer

- OI-28-SOP-028-ML Determination of Iron  with Alinity c  analyzer

- OI-21-SOP-028-ML Determination of Total Iron Binding Capacity (TIBC) with Alinity c Analyzer

- OI-25-SOP-028-ML Determination of Cholinesterase   with Alinity c  analyzer

- OI-26-SOP-028-ML Determination of Lp (a) with Alinity c analyzer

- OI-14-SOP-028-ML Quantitative measurement of ApoA and ApoB with the Alinity c analyzer

- OI-33-SOP-028-ML Determination of Lithium with EASY LYTE analyzer

Hormones

Thyroid hormones

- OI-33-SOP-026-ML  Determination of TSH  with the Alinity i analyzer

- OI -12-SOP-026-ML Determination of FREE T3  with the Alinity i analyzer

- OI -13-SOP-026-ML Determination of FREE T4  with the Alinity i analyzer

- OI -05-SOP-026-ML Determination of ANTI-TG with the Alinity i analyzer

- OI -06-SOP-026-ML Determination of ANTI-TPO  with the Alinity i analyzer

- OI -28-SOP-026-ML Determination of TG with the Alinity i analyzer

- OI -30-SOP-026-ML Determination of Anti-TSHR Ab, TRAB with the Alinity i analyzer

Sex hormones

- OI-24-SOP-026-ML  Determination of PROGESTERONE  with the Alinity i analyzer

- OI-20-SOP-026-ML  Determination of LH  with the Alinity i analyzer

- OI-11-SOP-026-ML  Determination of FSH with the Alinity i analyzer

- OI-10-SOP-026-ML  Determination of ESTRADIOL  with the Alinity i analyzer

- OI-27-SOP-026-ML  Determination of TESTOSTERONE  with the Alinity i analyzer

- OI-31-SOP-026-ML  Determination of AMH  the  MAGLUMI X3

- OI-29-SOP-026-ML   Determination of Total β-HCG with the Alinity i analyzer

Adrenal hormones

- OI-08-SOP-026-ML Determination of CORTISOL with the Alinity i analyzer

Tumor markers

- OI-17-SOP-027-ML Determination of Total PSA  with the Alinity i analyzer

- OI-03-SOP-027-ML Determination of FREE PSA  with the Alinity i analyzer

- OI-16-SOP-027-ML Determination of CEA with Alinity i analyzer

- OI-15-SOP-027-ML  Determination of CA 125 with Alinity i analyzer

- OI-12-SOP-027-ML Determination of CA 15-3 with the Alinity i analyzer

- OI-13-SOP-027-ML Determination of CA 19-9 with the Alinity i analyzer

- OI-09-SOP-027-ML Determination of AFP the Alinity i analyzer

- OI-07-SOP-027-ML Determination of SCC in biological fluids with the Alinity i analyzer

- OI-08-SOP-027-ML Determination of β2-microglobulin with the Alinity c analyzer

- OI-04-SOP-027-ML  Determination of NSE with the Alinity i analyzer

- OI-02-SOP-027-ML Determination of CYFRA 21-1 with the Alinity i analyzer

- OI-14-SOP-027-ML Determination of CA 72-4 with a MAGLUMI X3

- OI-11-SOP-027-ML Determination of HE4 with the Alinity i analyzer

- OI-06-SOP-027-ML Determination of S100 with the Liaison XL analyzer

Metabolites

- OI-32-SOP-028-ML Determination of Folic Acid with Alinity i Analyzer

- OI-31-SOP-028-ML Determination of Vitamin B12 with Alinity i analyzer

- OI-34-SOP-026-ML Determination of 25(OH)-Vitamin D with Alinity i analyzer

- OI-35-SOP-026-ML Determination of Total L-homocysteine ​​with the Alinity i analyzer

- OI-34-SOP-028-ML Transferrin determination with Alinity c analyzer

Immunology

- OI-06-SOP-021-ML Determination of IgA, IgM, IgG in biological fluids with Alinity c analyzer

- OI-14-SOP-021-ML Determining ANA Screen (ANA-HEp-2) with iPro Analyzer

Infectious disease markers

- OI-22-SOP-019-ML Quantitative determination of Borrelia burgdorferi IgM

- OI-23-SOP-019-ML Quantitative determination of Borrelia burgdorferi IgG

- OI-24-SOP-019-ML Quantitative determination of Treponema pallidum IgM

- OI-25-SOP-019-ML Treponema pallidum RPR

- OI-26-SOP-019-ML Treponema pallidum IgM (Euroline-WB)

- OI-27-SOP-019-ML Treponema pallidum IgG (Euroline-WB)

- OI-28-SOP-019-ML Treponema pallidum TPHA

- OI-29-SOP-019-ML Quantitative determination of Treponema pallidum antibodies (CMIA)

- OI-30-SOP-019-ML Determination of Borrelia IgM

- OI-31-SOP-019-ML Determination of Borrelia IgG

Virology

- OI-12-SOP-019-ML Qualitative test for determination of Hepatitis B virus surface antigen

- OI-13-SOP-019-ML Quantitative determination of Hepatitis B virus surface antibodies

- OI-02-SOP-019-ML Quantitative of HBV DNA in clinical materials

- OI-17-SOP-019-ML Quantitative determination of Epstein-Barr virus VCA-IgM

- OI-15-SOP-019-ML Quantitative determination of Hepatitis B virus nuclear antibodies

- OI-03-SOP-019-ML Quantitative of HBV DNA in clinical materials

- OI-04-SOP-019-ML Determination of HCV genotype and/or subtype

- OI-16-SOP-019-ML Qualitative test for determination of HIV type 1 and 2 (p24 Ag, Ab)

- OI-14-SOP-019-ML Hepatitis C virus Ab

- OI-18-SOP-019-ML Quantitative determination of Epstein-Barr virus VCA-IgG

- OI-19-SOP-019-ML Quantitative determination of Epstein-Barr virus EBNA-1-IgG

- OI-20-SOP-019-ML Quantitative determination of Epstein-Barr virus EBNA-1-IgG

- OI-21-SOP-019-ML Quantitative determination of Epstein-Barr virus EA-IgG

RT-PCR

- OI-32-SOP-019-ML High-risk human papillomavirus

- OI-33-SOP-019-ML Low-risk human papillomavirus

- SOP-029-ML DNA isolation of genetic mutations for thrombophilia-Factor V: 1691 G>A (Arg506Gln)

- SOP-030-ML DNA isolation of genetic mutations of the K-Ras gene

- SOP-031-ML DNA isolation of genetic mutations of the PIK3CA gene

Capillary proteine electrophoresis

- SOP-018-ML Capillary proteine electrophoresis

Urine analysis

- SOP-020-ML Urine analysis

Other tests

102. SOP-022-ML Calprotectin determination with Liaison XL analyzer

103. SOP-023-ML Elastase determination with Liaison XL analyzer

Sampling

104. SOP-004-ML Preparing the patient for examination and taking a sample for analysis