ORDER

N A 228

Sofia, 10.07.2025

AMEND ORDER of EA BAS № A 434/13.07.2022

CENTER FOR TESTING AND EUROPEAN CERTIFICATION EOOD, STARA ZAGORA

TYPE A INSPECTION BODY

Management and office address:

Stara Zagora, 6000, q. Industrialen, Industrialna Str. 2,

To perform inspection of:

| Type of the Scope: flexible* |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| № | Area of control | Type of control | Controlled parameter / characteristic | Methods for test / measurement / used during control | Normative acts, standards, specifications |
| 1 | 2 | 3 | 4 | 5 | 6 |
|  | Electrical installations and equipment for voltage up to 1000 V | Initial/ periodic of new and/or in operation sites and equipment | Circuit impedance "phase - protective conductor" or "phase - PEN conductor" | ПК 7.1/01 | Ordinance No.3 (SG,№ 90 and 91/2004) Ordinance No. 16-116 (SG, № 26/2008) TC |
|  | Electrical installations and equipment for voltage up to 1000 V | Initial/ periodic of new and/or in operation sites and equipment | Control of safety cut-out switches: Trigger current; Shutdown time; Tangential voltage; Resistance of protective earthing | ПК 7.1/02 | Ordinance No.3 (SG, № 90 and 91/2004) Ordinance No. 16-116 (SG, № 26/2008) TC |
|  | Electrical installations and equipment for voltage up to and over 1000 V | Initial/ periodic of new and/or in operation sites and equipment | Resistance of protective earthing system | ПК 7.1/03/1 | Ordinance No. 16-116 (SG, № 26/2008) Ordinance No.3 (SG, № 90 and 91/2004) TC |
| - = | Electrical installations and equipment for voltage up to and over 1000 V | Initial/ periodic of new and/or in operation sites and equipment | Resistance of lightning protection earthing system | ПК 7.1/03/2 | Ordinance No. 16-116 (SG, № 26/2008) Ordinance No.4 (SG, № 6/2011) TC |
|  | Electrical installations and equipment for voltage up to and over 1000 V | Initial/ periodic of new and/or in operation sites and equipment | Insulation resistance | БДС 1986 p. 3.3 a), b), d) and e) ПК 7.1/04 | Ordinance №3 (SG, № 90 and 91/2004) Ordinance №16-116 (SG, № 6/2008) TC |
|  | Electrical protective equipment: Insulating rods - manipulative measuring, for portable earthing switches. Insulating pliers; Electrical measurement pliers; Cable piercing devices; Portable earthing switches; Dielectric matting paths and insulating stands; Adjustable insulating stairs | Periodic of products in operation | Electrical strength of the insulation by control with increased voltage with industrial frequency | Ordinance № 22 (promulgated in SG, № 45/2006) ПК 7.1 / 05 | Ordinance № 22 (SG,№ 45/2006) TC |
|  | Electrical protective equipment: Voltage Indicators; Voltage indicators for checking phase coincidence | Periodic of products in operation | Voltage threshold; Electrical strength of the insulation by control with increased voltage with industrial frequency | Ordinance № 22 (SG,№ 45/2006) ПК 7.1/05 | Ordinance № 22 (SG,№ 45/2006) TC |
|  | Electrical protective equipment: Dielectric gloves, booties, boots and galoshes; Insulating coatings and caps; Insulating ropes | Periodic of products in operation | Electrical strength of the insulation by control with increased voltage with industrial frequency; Leakage current | Ordinance № 22 (SG,№ 45/2006) ПК 7.1/05 | Ordinance № 22 (SG,№ 45/2006) TC |
|  | Microclimate of work and living environment | Initial/ periodic of new and/or in operation sites and equipment | Air temperature; Air velocity Relative humidity | БДС 16686 Ordinance № RD- 07-3 (SG, № 63/2014) ПК 7.1 / 08 | БДС 14776 Ordinance № 26 (SG, № 103/2008) Ordinance № 24, (SG, № 95/2003) Ordinance № 9, (SG, № 46/1994) Ordinance № 2, (SG, № 15/2007) Ordinance № 3, (SG, № 15/2007) Ordinance № RD-07-3 (SG, № 63/2014) TC |
| 10 | Artificial lighting of work and living environment | Initial /periodic of new and/or in operation sites and equipment | Lighting | Methodical instructions for measurement and evaluation of artificial lighting in buildings 40- 85 ed. Standardization, 1985 ПК 7.1/09 | Ordinance № 49 (SG, №7/ 1976) Ordinance № 26 (SG, № 103/2008) Ordinance № 24, (SG, № 95/2003) Ordinance № 9, (SG, №. 46/1994) Ordinance № 2, (SG, № 15/2007) Ordinance № 3, (SG, № 15/2007) Ordinance № 19, (SG, № 103/ 2011) БДС EN 12464-1 TC |
| 11 | Noise in premises of residential ad public buildings | Initial/ periodic of new and/or in operation sites and equipement | Equivalent noise level Noise levei | БДС 15471; ПК 7.1 / 10/1 | Ordinance № 6, (SG № 58/2006) - Annex 2, Table 1 Ordinance № 9, (SG № 46/ 1994) Ordinance №26, (SG № 103/2008) Ordinance № 2, (SG № 15/2007) Ordinance № 6, (SG № 16/1977) Ordinance №24, (SG № 95/2003) Ordinance № 7, (SG, № 88/1999) TC |
| 12 | Noise in the Environment – different territories, development zones in the urbanized territories and outside them; | Initial/ periodic of new and/or in operation sites and equipement | Equivalent noise ievel Noise levei | БДС 15471; ПК 7.1/ 10/2 | Ordinance № 6, (SG № 58/2006) - Annex 2, Table 2 TC |
| 13 | Noise in the work environment | Initial/ periodic of new and/or in operation sites and equipement | Daily noise exposure levei Average weekly noise exposure level Peak sound pressure level | БДС EN ISO 9612 (БДС ISO 1999) ПК 7.1 / 10/3 | Ordinance № 6, (SG № 70/2005) TC |
| 14 | Vibrations transmitted through the arm-shoutder system and the whole body | Initial/ periodic of new and/or in operation sites and equipement | Daily value of exposure to hand-arm vibrations Daily value of exposure to vibrations transmitted to the whole body | БДС EN ISO 5349-1 БДС EN ISO 5349-2 БДС ISO 2631 -1 ПК 7.1/11/1 | Ordinance №3, (SG, № 40/2005) TC |
| 15 | Vibrations in residential premises | Initial/ periodic of new and/or in operation sites and equipment | RMS value of vibration acceleration in the frequency range from 1 to 63 Hz | Ordinance № 9, SG, № 17/2010; ПК 7.1 / 11/2 | Ordinance № 9, (SG, № 17/2010;) TC |
| 16 | Ventilation installations | Initial/ periodic of new and/or in operation sites and equipment | Air flow velocity Air flow rate | БДС 12.3.018 ПК 7.1 / 06 | Ordinance №15, (SG,№ 68/2005) Ordinance №24, (SG, № 95/2003) TC |
| 16 | Chemical agents in the air of the work environment | Initial/ periodic of new and/or in operation sites and equipment | Concentration of chemical agents: - by linear colorimetric method (by indicator tubes); | БДС EN 482 БДС EN 689+ AC ПК 7.1/12 | Ordinance №13, (SG, № 8/2004;) Ordinance № 10 (SG, № 94/2003) TC |
| 18 | Chemical agents in the air of the work environment - dust | Initial/ periodic of new and/or in operation sites and equipment | Concentration of chemical agents in the air of a working environment: - inhalable fraction - respirable fraction | БДС EN 482 БДС EN 689+ AC БДС 2200 ПК 7.1/13 | Ordinance №13, (SG, № 8/2004;) Ordinance № 10 (SG, № 94/2003) TC |
| 19 | Chemical agents in the air of the work environment - dust | Initial/ gbperiodic of new and/or in operation sites and equipment | Concentration of free crystalline silica in respirable powder fraction | БДС EN 482 БДС EN 689+ AC БДС 2200 БДС 2280 ПК 7.1/13 | Ordinance №13, (SG,№ 8/2004;) Ordinance № 10 (SG, №94/2003) TC |
| 20 | Playgrounds located outdoors and indoors | Initial/ periodic of new and/or in operation sites and equipment | Safety of playgrounds through complex inspection of documents, visual inspection and measurement / testing. | Ordinance №1, SG, № 10/2009 ПК 7.1/ 14 БДС EN 1176-1 According to documents - p. 4.1, p. 4.2.2, p. 4.2.12, p. 4.2.13, p. 4.2.14,p. 4.2.15, p. 4.2.16, p.5, p. 6. Visual inspection and measurement p. 4.2.3, p. 4.2.4, p. 4.2.5, p. 4.2.6, p. 4.2.7, p. 4.2.8, p. 4.2.9, p. 4.2 .10, p. 4.2.11, p. 4.2.12, p. 4.2.13, p. 4.2.14, p. 4.2.15, p. 4.2.16, p.7; БДС EN 1176-2+AC According to documents - p. 4.6, p. 4.7, p. 4.8, p. 6 Visual inspection and measurement -p. 4.2, p. 4.3, p. 4.4, p. 4.5, p. 4.9, p. 4.10, p.5; p.7 БДС EN 1176-3 According to documents - p. 5 Visual inspection and measurement - p. 4.2, p. 4.3, p. 4.4, p. 4.5, p. 4.6, p. 4.7, p. 4.8, p. 4.9, p. 6. БДС EN 1176-4+AC According to documents - p. 4.2, p. 4.3, p. 4.4, p. 4.9, p. 4.10, p. 5, p. 6 Visual inspection and measurement – p. 4.5, p. 4.6, p. 4.7, p. 4.8, p. 4.11, p. 4.12, p. 4.13, p. 4.14, p. 7 БДС EN 1176-5 According to documents - p. 4.6, p. 5, p. 6 Visual inspection and measurement - p. 4.2, p. 4.3, p. 4.4, p. 4.5, p. 5, p. 7 БДС EN 1176-6+AC According to documents - p. 4.3, p. 5, p. 6 Visual inspection and measurement - p. 4.2, p. 4.4, p. 4.5, p. 4.6, p. 4.7, p. 4.8, p. 4.9, p.4.10, p. 4.11, p. 5, p. 7 БДС EN 1176-7 According to documents - p. 4.2, p. 5, p. 7, p. 8 Visual inspection and measurement – p.6 БДС EN 1176-10 According to documents - p. 4.2.1, p. 4.2.2.7, p.4.3.1, p. 4.4.1.7, p. 4.4.4.1, p.5, p.6 Visual inspection and measurement - p. 4.2.2.1, p. 4.2.2.2, p. 4.2.2.3, p. 4.2.2.4, p. 4.2.2.5, p. 4.2.2.6, p. 4.2.2.7, p. 4.3.2.1, p. 4.3.2.2, p. 4.3.3, p. 4.3.4, p. 4.3.5.2, p.4.3.5.3, p.4.3.5.4, p. 4.3.6, p. 4.3.7, p. 4.3.8, p. 4.3.9, p. 4.4.1 , p. 4.4.2, p. 4.4.3, p. 4.4.4, p.7 БДС EN 1176- 11 According to documents - p.5 Visual inspection and measurement - p. 4.1, p. 4.2, p. 4.3, p. 4.4, p. 6. БДС EN 1177 + AC: According to documents | Ordinance №1, (SG, № 10/2009) TC |

* The implemnting a new version of standards/documents or standards/documents replacing them is allowed. An updated list of standards/documents and their dated versions is provided by CAB.

Ordinance № 3 (SG, № 90 and 91/2004) on the design of electrical installations and power lines

Ordinance № 16-166 (SG, № 26/2008)on the technical operation of energy equipment

Ordinance № 4 (SG, № 6/2011) on lightning protection of buildings, external facilities and open spaces Ordinance № 22 for testing of electrical protective equipment in operation (SG, № 45/2006)

Ordinance № RD-07-3on the minimum requirements for the microclimate of workplaces (SG № 63/2014)

Ordinance № 49 on the artificial lighting of buildings (SG № 7/1976)

Ordinance №  6 on environmental noise indicators taking into account the degree of discomfort during different parts of the day, limit values of environmental noise indicators, in the premises of residential and public buildings, in areas and territories intended for residential construction, recreational areas and territories and mixed-use areas, methods for assessing the values of noise indicators and the harmful effects of noise on the health of the population (SG № 58/2006);

Ordinance № 2 of the Ministry of Health on health requirements for computers and Internet halls for public use (SG, № 15/2007)

Ordinance № 3 of the Ministry of Health on the health requirements for kindergartens, (SG, № 15/2007)

Ordinance № 24 of the Ministry of Health on the sanitary and hygienic requirements for discos (SG № 95/2003)

Ordinance № 9 of the Ministry of Health on the health and hygiene requirements for the use of personal computers in the education and extracurricular activities of students (SG, № 46/1994)

Ordinance № 26 of the Ministry of Health on the structure and activity of nurseries and children's kitchens and the health requirements to them (SG № 103/2008)

Ordinance № 19 of 2008 on the structure and operation of opticians, the health requirements to them and the procedure for keeping a register of opticians (SG, № 103/2011)

Ordinance № 6 on the minimum requirements for ensuring the health and safety of workers at risks related to noise exposure (SG, №70/2005)

Ordinance № 6 on ensuring a normal acoustic environment in residential and public buildings and places (SG, № 16/1977)

Ordinance № 7 on the minimum requirements for healthy and safe working conditions at workplaces and when using work equipment (SG № 88/1999)

Ordinance № 3 on the minimum requirements for ensuring the health and safety of workers at risks related to vibrations exposure (SG, № 40/2005)

Ordinance № 9 on the maximum permissible values of vibrations in residential premises (SG, № 17/2010)

Ordinance № 15 on the technical rules and norms for design, construction and operation of the sites and facilities for production, transmission and distribution of heat energy, (SG, № 68/2005)

Ordinance № 13 on the protection of workers from risks related to exposure to chemical agents at work (SG, № 8/2004)

Ordinance № 10 on the protection of workers from risks related to exposure to carcinogens and mutagens at work (SG, № 94/2003)

Ordinance № 1 on the terms and conditions for the structure and safety of playgrounds (SG, № 10/2009)

TC- Technical specification